RC-1 – RC-4. High-Performance Buildings

Buildings are a major source of demand for energy and materials that produce by-product greenhouse gases.  It will require immediate and significant action in the building sector to slow the growth rate of greenhouse gas emissions in Pennsylvania.

Recently, Architecture 2030 has issued The 2030 Challenge asking the global architecture and building community to adopt the following targets:

- All new buildings, developments and major renovations shall be designed to meet a fossil fuel, greenhouse gas (GHG)-emitting, energy consumption performance standard of 50% of the regional (or country) average for that building type.

- At a minimum, an equal amount of existing building area shall be renovated annually to meet a fossil fuel, GHG-emitting, energy consumption performance standard of 50% of the regional (or country) average for that building type.

- Architecture 2030 established the following fossil fuel reduction standard for all new buildings and major renovations:

60% of buildings in 2010
70% of buildings in 2015
80% of buildings  in 2020
90% of buildings in 2025 
100%* of buildings in 2030

*(using no fossil fuel greenhouse gas emitting energy to operate).

Architecture 2030 envisioned that these targets would be accomplished by implementing innovative sustainable design strategies, generating on-site renewable power and/or purchasing (20% maximum) renewable energy and/or certified renewable energy credits.

The main goals for this work plan generally come from the Architecture 2030 Challenge building goals, with some revisions from subcommittee.  These goals are summarized in the following tables.  Following the tables are proposed vehicles to meeting these goals.

The GHG emission reductions for Pennsylvania through 2020 were estimated assuming that these goals are met. The key assumptions and results of that analysis are shown below.

The quantification analysis helps provide an overall indication of potential GHG emission reductions. However, to better understand the changes to Pennsylvania’s building sector equipment and practices, analysis on individual work plans is also needed. The other work plans for quantification will help indicate the ability for the state to meet the goals listed here, and will also provide estimates of the costs for meeting these goals.

- The Climate Change Advisory Committee recommends the following replacement language for RC 1 through 4:

The Committee has recommended exploring the merits of developing High Performance Building standards for state and local government, schools, commercial (private) and home (residential) buildings.

- The Committee further recommends convening a stakeholder group for this task outside the timeline of Act 70.

Goals:

New Buildings Goals and standards

|  |  | 2015 | 2020 | 2030 |
| --- | --- | --- | --- | --- |
| New Commercial (Commonwealth owned or operated) RC-1 | Overall goal (relative to 2005 building) | 60% fossil fuel and electricity reduction | 80% fossil fuel and electricity reduction | 100% fossil fuel and electricity reduction |
|  | Performance standard | LEED Silver ENERGY STAR 85 | LEED Silver ENERGY STAR 85 | Not specified |
|  | Fraction of buildings that meet standard | 100% of new buildings | 100% of new buildings | 100% of new buildings |
|  | Deployment of renewable energy | Not specified | Not specified | Not specified |
| New Commercial (Schools) RC-2 | Overall goal (relative to 2005 building) | 50% fossil fuel and electricity reduction | 70% fossil fuel and electricity reduction | 80% fossil fuel and electricity reduction |
|  | Performance standard | LEED Silver ENERGY STAR 85 | LEED Silver ENERGY STAR 85 | Not specified |
|  | Fraction of buildings that meet standard | 100% of new buildings | 100% of new buildings | 100% of new buildings |
|  | Deployment of renewable energy | Not specified | Not specified | Not specified |
| New Commercial (private) RC-3 | Overall goal (relative to 2005 building) | 50% fossil fuel and electricity reduction | 70% fossil fuel and electricity reduction | 80% fossil fuel and electricity reduction |
|  | Performance standard | LEED Silver ENERGY STAR 75 | LEED Silver ENERGY STAR 85 | Not specified |
|  | Fraction of buildings that meet standard | 100% of new buildings | 100% of new buildings | 100% of new buildings |
|  | Deployment of renewable energy | Not specified | Not specified | Not specified |
| New Residential RC-4 | Overall goal (relative to 2005 building) | 50% fossil fuel and electricity reduction | 70% fossil fuel and electricity reduction | 80% fossil fuel and electricity reduction |
|  | Performance standard | HERS 50 | HERS 40 | HERS 30 |
|  | Fraction of buildings that meet standard | 100% of new buildings | 100% of new buildings | 100% of new buildings |
|  | Deployment of renewable energy | Not specified | Not specified | Not specified |

Existing Buildings Goals and standards

|  |  | 2015 | 2020 | 2030 |
| --- | --- | --- | --- | --- |
| Existing Commercial (Commonwealth owned or operated) RC-1 | Overall goal (relative to 2005 building) | 40% fossil fuel and electricity reduction | 50% fossil fuel and electricity reduction | 70% fossil fuel and electricity reduction |
|  | Performance standard | ENERGY STAR 75 | LEED EB Silver ENERGY STAR 80 | LEED EB Silver ENERGY STAR 85 |
|  | Fraction of buildings that meet standard | 20% of existing buildings | 50% of existing buildings | 100% of existing buildings |
|  | Deployment of renewable energy | Not specified | Not specified | Not specified |
| Existing Commercial (Schools) RC-2 | Overall goal (relative to 2005 building) | 30% fossil fuel and electricity reduction | 50% fossil fuel and electricity reduction | 70% fossil fuel and electricity reduction |
|  | Performance standard | ENERGY STAR 75 | LEED EB Silver ENERGY STAR 80 | LEED EB Silver ENERGY STAR 85 |
|  | Fraction of buildings that meet standard | 20% of existing buildings | 50% of existing buildings | 100% of existing buildings |
|  | Deployment of renewable energy | Not specified | Not specified | Not specified |
| Existing Commercial (private) RC-3 | Overall goal (relative to 2005 building) | 30% fossil fuel and electricity reduction | 40% fossil fuel and electricity reduction | 50% fossil fuel and electricity reduction |
|  | Performance standard | ENERGY STAR 75 | LEED EB Silver ENERGY STAR 80 | LEED EB Silver ENERGY STAR 85 |
|  | Fraction of buildings that meet standard | 20% of existing buildings | 50% of existing buildings | 100% of existing buildings |
|  | Deployment of renewable energy | Not specified | Not specified | Not specified |
| Existing Residential RC-4 | Overall goal (relative to 2005 building) | 60% fossil fuel and electricity reduction | 80% fossil fuel and electricity reduction | 100% fossil fuel and electricity reduction |
|  | Performance standard | HERS 50 | HERS 40 | HERS 40 |
|  | Fraction of buildings that meet standard | 20% of existing buildings | 50% of existing buildings | 100% of existing buildings |
|  | Deployment of renewable energy | Not specified | Not specified | Not specified |

Notes: Energy reductions refer to on-site energy consumption.

LEED –  Leadership in Energy and Environmental Design (Define)

ENERGY STAR – (Define)

HERS – (Define)