A Candidate Guide for the Pennsylvania Tank Installer and Inspector Certification Examinations

Under Agreement with:

Commonwealth of Pennsylvania

Department of Environmental Protection

Bureau of Environmental Cleanup and Brownfields

Division of Storage Tanks

400 Market Street

P.O. Box 8762

Harrisburg, PA 17105-8762

Toll Free (in PA Only) 800-42-TANKS or

(717) 772-5599

I.  Examination Overview

All individuals testing for a Pennsylvania Tank Installer or Inspector Certification will be required to take both an Administrative Examination and at least one Technical Examination.

The Administrative Exam tests the knowledge of candidates on Pennsylvania’s storage tank laws and regulations.  The examination will be open-book.  Therefore, you will be allowed to use Act 32, as amended, and Chapter 245 during the exam.

The Technical Exams cover information specific to the specialty areas of tank modifications/installations/removals and inspections.  There are 12 different exams or modules, which cover the Pennsylvania certification categories.  It may be necessary for a candidate to take more than one Technical Exam if he/she is applying for more than one certification category (see the section in this booklet on Examination Structure).  These exams are not open-book exams; therefore, the use of notes and/or reference materials during the technical exams will be strictly prohibited.

The Administrative and Technical Exams have slightly different formats.  The Administrative Exam consists of 30 questions, all four alternative multiple-choice.  The Technical Exams consist of 60 multiple-choice questions.  Candidates average an hour to take each module, however, no one will be required to turn in the test materials until time allotted for the day has been completed.

You will receive a separate score for the Administrative Exam and for each Technical Exam.  A score of 80 percent is required to pass the Administrative Exam, and a score of 80 percent is required to pass the Technical Exams

II.  Examination Questions

For each multiple-choice question, there are four possible answers.  Only one of the possible choices is the correct answer.  Questions vary in form and difficulty.  The following descriptions of the major types of exam questions are included to guide you in preparing for the exams.  Answers to example questions are found on page 4.

Questions Types:

1. Some questions describe a procedure or give a definition, and ask you to decide whether the procedure or definition is correct.  If the procedure or definition is incorrect, you will be asked to choose the answer that explains why it is incorrect.

Example:

Secondary containment is commonly used to prevent leaking of fluids into the subgrade and into the groundwater below.  This statement is:

a. correct.

b. incorrect; cathodic protection is more commonly used.

c. incorrect; emergency relief is more commonly used.

d. incorrect; emission control is more commonly used.

2. Some questions ask you to fill in the blank with a choice that will make a statement True or Correct.

Example:

According to manufacturer’s instructions, a pre-installation air/soap test should be completed for a minimum of _______ minutes.

a. 15

b. 30

c. 45

d. 60

3. Some questions ask you to choose one True or Correct statement out of four statements.  Other questions ask you to choose the one statement out of the four statements that is Not True or Not Correct.

Example:

All of the following are internal inspection techniques for determining tank bottom corrosion rates EXCEPT:

a. External ultrasonic measurement of the annular ring.

b. Analyzing results of scheduled internal inspections.

c. Obtaining material safety data sheet information.

d. Analyzing historical field data.

III.  Taking the Examination

Read each question very carefully.  Give special attention to key words such as Not, Better, Most and Least.  There are no "trick questions" on the exam.  Choose the one best answer for each question.

When you take the exam, you will have an exam booklet and a separate answer sheet.  For each question, fill in the circle on the answer sheet that matches the answer you choose.

If you must change an answer, be sure to make your erasures complete.  Any question with two responses will be counted as incorrect.

IV.  Examination Structure

There are 12 different exams that cover the Pennsylvania certification categories.  The Administrative exam is counted separately.  The following table shows which exam or exams you will be taking depending upon the category or categories you have applied for.

Each Technical Examination is arranged into 10 clusters of questions, each of which test your knowledge in a particular aspect of the activity for which you are seeking certification.

Each cluster has 6 questions.  A passing standard is set for each cluster depending on the difficulty of the questions that make up the cluster.  To be successful, you must pass at least 8 of the 10 clusters (80%).

An outline is provided for each of the examinations on the following pages.  These outlines list in detail the areas to be tested and the references from which the questions are drawn.  A composite list of examination references with complete titles and dates of publication follows the examination outlines.

Examination 				Will cover category or

Module					categories

___________				___________________

AC						ACVL

AD						ADMIN

AE						AMEX

AF						AFMX

AN						AMNX

AR						AMR AFR

AS						AMMX

IA						IAF IAM

IU						IUM

TL						TL

UR						UMR AMR

UT						UTT

UX						UMX, UMI

Answers to Example Questions on page 2 are:

Question		Answer

- a

- b

- c

# V.  ABOVEGROUND STORAGE TANK EXAMINATIONS

AC Examination

Cluster 1	Requirements of structural design and anchoring of large welded ASTs. (API 650 and API RP 12R1)

Cluster 2	Foundations and ringwalls for large ASTs. (API 620, API 650 and API RP12R1, NFPA 30)

Cluster 3	Requirements of site layout for construction of ASTs. (NFPA 30, The Pennsylvania Flammable and Combustible Liquids Regulations, and API RP12R)

Cluster 4	Cathodic protection of ASTs. (API 651)

Cluster 5	Recommended safety practices and proper entry of ASTs. (ANSI Z117, API 2015, API 2003 and API 2202)

Cluster 6	Requirements for grading and sub bases in the construction of large ASTs. (API 650 and API RP12R1)

Cluster 7	Requirements for repair, maintenance, and inspection of large welded ASTs. (API 653)

Cluster 8	Recommended working practices. (OSHA standards)

Cluster 9	Use and construction of vaults for ASTs. (Pennsylvania Flammable and Combustible Liquids Regulations)

Cluster 10	Standard concrete construction practices. (API 650 and NACE SP 0187)

AE Examination

Cluster 1	Repair, alteration and inspection of ASTs. (API 620, API 12 R1, and API 653)

Cluster 2	Recommended entry practices for ASTs. (API 2015, API 2016)

Cluster 3	Product characteristics, harmful effects, and confined space entry in ASTs. (API 2003, API 2009, API 2015, NFPA 30, API 2202, and ANSI Z117)

Cluster 4	Recommended work practices and electrical safety requirements in ASTs. (API 2003, API 2009, API 2015, API 2350, and NFPA 30)

Cluster 5	Pumps and valves for ASTs.  (API 650, PEI RP200, and NFPA 30)

Cluster 6	Planning and accomplishment of new construction of ASTs. (API 620, API 650, and PEI RP200)

Cluster 7	Venting of ASTs. (PEI RP200, NFPA 30, API 12 R1, and the Pennsylvania Flammable and Combustible Liquids Regulations)

Cluster 8	Cathodic protection of ASTs. (API 651)

Cluster 9	Overfill requirement for ASTs.  (API 2350, PEI RP200, and NFPA 30)

Cluster 10	Requirements for tanks, piping and fittings for ASTs. (API RP12R1, NFPA 30, UL 142, and PEI RP200)

AF Examination

Cluster 1	Alteration and repair of tank shells. (API 653)

Cluster 2	Alteration and repair of tank bottoms, roofs, and the testing of repair integrity.  (API 650, API 653, API 2015, API 2207, and API 620)

Cluster 3	Electrical and hot work safety.  (API 2003, API 2009, and API 2207)

Cluster 4	Construction and testing of new tank shells. (API 650)

Cluster 5	Construction of new tank bottoms, ringwalls, anchors and foundations. (API 650)

Cluster 6	Low pressure tank construction. (API 650 and API 620)

Cluster 7	Tank dismantling and reconstruction.  (API 653 and API 2202)

Cluster 8	Safety factors in the inerting (vapor freeing) and entering of tanks.  (API 2015, API 2202, ANSI Z117, and NIOSH)

Cluster 9	Fire safety. (NFPA 30 and the Pennsylvania Flammable and Combustible Liquids Regulations)

Cluster 10	Miscellaneous systems, appurtenances, and preparations for lining of ASTs.  (API 651, API 652, and API 2350)

AN Examination

Cluster 1	General knowledge of non-metallic tanks. (API RP12P, Guidelines – Snyder Industries, and ASME RTP-1)

Cluster 2	Product Safety in non-metallic tanks. (API 2016 and API 2015)

Cluster 3	Non-metallic tank appurtenances. (API 2350, Guidelines – Snyder Industries, and ASME RTP-1)

Cluster 4	Proper handling of non-metallic tanks. (API RP12P, Guidelines – Snyder Industries)

Cluster 5	Testing of non-metallic tanks. (API RP12P, API 653, Guidelines – Snyder Industries, and NFPA 30)

Cluster 6	Foundations for non-metallic tanks. (API 650 and ASME RTP-1)

Cluster 7	Personnel safety working with non-metallic tanks. (API 2015 and NIOSH)

Cluster 8	Linings and containment for non-metallic tanks. (API 652, NFPA 30, and the Pennsylvania Flammable and Combustible Liquids Regulations)

Cluster 9	Fire safety concerns with non-metallic tanks. (NFPA 30 and the Pennsylvania Flammable and Combustible Liquids Regulations)

Cluster 10	Inspection of non-metallic tanks. (API RP12P and ASME RTP-1)

AR Examination

Cluster 1	 Characteristics of the products stored in ASTs as this relates to the entry and cleaning during removal. (API 2015)

Cluster 2	Procedures involved in entry and cleaning of ASTs during removal. (API 2015)

Cluster 3	Inspection, repair, and alteration of ASTs as this relates to removal activities. (API 653)

Cluster 4	 Product safety. (API 2003, NFPA 30, NFPA 329, and Pennsylvania Flammable and Combustible Liquids Regulations)

Cluster 5	Recommended safety practices during the removal of ASTs. (API 2003, API 2009, ANSI Z117.1, and NFPA 30)

Cluster 6	Effects of past product storage on the dismantling and disposal of ASTs. (API 2015 and API 2202)

Cluster 7	Appropriate procedures in handling, dismantling and disposal of ASTs. (API 2202, API 1604, and NFPA 326)

Cluster 8	Recommended safety practices when working in confined spaces. (NIOSH, API 1604, and API 2015)

Cluster 9	Preparation of bottoms for hot work. (API 2207)

Cluster 10	Practices recommended for safe cutting. (API 2009)

AS Examination

Cluster 1	Site planning for installation of shop built ASTs.  (PEI RP-200, NFPA 30, Pennsylvania Flammable and Combustible Liquids Regulations)

Custer 2	Foundations and anchors for shop built ASTs.  (PEI RP-200, API 650, Pennsylvania Flammable and Combustible Liquids Regulations)

Cluster 3	Product handling safety in shop built ASTs. (PEI RP-200, NFPA 30, API 2015 and API 650)

Cluster 4	Record keeping, inspections, and special types of shop built ASTs. (PEI

RP-200)

Cluster 5	Environmental and safety issues related to the installation and use of shop built ASTs. (PEI RP-200, API 2015, NFPA 30, OSHA, and Pennsylvania Flammable and Combustible Liquids Regulations)

Cluster 6	Use of dikes and vaults in connection with the installation of shop built ASTs. (PEI RP-200 and NFPA 30)

Cluster 7	Pumps, valves, and pipes associated with the installation of shop built ASTs. (PEI RP-200 and NFPA 30)

Cluster 8	Fill pipes, gauges, and vents associated with the installation of shop built ASTs. (PEI RP-200, API 12 R1 NFPA 30, and the Pennsylvania Flammable and Combustible Liquids Regulations)

Cluster 9	Corrosion prevention and cathodic protection in shop built ASTs. (PEI RP-200 and API 651)

Cluster 10	Recommended entry practices for shop built ASTs. (API 2015)

IA Examination

Cluster 1	Inspection of ASTs in terms of general suitability for service. (API 653 and API 12-R1)

Cluster 2	Inspection of ASTs in reference to reconstruction and dismantling for reconstruction. (API 653)

Cluster 3	Inspection of welds in ASTs. (API 653 and API 650)

Cluster 4	Record keeping in relation to the inspection of ASTs. (API 653)

Cluster 5	Construction of ASTs. (API 620 and API 650)

Cluster 6	Corrosion protection, tank foundations, and undertank leak detection in ASTs. (API 650, API 651, and the Pennsylvania Flammable and Combustible Liquids Regulations)

Cluster 7	Safety issues and requirements relevant to the inspection of ASTs. (NFPA 30, NFPA 70, and the Pennsylvania Flammable and Combustible Liquids Regulations)

Cluster 8	Alternate construction of ASTs. (API RP12D, API 12 R1, API RP12P, and

UL-142)

Cluster 9	Safety concerns during the inspection of ASTs. (API 2003, API 2009, API 2350, and API 2207)

Cluster 10	Coating and surface preparation in ASTs. (API 652, SSPC)

TL Examination

Cluster 1	General principles and procedures for the lining of ASTs. (API 652)

Cluster 2	Characteristics of linings for ASTs. (API 652)

Cluster 3	Problems and preparation procedures associated with the lining of ASTs (API 652)

Cluster 4	General principles and procedures for the lining of USTs. (API 1631 and Guidance 263-3120-001)

Cluster 5	Safety concerns arising from the work environment. (API 2015 and API 2202).

Cluster 6	Safety concerns arising from the characteristics of the products stored in the tanks to be lined. (API 2015, API 2202, and NFPA 30)

Cluster 7	Safety practices relevant to the lining of tanks. (API 2015, SSPC, and NFPA 326)

Cluster 8	Confined spaces and recommended practices for entry. (API 2015, ANSI Z117, API 2009, and NIOSH)

Cluster 9	Surface preparation required prior to the lining of storage tanks. (SSPC)

Cluster 10	Miscellaneous aspects of storage tanks, in general, which are relevant to the activity of lining storage tanks. (API 651 and API 652)

VI.  UNDERGROUND STORAGE TANK EXAMINATIONS

UR Examination

Cluster 1	General principles and regulatory requirements related to UST closure/removal. (PA Code and Tank Closure)

Cluster 2	Regulatory requirements related to suspected releases and the temporary closure. (PA Code)

Cluster 3	Purging of USTs. (API 1604 and "Tank Closure Without Tears")

Cluster 4	Inerting of USTs. (API 1604 and "Tank Closure Without Tears")

Cluster 5	General procedures for the closure or removal of USTs. (API 1604, and "Tank Closure Without Tears")

Cluster 6	General procedures for the proper handling of USTs following closure or removal. (API 1604, and "Tank Closure Without Tears")

Cluster 7	Health and safety issues involved with working in or around the tank during closure or removal of USTs. (API 2015, API 1604 and NFPA 326)

Cluster 8	Health and safety issues related to the products previously stored in USTs being closed or removed. (API 2015, API 1604, NFPA 326)

Cluster 9	Tank layout and components as they pertain to closure and/or removal of USTs. (PEI RP100 and API 1615)

Cluster 10	Relevant guidance for the removal of USTs. (NFPA 30 and the Pennsylvania Flammable and Combustible Liquids Regulations)

UT Examination

Cluster 1	General principles involved in tank tightness testing. (EPA 530 and PEI RP100)

Cluster 2	Effects of product characteristics on the procedures involved in tank tightness testing. (EPA 530 and NFPA 329)

Cluster 3	Effects of structural characteristics of tanks on the principles and procedures involved in tank tightness testing. (EPA 530, PEI RP100, API 1615, and Containment Solutions)

Cluster 4	Effects of piping and other appurtenances on the principles and procedures involved in tank tightness testing. (EPA 530 and NFPA 329)

Cluster 5	Data collection concerns and special problem effects involved in tank tightness testing. (EPA 530)

Cluster 6	Pre-installation tank tightness testing. (PEI RP100, Containment Solutions, and manufacturer's recommendations)

Cluster 7	Regulations pertinent to tank tightness testing. (PA Code and EPA 530)

Cluster 8	Tank layout as it influences tank tightness testing. (PEI RP100 and API 1615)

Cluster 9	Piping layout as it influences tank tightness testing. (PEI RP100, API 1615, and PA Code)

Cluster 10	Piping tightness testing. (API 1615, PEI RP100, NFPA 329 and EPA 530)

UX Examination

Cluster 1	Practices and procedures involved in the anchoring of USTs. (PEI RP 100, API 1615, and Containment Solutions)

Cluster 2	Practices and procedures involved in the testing  of USTs. (PEI RP 100, API 1615, PA Code, EPA 530, and Containment Solutions)

Cluster 3	Practices and procedures for the installation of piping associated with USTs. (PEI RP 100, EPA 530, and API 1615)

Cluster 4	Excavating and backfilling associated with the installation of USTs. (PEI RP 100 and API 1615)

Cluster 5	Components and appurtenances associate with the installation of USTs. (PEI RP 100, API 1604, and API 1615)

Cluster 6	Tank characteristics and handling requirements during installation of USTs. (PEI RP 100, API 1615, and Containment Solutions)

Cluster 7	Requirements for installation of piping associated with the installation of USTs. (PEI RP 100 and API 1615)

Cluster 8	Cathodic protection of USTs. (API 1632 and PEI RP100)

Cluster 9	Regulations and requirements for the installation of USTs. (PA Code and EPA 530)

Cluster 10	Safe practices and requirements in the installation of USTs. (NFPA 30 and the Pennsylvania Flammable and Combustible Liquids Regulations)

IU Examination

Cluster 1	Regulatory requirements related to leak detection equipment and methods for USTs. (PA Code and EPA 530)

Cluster 2	Regulatory requirements related to line tightness, piping, spill and overfill protection in USTs. (PA Code, EPA 530, and NFPA 329)

Cluster 3	Regulatory requirements related to tank tightness testing, activities and methods for USTs. (PA Code, EPA 530, and NFPA 329)

Cluster 4	Regulatory requirements related to special concerns such as record keeping and secondary containment for USTs. (PA Code and EPA 530)

Cluster 5	Special installation requirements such as venting, vapor recovery, observations, and spill containment. (PEI RP-100 and API 1615)

Cluster 6	Installation requirements for layout and anchoring of USTs. (PEI RP-100 and API 1615)

Cluster 7	 Special installation concerns for non-metallic tanks. (PEI RP-100, API 1615, and Containment Solutions)

Cluster 8	Corrosion prevention and cathodic protection systems and requirements. (PA Code, NACE RP-0285, PEI RP-100, and API 1615)

Cluster 9	Regulations and requirements for tank closure and temporary closure. (PA Code and API 1604)

Cluster 10	Fire code regulations, requirements for UST systems. (NFPA 30, Pennsylvania Flammable and Combustible Liquids Regulations)

### VII.  Reference List

- Act 32 of 1989, as amended, The Storage Tank and Spill Prevention Act

- ANSI Z117.1-2016, 2016.  American National Standard Safety Requirements for Confined Spaces.

- API Publication 2009, Seventh Edition, February 2002.  Safe Welding, Cutting, Hot Work Practices in the Petroleum and Petrochemical Industries.

- API Publication 2015, Eighth Edition, January 2018. Requirement for Safe Entry and Cleaning of Petroleum Storage Tanks.

- API Publication 2202, Third Edition, January 1991. Dismantling and Disposing of Steel From Aboveground Leaded Gasoline Storage Tanks.

- API  Publication 2207, Seventh Edition, June 2017. Preparing Tank Bottoms for Hot Work.

- API Recommended Practice 12R1 (RP 12R1), Fifth Edition, October 1, 1997. Recommended Practice for Setting, Maintenance, Inspection, Operation and Repair of Tanks in Production Service.

- API Recommended Practice 1604, Third Edition, March 1996, Reaffirmed 2001. Closure of Underground Petroleum Storage Tanks.

- API Recommended Practice 1615, Sixth Edition, April 2011.  Installation of Underground Petroleum Storage Systems.

- API Recommended Practice 1631, Fifth Edition, June 2001.  Interior Lining and Periodic Inspection of Underground Storage Tanks.

- API Recommended Practice 1632, Third Edition, May 1996.  Cathodic Protection of Underground Petroleum Storage Tanks and Piping Systems.

- API Recommended Practice 2003, Eighth Edition, September 2015.  Protection Against Ignitions Arising Out Of Static, Lightning, and Stray Currents.

- API Recommended Practice 2350, Fourth Edition, May 2012.  Overfill Protection for Petroleum Storage Tanks.

- API Recommended Practice 651, Fourth Edition, December 2014.  Cathodic Protection of Aboveground Petroleum Storage Tanks.

- API Recommended Practice 652, Fourth Edition, September 2014.  Lining of Aboveground Petroleum Storage Tank Bottoms.

- API Specification 12D (Spec 12D), Twelfth Edition, June 2017.  Specification for Field Welded Tank for Storage of Production Liquids.

- API Specification 12P (Spec 12P), Fourth Edition, February 2016.  Specification for Fiberglass Reinforced Plastic Tanks.

- API Standard 620, Twelfth Edition, October 2013. Design and Construction of Large, Welded, Low-Pressure Storage Tanks.

- API Standard 650, Twelfth Edition, March 2013 with Addendums.  Welded Steel Tanks for Oil Storage.

- API Standard 653, Fifth Edition, November 2014.  Tank Inspection, Repair, Alteration, and Reconstruction.

- ASME RTP-1-2017 with Addendums1a-1e, Appendix NM-8, NM-9.

- 25 Pa. Code Chapter 245, Administration of the Storage Tank and Spill Prevention Program.

- Commonwealth of PA Flammable & Combustible Liquids Regulations.  Title 34, Chapters 14 and 14a, and Title 37, Chapter 14.

- EPA/530/UST-89/012, November 1989.  Detecting Leaks: Successful Methods Step-by-Step.

- EPA/530/UST-90-012, August 1990.  Straight Talk on Tanks: A summary of Leak Detection Methods for Petroleum Underground Storage Tank Systems.

- EPA/625/9-89/009, April 1989. Volumetric Tank Testing: An Overview.

- Containment Solutions, May 2015. Storage Tank Installation Instructions & Operating Guidelines.

- Snyder Industries, Inc.  Guidelines For Use and Installation, Rev B October 13 2016.

- NACE Standard SP 0285-2011.  Standard Recommended Practice, Corrosion Control of Underground Storage Tank Systems by Cathodic Protection.

- NACE Standard SP 187-2011 2017 (Item No. 21034).  Standard Recommended Practice, Design Considerations for Corrosion Control of Reinforcing Steel in Concrete.

- NFPA 30, 2018 Edition (August 18, 2000).  Flammable and Combustible Liquids Code.

- NFPA 30A, 2018 Edition. Code for Motor Fuel Dispensing and Repair Garages.

- NFPA 70, 2012 Edition.  National Electric Code 2012.

- NFPA 326, 2015 Edition.  Standard for the Safeguarding of Tanks and Containers for Entry, Cleaning, or Repair.

- NFPA 329, 2015 Edition.  Recommended Practice for Handling Releases of Flammable and Combustible Liquids and Gases.

- NIOSH Publication No. 87-113, July 1987.  A Guide to Safety in Confined Spaces.

- PA DEP Technical Guidance 257-3120-001

- PEI/RP 100-2017.  Recommended Practices for Installation of Underground Liquid Storage Systems.

- PEI/RP 200-13.  Recommended Practices for Installation of Aboveground Storage Systems for Motor Vehicle Fueling.

- PEI/RP 900-08. Recommended Practices for the Inspection and Maintenance of UST Systems.

- PEI/RP1200-2012. Recommended Practices for the Testing and Verification of Spill, Overfill, Leak Detection and Secondary Containment Equipment at UST Facilities.

- SSPC, Good Painting Practice (5th Ed, 2016).  SSPC, Systems and Specifications (2012).

- Tank Closures Without Tears: An Inspector's Safety Guide.  May 1988 (reprinted May 1991) New England Interstate Water Pollution Control Commission, 85 Merrimac St., Boston, MA 02114.  May 1991.

- UL 142, Ninth Edition (2006).  Steel Aboveground Tanks for Flammable and Combustible Liquids.

- 29 CFR 1910 (2013).  OSHA Safety and Health Standards.

VIII.  Abbreviation List

List of abbreviations that may be found on the exams:

ANSI		American Nation Standards Institute

## API		American Petroleum Institute

ASME		American Society of Mechanical Engineers

ASNT		American Society for Nondestructive Testing

AST		Aboveground Storage Tank

ASTM		 American Society of Testing and Materials

AWS		American Welding Society

AWA		American Welding Association

cm/sec		centimeters per second

DEP		Department of Environmental Protection

EPA		Environmental Protection Agency

FRP		Fiberglass Reinforced Plastic

gal/hr		gallons per hour

mil		1/1000 inch or .0254 millimeter

NACE		National Association of Corrosion Engineers

NFPA		National Fire Protection Agency

OSHA		Occupational Health and Safety Administration

PEI		Petroleum Equipment Institute

SCFH		standard cubic feet of air per hour

STI		 Steel Tank Institute

UL		Underwriters Laboratory

UST		Underground Storage Tank

IX.  Source List for Publications

American National Standards Institute (ANSI)

25 W. 43rd Street

New York, NY  10036

Phone:  (212) 642-4900

Fax:  (212) 398-0023

Website:  www.ansi.org

American Petroleum Institute (API)

## 200 Massachusetts Ave. NW

Washington DC 20001-5571

Phone:  (202) 682-8000

Fax:  (202) 682-8537

Website:  www.api.org

American Society of Mechanical Engineers International

Two Park Avenue

New York, NY  10016-5990

Phone:  1-800-843-2763 (U.S./Canada)

Fax:  (973) 882-1717

Website:  www.asme.org

American Society for Nondestructive Testing

P.O. Box 28518

1711 Arlingate Lane

Columbus, OH 43228-0518

Phone:  1-800-222-2768 or (614) 274-6003

Fax:  (614) 274-6899

Website:  www.asnt.org

American Society for Testing and Materials International

100 Barr Harbor Drive, P.O. Box C700

West Conshohocken, PA  19428-2959

Phone:  (610) 832-9585

Fax:  (610) 832-9555

Website:  www.astm.org

American Welding Society

8669 NW 36th St., #130

Miami, FL 33166-6672

Phone:  1-800-443-9353 or (305) 443-9353

Fax:  (305) 443-7559

Website:  www.aws.org

Centers for Disease Control

National Institute for Occupational Safety and Health (NIOSH)*

Patriots Plaza I

395 E Street SW, Suite 9200

Washington DC 20201

Phone:  1-800-232-1636

Fax:  (513) 533-8573

Website:  www.cdc.gov/niosh

Environmental Protection Agency (EPA)*

Superintendent of Documents

U.S. Government Publishing Office

732 N. Capitol Street NW N. 17th Street

Washington DC  20401

Phone:  (866) 512-1800

Website:  www.gpo.gov

Containment Solutions, Inc.

333 North Rivershire Dr., Suite 190

Conroe, TX  77304

Phone:  (936) 756-7731

Website:  www.containmentsolutions.com

NACE Intl.

15835 Park Ten Place

Houston, TX  77084

Phone:  (281) 228-6200 or 1-800-797-6223

Fax:  (281) 228-6300

Website:  www.nace.org

National Fire Protection Association (NFPA)

One Batterymarch Park

Quincy, MA  02169-7471

Phone:  1-800-344-3555

Fax:  (800) 593-6372

Website:  www.nfpa.org

New England Interstate Water Pollution Control Commission

650 Suffolk Street

Lowell, MA  01854

Phone:  (978) 323-7929

Fax:  (978) 323-7919

Website:  www.neiwpcc.org

Occupational Safety and Health Administration (OSHA)*

U.S. Government Printing Office

732 N. Capitol Street NW

Washington DC 20401

Phone:  (866) 512-1800

Website:  www.gpo.gov

PA Department of Environmental Protection (DEP)

Bureau of Land Recycling and Waste Management

Division of Storage Tanks

P.O. Box 8762

Harrisburg, PA 17105-8762

Phone:  1-800-42-TANKS (in PA only) or (717) 772-5599

Fax:  (717) 772-5598

Website:  www.dep.pa.gov (Search "Storage Tanks")

PA Department of Labor and Industry

Bureau of Occupational and Industrial Safety

F&C Section

651 Boas Street, Room 1606

Harrisburg, PA 17121

Phone: (717) 705-2787

Website:  www.dli.pa.gov

Petroleum Equipment Institute (PEI)

P.O. Box 2380

Tulsa, OK 74101-2380

Phone: (918) 494-9696

Fax:  (918) 491-9895

Website:  www.pei.org

Snyder Industries, Inc.

6940 O Street, Suite 100

Lincoln, NE 68510

Phone: (402) 467-5221

Fax: (402) 465-1220

Website: www.snydernet.com

SSPC:  The Coatings Society

800 Trumbull Drive

Pittsburgh, PA 15205

Phone:  1-877-281-7772 or (412) 281-2331

Fax:  (412) 444-3591

Website:  www.sspc.org

Steel Tank Institute (STI)

944 Donata Ct.

Lake Zurich, IL 60047

Phone: (847) 438-8265

Fax:  (847) 438-8766

Website:  www.steeltank.com

Underwriters Laboratories Inc. (UL)

333 Pfingsten Road

Northbrook, IL 60062-2096

Phone: (847) 272-8800

Fax:  (847) 272-8129

Website:  www.ul.com

* Check your local library for copies of government documents.

X.  The Scheduling Process

The examination sessions are scheduled at two sites throughout Pennsylvania.  You must be approved by DEP in advance of the test to sit for specific certification examination modules.  You will only be scheduled for modules you have been approved for by DEP.  DEP approval is based on experience or experience plus education.  Follow the instructions that are included with the enclosed scheduling form to indicate any changes in identifying information.

Be sure to comply with the application deadline dates listed on the application form.  The examinations are generally offered quarterly at two geographically distributed locations in Pennsylvania.

#### XI.  The Administrative Examination

The Administrative Exam is based on the following specific reference documents:

*	Pennsylvania Storage Tank and Spill Prevention Act (Act 32 of 1989, as amended.).

*	Title 25, Pennsylvania Code, Chapter 245 Administration of the Storage Tank and Spill Prevention Program: Subchapter A. General Provisions; Subchapter B. Certification Program for Installers and Inspectors of Storage Tanks and Storage Tank Facilities; and Subchapter D. Corrective Action Process for Owners and Operators of Storage Tanks and Storage Tank Facilities and Other Responsible Parties.

XII.  Directory of DEP Offices

Administrative Reference Documents may be obtained from any of the following DEP Storage Tank Offices:

Central Office

Commonwealth of Pennsylvania

Department of Environmental Protection

Bureau of Environmental Cleanup and Brownfields

Division of Storage Tanks

P.O. Box 8762

400 Market Street

Harrisburg, PA 17105-8762

1-800-42-TANKS (for Pennsylvania residents only)

(717) 772-5599

Southeast Regional Office

2 E Main Street

Norristown, PA 19401

(484) 250-5960

Counties:  Bucks, Chester Delaware, Montgomery and Philadelphia

Northeast Regional Office

2 Public Square

Wilkes-Barre, PA 18711-0790

(570) 826-2511

Counties:  Carbon, Lackawanna, Lehigh, Luzerne, Monroe, Northampton, Pike, Schuykill, Susquehanna, Wayne and Wyoming

Southcentral Regional Office

909 Elmerton Ave.

Harrisburg, PA 17110

(717) 705-4705

Counties:  Adams, Bedford, Berks, Blair, Cumberland, Dauphin, Franklin, Fulton, Huntingdon, Juniata, Lancaster, Lebanon, Mifflin, Perry and York

Northcentral Regional Office

208 West 3rd Street, Suite 101

## Williamsport, PA 17701

(570) 327-0500

Counties:  Bradford, Cameron, Clearfield, Centre, Clinton, Columbia, Lycoming, Montour, Northumberland, Potter, Snyder, Sullivan, Tioga and Union

Southwest Regional Office

400 Waterfront Drive

Pittsburgh, PA 15222-4745

(412) 442-4091

Counties:  Allegheny, Armstrong, Beaver, Cambria, Fayette, Greene, Somerset, Washington and Westmoreland

Northwest Regional Office

230 Chestnut Street

Meadville, PA 16335-3481

(814) 332-6648

Counties:  Armstrong, Butler, Clarion, Crawford, Elk, Erie, Forest, Indiana, Jefferson, Lawrence, McKean, Mercer, Venango and Warren