## Unit Conversion
Click Here to Select Type of Conversion
Unit Conversions | [6 empty] | Area
Flow
Click Here to Select Type of Conversion | [6 empty] | Length
Enter Value | Select Unit of Measurement 1 | Converts To | Result | Select Unit of Measurement 2 | Area Lookup | Result | Mass
Power
[5 empty] | Volume Lookup | Result | Pressure
Temperature
[5 empty] | Flow Lookup | Result | Time
Volume
[5 empty] | Length Lookup | Result
[5 empty] | Power Lookup | Result
[5 empty] | Pressure Lookup | Result
[5 empty] | Temperature Lookup | Result
[5 empty] | Time Lookup | Result
[5 empty] | Mass Lookup | Result
Use Result
FALSE

## Lookup (hidden)
Value | Area_1 | Area_2 | Value | Volume_1 | Volume_2 | Value | Flow_1 | Flow_2 | Value | Length_1 | Length_2 | Temp | Value | Time_1 | Time_2 | Value | Power_1 | Power_2 | Value | Pressure_1 | Pressure_2 | Value | Weight_1 | Weight_2
1 | Acres | Acres | 1 | Gallons | Gallons | 1 | Gallons/Day | Gallons/Day | 1 | Miles | Miles | Degrees Fahrenheit | 1 | Milliseconds | Milliseconds | 1 | BTU/Minute | BTU/Minute | 1 | Atmospheres | Atmospheres | 1 | Grams | Grams
0.40469 | Acres | Hectares | 3.0689e-06 | Gallons | Acre-Feet | 0.00069444 | Gallons/Day | Gallons/Minute | 5280 | Miles | Feet | Degrees Celsius | 0.001 | Milliseconds | Seconds | 60 | BTU/Minute | BTU/Hour | 1.0132 | Atmospheres | Bars | 1000 | Grams | Milligrams
40468700 | Acres | Square Centimeters | 3785.4 | Gallons | Cubic Centimeters | 1.1574e-05 | Gallons/Day | Gallons/Second | 160934 | Miles | Centimeters | Degrees Kelvin | 1.666e-05 | Milliseconds | Minutes | 778.17 | BTU/Minute | Foot-Pound/Minute | 29.921 | Atmospheres | Inches Hg at 32 Degrees F | 0.001 | Grams | Kilograms
43560 | Acres | Square Feet | 0.13368 | Gallons | Cubic Feet | 1e-06 | Gallons/Day | Million Gallons/Day | 1609340 | Miles | Millimeters | Degrees Rankine | 2.7777e-07 | Milliseconds | Hours | 12.9696 | BTU/Minute | Foot-Pound/Second | 760 | Atmospheres | Millimeters Hg at 0 Degrees C | 15.432 | Grams | Grains
6272660 | Acres | Square Inches | 231 | Gallons | Cubic Inches | 0.13367 | Gallons/Day | Cubic Feet/Day | 1.6093 | Miles | Kilometers |  | 1.1574e-08 | Milliseconds | Days | 0.023575 | BTU/Minute | Horsepower | 101325 | Atmospheres | Pascals | 0.035274 | Grams | Ounces
0.0040469 | Acres | Square Kilometers | 0.0037854 | Gallons | Cubic Meters | 9.283e-05 | Gallons/Day | Cubic Feet/Minute | 1609.34 | Miles | Meters |  | 1.6534e-09 | Milliseconds | Weeks | 17.576 | BTU/Minute | Watts | 14.696 | Atmospheres | Pounds/Square Inch | 0.0022046 | Grams | Pounds
4046.87 | Acres | Square Meters | 0.004951 | Gallons | Cubic Yards | 1.5471e-06 | Gallons/Day | Cubic Feet/Second | 63360 | Miles | Inches |  | 3.9194e-10 | Milliseconds | Months | 0.017576 | BTU/Minute | Kilowatts | 760 | Atmospheres | Torrs | 1.1023e-06 | Grams | Tons
0.0015625 | Acres | Square Miles | 3.7854 | Gallons | Liters | 3.7854 | Gallons/Day | Liters/Day | 1760 | Miles | Yards |  | 4.59e-12 | Milliseconds | Years | 1.7576e-05 | BTU/Minute | Megawatts | 0.98692 | Bars | Atmospheres | 1e-06 | Grams | Metric Tons
4840 | Acres | Square Yards | 3785.4 | Gallons | Milliliters | 0.002629 | Gallons/Day | Liters/Minute | 8 | Miles | Furlongs |  | 1000 | Seconds | Milliseconds | 0.016666 | BTU/Hour | BTU/Minute | 1 | Bars | Bars | 0.001 | Milligrams | Grams
2.471 | Hectares | Acres | 128 | Gallons | Ounces | 4.3813e-05 | Gallons/Day | Liters/Second | 0.0001894 | Feet | Miles |  | 1 | Seconds | Seconds | 1 | BTU/Hour | BTU/Hour | 29.53 | Bars | Inches Hg at 32 Degrees F | 1 | Milligrams | Milligrams
1 | Hectares | Hectares | 8 | Gallons | Pints | 1440 | Gallons/Minute | Gallons/Day | 1 | Feet | Feet |  | 0.016667 | Seconds | Minutes | 12.9696 | BTU/Hour | Foot-Pound/Minute | 750 | Bars | Millimeters Hg at 0 Degrees C | 1e-06 | Milligrams | Kilograms
100000000 | Hectares | Square Centimeters | 4 | Gallons | Quarts | 1 | Gallons/Minute | Gallons/Minute | 30.48 | Feet | Centimeters |  | 0.0002777 | Seconds | Hours | 0.21616 | BTU/Hour | Foot-Pound/Second | 100000 | Bars | Pascals | 0.015432 | Milligrams | Grains
107639 | Hectares | Square Feet | 352851 | Acre-Feet | Gallons | 0.016667 | Gallons/Minute | Gallons/Second | 304.8 | Feet | Millimeters |  | 1.1574e-05 | Seconds | Days | 0.0003929 | BTU/Hour | Horsepower | 14.504 | Bars | Pounds/Square Inch | 3.5274e-05 | Milligrams | Ounces
15499993.8 | Hectares | Square Inches | 1 | Acre-Feet | Acre-Feet | 0.00144 | Gallons/Minute | Million Gallons/Day | 0.0003048 | Feet | Kilometers |  | 1.6534e-06 | Seconds | Weeks | 0.2931 | BTU/Hour | Watts | 750 | Bars | Torrs | 2.2046e-06 | Milligrams | Pounds
0.01 | Hectares | Square Kilometers | 1335682175 | Acre-Feet | Cubic Centimeters | 192.49 | Gallons/Minute | Cubic Feet/Day | 0.3048 | Feet | Meters |  | 3.9194e-07 | Seconds | Months | 0.0002931 | BTU/Hour | Kilowatts | 0.03342 | Inches Hg at 32 Degrees F | Atmospheres | 1.1023e-09 | Milligrams | Tons
10000 | Hectares | Square Meters | 43560 | Acre-Feet | Cubic Feet | 0.1337 | Gallons/Minute | Cubic Feet/Minute | 12 | Feet | Inches |  | 3.1689e-08 | Seconds | Years | 2.931e-07 | BTU/Hour | Megawatts | 0.03386 | Inches Hg at 32 Degrees F | Bars | 1e-09 | Milligrams | Metric Tons
0.003861 | Hectares | Square Miles | 81508581 | Acre-Feet | Cubic Inches | 0.002228 | Gallons/Minute | Cubic Feet/Second | 0.33333 | Feet | Yards |  | 60000 | Minutes | Milliseconds | 0.0012841 | Foot-Pound/Minute | BTU/Minute | 1 | Inches Hg at 32 Degrees F | Inches Hg at 32 Degrees F | 1000 | Kilograms | Grams
11959.9 | Hectares | Square Yards | 1233.5 | Acre-Feet | Cubic Meters | 5451 | Gallons/Minute | Liters/Day | 0.0015152 | Feet | Furlongs |  | 60 | Minutes | Seconds | 0.077 | Foot-Pound/Minute | BTU/Hour | 25.4 | Inches Hg at 32 Degrees F | Millimeters Hg at 0 Degrees C | 1000000 | Kilograms | Milligrams
2.471e-08 | Square Centimeters | Acres | 1613.3 | Acre-Feet | Cubic Yards | 3.7854 | Gallons/Minute | Liters/Minute | 6.214e-06 | Centimeters | Miles |  | 1 | Minutes | Minutes | 1 | Foot-Pound/Minute | Foot-Pound/Minute | 3386.4 | Inches Hg at 32 Degrees F | Pascals | 1 | Kilograms | Kilograms
1e-08 | Square Centimeters | Hectares | 1335682.175 | Acre-Feet | Liters | 0.06309 | Gallons/Minute | Liters/Second | 0.032808 | Centimeters | Feet |  | 0.016666 | Minutes | Hours | 0.016666 | Foot-Pound/Minute | Foot-Pound/Second | 0.49115 | Inches Hg at 32 Degrees F | Pounds/Square Inch | 15432 | Kilograms | Grains
1 | Square Centimeters | Square Centimeters | 1335682175 | Acre-Feet | Milliliters | 86400 | Gallons/Second | Gallons/Day | 1 | Centimeters | Centimeters |  | 0.00069444 | Minutes | Days | 3.03e-05 | Foot-Pound/Minute | Horsepower | 25.4 | Inches Hg at 32 Degrees F | Torrs | 35.274 | Kilograms | Ounces
0.0010764 | Square Centimeters | Square Feet | 45164928 | Acre-Feet | Ounces | 60 | Gallons/Second | Gallons/Minute | 10 | Centimeters | Millimeters |  | 9.9206e-05 | Minutes | Weeks | 0.022597 | Foot-Pound/Minute | Watts | 0.0013158 | Millimeters Hg at 0 Degrees C | Atmospheres | 2.2046 | Kilograms | Pounds
0.155 | Square Centimeters | Square Inches | 2822808 | Acre-Feet | Pints | 1 | Gallons/Second | Gallons/Second | 1e-05 | Centimeters | Kilometers |  | 2.3515e-05 | Minutes | Months | 2.2597e-06 | Foot-Pound/Minute | Kilowatts | 0.0013332 | Millimeters Hg at 0 Degrees C | Bars | 0.0011023 | Kilograms | Tons
1e-10 | Square Centimeters | Square Kilometers | 1411404 | Acre-Feet | Quarts | 0.864 | Gallons/Second | Million Gallons/Day | 0.01 | Centimeters | Meters |  | 1.9013e-06 | Minutes | Years | 2.2597e-08 | Foot-Pound/Minute | Megawatts | 0.03937 | Millimeters Hg at 0 Degrees C | Inches Hg at 32 Degrees F | 0.001 | Kilograms | Metric Tons
0.0001 | Square Centimeters | Square Meters | 0.00026417 | Cubic Centimeters | Gallons | 11550 | Gallons/Second | Cubic Feet/Day | 0.3937 | Centimeters | Inches |  | 3600000 | Hours | Milliseconds | 0.077045 | Foot-Pound/Second | BTU/Minute | 1 | Millimeters Hg at 0 Degrees C | Millimeters Hg at 0 Degrees C | 0.064799 | Grains | Grams
3.861e-11 | Square Centimeters | Square Miles | 7.4867e-10 | Cubic Centimeters | Acre-Feet | 8.0208 | Gallons/Second | Cubic Feet/Minute | 0.010936 | Centimeters | Yards |  | 3600 | Hours | Seconds | 4.6227 | Foot-Pound/Second | BTU/Hour | 133.32 | Millimeters Hg at 0 Degrees C | Pascals | 64.799 | Grains | Milligrams
0.0001196 | Square Centimeters | Square Yards | 1 | Cubic Centimeters | Cubic Centimeters | 0.1337 | Gallons/Second | Cubic Feet/Second | 4.971e-05 | Centimeters | Furlongs |  | 60 | Hours | Minutes | 60 | Foot-Pound/Second | Foot-Pound/Minute | 0.019337 | Millimeters Hg at 0 Degrees C | Pounds/Square Inch | 6.4799e-05 | Grains | Kilograms
2.2957e-05 | Square Feet | Acres | 3.5315e-05 | Cubic Centimeters | Cubic Feet | 327067.2 | Gallons/Second | Liters/Day | 6.214e-07 | Millimeters | Miles |  | 1 | Hours | Hours | 1 | Foot-Pound/Second | Foot-Pound/Second | 1 | Millimeters Hg at 0 Degrees C | Torrs | 1 | Grains | Grains
9.2903e-06 | Square Feet | Hectares | 0.061024 | Cubic Centimeters | Cubic Inches | 227.13 | Gallons/Second | Liters/Minute | 0.0032808 | Millimeters | Feet |  | 0.041666 | Hours | Days | 0.0018182 | Foot-Pound/Second | Horsepower | 9.8692e-06 | Pascals | Atmospheres | 0.0022857 | Grains | Ounces
929.034 | Square Feet | Square Centimeters | 1e-06 | Cubic Centimeters | Cubic Meters | 3.7854 | Gallons/Second | Liters/Second | 0.1 | Millimeters | Centimeters |  | 0.0059524 | Hours | Weeks | 1.3558 | Foot-Pound/Second | Watts | 1e-05 | Pascals | Bars | 0.00014286 | Grains | Pounds
1 | Square Feet | Square Feet | 1.2078e-06 | Cubic Centimeters | Cubic Yards | 1000000 | Million Gallons/Day | Gallons/Day | 1 | Millimeters | Millimeters |  | 0.001411 | Hours | Months | 0.0013558 | Foot-Pound/Second | Kilowatts | 0.0002964 | Pascals | Inches Hg at 32 Degrees F | 7.1429e-08 | Grains | Tons
144 | Square Feet | Square Inches | 0.001 | Cubic Centimeters | Liters | 694.44 | Million Gallons/Day | Gallons/Minute | 1e-06 | Millimeters | Kilometers |  | 0.00011408 | Hours | Years | 1.3558e-06 | Foot-Pound/Second | Megawatts | 0.0075286 | Pascals | Millimeters Hg at 0 Degrees C | 6.4799e-08 | Grains | Metric Tons
9.2903e-08 | Square Feet | Square Kilometers | 1 | Cubic Centimeters | Milliliters | 11.5741 | Million Gallons/Day | Gallons/Second | 0.001 | Millimeters | Meters |  | 86400000 | Days | Milliseconds | 42.375 | Horsepower | BTU/Minute | 1 | Pascals | Pascals | 28.3495 | Ounces | Grams
0.092903 | Square Feet | Square Meters | 0.033814 | Cubic Centimeters | Ounces | 1 | Million Gallons/Day | Million Gallons/Day | 0.03937 | Millimeters | Inches |  | 86400 | Days | Seconds | 2542.5 | Horsepower | BTU/Hour | 0.00014504 | Pascals | Pounds/Square Inch | 28349.5 | Ounces | Milligrams
3.587e-08 | Square Feet | Square Miles | 0.0021134 | Cubic Centimeters | Pints | 133678 | Million Gallons/Day | Cubic Feet/Day | 0.0010936 | Millimeters | Yards |  | 1440 | Days | Minutes | 33000 | Horsepower | Foot-Pound/Minute | 0.007501 | Pascals | Torrs | 0.028349 | Ounces | Kilograms
0.11111 | Square Feet | Square Yards | 0.0010567 | Cubic Centimeters | Quarts | 92.832 | Million Gallons/Day | Cubic Feet/Minute | 4.971e-06 | Millimeters | Furlongs |  | 24 | Days | Hours | 550 | Horsepower | Foot-Pound/Second | 0.068046 | Pounds/Square Inch | Atmospheres | 437.5 | Ounces | Grains
1.5942e-07 | Square Inches | Acres | 7.481 | Cubic Feet | Gallons | 1.5472 | Million Gallons/Day | Cubic Feet/Second | 0.62137 | Kilometers | Miles |  | 1 | Days | Days | 1 | Horsepower | Horsepower | 0.06895 | Pounds/Square Inch | Bars | 1 | Ounces | Ounces
6.4516e-08 | Square Inches | Hectares | 2.2957e-05 | Cubic Feet | Acre-Feet | 3785400 | Million Gallons/Day | Liters/Day | 3280.84 | Kilometers | Feet |  | 0.14286 | Days | Weeks | 745.7 | Horsepower | Watts | 2.036 | Pounds/Square Inch | Inches Hg at 32 Degrees F | 0.0625 | Ounces | Pounds
6.4516 | Square Inches | Square Centimeters | 28317 | Cubic Feet | Cubic Centimeters | 2628.75 | Million Gallons/Day | Liters/Minute | 100000 | Kilometers | Centimeters |  | 0.033864 | Days | Months | 0.7457 | Horsepower | Kilowatts | 51.715 | Pounds/Square Inch | Millimeters Hg at 0 Degrees C | 3.125e-05 | Ounces | Tons
0.0069444 | Square Inches | Square Feet | 1 | Cubic Feet | Cubic Feet | 43.813 | Million Gallons/Day | Liters/Second | 1000000 | Kilometers | Millimeters |  | 0.0027379 | Days | Years | 0.0007457 | Horsepower | Megawatts | 6894.8 | Pounds/Square Inch | Pascals | 2.835e-05 | Ounces | Metric Tons
1 | Square Inches | Square Inches | 1728 | Cubic Feet | Cubic Inches | 7.481 | Cubic Feet/Day | Gallons/Day | 1 | Kilometers | Kilometers |  | 604800000 | Weeks | Milliseconds | 0.05683 | Watt | BTU/Minute | 1 | Pounds/Square Inch | Pounds/Square Inch | 453.5924 | Pounds | Grams
6.4516e-10 | Square Inches | Square Kilometers | 0.028317 | Cubic Feet | Cubic Meters | 0.005195 | Cubic Feet/Day | Gallons/Minute | 1000 | Kilometers | Meters |  | 604800 | Weeks | Seconds | 3.412 | Watt | BTU/Hour | 51.715 | Pounds/Square Inch | Torrs | 453592.4 | Pounds | Milligrams
0.00064516 | Square Inches | Square Meters | 0.037037 | Cubic Feet | Cubic Yards | 8.659e-05 | Cubic Feet/Day | Gallons/Second | 39370 | Kilometers | Inches |  | 10080 | Weeks | Minutes | 44.254 | Watt | Foot-Pound/Minute | 0.0013158 | Torrs | Atmospheres | 0.45359 | Pounds | Kilograms
2.491e-10 | Square Inches | Square Miles | 28.3169 | Cubic Feet | Liters | 7.481e-06 | Cubic Feet/Day | Million Gallons/Day | 1093.61 | Kilometers | Yards |  | 168 | Weeks | Hours | 0.73756 | Watt | Foot-Pound/Second | 0.0013332 | Torrs | Bars | 7000 | Pounds | Grains
0.0007716 | Square Inches | Square Yards | 28317 | Cubic Feet | Milliliters | 1 | Cubic Feet/Day | Cubic Feet/Day | 4.971 | Kilometers | Furlongs |  | 7 | Weeks | Days | 0.001341 | Watt | Horsepower | 0.03937 | Torrs | Inches Hg at 32 Degrees F | 16 | Pounds | Ounces
247.104 | Square Kilometers | Acres | 957.51 | Cubic Feet | Ounces | 0.0006944 | Cubic Feet/Day | Cubic Feet/Minute | 0.00062137 | Meters | Miles |  | 1 | Weeks | Weeks | 1 | Watt | Watts | 1 | Torrs | Millimeters Hg at 0 Degrees C | 1 | Pounds | Pounds
100 | Square Kilometers | Hectares | 59.844 | Cubic Feet | Pints | 1.157e-05 | Cubic Feet/Day | Cubic Feet/Second | 3.2808 | Meters | Feet |  | 0.237 | Weeks | Months | 0.001 | Watt | Kilowatts | 133.322 | Torrs | Pascals | 0.0005 | Pounds | Tons
10000000000 | Square Kilometers | Square Centimeters | 29.922 | Cubic Feet | Quarts | 283.133 | Cubic Feet/Day | Liters/Day | 100 | Meters | Centimeters |  | 0.019165 | Weeks | Years | 1e-06 | Watt | Megawatts | 0.019337 | Torrs | Pounds/Square Inch | 0.00045359 | Pounds | Metric Tons
1076400 | Square Kilometers | Square Feet | 0.004329 | Cubic Inches | Gallons | 0.19662 | Cubic Feet/Day | Liters/Minute | 1000 | Meters | Millimeters |  | 2551400000 | Months | Milliseconds | 56.869 | Kilowatt | BTU/Minute | 1 | Torrs | Torrs | 907185 | Tons | Grams
4014484259 | Square Kilometers | Square Inches | 1.2269e-08 | Cubic Inches | Acre-Feet | 0.0003277 | Cubic Feet/Day | Liters/Second | 0.001 | Meters | Kilometers |  | 2551400 | Months | Seconds | 3412.1 | Kilowatt | BTU/Hour |  |  |  | 907185000 | Tons | Milligrams
1 | Square Kilometers | Square Kilometers | 16.3871 | Cubic Inches | Cubic Centimeters | 10772 | Cubic Feet/Minute | Gallons/Day | 1 | Meters | Meters |  | 42524 | Months | Minutes | 44254 | Kilowatt | Foot-Pound/Minute |  |  |  | 907.185 | Tons | Kilograms
1000000 | Square Kilometers | Square Meters | 0.0005787 | Cubic Inches | Cubic Feet | 7.481 | Cubic Feet/Minute | Gallons/Minute | 39.3701 | Meters | Inches |  | 708.73 | Months | Hours | 737.56 | Kilowatt | Foot-Pound/Second |  |  |  | 14000000 | Tons | Grains
0.3861 | Square Kilometers | Square Miles | 1 | Cubic Inches | Cubic Inches | 0.12467 | Cubic Feet/Minute | Gallons/Second | 1.0936 | Meters | Yards |  | 29.53 | Months | Days | 1.341 | Kilowatt | Horsepower |  |  |  | 32000 | Tons | Ounces
1195990 | Square Kilometers | Square Yards | 1.6387e-05 | Cubic Inches | Cubic Meters | 0.010772 | Cubic Feet/Minute | Million Gallons/Day | 0.004971 | Meters | Furlongs |  | 4.2186 | Months | Weeks | 1000 | Kilowatt | Watts |  |  |  | 2000 | Tons | Pounds
0.0002471 | Square Meters | Acres | 2.1434e-05 | Cubic Inches | Cubic Yards | 1440 | Cubic Feet/Minute | Cubic Feet/Day | 1.5783e-05 | Inches | Miles |  | 1 | Months | Months | 1 | Kilowatt | Kilowatts |  |  |  | 1 | Tons | Tons
0.0001 | Square Meters | Hectares | 0.016387 | Cubic Inches | Liters | 1 | Cubic Feet/Minute | Cubic Feet/Minute | 0.083333 | Inches | Feet |  | 0.080852 | Months | Years | 0.001 | Kilowatt | Megawatts |  |  |  | 0.90719 | Tons | Metric Tons
10000 | Square Meters | Square Centimeters | 16.3871 | Cubic Inches | Milliliters | 0.016666 | Cubic Feet/Minute | Cubic Feet/Second | 2.54 | Inches | Centimeters |  | 31557000000 | Years | Milliseconds | 56869 | Megawatt | BTU/Minute |  |  |  | 1000000 | Metric Tons | Grams
10.7639 | Square Meters | Square Feet | 0.5541 | Cubic Inches | Ounces | 40776.2 | Cubic Feet/Minute | Liters/Day | 25.4 | Inches | Millimeters |  | 31557000 | Years | Seconds | 3412100 | Megawatt | BTU/Hour |  |  |  | 1000000000 | Metric Tons | Milligrams
1550 | Square Meters | Square Inches | 0.034632 | Cubic Inches | Pints | 28.3168 | Cubic Feet/Minute | Liters/Minute | 2.54e-05 | Inches | Kilometers |  | 525969 | Years | Minutes | 44254000 | Megawatt | Foot-Pound/Minute |  |  |  | 1000 | Metric Tons | Kilograms
1e-06 | Square Meters | Square Kilometers | 0.017316 | Cubic Inches | Quarts | 0.47195 | Cubic Feet/Minute | Liters/Second | 0.0254 | Inches | Meters |  | 8765.8 | Years | Hours | 737560 | Megawatt | Foot-Pound/Second |  |  |  | 15430000 | Metric Tons | Grains
1 | Square Meters | Square Meters | 227 | Cubic Meters | Gallons | 646317 | Cubic Feet/Second | Gallons/Day | 1 | Inches | Inches |  | 365.242 | Years | Days | 1341 | Megawatt | Horsepower |  |  |  | 35274 | Metric Tons | Ounces
3.861e-07 | Square Meters | Square Miles | 0.00064333 | Cubic Meters | Acre-Feet | 448.83 | Cubic Feet/Second | Gallons/Minute | 0.027777 | Inches | Yards |  | 52.177 | Years | Weeks | 1000000 | Megawatt | Watts |  |  |  | 2204.62 | Metric Tons | Pounds
1.196 | Square Meters | Square Yards | 1000000 | Cubic Meters | Cubic Centimeters | 7.481 | Cubic Feet/Second | Gallons/Second | 0.00012626 | Inches | Furlongs |  | 12.369 | Years | Months | 1000 | Megawatt | Kilowatts |  |  |  | 1.1023 | Metric Tons | Tons
640 | Square Miles | Acres | 35.3147 | Cubic Meters | Cubic Feet | 0.64632 | Cubic Feet/Second | Million Gallons/Day | 0.00056818 | Yards | Miles |  | 1 | Years | Years | 1 | Megawatt | Megawatts |  |  |  | 1 | Metric Tons | Metric Tons
259 | Square Miles | Hectares | 61024 | Cubic Meters | Cubic Inches | 86400 | Cubic Feet/Second | Cubic Feet/Day | 3 | Yards | Feet
25900025900 | Square Miles | Square Centimeters | 1 | Cubic Meters | Cubic Meters | 60 | Cubic Feet/Second | Cubic Feet/Minute | 91.4402 | Yards | Centimeters
27878500 | Square Miles | Square Feet | 1.308 | Cubic Meters | Cubic Yards | 1 | Cubic Feet/Second | Cubic Feet/Second | 914.402 | Yards | Millimeters
4014510000 | Square Miles | Square Inches | 1000 | Cubic Meters | Liters | 2446560 | Cubic Feet/Second | Liters/Day | 0.0009144 | Yards | Kilometers
2.59 | Square Miles | Square Kilometers | 1000000 | Cubic Meters | Milliliters | 1699 | Cubic Feet/Second | Liters/Minute | 0.9144 | Yards | Meters
2590000 | Square Miles | Square Meters | 33814 | Cubic Meters | Ounces | 28.317 | Cubic Feet/Second | Liters/Second | 36 | Yards | Inches
1 | Square Miles | Square Miles | 2113.4 | Cubic Meters | Pints | 0.26417 | Liters/Day | Gallons/Day | 1 | Yards | Yards
3097610 | Square Miles | Square Yards | 1056.7 | Cubic Meters | Quarts | 0.0001835 | Liters/Day | Gallons/Minute | 0.0045455 | Yards | Furlongs
0.00020661 | Square Yards | Acres | 202 | Cubic Yards | Gallons | 3.058e-06 | Liters/Day | Gallons/Second | 0.125 | Furlongs | Miles
8.3613e-05 | Square Yards | Hectares | 0.00062 | Cubic Yards | Acre-Feet | 2.6417e-07 | Liters/Day | Million Gallons/Day | 660 | Furlongs | Feet
8361.27 | Square Yards | Square Centimeters | 764555 | Cubic Yards | Cubic Centimeters | 0.03369 | Liters/Day | Cubic Feet/Day | 20116.8 | Furlongs | Centimeters
9 | Square Yards | Square Feet | 27 | Cubic Yards | Cubic Feet | 2.3396e-05 | Liters/Day | Cubic Feet/Minute | 201168 | Furlongs | Millimeters
1296 | Square Yards | Square Inches | 46656 | Cubic Yards | Cubic Inches | 3.9e-07 | Liters/Day | Cubic Feet/Second | 0.20117 | Furlongs | Kilometers
8.3613e-07 | Square Yards | Square Kilometers | 0.76456 | Cubic Yards | Cubic Meters | 1 | Liters/Day | Liters/Day | 201.168 | Furlongs | Meters
0.83613 | Square Yards | Square Meters | 1 | Cubic Yards | Cubic Yards | 0.0006944 | Liters/Day | Liters/Minute | 7920 | Furlongs | Inches
3.2283e-07 | Square Yards | Square Miles | 764.56 | Cubic Yards | Liters | 1.1574e-05 | Liters/Day | Liters/Second | 220 | Furlongs | Yards
1 | Square Yards | Square Yards | 764555 | Cubic Yards | Milliliters | 380.4 | Liters/Minute | Gallons/Day | 1 | Furlongs | Furlongs
|  |  | 25853 | Cubic Yards | Ounces | 0.26417 | Liters/Minute | Gallons/Minute
|  |  | 1616 | Cubic Yards | Pints | 0.0044 | Liters/Minute | Gallons/Second
|  |  | 807.9 | Cubic Yards | Quarts | 0.0003804 | Liters/Minute | Million Gallons/Day
|  |  | 0.26417 | Liters | Gallons | 50.86 | Liters/Minute | Cubic Feet/Day
|  |  | 7.4867e-07 | Liters | Acre-Feet | 0.03532 | Liters/Minute | Cubic Feet/Minute
|  |  | 1000 | Liters | Cubic Centimeters | 0.00058858 | Liters/Minute | Cubic Feet/Second
|  |  | 0.035315 | Liters | Cubic Feet | 1440 | Liters/Minute | Liters/Day
|  |  | 61.024 | Liters | Cubic Inches | 1 | Liters/Minute | Liters/Minute
|  |  | 0.001 | Liters | Cubic Meters | 0.01666 | Liters/Minute | Liters/Second
|  |  | 0.001308 | Liters | Cubic Yards | 22824 | Liters/Second | Gallons/Day
|  |  | 1 | Liters | Liters | 15.85 | Liters/Second | Gallons/Minute
|  |  | 1000 | Liters | Milliliters | 0.26417 | Liters/Second | Gallons/Second
|  |  | 33.814 | Liters | Ounces | 0.022824 | Liters/Second | Million Gallons/Day
|  |  | 2.1134 | Liters | Pints | 3051.2 | Liters/Second | Cubic Feet/Day
|  |  | 1.0567 | Liters | Quarts | 2.1189 | Liters/Second | Cubic Feet/Minute
|  |  | 0.00026417 | Milliliters | Gallons | 0.035315 | Liters/Second | Cubic Feet/Second
|  |  | 7.4867e-10 | Milliliters | Acre-Feet | 86400 | Liters/Second | Liters/Day
|  |  | 1 | Milliliters | Cubic Centimeters | 60 | Liters/Second | Liters/Minute
|  |  | 3.5315e-05 | Milliliters | Cubic Feet | 1 | Liters/Second | Liters/Second
|  |  | 0.061024 | Milliliters | Cubic Inches
|  |  | 1e-06 | Milliliters | Cubic Meters
|  |  | 1.2078e-06 | Milliliters | Cubic Yards
|  |  | 0.001 | Milliliters | Liters
|  |  | 1 | Milliliters | Milliliters
|  |  | 0.033814 | Milliliters | Ounces
|  |  | 0.0021134 | Milliliters | Pints
|  |  | 0.0010567 | Milliliters | Quarts
|  |  | 0.0078125 | Ounces | Gallons
|  |  | 2.2141e-08 | Ounces | Acre-Feet
|  |  | 29.5735 | Ounces | Cubic Centimeters
|  |  | 0.0010444 | Ounces | Cubic Feet
|  |  | 1.8047 | Ounces | Cubic Inches
|  |  | 2.9574e-05 | Ounces | Cubic Meters
|  |  | 3.868e-05 | Ounces | Cubic Yards
|  |  | 0.029574 | Ounces | Liters
|  |  | 29.5735 | Ounces | Milliliters
|  |  | 1 | Ounces | Ounces
|  |  | 0.0625 | Ounces | Pints
|  |  | 0.03125 | Ounces | Quarts
|  |  | 0.125 | Pints | Gallons
|  |  | 3.5426e-07 | Pints | Acre-Feet
|  |  | 473.176 | Pints | Cubic Centimeters
|  |  | 0.01671 | Pints | Cubic Feet
|  |  | 28.875 | Pints | Cubic Inches
|  |  | 0.00047318 | Pints | Cubic Meters
|  |  | 0.00061889 | Pints | Cubic Yards
|  |  | 0.47318 | Pints | Liters
|  |  | 473.176 | Pints | Milliliters
|  |  | 16 | Pints | Ounces
|  |  | 1 | Pints | Pints
|  |  | 0.5 | Pints | Quarts
|  |  | 0.25 | Quarts | Gallons
|  |  | 7.0851e-07 | Quarts | Acre-Feet
|  |  | 946.353 | Quarts | Cubic Centimeters
|  |  | 0.03342 | Quarts | Cubic Feet
|  |  | 57.75 | Quarts | Cubic Inches
|  |  | 0.00094635 | Quarts | Cubic Meters
|  |  | 0.0012378 | Quarts | Cubic Yards
|  |  | 0.94635 | Quarts | Liters
|  |  | 946.353 | Quarts | Milliliters
|  |  | 32 | Quarts | Ounces
|  |  | 2 | Quarts | Pints
|  |  | 1 | Quarts | Quarts

## SigFigures (hidden)
Significant Figures
Value | FALSE
Decimal | No
1st Digit Zero?
Last Digit Zero?
| Value | Non-Zero SFs | Zero SFs
Digit 1 | #VALUE! | #VALUE! | #VALUE!
Digit 2 | #VALUE! | #VALUE! | #VALUE!
Digit 3 | #VALUE! | #VALUE! | #VALUE!
Digit 4 | #VALUE! | #VALUE! | #VALUE!
Digit 5 | #VALUE! | #VALUE! | #VALUE!
Digit 6
Digit 7
Digit 8
Digit 9
Digit 10
Digit 11
Digit 12
Digit 13
|  | 0 | 0
| Total SFs: | 0
Rules:
1) ALL non-zero numbers (1,2,3,4,5,6,7,8,9) are ALWAYS significant.
2) ALL zeroes between non-zero numbers are ALWAYS significant.
3) ALL zeroes which are SIMULTANEOUSLY to the right of the decimal point AND at the end of the number are ALWAYS significant.
4) ALL zeroes which are to the left of a written decimal point and are in a number >= 10 are ALWAYS significant.

## Treatment Efficiency
Treatment Unit Efficiency
Enter Influent Flow (MGD), Influent Concentration (mg/L) and Effluent Concentration (mg/L) for any parameter
Influent Flow (MGD) | Influent Concentration (mg/L) | Effluent Concentration (mg/L) | Influent Mass Entering Treatment Unit (lbs) | Effluent Mass Leaving Treatment Unit (lbs) | Mass Removed by Treatment Unit (lbs) | Removal Efficiency

## F-M Ratio
Food to Microorganism (F:M) Ratio |  |  |  | Read More -
Enter Influent Flow (MGD), Influent CBOD Concentration (mg/L), Volume of Aeration System (gallons), and MLVSS (mg/L)
Influent Flow (MGD) | Influent CBOD Concentration (mg/L) | Volume of Aeration System (gallons) | Mixed Liquor Volatile Suspended Solids (MLVSS) (mg/L) | Pounds of Food (F) Entering Aeration (lbs) | Pounds of Volatile Solids Under Aeration (lbs) | F:M Ratio

## Sludge Generation
[18 empty] | BOD5 | Extended Aeration | 0.65 | No Digestion | 1
Solids Management (Sludge) Calculator | [17 empty] | CBOD5 | Conventional Activated Sludge | 0.85 | Aerobic Digestion, HDT = 10 Days | 0.9
[19 empty] | Activated Sludge with Primary Clarification | 0.7 | Aerobic Digestion, HDT = 15 | 0.8
This worksheet calculates the expected sludge volume that should be produced by various treatment processes over a one-year period. Enter data into green cells - hit the Tab key to move between cells. Red cells are calculated. | [18 empty] | Sequencing Batch Reactor | 0.65 | Aerobic Digestion, HDT = 20 | 0.7
[19 empty] | Oxidation Ditch | 0.65 | Aerobic Digestion, HDT= >30 | 0.65
[19 empty] | Contact Stabilization | 1 | Aerobic Thermophilic | 0.5
Facility Name: | [7 empty] | Permit No.: | [10 empty] | Trickling Filter | 1 | Anaerobic Digestion, HDT = 20 | 0.75
|  |  | Enter Date | [7 empty] | Enter Date | [7 empty] | Rotating Biological Contactor | 1 | Anaerobic Digestion, HDT = 30 | 0.65
Evaluation Period: |  |  |  |  | to | [15 empty] | Anaerobic Digestion, HDT = 40 | 0.55
Design Flow: |  |  |  | MGD |  |  |  | Actual Annual Average Flow: | [8 empty] | MGD
Type of Biological Treatment Process: | [13 empty] | Treatment Factor:
Type of Digestion Process: | [13 empty] | Digestion Factor:
Total Population Served by Treatment Plant:
Average Annual Influent BOD5 Load (per Ch. 94 Report): | [12 empty] | lbs/day
Average Annual Influent BOD5 Load (Expected based on Population): | [12 empty] | lbs/day |  | (Population x 0.17)
% of Influent BOD5 Load per Ch. 94 Report / Influent Load Expected: | [12 empty] | (Influent Load per Ch. 94 Report / Influent Load based on Population)
Average Annual Effluent Concentration of | [5 empty] | : |  |  |  | mg/L
Average Annual Pounds (lbs) of BOD5 Discharged: | [9 empty] | lbs/day |  |  | (Actual Flow x Effluent BOD5 Concentration x 8.34)
Influent BOD5 Load per Person per Day (based on Ch. 94): | [9 empty] | (Influent BOD5 Load per Ch. 94 Report / Population - 0.17 to 0.22 is typical)
Pounds of BOD5 Removed (based on Ch. 94): | [9 empty] | lbs/day |  |  | (Influent BOD5 Load per Ch. 94 Report - BOD5 Discharged)
Pounds of BOD5 Removed (based on Population): | [9 empty] | lbs/day |  |  | (Influent BOD5 Load Expected based on Population - BOD5 Discharged)
Sludge Removed from Treatment Plant (Previous Year): | [9 empty] | Dry Tons |  |  | = |  |  | Dry lbs
Sludge Production and Wasting Calculations
Based on Chapter 94 Report | [6 empty] | Based on Population
|  |  | BOD5 Removed / Day (lbs) | [8 empty] | BOD5 Removed / Day (lbs)
| X |  | Treatment Factor |  |  |  |  | X |  |  |  | Treatment Factor
|  |  | Daily Solids Production (lbs) | [8 empty] | Daily Solids Production (lbs)
| X |  | Digestion Factor |  |  |  |  | X |  |  |  | Digestion Factor
|  |  | Daily Digested Solids (lbs) | [8 empty] | Daily Digested Solids (lbs)
| X | 365 | Days per Year |  |  |  |  | X | 365 |  |  | Days per Year
|  |  | Solids Generated / Year (lbs) | [8 empty] | Solids Generated / Year (lbs)
| - |  | Solids Actually Wasted / Year (lbs) | [8 empty] | Solids Actually Wasted / Year (lbs)
|  |  | Difference (lbs) | [8 empty] | Difference (lbs)
|  |  | % of Expected Volume Wasted | [8 empty] | % of Expected Volume Wasted
|  |  | (85 - 115% is generally acceptable) | [8 empty] | (85 - 115% is generally acceptable)
|  |  | Percent Solids of Wasted Solids | [8 empty] | Percent Solids of Removed Solids
|  |  | Volume of Solids to Remove Annually (gallons) | [8 empty] | Volume of Solids to Remove Annually (gallons)
| - |  | Volume of Solids Actually Removed Annually (gallons) |  |  |  |  | - |  |  |  | Volume of Solids Actually Removed Annually (gallons)
|  |  | Difference (gallons) | [8 empty] | Difference (gallons)