# Abandoned Mine Drainage (AMD) Category

Labs must maintain accreditation for each analyte listed below in order to maintain accreditation for the AMD category.

AMD Category Fee* = $ 1,000.00 (NPW-Trace Metal Category + NPW-Inorganic Non-metal Category)

## Metals – Non-potable Water

| Metals Sample Preparation |  | EPA 200.2 |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Nitric Acid Digestion |  | SM 3030 E |  |  | SM 18th Edition |  | SM 19th Edition |  | SM 20th Edition |  | SM Online |
| Nitric Acid-Hydrochloric Acid Digestion |  | SM 3030 F |  |  | SM 18th Edition |  | SM 19th Edition |  | SM 20th Edition |  | SM Online |
| Nitric Acid-Sulfuric Acid Digestion |  | SM 3030 G |  |  | SM 18th Edition |  | SM 19th Edition |  | SM 20th Edition |  | SM Online |
| Nitric Acid-Perchloric Acid Digestion |  | SM 3030 H |  |  | SM 18th Edition |  | SM 19th Edition |  | SM 20th Edition |  | SM Online |
| Nitric Acid-Perchloric Acid-Hydrofluoric Acid Digestion |  | SM 3030 I |  |  | SM 18th Edition |  | SM 19th Edition |  | SM 20th Edition |  | SM Online |

| ALUMINUM |  | SM 3111 D |  |  |  | SM 3113 B |  | SM 3120 B |  |  | SM 18th Edition |  | SM 19th Edition |  | SM 20th Edition |  | SM Online |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| IRON |  | SM 3111 B |  | SM 3111 C |  | SM 3113 B |  | SM 3120 B |  |  | SM 18th Edition |  | SM 19th Edition |  | SM 20th Edition |  | SM Online |
| MANGANESE |  | SM 3111 B |  |  |  | SM 3113 B |  | SM 3120 B |  |  | SM 18th Edition |  | SM 19th Edition |  | SM 20th Edition |  | SM Online |
| ALUMINUM |  | EPA 200.7 |  | EPA 200.8 |  | EPA 200.9 |  |  |  |  |  |  |  |  |  |  |  |
| IRON |  | EPA 200.7 |  |  |  | EPA 200.9 |  |  |  |  |  |  |  |  |  |  |  |
| MANGANESE |  | EPA 200.7 |  | EPA 200.8 |  | EPA 200.9 |  |  |  |  |  |  |  |  |  |  |  |

|  |  | Standard Methods 18th & 19th Editions |  | Standard Methods 20th Edition |  | Standard Methods Online |
| --- | --- | --- | --- | --- | --- | --- |
| ALUMINUM |  | SM 3500 Al D |  |  |  | SM 3500 Al B |  | SM 3500 Al B-01 |
| IRON |  | SM 3500 Fe D |  | SM 3111 D |  | SM 3500 Fe B |  | SM 3500 Fe B-97 |
| MANGANESE |  | SM 3500 Mn D |  |  |  | SM 3500 Mn B |  | SM 3500 Mn B-99 |

Inorganic Non-metals – Non-potable Water

| ACIDITY |  | SM 2310 B (4a) |  |  |  |  | SM 18th Edition |  | SM 19th Edition |  | SM 20th Edition |  | SM Online |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ALKALINITY |  | SM 2320 B |  | EPA 310.2 |  |  | SM 18th Edition |  | SM 19th Edition |  | SM 20th Edition |  | SM Online |
| pH |  | SM 4500 H+ B |  | EPA 150.2 |  |  | SM 18th Edition |  | SM 19th Edition |  | SM 20th Edition |  | SM Online |
| RESIDUE – FILTERABLE (TDS) |  | SM 2540 C |  |  |  |  | SM 18th Edition |  | SM 19th Edition |  | SM 20th Edition |  | SM Online |
| RESIDUE – NON-FILTER. (TSS) |  | SM 2540 D |  |  |  |  | SM 18th Edition |  | SM 19th Edition |  | SM 20th Edition |  | SM Online |
| SPEC. CONDUCTANCE |  | SM 2510 B |  | EPA 120.1 |  |  | SM 18th Edition |  | SM 19th Edition |  | SM 20th Edition |  | SM Online |

| SULFATE |  | SM 4500 SO4- C |  | SM 4500 SO4- D |  | SM 4110 B |  |  | SM 18th Edition |  | SM 19th Edition |  | SM 20th Edition |  | SM Online |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | EPA 300.0 |  | EPA 300.1 |  | EPA 375.2 |  |  |  |  |  |  |  |  |  |

# Fly Ash Category

Labs must maintain accreditation for each analyte listed below and the AMD Category in order to maintain accreditation for the Fly Ash category.  The Fly Ash Category Fee is included in the AMD Category Fee.

| Abandoned Mine Drainage Category |  |
| --- | --- |

## Metals – Non-potable Water

| Metals Sample Preparation |  | EPA 200.2 |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Nitric Acid Digestion |  | SM 3030 E |  |  | SM 18th Edition |  | SM 19th Edition |  | SM 20th Edition |  | SM Online |
| Nitric Acid-Hydrochloric Acid Digestion |  | SM 3030 F |  |  | SM 18th Edition |  | SM 19th Edition |  | SM 20th Edition |  | SM Online |
| Nitric Acid-Sulfuric Acid Digestion |  | SM 3030 G |  |  | SM 18th Edition |  | SM 19th Edition |  | SM 20th Edition |  | SM Online |
| Nitric Acid-Perchloric Acid Digestion |  | SM 3030 H |  |  | SM 18th Edition |  | SM 19th Edition |  | SM 20th Edition |  | SM Online |
| Nitric Acid-Perchloric Acid-Hydrofluoric Acid Digestion |  | SM 3030 I |  |  | SM 18th Edition |  | SM 19th Edition |  | SM 20th Edition |  | SM Online |

| ARSENIC |  |  |  | SM 3114 B 4.d |  | SM 3113 B |  | SM 3120 B |  |  | SM 18th Edition |  | SM 19th Edition |  | SM 20th Edition |  | SM Online |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CADMIUM |  | SM 3111 B |  | SM 3111 C |  | SM 3113 B |  | SM 3120 B |  |  | SM 18th Edition |  | SM 19th Edition |  | SM 20th Edition |  | SM Online |
| CALCIUM |  | SM 3111 B |  |  |  |  |  | SM 3120 B |  |  | SM 18th Edition |  | SM 19th Edition |  | SM 20th Edition |  | SM Online |
| CHROMIUM |  | SM 3111 B |  | SM 3111 C |  | SM 3113 B |  | SM 3120 B |  |  | SM 18th Edition |  | SM 19th Edition |  | SM 20th Edition |  | SM Online |
| COPPER |  | SM 3111 B |  | SM 3111 C |  | SM 3113 B |  | SM 3120 B |  |  | SM 18th Edition |  | SM 19th Edition |  | SM 20th Edition |  | SM Online |
| LEAD |  | SM 3111 B |  | SM 3111 C |  | SM 3113 B |  | SM 3120 B |  |  | SM 18th Edition |  | SM 19th Edition |  | SM 20th Edition |  | SM Online |
| MAGNESIUM |  | SM 3111 B |  |  |  |  |  | SM 3120 B |  |  | SM 18th Edition |  | SM 19th Edition |  | SM 20th Edition |  | SM Online |
| MERCURY |  |  |  | SM 3112 B |  |  |  |  |  |  | SM 18th Edition |  | SM 19th Edition |  | SM 20th Edition |  | SM Online |
| NICKEL |  | SM 3111 B |  | SM 3111 C |  | SM 3113 B |  | SM 3120 B |  |  | SM 18th Edition |  | SM 19th Edition |  | SM 20th Edition |  | SM Online |
| POTASSIUM |  | SM 3111 B |  |  |  |  |  | SM 3120 B |  |  | SM 18th Edition |  | SM 19th Edition |  | SM 20th Edition |  | SM Online |
| SELENIUM |  |  |  | SM 3114 B |  | SM 3113 B |  | SM 3120 B |  |  | SM 18th Edition |  | SM 19th Edition |  | SM 20th Edition |  | SM Online |
| SODIUM |  | SM 3111 B |  |  |  |  |  | SM 3120 B |  |  | SM 18th Edition |  | SM 19th Edition |  | SM 20th Edition |  | SM Online |
| ZINC |  | SM 3111 B |  | SM 3111 C |  |  |  | SM 3120 B |  |  | SM 18th Edition |  | SM 19th Edition |  | SM 20th Edition |  | SM Online |
| ARSENIC |  | EPA 200.7 |  | EPA 200.8 |  | EPA 200.9 |  | EPA 206.5 |  |  |  |  |  |  |  |  |  |
| CADMIUM |  | EPA 200.7 |  | EPA 200.8 |  | EPA 200.9 |  |  |  |  |  |  |  |  |  |  |  |
| CALCIUM |  | EPA 200.7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CHROMIUM |  | EPA 200.7 |  | EPA 200.8 |  | EPA 200.9 |  |  |  |  |  |  |  |  |  |  |  |
| COPPER |  | EPA 200.7 |  | EPA 200.8 |  | EPA 200.9 |  |  |  |  |  |  |  |  |  |  |  |
| LEAD |  | EPA 200.7 |  | EPA 200.8 |  | EPA 200.9 |  |  |  |  |  |  |  |  |  |  |  |
| MAGNESIUM |  | EPA 200.7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MERCURY |  | EPA 245.1 |  | EPA 245.2 |  | EPA 245.7 |  | EPA 1631 E |  |  |  |  |  |  |  |  |  |
| NICKEL |  | EPA 200.7 |  | EPA 200.8 |  | EPA 200.9 |  |  |  |  |  |  |  |  |  |  |  |
| POTASSIUM |  | EPA 200.7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SELENIUM |  | EPA 200.7 |  | EPA 200.8 |  | EPA 200.9 |  |  |  |  |  |  |  |  |  |  |  |
| SODIUM |  | EPA 200.7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ZINC |  | EPA 200.7 |  | EPA 200.8 |  |  |  | EPA 289.2 |  |  |  |  |  |  |  |  |  |

|  |  | Standard Methods 18th & 19th Editions |  | Standard Methods 20th Edition |  | Standard Methods Online |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ARSENIC |  | SM 3500 As C |  |  |  | SM 3500 As B |  |  |  | SM 3500 As B-97 |  |  |  |
| CADMIUM |  | SM 3500 Cd D |  |  |  |  |  |  |  |  |  |  |  |
| CALCIUM |  | SM 3500 Ca D |  |  |  | SM 3500 Ca B |  |  |  | SM 3500 Ca B-97 |  |  |  |
| CHROMIUM |  | SM 3500 Cr D |  |  |  | SM 3500 Cr B |  |  |  | SM 3500 Cr B-01 |  |  |  |
| COPPER |  | SM 3500 Cu D |  | SM 3500 Cu E |  | SM 3500 Cu B |  | SM 3500 Cu C |  | SM 3500 Cu B-99 |  |  |  |
| LEAD |  | SM 3500 Pb D |  |  |  | SM 3500 Pb B |  |  |  | SM 3500 Pb B-97 |  |  |  |
| MAGNESIUM |  | SM 3500 Mg D |  |  |  |  |  |  |  |  |  |  |  |
| NICKEL |  | SM 3500 Ni D (17th) |  |  |  |  |  |  |  |  |  |  |  |
| POTASSIUM |  | SM 3500 K D |  | SM 317 B (14th) |  | SM 3500 K B |  |  |  | SM 3500 K B-97 |  |  |  |
| SODIUM |  | SM 3500 Na D |  |  |  | SM 3500 Na D |  |  |  | SM 3500 Na B-97 |  |  |  |
| ZINC |  | SM 3500 Zn E |  | SM 3500 Zn F |  | SM 3500 Zn B |  |  |  | SM 3500 Zn B-97 |  |  |  |

## Inorganic Non-metals – Non-potable Water

| CHLORIDE |  | SM 4110 B |  | SM 4500 Cl B |  | SM 4500 Cl C |  | SM 4500 Cl D |  | SM 4500 Cl E |  |  | SM 18th Edition |  | SM 19th Edition |  | SM 20th Edition |  | SM Online |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | EPA 300.0 |  | EPA 300.1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

# Overburden Category

Labs must maintain accreditation for each analyte listed below in order to maintain accreditation for the Overburden category.

Overburden Category Fee* = $ 550.00 (SCM-Inorganic Non-metal Category)

## Solid & Chemical Materials

| Total Percent Sulfur |  | PA DEP Overburden Manual p. 37 (Eschka Method) |  | PA DEP Overburden Manual, p.40 (Bomb Washing Method) |  | PA DEP Overburden Manual, p.44 (High-temp Combustion – IR absorption) |  | PA DEP Overburden Manual, p. 48 (High-temp Combustion – Iodimetric Titration) |  | PA DEP Overburden Manual, p. 51 (High-temp Combustion – Acid Base Titration) |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Neutralization Potential |  | PA DEP Overburden Manual, p. 67 |  |  |  |  |  |  |  |  |  |  |