BACTERIOLOGICAL SAMPLE SUBMISSION SHEET FOR HOMEOWNERS

| HOMEOWNER INFORMATION (MUST BE COMPLETE FOR ANALYSIS): |
| --- |
| Collector's Name: | Phone #: |
| County: |
| √ box and enter email address for electronic results: |
| MAIL REPORT TO: | LAB RESULTS: POTABLE NON POTABLE Total Coliforms /100ml E. coli /100 ml Other Analyst |  |
| HOMEOWNER SECTION (MUST BE COMPLETE FOR ANALYSIS): |
| # OF SAMPLES SUBMITTED = |
| Date Collected: (MM-DD-YY) | Time Collected: Military | How Shipped to the Lab: |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Commercial Courier |
|  | Hand Delivered |
| REQUESTED ANALYSIS (√ only one) |
| Potable Water Assessment |
| Other |
| CHECK WHICH ONE APPLIES: |
| Presence/Absence OR Exact Count |
| Type of Sample Drinking Water Other |
| (√ only one) |
| Source of Water Well Spring Reservoir Other |
| (√ only one) |
| Sampling Location Kitchen Bathroom Outdoor Tap Barn Other |
| (√ only one) |
| LAB USE ONLY |
| Collector ID: | Seq. No.: | Matrix Code: | Lab Number: |
|  | 5 | 9 | 9 | 7 |  |  |  |  |  |  |  | 0 | 0 | 1 |  | Date Received: |
| Reason: | Cost Center: | Program: | SAC or Suite Code: |  |
|  | 0 | 1 |  |  | 0 | 6 | 5 |  |  | 0 | 0 | 0 | 2 |  |  |  |  |  |  |  | Temp ≤ 6( Yes or No |
| Legal Seal Number | Intact | Initials | Received by: |
|  | Yes or No |  | Lab comments: |
|  | Yes or No |  |  |
|  | Yes or No |  |  |

PA Department of Environmental Protection – Bureau of Laboratories

2575 Interstate Drive, Harrisburg PA  17110-9332

Bacteriological Sample Submission Sheet for Homeowners

Sampling Instructions for the Homeowner

1. Remove the aerator, purifier or hose from tap if present. 2. Allow cold water to flow freely for 3 minutes. If you have chlorine shocked your well, make sure that there is no remaining chlorine residual in the water by allowing it to completely flush out of the water system. Remaining chlorine residue will yield a false negative result and invalidate the test. 3. Open the plastic sterile sample bottle using caution not to contaminate the inside of the sample bottle or lid. 4. Do not rinse out the sample bottle. The bottle contains a neutralizing agent that must remain in the bottle during sampling and testing. 5. Fill the bottle to its shoulder or base of neck. Leave ample space for mixing. Samples must be greater than 100 milliliters. Filling to the shoulder ensures 120 milliliters of sample volume. 6. Keep samples cold while in transit to Regional Office or Laboratory. Samples temperatures must be between 32( F to 50( F. Samples will be rejected in the Lab if this requirement is not met. Use ice or freezer packs to properly refrigerate the sample. If ice is used, over wrap samples in a plastic bag to protect from ice water contamination. The sample collection report also needs to be protected from water and should be placed in a separate plastic bag.

Instructions for completing the Homeowner Sample Submission Sheet

1. Use a separate sample submission sheet for each sample that you are submitting to the Lab. If you would like your water tested for whether or not it is safe to drink, please check Potable Water Assessment under Requested Analysis. 2. Label both the sample bottle and the Homeowner Sample Submission sheet with the homeowner's full name and date sample was collected. 3. Complete all unshaded areas. Shaded areas are for Lab use only. The collection date and time entries must be completed by collector. 4. Enter your mailing address in the appropriate box. Results will be mailed to you within five (5) business days. Check off the box if you would like your results electronically sent to you but you must legibly enter your email address in the space provided. 5. The microbiology lab will automatically test your water sample for presence or absence of total coliform bacteria unless you specifically request an exact count. If exact count is needed, check appropriate box.

Still have questions?  Please call and talk to someone at the Bureau of Laboratories

| Area: | Contact Name: | Phone Number: | E-mail: |
| --- | --- | --- | --- |
| Biological Services Chief | Tony Russo | 717-346-8670 | arusso@state.pa.us |
| Bacteriology Lab | Michael Chroscinski | 717-346-8643 | mchroscinski@state.pa.us |
| Division Manager | Taru Upadhyay | 717-346-7206 | tupadhyay@state.pa.us |