CN Sampling Instructions

Revision 000

Effective date XXXXXX

Approved by:

__________________________________              __________

William Mowery, Automated Section Chief               Date

__________________________________		__________

James Yoder, Quality Assurance Manager		Date

Distribution list:

Automated Section Chief

BOL Website Administrator

PA Dept. of Environmental Protection

Bureau of Laboratories

2575 Interstate Dr.

Harrisburg, PA   17110-9332

Revision History

| Revision # | Change: | Date |
| --- | --- | --- |
| 000 | Initial Writing of SOP | 6/26/2012 |

# Table of Contents

Section 1.  Purpose

Section 2.  Applicability

Section 3.  Personnel Qualification and Responsibilities

Section 4.  Definitions

Section 5.  Summary

Section 6.  Guidance for Preservation and Dechlorination of Samples Requiring Cyanide Analysis

Section 7.  Quality Assurance and Quality Control

Section 8.  References

- Purpose

  - This SOP provides guidance for preservation and dechlorination of samples requiring Cyanide analysis.

- Applicability

  - This SOP is applicable to both samples from a Non-chlorinated and Chlorinated source being sent to the Bureau of Laboratories requiring Cyanide analysis.

- Personnel Qualification and Responsibilities

  - Any person sending samples to the BOL requiring Cyanide analysis shall follow the procedures in this SOP.

- Definitions

  - Standard Operating Procedure (SOP) - a written document that describes, in detail, how to perform an activity, work process, or test method.  SOPs may be written for a repetitive technical activity or for an administrative process.

- Summary

  - This SOP is the process to be used for sample preservation and dechlorination for samples requiring Cyanide analysis.

- Guidance for Preservation and Dechlorination of Samples Requiring Cyanide Analysis

  - If the sample is from a Non-chlorinated source

    - Preserve the sample by adding enough Sodium Hydroxide to produce a sample pH of 12 or greater.

    - NEVER add Ascorbic Acid to a sample from a non-chlorinated water source. This can lead to erroneous Cyanide test results.

    - Maintain the sample temperature at 4oC from the time of collection until receipt at the Bureau of Laboratories.

  - If the sample is from a chlorinated source

    - Collect the sample using a 500 mL sample container.

    - First preserve the sample by adding enough Sodium Hydroxide to produce a sample pH of 12 or greater.

    - De-chlorinate the 500 mL sample by adding 0.1 grams of Ascorbic Acid (from a Green-Labeled amber vial).

    - Mix the sample, then test for the presence of free chlorine using KI starch paper (A drop of the sample on the KI starch paper should produce no color change, but the paper will turn blue if the sample contains free chlorine).

      - If there is no free chlorine detected, add another 0.03 grams of Ascorbic Acid (from a Red-Labeled amber vial).

    - If free chlorine is detected after the addition of the first vial of Ascorbic Acid, add another 0.1 grams of Ascorbic Acid (from another Green-Labeled amber vial) and test again using KI starch paper. When the testing indicates there is no free chlorine, add 0.03 grams of Ascorbic Acid (from a Red-Labeled amber vial).

    - Do not add extra Ascorbic Acid beyond what has been described in these instructions as it can lead to erroneous Cyanide test results.

    - Maintain the sample temperature at 4oC from the time of collection until receipt at the Bureau of Laboratories.

    - De-chlorinated samples must be analyzed by the laboratory within 24 hours from the time of collection. Boldly label the Sample Submission Sheet: CN Sample from Chlorinated Source:  24-Hour Holding Time. It is also suggested that you call the lab in advance (Bureau of Laboratories: 717-346-7200).

- Quality Assurance and Quality Control

  - Ensure that the Sodium Hydroxide used for sample preservation or the Ascorbic Acid used for dechlorination of a sample from a chlorinated source is not expired.

- References

  - EPA Method Kelada-01, Kelada Automated Test Methods for Total Cyanide, Acid Dissociable Cyanide, and Thiocyanate, Revision 1.2, August 2001.

  - 40 CFR Part 136.3 Guidelines Establishing Test Procedures for the Analysis of Pollutants, Table II, Footnotes.