Act 129 (HB 2200)

Work Plan for Potential GHG Reduction Measure

Strategy Name: Act 129 of 2008 (HB 2200)

Lead Staff Contact: Joe Sherrick (717-772-8944)

Summary:  This initiative identifies the carbon emissions benefits associated with the reduction of electricity consumption and peak load, as described in Act 129 of 2008.  Act 129 requires:

- A reduction in electricity consumption, by May 31, 2011 of 1.0% below consumption levels for the period June 1, 2009 through May 31, 2010.

- A reduction in electricity consumption, by May 31, 2013 of 3.0% below consumption levels for the period June 1, 2009 through May 31, 2010 (additional reduction of 2.0% from the June 2009 through May 2010 baseline for a net total reduction of 3.0%).

- A reduction in peak demand, by May 31, 2013 of 4.5% of the highest 100 hours of demand

Please note that the imposition of requirements of Act 129 is not inclusive of the very modest consumption and associated system losses from municipalities that are service providers or the rural electric cooperatives.

Other Involved Agencies: PUC has implementation responsibility

Possible New Measure(s):

A study must be undertaken to identify the full suite of cost-effective measures that should be given consideration.  A report from the American Council for an Energy Efficient Economy (ACEEE) is being drafted for the PUC and DEP and should serve well to inform this process.  Act 129 does not specify how these reductions are to be achieved.  Responses will be purely market-driven.

Potential GHG Reduction:  8.01 MMTCO2

The following steps were used in calculating the emissions reduction:

- Consumption and system loss data was obtained for each of the eight electric distribution companies (EDCs) in PA for years 2001 through 2006.  This data was obtained from the PUC’s Electric Power Annual Outlook reports.

- Average rates of consumption and system losses were calculated for each EDC under two different scenarios (Act 129 and business as usual (BAU)).  Average growth rates in consumption ranged from 0.32% to 2.11%.  Average rates for systems losses, by EDC, ranged from 5.65% to 8.87%.

- Projections for BAU rates of consumption were made beginning with the last year of reported data to the PUC (2006).

- A similar set of projections was made that incorporated the load curtailments as called for year 2011 via Act 129.

- Another similar set of projections was performed for 2013 but which also included an additional calculation to factor in the 4.5% reduction in peak load demand required by Act 129.

- The sum total MWh for consumption and system losses for each scenario (Act 129 and BAU) was then multiplied by a five-year (2000 through 2004) statewide average CO2 emission factor (1,279 pounds of CO2 per MWh) for electricity produced in PA.  The emissions rates were calculated from generation and emissions data reported to the EIA.

- The difference between these two scenarios yields the actual projected reduction in CO2 emissions in year 2025.

- The tables at the end provide the data used throughout this analysis.

A series of tables summarizing the estimated CO2 reductions potential of this initiative are included in this work plan immediately following “Potential Overlap.”

Economic Cost:  $793.6 million savings

The cost savings resulting from implementation of Act 129 should result in approximately $793.6 million.  Some of this will be due to peak load reductions that result in lower wholesale energy and capacity charges but not less energy used.  There is the assumption that lower wholesale charges will be passed through to customers.  Other savings will result through reducing energy consumption.

Because we only have a rough idea of where energy prices will be in 3 - 5 years, we cannot predict these results with great accuracy.  Instead, savings estimates are based on recent price trends and future price projections, while using current energy prices as the basis for calculating those savings that occur in the wholesale market.  These estimates are believed to be very conservative since the total retail price values used are expected to be lower than what will be seen after the rate caps expire.  Two tables summarizing the estimated cost savings are included in this work plan and can be found immediately following the series of emissions reductions tables.

- Cost to DEP - None

- Cost to the Commonwealth - None

- Cost to regulated community or consumer – None anticipated (see above).  Act 129 requires only modest reductions in load growth.  Consumers should realize long-term cost savings.

- Are there Federal funds available? – N/A

- Do these costs fund other programs? N/A

- Are cost savings realized from this initiative? Yes, as noted above.  Market forces will drive compliance options and the path forward.  Actual savings will likely vary widely among the EDC territories, within the various rate classes and economic sectors and also based on socio-economic factors for residential consumers.

Implementation Steps:

- Act 129 was signed into law on October 15.

- By January 15, 2009, the PUC must adopt an energy efficiency and conservation program that requires each electric distribution company (EDC) to develop and implement cost effective energy efficiency & conservation plans to reduce consumption and peak load within their service territories, as noted in the Summary section of this work plan.

- The American Council for an Energy Efficient Economy (ACEEE) is conducting a statewide assessment of cost effective energy efficiency potential.  Building on this assessment, a more ambitious plan with several, periodic, load-reduction steps could be implemented and which would actually change the projected rate of consumption instead of simply slowing the rate.

Potential Overlap:

- Transmission and Distribution Loss Work Plan

- AEPS Tier I @ 8%, 15%, 20% Work Plans

- Any additional work plans that cut electricity consumption

| HB220 Scenario |
| --- |
|  | Average Growth Rate per EDC |  |
|  | 1.07% | 1.96% | 1.30% | 0.32% | 2.11% | 1.25% | 1.38% | 1.74% |  |
|  | Duquesne | MetEd | Penelec | PennPower | PECO | PPL | UGI | West Penn | Total MWh |
| Consumption (MWh) by Compliance Year | 2007 | 13,931,078 | 14,110,681 | 14,243,800 | 4,699,190 | 39,666,440 | 38,204,688 | 1,009,857 | 21,371,462 | 147,237,195 |
|  | 2008 | 14,079,593 | 14,387,398 | 14,429,540 | 4,714,284 | 40,503,909 | 38,680,531 | 1,023,812 | 21,743,813 | 149,562,879 |
|  | 2009 | 14,229,691 | 14,669,541 | 14,617,703 | 4,729,426 | 41,359,060 | 39,162,301 | 1,037,960 | 22,122,651 | 151,928,332 |
|  | 2010 | 14,381,389 | 14,957,216 | 14,808,319 | 4,744,617 | 42,232,266 | 39,650,071 | 1,052,303 | 22,508,089 | 154,334,271 |
|  | 2011 | 14,390,891 | 15,100,962 | 14,853,338 | 4,712,411 | 42,701,585 | 39,747,416 | 1,056,322 | 22,675,162 | 155,238,085 |
|  | 2012 | 14,544,307 | 15,397,098 | 15,047,027 | 4,727,547 | 43,603,135 | 40,242,475 | 1,070,919 | 23,070,226 | 157,702,733 |
|  | 2013 | 14,411,727 | 15,399,892 | 14,947,070 | 4,647,835 | 43,679,069 | 39,950,693 | 1,064,667 | 23,022,008 | 157,122,962 |
|  | 2014 | 14,565,366 | 15,701,891 | 15,141,982 | 4,662,764 | 44,601,257 | 40,448,283 | 1,079,379 | 23,423,115 | 159,624,037 |
|  | 2015 | 14,720,643 | 16,009,811 | 15,339,435 | 4,677,741 | 45,542,914 | 40,952,070 | 1,094,295 | 23,831,211 | 162,168,121 |
|  | 2016 | 14,877,575 | 16,323,771 | 15,539,462 | 4,692,766 | 46,504,452 | 41,462,133 | 1,109,417 | 24,246,417 | 164,755,993 |
|  | 2017 | 15,036,180 | 16,643,887 | 15,742,098 | 4,707,840 | 47,486,292 | 41,978,548 | 1,124,748 | 24,668,858 | 167,388,449 |
|  | 2018 | 15,196,476 | 16,970,280 | 15,947,377 | 4,722,962 | 48,488,860 | 42,501,395 | 1,140,290 | 25,098,658 | 170,066,298 |
|  | 2019 | 15,358,480 | 17,303,075 | 16,155,332 | 4,738,132 | 49,512,596 | 43,030,754 | 1,156,048 | 25,535,946 | 172,790,363 |
|  | 2020 | 15,522,212 | 17,642,395 | 16,365,999 | 4,753,351 | 50,557,945 | 43,566,707 | 1,172,023 | 25,980,854 | 175,561,486 |
|  | 2021 | 15,687,689 | 17,988,370 | 16,579,413 | 4,768,619 | 51,625,365 | 44,109,335 | 1,188,219 | 26,433,513 | 178,380,523 |
|  | 2022 | 15,854,931 | 18,341,129 | 16,795,611 | 4,783,936 | 52,715,321 | 44,658,721 | 1,204,639 | 26,894,058 | 181,248,346 |
|  | 2023 | 16,023,955 | 18,700,807 | 17,014,627 | 4,799,302 | 53,828,289 | 45,214,950 | 1,221,286 | 27,362,628 | 184,165,843 |
|  | 2024 | 16,194,781 | 19,067,537 | 17,236,499 | 4,814,717 | 54,964,755 | 45,778,107 | 1,238,162 | 27,839,361 | 187,133,921 |
|  | 2025 | 16,367,429 | 19,441,460 | 17,461,265 | 4,830,183 | 56,125,215 | 46,348,278 | 1,255,272 | 28,324,400 | 190,153,501 |

| Consumption - Business as Usual (BAU) Scenario |
| --- |
|  | Average Growth Rate per EDC |  |
|  | 1.07% | 1.96% | 1.30% | 0.32% | 2.11% | 1.25% | 1.38% | 1.74% |  |
|  | Duquesne | MetEd | Penelec | PennPower | PECO | PPL | UGI | West Penn | Total MWh |
| Consumption (MWh) by Compliance Year | 2007 | 13,931,078 | 14,110,681 | 14,243,800 | 4,699,190 | 39,666,440 | 38,204,688 | 1,009,857 | 21,371,462 | 147,237,195 |
|  | 2008 | 14,079,593 | 14,387,398 | 14,429,540 | 4,714,284 | 40,503,909 | 38,680,531 | 1,023,812 | 21,743,813 | 149,562,879 |
|  | 2009 | 14,229,691 | 14,669,541 | 14,617,703 | 4,729,426 | 41,359,060 | 39,162,301 | 1,037,960 | 22,122,651 | 151,928,332 |
|  | 2010 | 14,381,389 | 14,957,216 | 14,808,319 | 4,744,617 | 42,232,266 | 39,650,071 | 1,052,303 | 22,508,089 | 154,334,271 |
|  | 2011 | 14,534,704 | 15,250,534 | 15,001,421 | 4,759,857 | 43,123,907 | 40,143,917 | 1,066,845 | 22,900,242 | 156,781,428 |
|  | 2012 | 14,689,654 | 15,549,603 | 15,197,041 | 4,775,146 | 44,034,374 | 40,643,914 | 1,081,587 | 23,299,229 | 159,270,547 |
|  | 2013 | 14,846,256 | 15,854,537 | 15,395,212 | 4,790,484 | 44,964,063 | 41,150,138 | 1,096,533 | 23,705,166 | 161,802,389 |
|  | 2014 | 15,004,527 | 16,165,451 | 15,595,967 | 4,805,871 | 45,913,380 | 41,662,667 | 1,111,686 | 24,118,176 | 164,377,726 |
|  | 2015 | 15,164,486 | 16,482,463 | 15,799,340 | 4,821,308 | 46,882,740 | 42,181,580 | 1,127,048 | 24,538,382 | 166,997,346 |
|  | 2016 | 15,326,149 | 16,805,691 | 16,005,365 | 4,836,794 | 47,872,566 | 42,706,956 | 1,142,623 | 24,965,909 | 169,662,052 |
|  | 2017 | 15,489,536 | 17,135,257 | 16,214,076 | 4,852,330 | 48,883,290 | 43,238,875 | 1,158,412 | 25,400,885 | 172,372,662 |
|  | 2018 | 15,654,665 | 17,471,287 | 16,425,509 | 4,867,916 | 49,915,353 | 43,777,420 | 1,174,420 | 25,843,439 | 175,130,010 |
|  | 2019 | 15,821,555 | 17,813,906 | 16,639,699 | 4,883,551 | 50,969,206 | 44,322,672 | 1,190,649 | 26,293,704 | 177,934,944 |
|  | 2020 | 15,990,223 | 18,163,244 | 16,856,683 | 4,899,238 | 52,045,308 | 44,874,716 | 1,207,103 | 26,751,814 | 180,788,329 |
|  | 2021 | 16,160,690 | 18,519,433 | 17,076,495 | 4,914,974 | 53,144,130 | 45,433,635 | 1,223,784 | 27,217,905 | 183,691,047 |
|  | 2022 | 16,332,974 | 18,882,607 | 17,299,175 | 4,930,761 | 54,266,152 | 45,999,516 | 1,240,695 | 27,692,117 | 186,643,996 |
|  | 2023 | 16,507,094 | 19,252,903 | 17,524,758 | 4,946,599 | 55,411,862 | 46,572,444 | 1,257,840 | 28,174,591 | 189,648,091 |
|  | 2024 | 16,683,071 | 19,630,461 | 17,753,282 | 4,962,488 | 56,581,762 | 47,152,509 | 1,275,222 | 28,665,471 | 192,704,264 |
|  | 2025 | 16,860,924 | 20,015,422 | 17,984,787 | 4,978,427 | 57,776,361 | 47,739,798 | 1,292,844 | 29,164,903 | 195,813,466 |

| System Losses - HB2200 Scenario |
| --- |
|  | Average System Loss Rate per EDC |  |
|  | 5.77% | 7.87% | 8.87% | 6.49% | 6.65% | 7.18% | 5.65% | 6.53% |  |
|  | Duquesne | MetEd | Penelec | PennPower | PECO | PPL | UGI | West Penn | Total MWh |
| System Losses (MWh) by Compliance Year | 2007 | 803,683 | 1,110,810 | 1,263,229 | 304,805 | 2,637,920 | 2,744,325 | 57,075 | 1,394,798 | 10,316,645 |
|  | 2008 | 812,251 | 1,132,593 | 1,279,702 | 305,784 | 2,693,614 | 2,778,506 | 57,863 | 1,419,100 | 10,479,412 |
|  | 2009 | 820,910 | 1,154,804 | 1,296,390 | 306,766 | 2,750,484 | 2,813,112 | 58,663 | 1,443,824 | 10,644,952 |
|  | 2010 | 829,662 | 1,177,450 | 1,313,295 | 307,751 | 2,808,554 | 2,848,150 | 59,474 | 1,468,980 | 10,813,315 |
|  | 2011 | 830,210 | 1,188,766 | 1,317,287 | 305,662 | 2,839,765 | 2,855,142 | 59,701 | 1,479,884 | 10,876,416 |
|  | 2012 | 839,061 | 1,212,078 | 1,334,465 | 306,644 | 2,899,720 | 2,890,703 | 60,526 | 1,505,667 | 11,048,864 |
|  | 2013 | 831,412 | 1,212,298 | 1,325,600 | 301,474 | 2,904,770 | 2,869,744 | 60,172 | 1,502,520 | 11,007,990 |
|  | 2014 | 840,276 | 1,236,071 | 1,342,886 | 302,442 | 2,966,098 | 2,905,487 | 61,004 | 1,528,698 | 11,182,962 |
|  | 2015 | 849,233 | 1,260,311 | 1,360,397 | 303,413 | 3,028,721 | 2,941,675 | 61,847 | 1,555,333 | 11,360,931 |
|  | 2016 | 858,287 | 1,285,027 | 1,378,137 | 304,388 | 3,092,665 | 2,978,314 | 62,702 | 1,582,431 | 11,541,950 |
|  | 2017 | 867,437 | 1,310,227 | 1,396,108 | 305,366 | 3,157,960 | 3,015,409 | 63,568 | 1,610,001 | 11,726,076 |
|  | 2018 | 876,684 | 1,335,921 | 1,414,313 | 306,346 | 3,224,634 | 3,052,966 | 64,447 | 1,638,052 | 11,913,363 |
|  | 2019 | 886,030 | 1,362,119 | 1,432,756 | 307,330 | 3,292,715 | 3,090,991 | 65,337 | 1,666,591 | 12,103,870 |
|  | 2020 | 895,476 | 1,388,830 | 1,451,439 | 308,318 | 3,362,233 | 3,129,490 | 66,240 | 1,695,628 | 12,297,654 |
|  | 2021 | 905,022 | 1,416,066 | 1,470,366 | 309,308 | 3,433,219 | 3,168,468 | 67,155 | 1,725,171 | 12,494,776 |
|  | 2022 | 914,670 | 1,443,835 | 1,489,540 | 310,301 | 3,505,704 | 3,207,932 | 68,083 | 1,755,228 | 12,695,295 |
|  | 2023 | 924,421 | 1,472,150 | 1,508,964 | 311,298 | 3,579,719 | 3,247,887 | 69,024 | 1,785,809 | 12,899,272 |
|  | 2024 | 934,276 | 1,501,019 | 1,528,641 | 312,298 | 3,655,297 | 3,288,340 | 69,978 | 1,816,923 | 13,106,772 |
|  | 2025 | 944,236 | 1,530,455 | 1,548,574 | 313,301 | 3,732,471 | 3,329,296 | 70,945 | 1,848,578 | 13,317,857 |

| System Losses - Business as Usual (BAU) Scenario |
| --- |
|  | Average System Loss Rate per EDC |  |
|  | 5.77% | 7.87% | 8.87% | 6.49% | 6.65% | 7.18% | 5.65% | 6.53% |  |
|  | Duquesne | MetEd | Penelec | PennPower | PECO | PPL | UGI | West Penn | Total MWh |
| System Losses (MWh) by Compliance Year | 2007 | 803,683 | 1,110,810 | 1,263,229 | 304,805 | 2,637,920 | 2,744,325 | 57,075 | 1,394,798 | 10,316,645 |
|  | 2008 | 812,251 | 1,132,593 | 1,279,702 | 305,784 | 2,693,614 | 2,778,506 | 57,863 | 1,419,100 | 10,479,412 |
|  | 2009 | 820,910 | 1,154,804 | 1,296,390 | 306,766 | 2,750,484 | 2,813,112 | 58,663 | 1,443,824 | 10,644,952 |
|  | 2010 | 829,662 | 1,177,450 | 1,313,295 | 307,751 | 2,808,554 | 2,848,150 | 59,474 | 1,468,980 | 10,813,315 |
|  | 2011 | 838,507 | 1,200,540 | 1,330,420 | 308,740 | 2,867,850 | 2,883,624 | 60,296 | 1,494,573 | 10,984,550 |
|  | 2012 | 847,446 | 1,224,083 | 1,347,769 | 309,731 | 2,928,399 | 2,919,540 | 61,129 | 1,520,613 | 11,158,709 |
|  | 2013 | 856,480 | 1,248,088 | 1,365,344 | 310,726 | 2,990,226 | 2,955,903 | 61,973 | 1,547,106 | 11,335,846 |
|  | 2014 | 865,611 | 1,272,564 | 1,383,148 | 311,724 | 3,053,358 | 2,992,719 | 62,830 | 1,574,061 | 11,516,014 |
|  | 2015 | 874,839 | 1,297,519 | 1,401,184 | 312,726 | 3,117,822 | 3,029,993 | 63,698 | 1,601,486 | 11,699,268 |
|  | 2016 | 884,165 | 1,322,964 | 1,419,456 | 313,730 | 3,183,648 | 3,067,732 | 64,578 | 1,629,388 | 11,885,662 |
|  | 2017 | 893,591 | 1,348,908 | 1,437,966 | 314,738 | 3,250,864 | 3,105,941 | 65,471 | 1,657,777 | 12,075,255 |
|  | 2018 | 903,117 | 1,375,360 | 1,456,717 | 315,749 | 3,319,499 | 3,144,626 | 66,375 | 1,686,660 | 12,268,104 |
|  | 2019 | 912,745 | 1,402,332 | 1,475,713 | 316,763 | 3,389,583 | 3,183,793 | 67,293 | 1,716,046 | 12,464,267 |
|  | 2020 | 922,475 | 1,429,832 | 1,494,956 | 317,780 | 3,461,147 | 3,223,447 | 68,223 | 1,745,944 | 12,663,805 |
|  | 2021 | 932,310 | 1,457,872 | 1,514,451 | 318,801 | 3,534,221 | 3,263,595 | 69,165 | 1,776,364 | 12,866,779 |
|  | 2022 | 942,249 | 1,486,461 | 1,534,199 | 319,825 | 3,608,838 | 3,304,244 | 70,121 | 1,807,313 | 13,073,250 |
|  | 2023 | 952,294 | 1,515,611 | 1,554,205 | 320,852 | 3,685,031 | 3,345,399 | 71,090 | 1,838,801 | 13,283,284 |
|  | 2024 | 962,446 | 1,545,333 | 1,574,472 | 321,883 | 3,762,832 | 3,387,066 | 72,073 | 1,870,838 | 13,496,943 |
|  | 2025 | 972,706 | 1,575,638 | 1,595,004 | 322,917 | 3,842,276 | 3,429,252 | 73,068 | 1,903,433 | 13,714,295 |

| Climate Impact ((Consumption + Losses) X CO2)) HB2200 Scenario |
| --- |
|  | Consumption | Losses | Total MWh | CO2 Tons | MMTCO2 |
| Consumption (MWh) by Compliance Year | 2007 | 147,237,195 | 10,316,645 | 157,553,840 | 100,755,681 | 91.39 |
|  | 2008 | 149,562,879 | 10,479,412 | 160,042,292 | 102,347,045 | 92.83 |
|  | 2009 | 151,928,332 | 10,644,952 | 162,573,284 | 103,965,615 | 94.30 |
|  | 2010 | 154,334,271 | 10,813,315 | 165,147,585 | 105,611,881 | 95.79 |
|  | 2011 | 155,238,085 | 10,876,416 | 166,114,501 | 106,230,224 | 96.35 |
|  | 2012 | 157,702,733 | 11,048,864 | 168,751,597 | 107,916,646 | 97.88 |
|  | 2013 | 157,122,962 | 11,007,990 | 168,130,952 | 107,519,744 | 97.52 |
|  | 2014 | 159,624,037 | 11,182,962 | 170,806,999 | 109,231,076 | 99.07 |
|  | 2015 | 162,168,121 | 11,360,931 | 173,529,051 | 110,971,828 | 100.65 |
|  | 2016 | 164,755,993 | 11,541,950 | 176,297,944 | 112,742,535 | 102.26 |
|  | 2017 | 167,388,449 | 11,726,076 | 179,114,525 | 114,543,739 | 103.89 |
|  | 2018 | 170,066,298 | 11,913,363 | 181,979,661 | 116,375,993 | 105.55 |
|  | 2019 | 172,790,363 | 12,103,870 | 184,894,233 | 118,239,862 | 107.24 |
|  | 2020 | 175,561,486 | 12,297,654 | 187,859,141 | 120,135,921 | 108.96 |
|  | 2021 | 178,380,523 | 12,494,776 | 190,875,299 | 122,064,754 | 110.71 |
|  | 2022 | 181,248,346 | 12,695,295 | 193,943,640 | 124,026,958 | 112.49 |
|  | 2023 | 184,165,843 | 12,899,272 | 197,065,115 | 126,023,141 | 114.30 |
|  | 2024 | 187,133,921 | 13,106,772 | 200,240,693 | 128,053,923 | 116.14 |
|  | 2025 | 190,153,501 | 13,317,857 | 203,471,359 | 130,119,934 | 118.02 |

| Climate Impact ((Consumption + Losses) X CO2)) BAU Scenario |
| --- |
|  | Consumption | Losses | Total MWh | CO2 Tons | MMTCO2 |
| Consumption (MWh) by Compliance Year | 2007 | 147,237,195 | 10,316,645 | 157,553,840 | 100,755,681 | 91.39 |
|  | 2008 | 149,562,879 | 10,479,412 | 160,042,292 | 102,347,045 | 92.83 |
|  | 2009 | 151,928,332 | 10,644,952 | 162,573,284 | 103,965,615 | 94.30 |
|  | 2010 | 154,334,271 | 10,813,315 | 165,147,585 | 105,611,881 | 95.79 |
|  | 2011 | 156,781,428 | 10,984,550 | 167,765,977 | 107,286,342 | 97.31 |
|  | 2012 | 159,270,547 | 11,158,709 | 170,429,257 | 108,989,510 | 98.85 |
|  | 2013 | 161,802,389 | 11,335,846 | 173,138,235 | 110,721,901 | 100.42 |
|  | 2014 | 164,377,726 | 11,516,014 | 175,893,740 | 112,484,047 | 102.02 |
|  | 2015 | 166,997,346 | 11,699,268 | 178,696,613 | 114,276,484 | 103.65 |
|  | 2016 | 169,662,052 | 11,885,662 | 181,547,714 | 116,099,763 | 105.30 |
|  | 2017 | 172,372,662 | 12,075,255 | 184,447,917 | 117,954,443 | 106.98 |
|  | 2018 | 175,130,010 | 12,268,104 | 187,398,113 | 119,841,094 | 108.70 |
|  | 2019 | 177,934,944 | 12,464,267 | 190,399,210 | 121,760,295 | 110.44 |
|  | 2020 | 180,788,329 | 12,663,805 | 193,452,134 | 123,712,639 | 112.21 |
|  | 2021 | 183,691,047 | 12,866,779 | 196,557,826 | 125,698,729 | 114.01 |
|  | 2022 | 186,643,996 | 13,073,250 | 199,717,246 | 127,719,179 | 115.84 |
|  | 2023 | 189,648,091 | 13,283,284 | 202,931,375 | 129,774,614 | 117.71 |
|  | 2024 | 192,704,264 | 13,496,943 | 206,201,208 | 131,865,672 | 119.60 |
|  | 2025 | 195,813,466 | 13,714,295 | 209,527,761 | 133,993,003 | 121.53 |

| CO2 Reduction HB2200 vs. BAU |
| --- |
|  | Total MWh | MMTCO2 |
|  | HB2200 | BAU | Delta | HB2200 | BAU | Delta |
| Consumption (MWh) by Compliance Year | 2007 | 157,553,840 | 157,553,840 | 0 | 91.39 | 91.39 | 0.00 |
|  | 2008 | 160,042,292 | 160,042,292 | 0 | 92.83 | 92.83 | 0.00 |
|  | 2009 | 162,573,284 | 162,573,284 | 0 | 94.30 | 94.30 | 0.00 |
|  | 2010 | 165,147,585 | 165,147,585 | 0 | 95.79 | 95.79 | 0.00 |
|  | 2011 | 166,114,501 | 167,765,977 | 1,651,476 | 96.35 | 97.31 | 0.96 |
|  | 2012 | 168,751,597 | 170,429,257 | 1,677,660 | 97.88 | 98.85 | 0.97 |
|  | 2013 | 168,130,952 | 173,138,235 | 5,007,283 | 97.52 | 100.42 | 2.90 |
|  | 2014 | 170,806,999 | 173,138,235 | 2,331,236 | 99.07 | 100.42 | 1.35 |
|  | 2015 | 173,529,051 | 178,696,613 | 5,167,562 | 100.65 | 103.65 | 3.00 |
|  | 2016 | 176,297,944 | 181,547,714 | 5,249,771 | 102.26 | 105.30 | 3.05 |
|  | 2017 | 179,114,525 | 184,447,917 | 5,333,393 | 103.89 | 106.98 | 3.09 |
|  | 2018 | 181,979,661 | 187,398,113 | 5,418,453 | 105.55 | 108.70 | 3.14 |
|  | 2019 | 184,894,233 | 190,399,210 | 5,504,977 | 107.24 | 110.44 | 3.19 |
|  | 2020 | 187,859,141 | 193,452,134 | 5,592,993 | 108.96 | 112.21 | 3.24 |
|  | 2021 | 190,875,299 | 196,557,826 | 5,682,527 | 110.71 | 114.01 | 3.30 |
|  | 2022 | 193,943,640 | 199,717,246 | 5,773,606 | 112.49 | 115.84 | 3.35 |
|  | 2023 | 197,065,115 | 202,931,375 | 5,866,259 | 114.30 | 117.71 | 3.40 |
|  | 2024 | 200,240,693 | 206,201,208 | 5,960,515 | 116.14 | 119.60 | 3.46 |
|  | 2025 | 203,471,359 | 209,527,761 | 6,056,403 | 118.02 | 121.53 | 3.51 |

Estimated Cost Savings Associated with Reductions in Consumption and Peak Demand

|  | 2010 Electricity Consumption (kwh)** |  | Price (per kwh) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| EDC | Residential | Commercial | Industrial | Total | Peak Load | Residential | Commercial | Industrial |  |  |  |
| Duquesne | 4,252,636,310 | 6,782,533,800 | 3,176,632,810 | 14,211,802,920 | 2,890 | $ 0.125 | $ 0.120 | $ 0.105 |  |  |  |
| Met-Ed | 5,651,232,800 | 4,762,128,790 | 4,032,205,830 | 14,445,567,420 | 2,825 | $ 0.145 | $ 0.140 | $ 0.125 |  |  |  |
| Penelec | 4,541,799,310 | 5,190,247,590 | 4,655,657,620 | 14,387,704,520 | 2,524 | $ 0.140 | $ 0.135 | $ 0.115 |  |  |  |
| Penn Power | 1,706,494,990 | 1,427,734,990 | 1,643,389,180 | 4,777,619,160 | 1,042 | $ 0.140 | $ 0.135 | $ 0.115 |  |  |  |
| PECO | 13,622,155,830 | 8,980,529,130 | 16,748,003,820 | 39,350,688,780 | 8,549 | $ 0.160 | $ 0.155 | $ 0.115 |  |  |  |
| PPL | 14,554,732,260 | 13,893,139,840 | 9,576,452,360 | 38,024,324,460 | 7,141 | $ 0.140 | $ 0.135 | $ 0.125 |  |  |  |
| West Penn | 7,338,168,130 | 5,047,907,280 | 8,241,191,960 | 20,627,267,370 | 3,838 | $ 0.123 | $ 0.118 | $ 0.095 |  |  |  |
|  | Energy Cost Savings | Capacity Cost Savings | Market Price Impact of Efficiency* | Market Impact of Peak Load* | Overall Savings |
| EDC | In 2011 and 2012 | Additional in 2013 | Total in 2013 and after | In 2013 and after | In 2011 and 2012 | Additional in 2013 | Total in 2013 and after | In 2013 and after | In 2011 and 2012 | Additional in 2013 | Total for 2013 and after |
| Duquesne | $ 16,790,300 | $ 33,580,601 | $ 50,370,901 | $ 1,364,712 | $ 7,034,842 | $6,892,724 | $ 13,927,567 | $ 79,349 | $ 23,825,143 | $ 41,917,386 | $ 65,742,529 |
| Met-Ed | $ 19,901,525 | $ 39,803,050 | $ 59,704,575 | $ 8,004,108 | $ 7,150,556 | $7,006,100 | $ 14,156,656 | $ 465,383 | $ 27,052,081 | $ 55,278,642 | $ 82,330,723 |
| Penelec | $ 18,719,360 | $ 37,438,719 | $ 56,158,079 | $ 7,151,281 | $ 7,121,914 | $6,978,037 | $ 14,099,950 | $ 415,797 | $ 25,841,273 | $ 51,983,834 | $ 77,825,107 |
| Penn Power | $ 6,206,433 | $ 12,412,866 | $ 18,619,298 | $ 2,952,312 | $ 2,364,921 | $2,317,145 | $ 4,682,067 | $ 171,656 | $ 8,571,354 | $ 17,853,979 | $ 26,425,333 |
| PECO | $ 54,975,474 | $ 109,950,948 | $ 164,926,422 | $ 24,221,989 | $19,478,591 | $19,085,084 | $ 38,563,675 | $ 1,408,341 | $ 74,454,065 | $ 154,666,361 | $ 229,120,426 |
| PPL | $ 51,102,929 | $ 102,205,859 | $ 153,308,788 | $ 20,232,685 | $18,822,041 | $18,441,797 | $ 37,263,838 | $ 1,176,390 | $ 69,924,970 | $ 142,056,731 | $ 211,981,701 |
| West Penn | $ 22,811,610 | $ 45,623,220 | $ 68,434,829 | $ 10,874,253 | $10,210,497 | $10,004,225 | $ 20,214,722 | $ 632,263 | $ 33,022,107 | $ 67,133,960 | $ 100,156,067 |
| Total | $190,507,631 | $ 381,015,262 | $ 571,522,893 | $ 74,801,339 | $72,183,362 | $70,725,113 | $142,908,475 | $ 4,349,180 | $262,690,993 | $ 530,890,893 | $ 793,581,887 |
| * Market impacts of $.0005/kwh and $.005/kw for all energy consumed |
| ** Electricity consumption in 2010 is 2007 actual plus 1%/year increase through 2010. |
| Electricity consumption in 2012 is the same as in 2010: 1% reduction plus 1% growth. |
| Note: Data is not inclusive of UGI. UGI was exempted from Act 129 requirements. |