Pennsylvania Climate Change Advisory Committee

Electricity Generation, Transmission & Distribution Subcommittee

Industry Work Plans

Micro-Economic Analysis Quantification Specifications Matrix -- DRAFT

Data Necessary for Reference Case Inventory and Forecast and/or other Quantification Efforts

- New grid connected electricity generating plants in PA that have received all necessary permits: including Tier 2 compliant sources (reference case resources)

- Performance characteristics of baseline technology(ies) to meet future demand in excess of sited resources: existing resources, single technology, weighted technologies

- PA/PJM specific capital, O&M costs, capacity factors, transmission upgrade requirements for planned and unplanned generation expansion options:  nuclear, CCGT, in-state wind, out-of-state wind, biomass, biogas, LFG, municipal solid waste,  coalmine methane, hydro—new low impact, hydro—repowering, geothermal (?), solar PV.

- Assumptions about PA portfolio of resources the will meet compliance with Tier 2: all waste coal?

- Expected PA generating plant retirements / repowering through 2025.

- Most recent PA electricity load growth forecasts.

- PA or regional fuel price forecasts

- PA and PJM renewable resource supply assessment

- Recent actions in PA that will not be in inventory and forecast: Act 129?

| Number (temp.) From Summary of Work Plans | Grouping | Work Plan | Implementation Period | Goals and Timing | Parties Affected | Implementing Parties | Data sources / assumptions / methods for GHGs | Data sources / assumptions / methods for Costs | Notes (including quantifiable and combinations |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Electricity #1 |  | Act 129 of 2008 (HB 2200) | 2011-2013 | 1% reduction by 2011, 2% reduction by 2013 | Electricity consumers, distribution companies, generation suppliers, PA PUC, PA DEP | Electricity consumers, distribution companies, generation suppliers, PA Public Utility Commission, PA DEP, PA General Assembly for Tier IV carve out | Electricity load growth forecasts, assumptions about avoided electricity CO2 intensities, PA efficiency resource assessment under Act 129 | Existing studies on capital, O&M, labor costs for energy efficiency options | Cost data overlaps with RecCom workplans |
| Electricity #2 |  | Reduced Load Growth | 2015 to 2025 | 1.5% annual reduction in demand beginning in 2015 through 2025. | Electricity consumers, distribution companies, generation suppliers, PA PUC, PA DEP | Electricity consumers, distribution companies, generation suppliers, PA Public Utility Commission, PA DEP, PA General Assembly for Tier IV carve out | Electricity load growth forecasts, assumptions about avoided electricity CO2 intensities, PA efficiency resource assessment under Act 129 | Existing studies on capital, O&M, labor costs for energy efficiency options | Cost data overlaps with RecCom workplans |
| Electricity #3 |  | Stabilized Load Growth | 2015 to 2025 | 1.5% annual reduction in demand beginning in 2015 through 2027, annual reductions thereafter equal to forecasted demand increase(?) | Electricity consumers, distribution companies, generation suppliers, PA PUC, PA DEP | Electricity consumers, distribution companies, generation suppliers, PA Public Utility Commission, PA DEP, PA General Assembly for Tier IV carve out | Electricity load growth forecasts, assumptions about avoided electricity CO2 intensities, PA efficiency resource assessment under Act 129 | Existing studies on capital, O&M, labor costs for energy efficiency options | Cost data overlaps with RecCom workplans |
| Electricity #4 |  | Alternative Energy Portfolio (Act 213 of 2004) Tier I Standard | 2007-2021 | 1.5% of sales must be Tier 1 compliance in 2007 increasing .5%/yr until 8% in 2021. 8% thereafter. Solar PV .5% by 2020 | Electricity consumers, distribution companies, generation suppliers, PA PUC, PA DEP | Electricity distribution companies, generation suppliers, PA Public Utility Commission, PA DEP | Tier 1 acquisitions end 2021 The resources sited under this workplan will be included in reference case I&F for both the production and consumption based forecast. | Sources of capital, O&M, fuel cost forecasts: utility IRPs, EIA Timing and level of Federal and state tax credits and other incentives | Outstanding questions: Avoided generation resources need to be specified for GHG reductions and costs of Tier 1 resources to be estimated. Portfolio of resources assumed to meet Tier 1 Standard: least-cost in state, etc. Length and extent of Tier 1 exemptions: X% through 2011? Cooperative and municipal utilities participation rate in citing Tier 1 resources Global assumption about Tier 2 resources: waste coal, EE, etc |
| Electricity #5 |  | Alternative Energy Portfolio Standard (AEPS) Tier I at 15% | 2007-2025 | Same as Tier 1 Standard but 1%/yr increase beginning 2016, reaching 15% in 2025 | Electricity consumers, distribution companies, generation suppliers, PA PUC, PA DEP | Electricity distribution companies, generation suppliers, PA Public Utility Commission, PA DEP, PA General Assembly | Tier 1 acquisitions end 2025 Electricity supplies and CO2 reductions are additional to 8% standard. |  | Outstanding questions: 8% standard questions apply Is portfolio of resources used to meet 15% standard the same as 8% standard? Assumption regarding regional competition for renewable resources supply curve? |
| Electricity #6 |  | Alternative Energy Portfolio Standard (AEPS) Tier I at 20% | 2007-2025 | Same as Tier 1 Standard but 1.5%/yr increase beginning 2012, 2020 target reduced to 1%, reaching 20% in 2025 | Electricity consumers, distribution companies, generation suppliers, PA PUC, PA DEP | Electricity distribution companies, generation suppliers, PA Public Utility Commission, PA DEP, PA General Assembly | Tier 1 acquisitions end 2025 Electricity supplies and CO2 reductions are additional to 8% standard. |  | Outstanding questions: 15% standard questions apply Is portfolio of resources used to meet 20% standard the same as 15% standard? |
| Electricity #6 |  | Alternative Energy Portfolio Standard (AEPS) Tier III – Coal Carbon Capture and Storage (AEPS Tier II set-aside) | 2014+ | Raising Tier 2 Standard by 4.2% beginning in year 11 (?) Interim targets unspecified | Electricity consumers, distribution companies, generation suppliers, PA PUC, PA DEP, DCNR | Electricity distribution companies, generation suppliers, PA Public Utility Commission, PA DEP, PA General Assembly | CCS benefits accrue through year ? Electricity supplies and CO2 reductions are additional to 8% standard. | MIT report, EIA data on CCS types and forecasted costs | Outstanding questions: Why is 2014 assumed siting year, but increase in Tier 2 starts in “year 11” in workplan when AEPS compliance starts in 2006? Size and operating characteristics of coal plant and CCS unit, assumed CO2 leakage rate |
| Electricity #7 |  | Improve Coal-Fired Power Plant Efficiency by 5% | Not Specified | Not Specified Interim targets unspecified | Electricity consumers, distribution companies, generation suppliers, PA PUC, PA DEP, DCNR | Electricity distribution companies, generation suppliers, PA Public Utility Commission, PA DEP |  | Apply efficiency improvements to PA units as appropriate. Lifecycle costs (savings) included in quantification. | Outstanding questions: Vintage and heat rates of PA coal generating fleet. Is repowering existing boilers an option for this workplan? |
| Electricity #8 |  | Greenhouse Gas Performance Standard for New Power Plants | Not Specified | Applies only to new power plants. Net zero emissions within 10 yrs or by 2024 | Electricity consumers, distribution companies, generation suppliers, PA PUC, PA DEP, DCNR | Electricity distribution companies, generation suppliers, PA Public Utility Commission, PA DEP |  |  | Outstanding questions: When do standards take effect for new plants? What are interim targets for 10 year, zero GHG standard by 2024? |
| Electricity #9 |  | Nuclear and Hydro Capacity Uprates | Not Specified | Not Specified | Hydro and nuclear plant owners and operators, PA DEP, PA PUC | Electricity distribution companies, generation suppliers, PA Public Utility Commission, PA DEP | Nuclear uprate schedule uncertain | Cost data for nuclear uprates is uncertain due to age, reactor design |  |
| Electricity #10 |  | Sulfur Hexafluoride (SF6) Emission Reductions from the Electric Power Industry | Unspecified | Reduction of SF6 by .1 MMTCO2e by 2025 | Electricity generation suppliers, PA DEP, PA PUC | Electricity distribution companies, generation suppliers, PA Public Utility Commission, PA DEP, US EPA SF6 Partnership | Baseline emissions are .3 MMTCO2e |  | Non-quantifiable?: most costs are administrative and training related, minimal reductions available |
| Electricity #11 |  | Analysis to Evaluate Potential Impacts Associated with Joining Regional Greenhouse Gas Initiative | Through 2018 | GHG reductions consistent with RGGI Model Rule of 10% reduction from 2005 base period | Large stationary emitters of CO2 | Electricity generation suppliers, PA Public Utility Commission, PA DEP, PA General Assembly |  |  |  |
|  |  | Battery Backup as Load Shaving and Daily Operation |  |  |  |  |  |  |  |
|  |  | Utility Incentives |  |  |  |  |  |  |  |
|  |  | Nuclear Power |  |  |  |  |  |  |  |
|  |  | Transmission and Distribution Losses |  |  |  |  |  |  |  |
|  |  | Promote Combined Heat and Power (CHP) |  |  |  |  |  |  |  |
|  |  | Promote Renewable Energy Systems |  |  |  |  |  |  |  |

http://www.depweb.state.pa.us/energy/cwp/view.asp?a=1532&q=539829