The Role of the Built Environment in

###### Resource Use, Energy, and Climate Change

Additional Action Statements Needed?

Vivian Loftness, FAIA, Carnegie Mellon University

##### Operations

Turn it off campaign: unnecessary heating, cooling, lighting

Passive conditioning, Maximize daylighting for task and ambient lighting

Maximize natural ventilation with mixed-mode conditioning

Low energy active and mixed mode conditioning

### Smart Controls – user friendly, set-back thermostats, and training

##### Building Enclosure

### Provide Shade: Cool Buildings and Cool Communities

Ensure Air Tightness & Insulation: Reduce enclosure heat loss/heat gain

Incentivize Renewables; remove ‘grid’ barriers

### Power

No more vampire/ parasitic loads

Turn it off campaign: unnecessary power to appliances and equipment

District heating = Energy cascades – power to cooling to heating

Innovate submetering, occupant feedback and controls, energy and water labeling

### Heating, Cooling, Humidity Management, Ventilation

Separate ventilation systems from thermal conditioning for IAQ and local “shut down”

Commission all HVAC

Pursue geothermal conditioning systems, aquathermal district conditioning systems

##### Sustainable Lighting and Daylighting

Provide Daylighting as a dominant light source

## Reduce ambient lighting levels and provide relocatable task-ambient.

## Replace lamps

## Replace fixtures, lamps and controls

## Improve controls and train

##### Sustainable Water and Waste

Conserve and reuse water for energy savings

(250 kwh per million gallons water pumping alone, not processing)

##### Reinvesting in our Unique Main Street Communities – our competitive advantage

Set urban growth boundaries, no new land

Incentivize reinvestment over new

Save crafted, historic, unique buildings that define place

Zone for mixed use, pedestrian based lifestyles (Freiburg Germany, Portland, Oregon)

Plan Transit oriented (only) development;

##### Community: Mixed modes of transportation

No more ‘highway’ developments; an ADA issue for those who cannot drive. Change zoning to ensure live-work-walk communities (new urbanism)

Set urban growth boundaries to replace abandonment with investment

Incentivize walking and biking as primary modes of transportation

Incentivize mass transit use

Build light rails to connect major populations and destinations

Collaborate with states for high speed rail to connect major population centers

Should be our competitive advantage!

Incentivize alternative vehicles, fuels, smart traffic management and parking

##### Community: New energy public utility strategies

Incentivized renewable portfolio – wind, aqua-thermal, sun

Carbon offset program for renewables

Create seamless grid interconnectivity, net metering

Cleaner non renewables,carbon capture and storage

R&D to cascade electricity to thermal energy through district & building systems

Create aggressive submetering program with compelling public displays

Community: Storm-sewer solutions

Eliminate storm runoff

Rebuild piped and wired infrastructures to improve Quality of Life, integrating

piped infrastructures (water, storm, sewer, gas..)

wired infrastructures (electricity, cable, phone, fiber)

and pedestrian, biking and landscape infrastructures

##### Reinvesting in our Unique Natural Environment – our competitive advantage

Establish forest, park and farm protections

Rediscovering forests and rivers through land and water trusts,

daylighting streams, reforestation.

Promote low-energy, low-impact, high health recreation: biking, boating, hiking