## RecalcDec09
PERMIT | DEP Comment | DISCHRG_ID | Tmt Sys Const Costs | Needs built Cost | Annual O&M costs | Annual O&M costs-Dec 2009 | Recap cost | Is this discharge covered by a trust? | Available bond | Comments | Permit count
14663003 | Power Operating Dugan 2 | PD' | 297810 | 297810 | 861 | 861 | 67977 | NO | 344592.55 | $40,000 design contract 8/07 | 1
14663003 | Power Operating Dugan 2 | PO3-12 | included above | included above | included above | included above | included above | NO | included above | included in above
14663004 | Power Operating Dugan 4 | PA' | 194362 | 194362 | 10359 | 10359 | 85186 | NO | 394420 | $15,000 design contract 8/07 | 1
14663010 | R.S. Carlin - Mine #26 | TSN0 | 86120 | 86120 | 71831 | 71831 | 30731 | NO |  | Caustic and pond | 1
14803008 | Avery Coal/Pine Glen Operation | SP3 | 44481 | 44481 | 13782 | 13782 | 60021 | NO | NONE |  | 1
17803054 | Thompson Bros. Alder Run Mine | 36 | 301100 | 301100 | 31200 | 31200 | 12773 | NO | 39557 | ALD and Settling pond | 1
17803054 | Thompson Bros. Alder Run Mine | 37 | included above | included above | included above | included above | included above | NO | included above | Caustic and pond
17810154 | Thompson Bros. "001 Strip" | 25 | 154858 | 154858 | 12021 | 12021 | 83531 | NO | 4560 | $300,000 2007 GG appl for constr grant (Cons Dist) | 1
17813143 | Chews Contracting "Little D" | LD1 | 8185 | 8185 | 3166 | 3166 | 2517 | NO | 16040 | ALD and Settling pond | 1
17820114 | Power Operating Vought | 9 | 14093 | 14093 | 27815 | 27815 | 12773 | NO | 203307 | Caustic and pond | 1
17820132 | Benjamin Coal/ Little Beaver #1 | RLB2 | 14093 | 14093 | 26320 | 26320 | 12773 | NO | 242478 | Caustic and pond | 1
17820143 | Avery "Victoria" | MP8 | 34914 | 34914 | 29537 | 29537 | 10630 | NO | 136976 | Aerobic wetland | 1
17820143 | Avery "Victoria" | MP9 | included above | included above | included above | included above | included above | NO | included above | included above
17860105 | Benjamin Coal Marshall | MP3 | 37233 | 37233 | 3430 | 3430 | 30455 | NO | 100100 | Aerobic wetland | 1
17860105 | Benjamin Coal Marshall | MP4
17921605 | Thomas Coal Sales Greenwood Tipple | 1S | 20768 | 20768 | 3281 | 3281 | 14532 | NO | 92784 | VFP | 1
17921605 | Thomas Coal Sales Greenwood Tipple | 2 | 14093 | 14093 | 26193 | 26193 | 12773 | NO | included in above | Caustic and pond
18840101 | Keating Mine | K5 | 40463 |  | 2476 | 2476 | 27726 | YES |  | $75,880 In Trust; other funds collected | 1
18840101 | Keating Mine | K29 | 2236 |  | 78 | 78 | 3090 | YES |  | included in above
18840101 | Keating Mine | K6 | 56505 |  | 3038 | 3038 | 65812 | YES |  | included in above
18840101 | Keating Mine | K8 | included above |  | included above | included above | included above | YES |  | included above
18840101 | Keating Mine | K14 | included above |  | included above | included above | included above | YES |  | included above
18860101 | Lobb "Narco" passive treatment | 8 | 20151 |  | 3635 | 3635 | 20026 | NO | NONE | ALD (surety) bypasses storm flows over 150 gpm | 1
57830101 | Bernice Mining - Lewis Mine | 102 | 164613 |  | 5686 | 5686 | 107863 | NO | 192181 | 2007 PBF Construction | 1
05830101 | L&B Coal Co. - No. 5 | SP4A | 11864 | 11864 | 12530 | 12530 | 8646 | NO | 85487 |  | 1
11693000 | K&J Coal Co. Westover | 4 | 621700 |  | 17573 | 21380 | 599512 | $1.1million | 0 | Surety Rec | 1
11693000 | K&J Coal Co. Westover | 23 | 220280 |  | K&J combined | K&J combined | 143883 |  |  | Surety Rec
11693000 | K&J Coal Co. Westover | P-1 | 506400 |  | K&J combined | K&J combined | 599512 |  |  | Surety Rec
17880129 | K&J Coal Co. Gaber/Brown | GB6 | 756400 |  | K&J combined | 17440 | 599512 |  |  | Surety Rec | 1
17880129 | K&J Coal Co. Gaber/Brown | GB4 | included above |  |  |  | included above |  |  | Surety Rec
11783035 | C&K Coal | SBG32 | 33853 |  | 183578 | 183578 | 26914 | *$9.1million | 0 | *C&K Trust inadequate to operate this system | 1
11823002 | C&K Coal | DEP-1 | 14401 |  | 1655 | 1655 | 38585 |  |  |  | 1
11850106 | C&K Coal | DER-1 | 16748 |  | 76953 | 76953 | 12206 |  |  |  | 1
11850106 | C&K Coal | DER-2 | Combined w/ DER-1
11813019 | PA Energy Corp. agree; untreated | MD1 | 13664 | 13664 | 19423 | 26272 | 9958 | NO | 0 | BAMR Rec | 1
32823035 | reclamation completed; discharge of minimal quality; no plans to address | BS-15 | 13664 | 13664 | 29866 | 29866 | 9958 | NO |  |  | 1
56763022 | Maust Mine Passive trmt, Surety agreement | Raw | 117940 |  | 3370 | 15908 | 302343 | NO | 0 | Surety Rec | 1
56763022 | Maust Mine Passive trmt, Surety agreement | OldDH | 52344 | 52344 | 2088 |  | 120553 | NO | " | Surety Rec
56773084 | Moore Strip | Seep | 30328 | 30328 | 1757 | 1757 | 86492 | NO | 22829 |  | 1
56773084 | Moore Strip | Seep 2 | 33454 | 33454 | 1820 | 1820 | 61297 | NO | "
56773084 | Moore Strip | Pipe | 80425 | 80425 | 2131 | 2131 | 161307 | NO | "
56783046 | James E. Long | MD1 | 38503 | 38503 | 1782 | 1782 | 78011 | NO | 0 | Surety Rec | 1
56793053 | Delta Mining | MD-2 | 20113 | 20113 | 1679 | 1679 | 44908 |  | 86380 |  | 1
56793053 | Delta Mining | MD-3 | 8928 | 8928 | 1552 | 1552 | 12003
56793078 | Brant Strip | MD101 | 13664 |  | 20453 | 20453 | 11950 | NO | 109300 |  | 1
56803014 | Bashore Mine | N Seep | 13664 | 13664 | 31659 | 31659 | 9958 | NO | 326507 |  | 1
56803014 | Bashore Mine | NN Seep | 13664 | 13664 | 30159 | 30159 | 9958 | NO | "
56813054 | Berkey | SP-30 | 5426 |  | 1565 | 1565 | 5932 | NO | 65000 |  | 1
56813054 | Berkey | SP-31 | 5426 |  | 321 | 321 | 5932 | NO | "
56840103 | Ankey Mine passive | MM1 | 13730 |  | 871 | 871 | 41347 | NO | 0 | Surety Rec | 1
56840103 | Ankey Mine passive | MM9 | 525 |  | 1516 | 1516 | 1407 | NO | 0 | Surety Rec
56840103 | Ankey Mine passive | MM5 | 2711 |  | 562 | 562 | 10835 | NO | 0 | Surety Rec
56840112 | Amer Dev Job 33 | BG156 | 16748 | 16748 | 31478 | 31478 | 12206 | NO | 0 | Surety Rec | 1
56960111 | Sorber Mine | MD1 | 13664 | 13664 | 23064 | 23064 | 9958 |  | 116877 |  | 1
56773136 | Bituminous Coals Inc | TOS1 | 13664 | 13664 | 37578 | 37578 | 9958 |  |  |  | 1
56773136 | Bituminous Coals Inc | TOS2 | included above | included above | included above | included above | included above
56773136 | Bituminous Coals Inc | TOS3 | included above | included above | included above | included above | included above
32950104 | Big Mack Leasing | MD11 | 52784 | 52784 | 52357 | 52357 | 63443 |  |  |  | 1
03840112 | Darmac # 14 Bamr trmt system | D-1 | 34529 |  | 3465 | 3465 | 177729 | NO |  | ALD and pond in place | 1
03840112 | Darmac # 14 Limestone Channel | D-2 | 32931 | 32931 | 3251 | 3251 | 62409 | NO |  | 600 foot Limestone ditch in place
03890108 | Darmac - Silver Rock | Highwall Drain | 127097 |  | 7128 | 7128 | 120911 | NO |  | Discharges combined | 1
03890108 | Darmac - Silver Rock | Main Discharge | included above |  | included above | included above | included above
26830108 | Arthur Brooks Coal Honsacker Site | 4 | 52839 | 52839 | 13652 | 13652 | 5714 | NO | 54622.4 | Flow 1 GPM | 1
26830108 | Arthur Brooks Coal Honsacker Site | 9A | Cost combined above |  |  |  |  | NO |  | WQ differs for High and Low flow, AMDTREAT used for Low flow since High flow meets effluent
26840110 | James Rumble & Wm. Bane untreated discharge | 1S | 40857 | 40857 | 25180 | 25180 | 14542 | NO | 5797 | A pond exists and MAY be able to be used | 1
26931601 | Global Coal Recovery, Inc. | 62 | 266049 | 266049 | 40885 | 40885 | 214140 | NO | 1194780 | Two discharges combined into one system | 1
26931601 | Global Coal Recovery, Inc. | 37 | included above | included above | included above | included above | included above |  |  | Two discharges combined into one system
65723055 | Frank Kowalski untreated discharge | SP8 | 80301 | 80301 | 5635 | 5635 | 196833 | NO |  | Discharges combined | 1
65723055 | Frank Kowalski untreated discharge | SP8A | included above | included above | included above | included above | included above
65830202 | Delta Penn Corp.(Hostetter Pile) untreated discharge; will be added to PA MDI | BS-9 | 26398 | 26398 | 36513 | 36513 | 14754 | NO |  | Costs are for one tmt system to treat all discharges | 1
65830202 | untreated discharge; will be added to PA MDI | BS-10 | included above | included above | included above | included above | included above |  |  | Combined with BS-9 and BS-11
65830202 | untreated discharge; will be added to PA MDI | BS-11 | included above | included above | included above | included above | included above |  |  | Combined with BS-9 and BS-10
65940108 | Bulldog Excav. | MD1 | 11924 | 11924 | 24354 | 24354 | 29044 | NO |  |  | 1
30840102 | Greene County Coal | S2C | 16787 | 16787 | Combined below | Combined below | 16399 |  |  |  | 1
30840102 | Greene County Coal | S2B | 37051 |  | 5089 | 5089 | 8479
30840102 | Greene County Coal | S1B | 6790 | 6790 | Combined above | Combined above | 3215
10820121 | Ruth | 12.2 | 70579 | 70579 | 65349 | 65349 | 64297 | No | 259700 | 12.2 and 9F calculated using pebble quick lime. | 1
10820121 | Ruth | 9B | [7 empty] | 9B cost not Calculated yet
10820121 | Ruth | 9F | included with 12.2
10860118 | Snyder Sertik | D1 | 21631 |  | 2264 | 2264 | 11825 | Yes | No | Functioning Passive Treatment System | 1
10940105 | Emrick | MD1 | [6 empty] | 530 | Cost not Calculated yet | 1
10940105 | Emrick | MD1A | [7 empty] | Cost not Calculated yet
10940105 | Emrick | MD2 | [7 empty] | Cost not Calculated yet
10940105 | Emrick | MD3 | [7 empty] | Cost not Calculated yet
10940105 | Emrick | MD4 | [7 empty] | Cost not Calculated yet
10940105 | Emrick | MD5 | [7 empty] | Cost not Calculated yet
16713004 | Hill Estate | D2 | 69601 |  | 4249 | 4249 | 38048 | Yes | No | Discontinued Chemical Treatment (caustic) with Passive | 1
16803011 | Vosburg | GVO-1 | 8654 |  | 1810 | 1810 | 9460 | No | 40000 | Functioning Passive Treatment System | 1
16803030 | Smith Heasley | D1 | 61292 |  | 3652 | 3652 | 33506 | Yes | No | Discontinued Chemical (caustic) Treatment with Passive | 1
16820107 | Truittsburg | RT12 | 35051 | 35051 | 25746 | 25746 | 31931 | No | 30976 | Calculated using pepple quick lime. This could be treated passively but room is an issue. | 1
16830114 | Tremba Horner | SCF37 | 82778 |  | 4557 | 4557 | 45251 | Yes | No | Functioning Passive Treatment System | 1
16840103 | Kriebel | Z1 | 26866 |  | 2447 | 2447 | 14687 | Yes | No | Functioning Passive Treatment System | 1
16850101 | Glacial Minerals Inc. Blair Mine | SPA1 | 78270 | 78270 | 29011 | 29011 | 71304 | No | 294100 | Calculated using pebble quick lime. | 1
16850101 | Glacial Minerals Inc. Blair Mine | SPA2 | included above | included above | included above | included above | included above
16850101 | Glacial Minerals Inc. Blair Mine | 4" BLACK PIPE(Z-1) | 111994 |  | 4773 | 4773 | 102025 | No | See above | Functioning Passive Treatment System.
33743044* | Orcutt Smail There are 2 discharges for 33743044 & 33803040; both discharges apply to both permits. | ALD BF-302 | 14864 |  | 24160 | 24160 | 13541 | No | No | BAMR Treatment System | 1
33803040* | Orcutt Smail There are 2 discharges for 33743044 & 33803040; both discharges apply to both permits. | Raw BF-302 | 17264 |  | 46864 | 46864 | 15728 | No | 953.51 | BAMR Treatment System
33830117 | King | Bog | 69276 | 69276 | 3983 | 3983 | 63110 | No | 71700 | Calculated with Wetland and Mn bed. | 1
33840111 | Mowery Discharge is treated by a limestone bed. | MD1 | 28553 |  | 2340 | 2340 | 26011 | No | 22455 | Functioning Passive Treatment System | 1
61783001 | Racic Aerobic wetland, active chemical, & settling pond are working | 1C | 79497 |  | 35055 | 35055 | 43458 | Yes | No | Active Chemical treatment with Passive Component | 1
61820102 | Merola | 4 (Lower Seep) | 74657 |  | 4120 | 4120 | 81614 | No | 327908.42 | BAMR Treatment System | 1
61820102 | Merola | S10 (Upper Seep) | 63311 | 63311 | 36649 | 36649 | 57676 | No | See above | Calculated using pebble quick lime. Includes discharge S10A
61820102 | Merola | 10A (Upper Seep #2) | [7 empty] | Included in treatment system for S10.
61820105 | Martin Mine: untreated discharge | 29W | 43669 | 43669 | 41215 | 41215 | 39782 | No | 135247.07 | No treatment system in place. Calculated using pepple quick lime. | 1
Totals |  |  | 5954117 | 2544617 | 1367445 | 1405991 | 5397096 |  | 5018144.95 |  | 60