PA DEP - NORTHEAST REGIONAL OFFICE

105 APPLICATION COMPLETENESS CHECKLIST

| APPLICATION TYPE: | APPLICATION NO: E4802223-003 |
| --- | --- |
|  | - STANDARD |  |
| ( | - SMALL PROJECTS |  |
|  | - SMALL PROJ. SUBMITTED; STD. REQ’D |  |

NOTE: Use (( - INCLUDED;  NR - NOT REQUIRED*;  D – DEFICIENT (use remarks);

W - WAIVED PER 105.13(j)) for following info.)

SMALL PROJECT AND STANDARD APPLICATION:

| REQUIREMENTS | ENG. | ENV. | REMARKS |
| --- | --- | --- | --- |
| APPLICATION FEE | ( |  | $20,950 |
| JOINT APP. FORM PROPERLY SIGNED | ( |  |  |
| THREE COPIES SUBMITTED | ( |  |  |
| GIF (current version, land use info, coord. info., signature) | ( |  |  |
| ACTS 14/67/68 NOTIFICATIONS & PROOF OF RECEIPT | ( |  | Co. & Twp – 5/24/18 |
| SITE PLAN | ( |  |  |
| CROSS-SECTIONS | ( |  |  |
| LOCATION MAP | ( |  |  |
| PROJECT DESCRIPTION | ( |  |  |
| COLOR PHOTOS WITH MAP SHOWING LOCATIONS | ( |  |  |
| P.E. SEAL & CERTIFICATION | ( |  |  |
| ENVIRONMENTAL ASSESSMENT FORM |  |  |  |
| PNDI FORM (SUPPLEMENT NO. 1) |  |  |  |
| PROOF OF PHMC NOTIFICATION |  |  |  |

STANDARD APPS. AND/OR ADDITIONAL INFO. REQ’D. FOR SMALL PROJECT:

| REQUIREMENTS | ENG. | ENV | REMARKS |
| --- | --- | --- | --- |
| E&S PLAN | NR |  |  |
| E&S PLAN ADEQUACY LETTER | NR |  |  |
| PROOF OF EDP/NPDES APPLICATION | ( |  | Submitted to NCCD |
| HYDROLOGIC & HYDRAULIC ANALYSIS (Diskette for HEC-RAS) | NR |  |  |
| STORMWATER MANAGEMENT ANALYSIS | NR |  |  |
| FLOODPLAIN MANAGEMENT ANALYSIS | NR |  |  |
| RISK ASSESSMENT | NR |  |  |
| ALTERNATIVES ANALYSIS |  | ( |  |
| MITIGATION PLAN |  | ( |  |
| WETLAND DETERMINATION/DELINEATION |  | ( |  |
| OTHER WETLAND INFO: WETLANDS FUNCTION AND VALUES |  | ( |  |
| WETLAND EVALUATION TECHNIQUE 2.0 |  | ( |  |
| HABITAT EVALUATION PROCEDURE |  | ( |  |
| SURVEY OF WETL. BOUND./PROPERTY LINE |  | ( |  |
| NARRATIVE OF SECONDARY IMPACTS |  | ( |  |
| CUMULATIVE IMPACTS STATEMENT |  | ( |  |
| NARRATIVE OF FUTURE DEVELOPMENT |  | ( |  |

| SLLA NEEDED? | No | *Note: The determination NR is for completeness review purposes only. During the technical review, it may be determined additional information is needed. |
| --- | --- | --- |
| GP OR WAIVER APPLICABLE? | No |  |
| PERMIT COORD. NEEDED? | No |  |

FISH AND BOAT COMMISSION FILL-IN SHEET

| E Number | E4802223-003 |
| --- | --- |
| Name | River Pointe Logistics Center, LLC |
| Address | 559 Main Street, Suite 300 |
| City and State | Bethlehem, PA 18018-5826 |
| Municipality (Boro. or Twp.) | Upper Mount Bethel Township |
| County | Northampton County |
| Biologist | Matthew Miller |
| ACOE | BALTIMORE | PHILADELPHIA |
| Description | To construct and maintain the following water obstructions and encroachments associated with the River Pointe Logistics Center project: A stream enclosure of an UNT to the Delaware River (CWF, MF) consisting of a 193-LF, 36-inch diameter RCP, concrete headwall, concrete endwall, two (2) concrete manholes, and R-4 riprap aprons on the upstream and downstream ends of the enclosure. A utility line crossing of an enclosed portion of an UNT to the Delaware River (CWF, MF) consisting of a 2-inch diameter PVC sanitary force main, a 12-inch diameter water main, an electrical conduit, and a 2-inch diameter natural gas line. A stream enclosure of an UNT to the Delaware River (CWF, MF) consisting of a 150-LF, 36-inch diameter RCP, concrete headwall, concrete endwall, two (2) concrete manholes, R-4 riprap apron, and riprap aprons on the upstream and downstream ends of the enclosure. A utility line crossing of an enclosed portion of an UNT to the Delaware River (CWF, MF) consisting of a 2-inch diameter PVC sanitary force main, a 12-inch diameter water main, an electrical conduit, and a 2-inch diameter natural gas line. A fill within 0.05-acre of PFO Wetlands (Other) for the purpose of constructing a 35-foot wide access roadway and associated grading. A fill within 0.01-acre of PFO Wetlands (Other) for the purpose of constructing a 35-foot wide access roadway and associated grading. A utility line crossing of an UNT to the Delaware River (CWF, MF) consisting of a 2-inch diameter electrical conduit and a 2-inch diameter water irrigation line. A utility line crossing of an UNT to the Delaware River (CWF, MF) consisting of two (2) 24-inch diameter PVC sanitary force mains. A fill within 0.004-acre of PEM Wetlands (Other) for the purpose of constructing a Parking Lot #3. A stream crossing of an UNT to the Delaware River (CWF, MF) consisting of a 93-foot long, 58-inch x 91-inch diameter elliptical concrete pipe, concrete headwall, concrete endwall, and R-4 riprap on the downstream end of the culvert. A utility line crossing of an enclosed portion of an UNT to the Delaware River (CWF, MF) consisting of a 12-inch diameter PVC sanitary force main, 6-inch diameter force main, a 12-inch diameter water main, an electrical conduit, and a 2-inch diameter natural gas line. A stormwater outfall within the floodway of an UNT to the Delaware River (CWF, MF) consisting of a 36-inch diameter HDPE pipe and R-3 riprap apron. A stormwater outfall within the floodway of an UNT to the Delaware River (CWF, MF) consisting of a 36-inch diameter HDPE pipe and R-3 riprap apron. A fill within 0.03-acre of PFO Wetlands (Other) for the purpose of grading associated with a parking lot. A utility line crossing of PFO Wetlands (Other) consisting of a 30-inch diameter HDPE stormwater pipe. A fill within 0.01-acre of PEM Wetlands (Other) for the purpose of constructing a parking lot. A fill within 0.09-acre of PEM Wetlands (Other) for the purpose of constructing a parking lot. A stream enclosure of an UNT to the Delaware River (CWF, MF) consisting of a 16-LF, 36-inch diameter HDPE pipe, a concrete drop structure, a 199-LF, 36-inch diameter reinforced concrete pipe, three (3) concrete manholes, concrete headwall, concrete endwall, and R-4 riprap apron on the downstream end of the enclosure. A stormwater outfall within the floodway of an UNT to the Delaware River (CWF, MF) consisting of a 10-inch diameter HDPE pipe, concrete endwall, and R-3 riprap apron. A stream enclosure of an UNT to the Delaware River (CWF, MF) consisting of a 178-LF, 30-inch diameter reinforced concrete pipe, concrete manhole, a concrete headwall, concrete endwall, and R-4 riprap apron on the downstream end of the enclosure. A stream enclosure of an UNT to the Delaware River (CWF, MF) consisting of a 135-LF, 42-inch diameter HDPE pipe, a concrete manhole, concrete headwall, concrete endwall, and R-4 riprap apron on the downstream end of the enclosure. A utility line crossing of an enclosed portion of an UNT to the Delaware River (CWF, MF) consisting of a 12-inch diameter PVC sanitary force main, a 12-inch diameter water main, an electrical conduit, and a 2-inch diameter natural gas line. A utility line crossing of an enclosed portion of an UNT to the Delaware River (CWF, MF) consisting of a 12-inch diameter PVC sanitary force main, a 12-inch diameter water main, an electrical conduit, and a 2-inch diameter natural gas line. The project is located approximately 0.5 miles west of the intersection of River Road and Marshfield Drive (Portland, PA Quadrangle Latitude: 40° 54’ 12.52” Longitude: -75° 5’ 30.9”) in Upper Mount Bethel Township, Northampton County. |
| Quad Map Name | Portland |
| Quad Map State | PA |
| Latitude | 40° 54’ 12.52” |
| Longitude | -75° 5’ 30.9” |
| Received Date | 6/14/2023 |