Sample Inspection Checklist for Host Municipality Inspectors

for

RESOURCE RECOVERY FACILITIES

Inspector Name: _____________________________	Inspection Date: __________ 	Start Time: __________

Finish Time: _________

Facility Name: _______________________________	Facility Address: _________________________

Facility Contact Person/Title/Phone Number: _____________________________________________________

| DAILY OPERATION REQUIREMENTS | Yes | No | NA | ND | COMMENTS/NOTES |
| --- | --- | --- | --- | --- | --- |
| Trucks using designated roads/approved parking areas per permit |  |  |  |  |  |
| Operations conducted during permitted operating hours |  |  |  |  |  |
| Access controlled per plan |  |  |  |  |  |
| Access road(s) maintained (erosion, dust, litter, mud, etc) per plan |  |  |  |  |  |
| Waste measured according to approved plan |  |  |  |  |  |
| Adequate equipment on-site |  |  |  |  |  |
| Wheel curbs and tie downs used at unloading pits |  |  |  |  |  |
| Vehicles promptly unloaded |  |  |  |  |  |
| Solid waste confined to unloading and approved storage areas |  |  |  |  |  |
| Areas within building kept clean |  |  |  |  |  |
| Daily inspections conducted |  |  |  |  |  |
| Inspection procedures implemented for prohibited wastes per plan |  |  |  |  |  |
| No unapproved wastes |  |  |  |  |  |
| Fugitive dust emissions minimized and controlled per plan |  |  |  |  |  |
| Vectors minimized and controlled per plan |  |  |  |  |  |
| Odors minimized and controlled per plan |  |  |  |  |  |
| Other nusiances minimized and controlled per plan |  |  |  |  |  |
| Litter minimized and controlled per plan |  |  |  |  |  |
| Daily waste acceptance < ave. ____ and max. ____ daily volume |  |  |  |  |  |
| Radiation monitoring system operational |  |  |  |  |  |
| Radiation protection action plan followed as appropriate |  |  |  |  |  |
| Cost effective recyclable materials are being salvaged |  |  |  |  |  |
| Salvaged materials are stored in an approved area |  |  |  |  |  |
| Negative area pressure maintained in unloading area |  |  |  |  |  |
| Water treatment facilities operated and maintained |  |  |  |  |  |
| Up-to-date construction diagrams and operation manuals on-site |  |  |  |  |  |
| Internal communication or alarm system operational |  |  |  |  |  |
| Adequate fire and safety equipment available |  |  |  |  |  |
| Daily operational records being made and maintained (i.e. waste |  |  |  |  |  |
| received, problems, violations, rejected loads, radioactive mat., |  |  |  |  |  |
| overweight trucks, etc.) |  |  |  |  |  |
| Ash residue stored and managed in accordance with req. |  |  |  |  |  |
| Recyclable materials collection center maintained |  |  |  |  |  |
| Hazardous materials removed and collected |  |  |  |  |  |
| No immediate threats to public health and safety |  |  |  |  |  |
| Incinerator operated per air permit |  |  |  |  |  |
| Control devices operated per air permit |  |  |  |  |  |
| Operators and shift supervisors trained and qualified per air regs. |  |  |  |  |  |

Additional Comments:  ________________________________________________________________________

____________________________________________________________________________________________

Inspector Signature: _________________________________	Date: ______________

Facility Name: _______________________________	Facility Address: _________________________

| DESIGN and CONTRUCTION REQUIREMENTS | Yes | No | NA | ND | COMMENTS/NOTES |
| --- | --- | --- | --- | --- | --- |
| Proper signs posted (Identify facility and recycling drop-off center) |  |  |  |  |  |
| Grid coordinate system and permit areas clearly marked |  |  |  |  |  |
| Site perimeter clearly marked |  |  |  |  |  |
| Perimeter fences and barriers in place and maintained |  |  |  |  |  |
| Access roads properly designed and constructed per plan |  |  |  |  |  |
| Scale conforms with Consolidated Weights and Measures Act |  |  |  |  |  |
| Approach and unloading area of adequate size, design and const. |  |  |  |  |  |
| Fences or other barriers to control litter are constructed per plan |  |  |  |  |  |
| Radiation monitoring system constructed per plan |  |  |  |  |  |
| Wastewater treatment equipment constructed per discharge permit |  |  |  |  |  |
| Air pollution control equipment constructed per air permit |  |  |  |  |  |
| Emergency equipment available per regulations and plan |  |  |  |  |  |
| Recyclable materials collection center established per plan |  |  |  |  |  |
| # MONITORING and RECORDKEEPING REQUIREMENTS | Yes | No | NA | ND | COMMENTS/NOTES |
| Fly ash and bottom ash sampled quarterly |  |  |  |  |  |
| Wastewater discharge analyzed per discharge permit (if applicable) |  |  |  |  |  |
| Wastewater discharge complies with discharge permit limits |  |  |  |  |  |
| Groundwater monitored and analyzed quarterly (if applicable) |  |  |  |  |  |
| Air emissions monitored continuously per air permit |  |  |  |  |  |
| Continuous air emissions comply with air permit limits |  |  |  |  |  |
| Stack tests conducted twice per year per air permit |  |  |  |  |  |
| Stack test results comply with air permit limits |  |  |  |  |  |
| REPORTING REQUIREMENTS | Yes | No | NA | ND | COMMENTS/NOTES |
| Continuous air emissions telemetry system operational |  |  |  |  |  |
| Wastewater discharge reported as required by discharge permit |  |  |  |  |  |
| Public notice on recyclable materials collection center provided 2/yr. |  |  |  |  |  |
| Quarterly Operation report submitted as required |  |  |  |  |  |
| Annual Operation report submitted as required |  |  |  |  |  |

Comments: __________________________________________________________________________________

____________________________________________________________________________________________

Inspector Signature: _________________________________	Date: ______________

Facility Name: _______________________________	Facility Address: _________________________

| OPTIONAL QUESTIONS on CHANGES | Yes | No | NOTES/IMPACT on CONFORMANCE |
| --- | --- | --- | --- |
| Owners/operators |  |  |  |
| Employees/personnel |  |  |  |
| Contractors/subcontractors |  |  |  |
| Customers/waste generators |  |  |  |
| Transporters/transfer stations |  |  |  |
| Special or residual wastes |  |  |  |
| Site volume/capacity |  |  |  |
| Average or maximum daily volume |  |  |  |
| Access roads |  |  |  |
| Incineration design |  |  |  |
| Operating equipment |  |  |  |
| Air pollution control equipment |  |  |  |
| Water pollution control equipment |  |  |  |
| >10% increase in air contaminants |  |  |  |

Comments: __________________________________________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________

Inspector Signature: _________________________________	Date: ______________

Daily Inspection Checklist for Host Municipality Inspectors

RESOURCE RECOVERY FACILITIES

Inspector Name: ________________________	Inspection Dates: __________	Facility Name: ___________________	Facility Address: _________________

| DAILY OPERATION REQUIREMENTS | Sun | Mon | Tue | Wed | Thu | Fri | Sat | COMMENTS/NOTES |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Trucks using designated roads/approved parking areas per permit |  |  |  |  |  |  |  |  |
| Operations conducted during permitted operating hours |  |  |  |  |  |  |  |  |
| Access controlled per plan |  |  |  |  |  |  |  |  |
| Access road(s) maintained (no erosion, dust, litter, etc) per plan |  |  |  |  |  |  |  |  |
| Waste measured according to approved plan |  |  |  |  |  |  |  |  |
| Adequate equipment on-site |  |  |  |  |  |  |  |  |
| Wheel curbs and tie downs used at unloading pits |  |  |  |  |  |  |  |  |
| Vehicles promptly unloaded |  |  |  |  |  |  |  |  |
| Solid waste confined to unloading and approved storage areas |  |  |  |  |  |  |  |  |
| Areas within building kept clean |  |  |  |  |  |  |  |  |
| Daily inspections conducted |  |  |  |  |  |  |  |  |
| Inspection procedures implemented for prohibited wastes per plan |  |  |  |  |  |  |  |  |
| No unapproved wastes |  |  |  |  |  |  |  |  |
| Fugitive dust emissions minimized and controlled per plan |  |  |  |  |  |  |  |  |
| Vectors minimized and controlled per plan |  |  |  |  |  |  |  |  |
| Odors minimized and controlled per plan |  |  |  |  |  |  |  |  |
| Other nuisances minimized and controlled per plan |  |  |  |  |  |  |  |  |
| Litter minimized and controlled per plan |  |  |  |  |  |  |  |  |
| Daily waste acceptance < ave. ____ and max. ____ daily volume |  |  |  |  |  |  |  |  |
| Radiation monitoring system operational |  |  |  |  |  |  |  |  |
| Radiation protection action plan followed as appropriate |  |  |  |  |  |  |  |  |
| Cost effective recyclable materials are being salvaged |  |  |  |  |  |  |  |  |
| Salvaged materials are stored in an approved area |  |  |  |  |  |  |  |  |
| Negative area pressure maintained in unloading area |  |  |  |  |  |  |  |  |
| Water treatment facilities operated and maintained |  |  |  |  |  |  |  |  |
| Up-to-date construction diagrams and operation manuals on-site |  |  |  |  |  |  |  |  |
| Internal communication or alarm system operational |  |  |  |  |  |  |  |  |
| Adequate fire and safety equipment available |  |  |  |  |  |  |  |  |
| Daily operational records being made and maintained |  |  |  |  |  |  |  |  |
| Ash residue stored and managed in accordance with req. |  |  |  |  |  |  |  |  |
| Recyclable materials collection center maintained |  |  |  |  |  |  |  |  |
| Hazardous materials removed and collected |  |  |  |  |  |  |  |  |
| No immediate threats to public health and safety |  |  |  |  |  |  |  |  |
| Incinerator operated per air permit |  |  |  |  |  |  |  |  |
| Control devices operated per air permit |  |  |  |  |  |  |  |  |
| Operators and shift supervisors trained and qualified per air regs. |  |  |  |  |  |  |  |  |

Inspector Signature: _________________________________	Date: ________	Key = Yes, No, *No (observed off-site), NA (not applicable), ND (not determined)

Monthly Summary of Daily Inspection Results

RESOURCE RECOVERY FACILITIES

Inspector Name: ________________________	Month/Year: __________	Facility Name: ___________________	Facility Address: _________________

| DAILY OPERATION REQUIREMENTS | Days Insp. | Days Obs. | % | Sev.* | Trend | COMMENTS/NOTES |
| --- | --- | --- | --- | --- | --- | --- |
| Trucks using designated roads/approved parking areas per permit |  |  |  |  |  |  |
| Operations conducted during permitted operating hours |  |  |  |  |  |  |
| Access controlled per plan |  |  |  |  |  |  |
| Access road(s) maintained (no erosion, dust, litter, etc) per plan |  |  |  |  |  |  |
| Waste measured according to approved plan |  |  |  |  |  |  |
| Wheel curbs and tie downs used at unloading pits |  |  |  |  |  |  |
| *Solid waste confined to unloading and approved storage areas |  |  |  |  |  |  |
| Areas within building kept clean |  |  |  |  |  |  |
| Daily inspections conducted |  |  |  |  |  |  |
| Inspection procedures implemented for prohibited wastes per plan |  |  |  |  |  |  |
| No unapproved wastes |  |  |  |  |  |  |
| *Fugitive dust emissions minimized and controlled per plan |  |  |  |  |  |  |
| *Vectors minimized and controlled per plan |  |  |  |  |  |  |
| *Odors minimized and controlled per plan |  |  |  |  |  |  |
| *Other nusiances minimized and controlled per plan |  |  |  |  |  |  |
| *Litter minimized and controlled per plan |  |  |  |  |  |  |
| Daily waste acceptance < ave. ____ and max. ____ daily volume |  |  |  |  |  |  |
| Cost effective recyclable materials are being salvaged |  |  |  |  |  |  |
| Salvaged materials are stored in an approved area |  |  |  |  |  |  |
| Negative area pressure maintained in unloading area |  |  |  |  |  |  |
| Water treatment facilities operated and maintained |  |  |  |  |  |  |
| Internal communication or alarm system operational |  |  |  |  |  |  |
| Adequate fire and safety equipment available |  |  |  |  |  |  |
| Daily operational records being made and maintained |  |  |  |  |  |  |
| Ash residue stored and managed in accordance with req. |  |  |  |  |  |  |
| Recyclable materials collection center maintained |  |  |  |  |  |  |
| Hazardous materials removed and collected |  |  |  |  |  |  |
| No immediate threats to public health and safety |  |  |  |  |  |  |
| Incinerator operated per air permit |  |  |  |  |  |  |
| Control devices operated per air permit |  |  |  |  |  |  |
| Total |  |  |  |  |  |  |

Signature: _________________________________	Date: ______________	*Severity Index: Number of days non-conformance observed off-site.