3-9-05

PERMIT MODIFICATIONS (FORM Q) GRANTED TO AUTHORIZE ALTERNATIVES TO THE DESIGN REQUIREMENTS IN THE MUNICIPAL WASTE REGULATIONS.

NOTE:   PLEASE CONTACT THE APPROPRIATE REGIONAL OFFICE FOR SITE-SPECIFIC ISSUES AND/OR SPECIAL CONDITIONS.

## Regional Office:	Regional Solid Waste Manager, 2 East Main St., Norristown, PA  19401.

o	Grading:  40 foot wide bench for every 40 foot rise in elevation.  The 40 foot wide bench can be used for both bench and access road.

(Note:  Prior approvals for a 10’ bench per 20’ rise and a 20’ bench per 40’ rise implicit in above and not repeated separately).

o	Sub-base:

(a)	Utilization of slopes exceeding 25 percent up to a maximum of 50 percent, limited to intermediate dike.

(b)	Utilization of slopes from 2 percent to 33 percent on sub-base.

(c)	2 geogrids below secondary liner to act as a sub-base when new landfill is being constructed on slope of an existing site.

o	Leachate Detection Zone:

(a)	Utilization of a maximum particle size of 3/8 inches.

(b)	Use of geonet material, single or double layers, as detection zone material (includes side slopes).

o	Protective Cover:

(a)	Utilization of a maximum particle size of 3/8 inches.

(b)	AASHTO #57 stone underlain by two 16 oz/sq yd layers of nonwoven geotextiles.

o	Leachate Collection Zone:

(a)	Utilization of a maximum particle size of 1/2 inches.

(b)	Utilization of a maximum particle size of 1.5 inches for a particular riverbed material used at the Tullytown landfill site.

o	Monitoring Wells:

(a)	2 inch diameter casing in place of 4 inch diameter.

(b)	Gold anodized aluminum casing set 3 feet below grade in place of 10 feet of steel casing.

o	Alternate Daily Cover:  Use of 6 inches of foam material (3M-Sanifoam).

o	Alternate Daily and Intermediate Cover:

(a)	Soils from non-specific, off-site borrow areas.

(b)	Clay loam soil from non-specific, off-site borrow areas.

(c)	Municipal sewage sludge treated with lime kiln or cement kiln dust in accordance with the VFL Technology process.

(d)	Mixture of lime and dewatered sewage sludge cake in accordance with the RDP sludge stabilization process.

(e)	Pasteurized municipal sewage sludge using a lime additive in accordance with the Bio-Gro/Bio-Fix sludge process.

(f)	Water treatment plant sludge treated with lime kiln or cement kiln dust in accordance with the VFL Technology process.

(g)	Municipal sewage sludge stabilized with fly ash.

(h)	Fly ash conditioned with cement kiln dust.

(i)	Unscreened composted municipal sewage sludge from Philadelphia Water Department blended in a 1 to 1 ratio with soil containing coarse fragments no greater than 3 inches in diameter with no more than 60 percent retained on a #10 sieve.

(j)	Dredge material.

(k)	Municipal incinerator ash.

(l)	Cabot Corp. metal processing sludge.

- Construction/demolition waste.

(n)	Coal ash.

## Regional Office:	Regional Solid Waste Manager, 2 Public Square, Wilkes-Barre, PA  18711-0790.

o	Sub-base:

(a)	Sideslopes greater than 25 percent (Empire).

(b)	Use of two perpendicular UX1600HT geogrid layers below the Pad 7 sub-base to address defined subsidence concerns and with limitations on waste interface friction angles, placement, etc.  (Empire).

(c)	Use of geogrid reinforcement below the sub-base placed on a pre-1990 waste area’s adjacent slope with conditions on placement, waste acceptance limits, etc. to deal with a defined subsidence/settlement potential (City of Bethlehem).

o	Leachate Detection Zone:  AASHTO #8 stone plus 16 oz. geotextile in lieu of sand (Empire).

o	Leachate Collection Zone:  AASHTO #8 stone plus 16 oz. geotextile with geonet required (if permeability is within the 1 x 10-3 to 1 x 10-2 cm/sec range) in lieu of sand (Empire).

o	Leachate Collection/Leachate Detection Zone:

(a)	Use of AASHTO #8 stone, max 2 percent fines in lieu of sand (Commonwealth).

(b)	AASHTO #8 stone with 16 oz. geofrabic in lieu of sand (Pine Grove).

o	Daily Cover:

(a)	6-inch min of Rusmar AC-645 foam with limitations on usage such as wind, precipitation, traffic, and overnight use only (Empire).

(b)	6-inch min Rusmar AC-645 foam as daily cover with limitations on usage such as wind, precipitation, traffic, and overnight use only (Keystone).

- 6-inch min Rusmar AC-645 foam or Chubb Terra foam as daily cover with same limitations as above, plus condition on needed protective gear for usage of Chubb Terra foam (City of Bethlehem).

(d)	Use of Rusmar AC-667-SE foam (Empire).

(e)	6-inch min Rusmar AC-645 foam with limitations due to weather, traffic, and overnight use only (Commonwealth).

(f)	6-inch min Chubb Terra foam with usage limitations concerning weather, traffic, and only overnight usage (Grand Central).

(g)	6-inch min Rusmar AC-645 foam as daily cover with limitations concerning weather, traffic, and overnight use only (Grand Central).

(h)	Use of Cormier WP-1440FR and/or Integra 12FR geomembranes as daily cover with various monitoring and reporting requirements plus minimum application of soil cover and usage limitations (Chrin).

(i)	Use of source-specific “iron rich material” (IRM) in 9-10 inch layer with specific storage and placement requirements (Pine Grove).

(j)	Use of soil (1 part) and construction and demolition waste fines (3 parts) (Chrin).

(k)	Use of paper sludge (Chrin).

## Regional Office:	Regional Solid Waste Manager, 909 Elmerton Avenue, Harrisburg, PA  17110-8200.

o	Sub-base slope to a maximum of 33 percent (Modern, Mountain View Reclamation, York County Solid Waste, Dauphin Meadows, Chester County Solid Waste Authority).

o	Use of GCL as equivalent to 6-inch sub-base layer (Greater Lebanon Refuse Authority).

o	Installation of two-inch diameter well casing instead of four-inch casing for monitoring wells (Modern).

o	Installation of anodized aluminum well protective casing set three feet below the ground surface to be used to enclose monitoring wells instead of a steel casing set 10 feet below the ground surface (Modern, Mountain View Reclamation).

o	Use of geonet in the leachate detection zone (Modern, Mountain View Reclamation, R & A Bender, York County Solid Waste, Pioneer Crossing, Harrisburg Incinerator, Greater Lebanon Refuse Authority).

o	Leachate detection zone-cross section of geotextile, secondary liner, geotextile, geonet,

12 inches of 3/4-inch maximum aggregate, geotextile, geonet, primary liner (R & A Bender, Dauphin Meadows).

o	Protective Cover:  Cross section of primary liner, geotextile, and 18 inches of 3/4-inch maximum aggregate (R & A Bender).

o	Protective Cover: Glass cullet as a component of the protective cover (Frey Farm).

o	Increase sub-base slope on intermediate berms to maximum of 50 percent on intermediate berms with a maximum height of the berm of four feet.

o	Final cover terraces minimum of 20 feet wide constructed at every 40 feet of vertical rise (Modern, Mountain View Reclamation).

o	Rusmar AC-645 foam as an alternative daily cover (Conestoga).

o	Chubb Terra foam as an alternative daily cover (Mountain View Reclamation, Pioneer Crossing, Dauphin Meadows, Harrisburg Incinerator, Mifflin County).

o	Rolite aggregate (aggregate produced from an incinerator ash) as alternative daily cover.

o	1:1 soil/compost mixture as an alternative daily cover.

o	Geomembrane alternative daily cover material (Cormier WP-1440 and Integra 12) (Conestoga, Mifflin County, Modern).

o	Recycled paper de-inking sludge as alternative daily cover (Mountain View Reclamation).

o	Construction/demolition waste (Frey Farm).

o	Posi-shell as alternative daily cover.

o	Propat Autofluff as alternative daily cover.

o	AASHTO #8 as protective cover (Dauphin Meadows, Harrisburg Incinerator, Greater Lebanon Refuse Authority).

o	Nonpetroleum contaminated soil (Frey Farm).

o	Protective cover maximum aggregate size of 3/4-inch.

o	Lead contaminated soil (Lanchester).

o	Municipal incinerator ash (Cumberland County).

o	Soil and composted municipal wastewater treatment plant sludge (Lanchester).

o	Autofluff (Modern).

## Regional Office:	Regional Solid Waste Manager, 208 West Third Street, Suite 101, Williamsport, PA  17701.

o	Leachate Detection Zone:

(a)	Two layers of geonet drainage material between the primary and secondary liner.  One layer may be used on side slopes if the interface friction angles of two layers are too low.

(b)	Bottom ash with a permeability of >=1x10-2 cm/sec, <=15 percent carbonate content by weight, maximum particle size of 3/8-inch and no greater than 7 percent passing the #200 sieve.

o	Leachate Collection Zone/Protective Cover:

(a)	Bottom ash with a permeability of >=1x10-2 cm/sec, <15 percent carbonate content by weight, maximum particle size of 3/8-inch and no greater than 7 percent passing the #200 sieve.

(b)	Protective cover aggregate with maximum particle size of 3/8-inch and permeability of 1x10-3 cm/sec.  Except on slopes of 25 percent, the protective cover must be underlaid by a geonet drainage layer.

(c)	Protective cover aggregate with a maximum particle size of 1.5-inches.  The protective cover is underlaid by two layers geonet and a 10 oz./sq. yd., non-woven geotextile.

(d)	Modified AASHTO #7 and #8 with 99 percent by weight passing the 3/8-inch sieve and maximum particle size of 1/2-inches.

(e)	Shredded tires:  15 inches of tire chip material overlying 12 inches of protective cover material.

o	Alternate Daily/Intermediate Cover:

(a)	Foam-Rusmar AC-645 Long Duration foam to be applied at a minimum of 6-inches thick.  Foam may only be applied if waste placement is to be resumed the next morning and only under certain weather conditions.

- Tarps-Cormier WP-1440FR, Integra 12FR, and Airspace Saver TGNN-FR       applied as daily cover.  Certain operational and placement restrictions exist.

(c)	Foundry sand/refractory material.

- Paper sludge.

- Foundry sand for the bottom six inches of the twelve-inch intermediate cover layer.

(f)	Wood bottom ash.

o	Treated leachate to be used in the formulation of Rusmar AC-645 foam product which is used as daily cover.

Regional Office:	Regional Solid Waste Manager, 400 Waterfront Drive, Pittsburgh, PA  15222-4745.

o	Sub-base:  33 percent slope (Y & S, Arden, Valley, CBF, Southern Alleghenies)

o	Detection Zone:

(a)	Non-rounded crusher sand (RCC).

(b)	Geonet (RCC, Brunner, Sanitary, Southern Alleghenies, Y & S, Valley, Laurel Highlands, Mostoller, CBF).

(c)	Geonet with pipes on 300’ centers (Monroeville).

(d)	Geonet with pipes on max. 630’ centers (Arden).

(e)	AASHTO #8 (Southern Alleghenies, Sanitary, BFI).

(f)	Aggregate with 0.1 cm/sec (BFI).

(g)	Pea gravel (BFI).

(h)	Shot gravel (Sanitary).

o	Protective Cover/Collection Zone:

(a)	AASHTO #8 (Modified); 0-2 percent <#200 (Valley, Mostoller, Southern Alleghenies, Brunner).

(b)	AASHTO #8 (CBF, Brunner, Sanitary, Southern Alleghenies, Pellegrene).

(c)	Non-rounded crusher stone (RCC).

(d)	Geonet with 0.1 cm/sec aggregate or with pea gravel (BFI).

(e)	ASTM #2 stone (Greenridge).

(f)	Modified Protective Cover (Arden, Monroeville):

Size					% Fines

3/4”					100

1/2”					85-100

3/8”					  0-100

#4					  0-60

#8					  0-50

#16					  0-40

#200					  0-2

(g)	Modified Protective Cover (Arnoni):

Size					% Fines

1/2”					100

3/8”					<=3-5

#200					0-2

(h)	Modified Protective Cover (Kelly Run, Pellegrene):

Size					% Fines

1/2”					100

3/8”					85-100

#200					0-2

(i)	Modified Protective Cover (Y & S):

Size					% Fines

1/2”					100

3/8”					85-100

#4					10-55

#8					0-30

(j)	Composite protective cover system incorporating a stone layer and a tire chip layer (Arden, J&J, Kelly Run, Greenridge, Shade).

(k)	Composite protective cover system incorporating a stone layer and a geotextile cushion layer between the stone and primary liner (Sanitary).

o	Pipe Bedding (CZ and DZ):

(a)	AASHTO #57 (Monroeville, Pellegrene, Southern Alleghenies).

(b)	AASHTO #57 or modified; (90-100 percent passign 1” sieve, <2 percent passing #200) (Mostoller).

(c)	AASHTO #67 (Sanitary).

o	Daily Cover:

(a)	Cormier WP-1440FR (Brunner, Monroeville, RCC, Southern Alleghenies, Valley, Sanitary, Arden, CBF, BFI, Evergreen, Mostoller).

(b)	Integra 12FR (Brunner, Sanitary, Laurel Highlands, BFI, Arden, Evergreen).

(c)	AC-645 Long Duration foam (Valley, RCC, Monroeville).

(d)	Chubb Terra foam (Monroeville).

(e)	RECMIX Slag (BFI, Arden, Sanitary).

(f)	Thermally processed contaminated soil (BFI).

(g)	Steel slag (Arnoni, Kelly Run, Greenridge).

(h)	Paper sludge (Laurel Highlands, Imperial, Greenridge).

(i)	Foundry sand (Southern Alleghenies, Greenridge, Sanitary, Brunner, Mostoller).

(j)	USDA soil classification of clay loam (Greenridge).

(k)	Construction/demolition waste (Greenridge).

(l)	Virgin fuel contaminated soil (Greenridge, Valley).

(m)	Steel plant residual wastes (Arden, Monroeville, Valley).

- Industrial wastewater sludge (Greenridge).

- Municipal incinerator ash (Shade, Southern Alleghenies, Laurel Highlands).

- Autofluff (Shade, South Hills, Monroeville, Southern Alleghenies, Greenridge, Laurel Highlands).

- SaniCover WI-12FR (Mostoller).

- Fabrene Fabrics Type L257 (Mostoller).

(s)	Posi-Shell (Imperial, Greenridge).

(t)	Dredge material (Greenridge).

(u)	Coal ash (Greenridge).

o	Intermediate Cover:

(a)	USDA soil classification of clay loam (Greenridge).

o	Final Cover/Grading:

(a)	10’ wide terraces @ 20’ rise and terrace cross-slope=7.5 percent (RCC).

(b)	40’ wide terraces @ 40’ rise (Mostoller).

(c)	20’ wide terraces @ 40’ rise (Pellegrene).

o	Leachate Impoundment:

(a)	6 inch fabri-form, sand and mortar cement revetment for protective cover (Laurel Highlands, Southern Alleghenies).

(b)	Pepco-Mat P125 for protective cover (Brunner)

o	Highwall Barrier:

(a)	1 x 10-8 cm/sec for 2’ bentonite amended soil (Y & S).

(b)	>=18 percent clay content (Arnoni).

Regional Office:	Regional Solid Waste Manager, 230 Chestnut Street, Meadville, PA  16335-3481.

o 	Exterior Slopes: 50 foot maximum rise in elevation with slopes between benches 33

percent ( Lake View, Seneca ).

o	Sub-base:

(a)	Slope to a maximum of 50 percent for interior berms with a maximum height of six feet.  Used to separate waste cells (Lake View, Northwest).

(b)	Slope to a maximum of 33 percent for interior berms ( McKean County, County, Seneca, Greentree).

o	Installation of two-inch diameter well casing instead of four-inch casing for monitoring wells (Lake View).

o	Installation of anodized aluminum well protective casing instead of a steel casing for upper ten feet of monitoring wells (Lake View).

o 	Use of geonet as a leachate detection zone above the secondary liner (Lake View,    Northwest, McKean County, County, Greentree).

o 	Use of a minimum 12-inch thick layer of protective cover with a 16 ounce/square yard

geotextile cushion. Leachate collection pipes and sump areas shall have a min. 18-inch

thick layer of protective cover material (Seneca).

ASSHTO # 57 material as protective cover with rounded to subangular classification

(Seneca, Greentree).

1.5 inch maximum particle size for protective cover (subangular to angular classification)

underlain by two 16 ounce/square yard geotextile cushions (Greentree).

Geonet Stack trench system for leachate detection zone (County, Seneca).

o	Use of a 3/8-inch maximum diameter stone as the leachate collection zone/protective cover and leachate detection zone (Lake View, Northwest, McKean County, County, Greentree, Seneca).

o	Protective cover layer consisting of a 15 inch layer of tire chip material placed on a minimum 12 inch layer of granular soil material (Seneca, McKean County, County, Greentree).

o	Daily Cover:

(a)	USDA soil classification of clay loam (Lake View, Northwest, Greentree).

(b)	Sludge derived synthetic soils (SDSS).  SDSS is comprised of municipal sewage treatment system sludges which have been stabilized by a method approved by the Department which meets EPA “Process to Further Reduce Pathogens” (Lake View, Northwest, Seneca, Greentree).

- Foam products-Rusmar, 3ML-9791, Sani-Foam.  Foams may only be applied in areas which will receive additional waste within 24 hours (Lake View, Northwest, Seneca, County, Greentree).

(d)	Coal ash - May only be applied in areas which will receive additional waste within 24 hours (Lake View, Seneca, County, Greentree).

(e)	Construction/demolition waste - soil cover must be placed at end of each week (Lake View, County).

(f)	Foundry sand and refractory materials (Northwest, Seneca, County, Greentree).

(g)   	Steel mill scale (Northwest, Seneca).

- Slag (Seneca, Greentree).

- Recmix Final Aggregate, processed slag (Northwest).

- Lake Erie Dredge material (Lake View).

- Autofluff (Lake View).

- De-inking sludge

- Water treatment plant sludge (Greentree).

- Geosynthetic tarps (County, Seneca, Greentree, Northwest, McKean County).

o	Intermediate Cover:

(a)	Sludge derived synthetic soils (SDSS).  SDSS is comprised of municipal sewage treatment system sludges which have been stabilized by a method approved by the Department which meets EPA “Process to Further Reduce Pathogens” (Lake View, Greentree, Seneca).

(b)	USDA soil classification of clay loam for the bottom six inches of the intermediate cover (Lake View, Northwest).

(c)     	Coal Ash - may be used as the bottom six inches of the intermediate cover (Lake    View).

(d)      Dredged Material (Greentree).