ILLICIT DISCHARGE FIELD SCREENING PROGRAM

Data Collection Form

OUTFALL #:   				  Date: 		 			 Time:

TIME SINCE LAST RAIN:	 (72 hours	(72 hours

QUANTITY OF LAST RAIN:	 (0.1 inches	(0.1 inches

INSPECTION TEAM:

# SITE DESCRIPTION:

LOCATION (Narrative Description):

STRUCTURE TYPE: 	OPEN CHANNEL	MANHOLE	OUTFALL	OTHER:

DOMINANT WATERSHED LAND USES:	INDUSTRIAL	COMMERCIAL	RESIDENTIAL	UNKNOWN

OTHER:

# FLOW ESTIMATION:

WAS FLOW OBSERVED?	NO		YES		IF YES, PLEASE ANSWER a. - d. BELOW.

a.	WIDTH OF WATER SURFACE (feet):

b.	APPROXIMATE DEPTH OF WATER (feet):

c.	APPROXIMATE FLOW VELOCITY (feet per second):

- FLOW RATE (cubic feet per second) =  a x b x c =

VISUAL OBSERVATIONS:

WAS A PHOTO TAKEN?	NO		YES	 (Roll and Photo Number: 			          )

ODOR:	NONE	MUSTY	SEWAGE	ROTTEN EGGS	SOUR MILK	OTHER:

COLOR:	CLEAR	RED	YELLOW	BROWN	GREEN	GREY	OTHER:

CLARITY:	CLEAR	CLOUDY	OPAQUE

FLOATABLES:	NONE 	OILY SHEEN	GARBAGE/SEWAGE	OTHER:

DEPOSITS/STAINS:	NONE 	SEDIMENTS	OILY	OTHER:

VEGETATION CONDITION:	NONE 	NORMAL 	EXCESSIVE GROWTH	INHIBITED GROWTH

STRUCTURAL CONDITION:	NORMAL 	CONCRETE CRACKING	METAL CORROSION	OTHER:

BIOLOGICAL:	MOSQUITO LARVAE 	BACTERIA/ALGAE	OTHER:

FIELD ANALYSIS:

WATER TEMP: 			  (F  /  (C	CHLORINE (Total):			  mg/l

pH: 							COPPER:				  mg/l

PHENOL:				  mg/l		DETERGENTS:				  mg/l

WAS A LABORATORY SAMPLE COLLECTED?  	NO		YES

(if yes attach copy of chain-of-custody record)

COMMENTS:

DATA SHEET FILLED OUT BY:   (signature):						  DATE:

(print name):