## Recovered_Sheet1
Test Type
2009-11-12
|  | Time to Test | Amount @
Test Type | Test Type Description | SIS Test Code | 179.38
R00080 | COLOR, PLATINUM-COBALT | 2.4 | 7.1752
R00095 | SPECIFIC CONDUCTIVITY @ 25.0 C | 2.4 | 7.1752
R00307 | DISSOLVED INHIBITED BOD 5 DAY | 9.8 | 29.2987
R00308 | INHIBITED BIOCHEM OXYGEN DEMAND 20 DAY | 9.8 | 29.2987
R00309 | DISSOLVED INHIBITED BOD 20 DAY | 9.8 | 29.2987
R00310 | BIOCHEM OXYGEN DEMAND 5 DAY | 9.8 | 29.2987
R00311 | DISSOLVED BOD 5 DAY | 9.8 | 29.2987
R00313 | DISSOLVED BOD 20 DAY | 9.8 | 29.2987
R00314 | INHIBITED BIOCHEM OXYGEN DEMAND 5 DAY | 9.8 | 29.2987
R00324 | BIOCHEM OXYGEN DEMAND 20 DAY | 9.8 | 29.2987
R00340 | CHEMICAL OXYGEN DEMAND | 9.6 | 28.7008
R00403 | PH REPORTED | 2.4 | 7.1752
R00403E | PH REPORTED | 2.4 | 7.1752
R00403M | PH REPORTED WITH 3.9 ALK | 2.4 | 7.1752
R00410 | ALKALINITY REPORTED | 2.4 | 7.1752
R00410B | BICARBONATE ALKALINITY (Replaced by R00410BC) | 2.4 | 7.1752
R00410BC | BICARBONATE ALKALINITY | 2.4 | 7.1752
R00410H | HYDROXIDE ALKALINITY | 2.4 | 7.1752
R00410HX | HYDROXIDE ALKALINITY | 2.4 | 7.1752
R00410M | ALKALINITY REPORTED @ pH 3.9 | 2.4 | 7.1752
R00418 | CARBONATE ALKALINITY | 2.4 | 7.1752
R00418C | CARBONATE ALKALINITY | 2.4 | 7.1752
R00436 | ACIDITY MINERAL AS CACO3 REPORTED | 2.4 | 7.1752
R00500 | RESIDUE TOTAL REPORTED | 2 | 5.9793
R00505 | RESIDUE TOTAL VOLATILE REPORTED | 4.8 | 14.3504
R00510 | RESIDUE TOTAL FIXED REPORTED | 2.5 | 7.4742
R00515 | RESIDUE DISSOLVED AT 105 C REPORTED | 3 | 8.969
R00520 | RESIDUE VOLATILE DISSOLVED REPORTED | 2.5 | 7.4742
R00525 | RESIDUE FIXED FILTERABLE REPORTED | 2.5 | 7.4742
R00530 | RESIDUE TOTAL NONFILTRABLE REPORTED | 4 | 11.9587
R00530A | SUSPENDED SOLIDS REPORTED | 2 | 5.9793
R00530H | RESIDUE TOTAL NONFILTRABLE REPORTED-WASH 3X 100ML | 4.5 | 13.4535
R00530N | RESIDUE TOTAL NONFILTRABLE REPORTED NPDES | 4 | 11.9587
R00530V | TOTAL SUSPENDED SOLIDS | 4 | 11.9587
R00535 | RESIDUE VOLATILE NONFILTERABLE REPORTED | 4.5 | 13.4535
R00540 | FIXED SUSPENDED SOLIDS | 5 | 14.9483
R00545 | RESIDUE SETTLEABLE REPORTED | 1 | 2.9897
R00552 | OIL & GREASE HEXANE EXTRA T MG/L | 20.7 | 61.8861
R00554 | OIL & GREASE, SEDIMENT % DRY WEIGHT | 70.1 | 209.5756
R00556 | OIL & GREASE GRAVIMETRIC | 20.7 | 61.8861
R00556E | OIL & GREASE FREON GRAVIMETRIC | 100 | 298.9667
R00556H | OIL & GREASE METHOD 1664 (HEXANE) | 21 | 62.783
R00560 | OIL & GREASE IR METHOD | 18 | 53.814
R00561 | OIL & GREASE SEDIMENT IR METHOD | 85 | 254.1217
R00561E | OIL&GREASE SEDIMENT | 90 | 269.07
R00561H | OIL & GREASE SEDIMENT (HEXANE) | 55 | 164.4317
R00600A | TOTAL NITROGEN REPORTED | 10 | 29.8967
R00602A | DISSOLVED NITROGEN REPORTED | 10 | 29.8967
R00605A | ORGANIC NITROGEN TOTAL | 3.1 | 9.268
R00608A | NH3-N DISSOLVED AMMONIA NITROGEN REPORTED | 3.1 | 9.268
R00610A | NH3-N TOTAL AMMONIA NITROGEN REPORTED | 3.1 | 9.268
R00610I | PM2.5 AMMONIUM REPORTED (ION CHROMATOGRAPHY) | 8 | 23.9173
R00610P | PM2.5 AMMONIUM REPORTED | 3.1 | 9.268
R00613 | NITRITE NITROGEN DISSOLVED ION CHROMAGRAPH | 3.1 | 9.268
R00613A | NITRITE NITROGEN DISSOLVED | 3.1 | 9.268
R00615 | NO2-N TOTAL NITRITE NITROGEN REPORTED | 3.1 | 9.268
R00615A | NO2-N TOTAL NITRITE NITROGEN REPORTED | 3.1 | 9.268
R00618 | NO3-N DISSOLVED NITRATE NITROGEN ION CHROMATOGRAPH | 3.1 | 9.268
R00618A | NO3-N DISSOLVED NITRATE NITROGEN REPORTED | 3.1 | 9.268
R00620 | NO3-N TOTAL NITRATE NITROGEN REPORTED | 3.1 | 9.268
R00620A | NO3-N TOTAL NITRATE NITROGEN REPORTED | 3.1 | 9.268
R00620E | HI-VOL TOTAL NITRATE NITROGEN REPORTED | 8 | 23.9173
R00620I | PM2.5 NITRATE REPORTED (ION CHROMATOGRAPHY) | 8 | 23.9173
R00620P | PM2.5 NITRATE REPORTED | 8 | 23.9173
R00620S | NITRATE REPORTED IN SILICA GEL | 5 | 14.9483
R00623A | KJELDAHL NITROGEN DISSOLVED AS N | 16 | 47.8347
R00625A | KJELDAHL NITROGEN TOTAL AS N | 16 | 47.8347
R00630A | NITRITE&NITRATE AS N TOTAL | 3.1 | 9.268
R00631A | NITRITE & NITRATE DISSOLVED AS N | 3.1 | 9.268
R00665A | PHOSPHORUS WET METHOD TOTAL REPORTED | 6.2 | 18.5359
R00665S | PHOSPHATE REPORTED IN SILICA GEL | 5 | 14.9483
R00666A | PHOSPHOROUS TOTAL DISSOLVED | 6.2 | 18.5359
R00671A | PHOSPHOROUS ORTHO DISSOLVED | 6.2 | 18.5359
R00680 | CARBON TOTAL ORGANIC | 10.2 | 30.4946
R00681 | CARBON DISSOLVED ORGANIC | 10.2 | 30.4946
R00682 | CARBON DISSOLVED ORGANIC & INORGANIC | 10.2 | 30.4946
R00685 | CARBON TOTAL INORGANIC | 10.2 | 30.4946
R00719A | CYANIDE-FREE REPORTED | 14.5 | 43.3502
R00720A | CYANIDE-TOTAL REPORTED | 14.5 | 43.3502
R00720D | CYANIDE-DISTILLED - TOTAL | 14.5 | 43.3502
R00721K | CN MANUAL DISTILLATION-WATER | 45 | 134.535
R00745 | SULFIDE, TOTAL - REPORTED | 13.9 | 41.5564
R00900A | HARDNESS TOTAL (CACO3) | 4.1 | 12.2576
R00915A | CALCIUM DISSOLVED REPORTED | 3.7 | 11.0618
R00916A | CALCIUM TOTAL REPORTED | 3.7 | 11.0618
R00916E | Hi-Vol CALCIUM REPORTED | 3.7 | 11.0618
R00916K | CALCIUM TOTAL | 3.7 | 11.0618
R00916Z | CALCIUM TOTAL | 1.1 | 3.2886
R00918A | CALCIUM TOTAL RECOVERABLE REPORTED | 3.7 | 11.0618
R00921A | MAGNESIUM TOTAL RECOVERABLE REPORTED | 3.7 | 11.0618
R00923A | SODIUM TOTAL RECOVERABLE REPORTED | 3.7 | 11.0618
R00925A | MAGNESIUM DISSOLVED REPORTED | 3.7 | 11.0618
R00927A | MAGNESIUM TOTAL REPORTED | 3.7 | 11.0618
R00927K | MAGNESIUM TOTAL | 3.7 | 11.0618
R00927Z | MAGNESIUM TOTAL REPORTED | 1.1 | 3.2886
R00929A | SODIUM TOTAL REPORTED | 3.7 | 11.0618
R00929K | SODIUM TOTAL | 3.7 | 11.0618
R00929Z | SODIUM REPORTED | 1.1 | 3.2886
R00930A | SODIUM DISSOLVED REPORTED | 3.7 | 11.0618
R00935A | POTASSIUM DISSOLVED REPORTED | 3.7 | 11.0618
R00937A | POTASSIUM TOTAL REPORTED | 3.7 | 11.0618
R00937E | HI-VOL POTASSIUM REPORTED | 3.7 | 11.0618
R00937K | POTASSIUM TOTAL | 3.7 | 11.0618
R00939A | POTASSIUM TOTAL RECOVERABLE | 3.7 | 11.0618
R00940 | CHLORIDE REPORTED | 3.1 | 9.268
R00940A | CHLORIDE TOTAL REPORTED | 3.1 | 9.268
R00940E | HI-VOL CHLORIDE REPORTED | 3.1 | 9.268
R00940S | CHLORIDE REPORTED IN SILICA GEL | 5 | 14.9483
R00941 | CHLORIDE DISSOLVED ION CHROMATAGRAPH | 3.1 | 9.268
R00941A | DISSOLVED CHLORIDE | 3.1 | 9.268
R00945 | SULFATE TOTAL | 4.1 | 12.2576
R00945A | SULFATE REPORTED | 4.1 | 12.2576
R00945E | HI-VOL SULFATE REPORTED | 8 | 23.9173
R00945I | PM2.5 SULFATE REPORTED (ION CHROMATOGRAPHY) | 8 | 23.9173
R00945M | Sulfate Reported | 4.1 | 12.2576
R00945P | PM2.5 SULFATE REPORTED | 8 | 23.9173
R00945S | SULFATE REPORTED IN SILICA GEL | 5 | 14.9483
R00946 | SULFATE DISSOLVED ION CHROMATOGRAPH | 4.1 | 12.2576
R00946A | DISSOLVED SULFATE | 4.1 | 12.2576
R00950 | FLUORIDE DISSOLVED ION CHROMATOGRAPH | 5 | 14.9483
R00951 | FLUORIDE TOTAL | 5 | 14.9483
R00951S | FLUORIDE REPORTED IN SILICA GEL | 5 | 14.9483
R00955A | SILICA DISSOLVED REPORTED | 3.7 | 11.0618
R00956A | SILICA TOTAL REPORTED | 3.7 | 11.0618
R00956E | SiO2, Hi-Vol by ICP | 3.7 | 11.0618
R00978H | ARSENIC TOTAL RECOVERABLE REPORTED | 3.7 | 11.0618
R00980A | IRON TOTAL RECOVERABLE REPORTED | 3.7 | 11.0618
R00981H | SELENIUM TOTAL RECOVERABLE REPORTED | 3.7 | 11.0618
R01000H | ARSENIC DISSOLVED REPORTED | 3.7 | 11.0618
R01002E | HI-VOL ARSENIC REPORTED | 3.7 | 11.0618
R01002F | HI-VOL ARSENIC CONCENTRATED REPORTED | 3.7 | 11.0618
R01002FA | ARSENIC IN FLY ASH STRIPS | 3.7 | 11.0618
R01002H | ARSENIC TOTAL REPORTED | 3.7 | 11.0618
R01002K | ARSENIC TOTAL | 3.7 | 11.0618
R01005A | BARIUM DISSOLVED REPORTED | 3.7 | 11.0618
R01005H | BARIUM DISSOLVED REPORTED | 3.7 | 11.0618
R01007A | BARIUM TOTAL REPORTED | 3.7 | 11.0618
R01007E | HI-VOL BARIUM TOTAL REPORTED | 3.7 | 11.0618
R01007H | BARIUM TOTAL REPORTED | 3.7 | 11.0618
R01007K | BARIUM TOTAL | 3.7 | 11.0618
R01009A | BARIUM TOTAL RECOVERABLE REPORTED | 3.7 | 11.0618
R01010A | BERYLIUM DISSOLVED REPORTED | 3.7 | 11.0618
R01012A | BERYLLIUM TOTAL REPORTED | 3.7 | 11.0618
R01012E | AIR FILTER BERYLLIUM | 3.7 | 11.0618
R01012F | AIR FILTER BERYLLIUM CONCENTRATED REPORTED | 3.7 | 11.0618
R01012FA | BERYLLIUM IN FLY ASH STRIPS | 3.7 | 11.0618
R01012H | BERYLLIUM TOTAL REPORTED | 3.7 | 11.0618
R01012K | BERYLLIUM TOTAL | 3.7 | 11.0618
R01020A | BORON DISSOLVED | 17.9 | 53.515
R01020K | BORON DISSOLVED | 3.7 | 11.0618
R01022A | BORON TOTAL | 17.9 | 53.515
R01022K | BORON TOTAL REPORTED | 3.7 | 11.0618
R01025A | CADMIUM DISSOLVED REPORTED | 3.7 | 11.0618
R01025H | CADMIUM DISSOLVED REPORTED | 3.7 | 11.0618
R01027A | CADMIUM TOTAL REPORTED | 3.7 | 11.0618
R01027E | HI-VOL CADMIUM REPORTED | 3.7 | 11.0618
R01027F | HI-VOL CADMIUM CONCENTRATED REPORTED | 3.7 | 11.0618
R01027FA | CADMIUM IN FLY ASH STRIPS | 3.7 | 11.0618
R01027H | CADMIUM TOTAL REPORTED | 3.7 | 11.0618
R01027K | CADMIUM TOTAL | 3.7 | 11.0618
R01030A | CHROMIUM DISSOLVED REPORTED | 3.7 | 11.0618
R01030H | CHROMIUM DISSOLVED REPORTED | 3.7 | 11.0618
R01032 | CHROMIUM HEXAVALENT | 20.2 | 60.3913
R01032A | CHROMIUM HEXAVALENT | 10.7 | 31.9894
R01032E | AIR FILTER HEXAVALENT CHROMIUM | 40.3 | 120.4836
R01032E1 | CHROMIUM HEXAVALENT NAHCO3 FILTER | 10.7 | 31.9894
R01034A | CHROMIUM TOTAL REPORTED | 3.7 | 11.0618
R01034E | HI-VOL CHROMIUM REPORTED | 3.7 | 11.0618
R01034F | HI-VOL CHROMIUM CONCENTRATED REPORTED | 3.7 | 11.0618
R01034FA | CHROMIUM IN FLY ASH STRIPS | 3.7 | 11.0618
R01034H | CHROMIUM TOTAL REPORTED | 3.7 | 11.0618
R01034K | CHROMIUM TOTAL | 3.7 | 11.0618
R01035A | COBALT DISSOLVED REPORTED | 3.7 | 11.0618
R01037A | COBALT TOTAL REPORTED | 3.7 | 11.0618
R01037F | Cobalt | 3.7 | 11.0618
R01037FA | COBALT IN FLY ASH STRIPS | 3.7 | 11.0618
R01037H | COBALT TOTAL | 3.7 | 11.0618
R01037K | COBALT TOTAL | 3.7 | 11.0618
R01040A | COPPER DISSOLVED REPORTED | 3.7 | 11.0618
R01040H | COPPER DISSOLVED REPORTED | 3.7 | 11.0618
R01042A | COPPER TOTAL REPORTED | 3.7 | 11.0618
R01042E | HI-VOL COPPER TOTAL REPORTED | 3.7 | 11.0618
R01042FA | COPPER IN FLY ASH STRIPS | 3.7 | 11.0618
R01042H | COPPER TOTAL REPORTED | 3.7 | 11.0618
R01042K | COPPER TOTAL | 3.7 | 11.0618
R01045A | IRON TOTAL REPORTED | 3.7 | 11.0618
R01045E | HI-VOL IRON REPORTED | 3.7 | 11.0618
R01045K | IRON TOTAL | 3.7 | 11.0618
R01045Z | IRON REPORTED | 1.1 | 3.2886
R01046A | IRON DISSOLVED REPORTED | 3.7 | 11.0618
R01046Z | IRON DISSOLVED REPORTED | 1.1 | 3.2886
R01047A | IRON FERROUS REPORTED | 4.1 | 12.2576
R01047D | IRON, FERROUS DISSOLVED REPORTED | 4.1 | 12.2576
R01049A | LEAD DISSOLVED | 6.8 | 20.3297
R01049H | LEAD DISSOLVED REPORTED | 3.7 | 11.0618
R01051 | % LEAD | 3.7 | 11.0618
R01051A | LEAD TOTAL REPORTED | 3.7 | 11.0618
R01051E | HI-VOL LEAD REPORTED | 3.7 | 11.0618
R01051E1 | LEAD, HI-VOL BY ICP | 3.7 | 11.0618
R01051F | HI-VOL LEAD CONCENTRATED REPORTED | 3.7 | 11.0618
R01051FA | LEAD IN FLY ASH STRIPS | 3.7 | 11.0618
R01051H | LEAD TOTAL REPORTED | 3.7 | 11.0618
R01051K | LEAD TOTAL | 3.7 | 11.0618
R01051PT | LEAD, PT by ICP | 3.7 | 11.0618
R01051R | HI-VOL LEAD RECHECK REPORTED | 3.7 | 11.0618
R01055A | MANGANESE TOTAL REPORTED | 3.7 | 11.0618
R01055E | HI-VOL MANGANESE REPORTED | 3.7 | 11.0618
R01055F | AIR FILTER MANGANESE CONCENTRATED REPORTED | 3.7 | 11.0618
R01055H | MANGANESE TOTAL REPORTED | 3.7 | 11.0618
R01055K | MANGANESE TOTAL | 3.7 | 11.0618
R01055Z | MANGANESE REPORTED | 1.1 | 3.2886
R01056A | MANGANESE DISSOLVED REPORTED | 3.7 | 11.0618
R01056H | MANGANESE DISSOLVED REPORTED | 3.7 | 11.0618
R01056Z | MANGANESE DISSOLVED REPORTED | 1.1 | 3.2886
R01057H | THALLIUM DISSOLVED REPORTED | 3.7 | 11.0618
R01059A | THALLIUM TOTAL REPORTED | 3.7 | 11.0618
R01059E | AIR FILTER THALLIUM | 3.7 | 11.0618
R01059H | THALLIUM TOTAL REPORTED | 3.7 | 11.0618
R01059K | THALLIUM TOTAL | 3.7 | 11.0618
R01060A | MOLYBDENUM DISSOLVED REPORTED | 3.7 | 11.0618
R01062A | MOLYBDENUM TOTAL REPORTED | 3.7 | 11.0618
R01062H | MOLYBDENUM TOTAL REPORTED | 3.7 | 11.0618
R01065A | NICKEL DISSOLVED REPORTED | 3.7 | 11.0618
R01065H | NICKEL DISSOLVED REPORTED | 3.7 | 11.0618
R01067A | NICKEL TOTAL REPORTED | 3.7 | 11.0618
R01067E | HI-VOL NICKEL REPORTED | 3.7 | 11.0618
R01067F | HI-VOL NICKEL CONCENTRATED REPORTED | 3.7 | 11.0618
R01067FA | NICKEL IN FLY ASH STRIPS | 3.7 | 11.0618
R01067H | NICKEL TOTAL REPORTED | 3.7 | 11.0618
R01067K | NICKEL TOTAL | 3.7 | 11.0618
R01074A | NICKEL TOTAL RECOVERABLE REPORTED | 3.7 | 11.0618
R01075A | SILVER DISSOLVED REPORTED | 3.7 | 11.0618
R01075H | SILVER DISSOLVED REPORTED | 3.7 | 11.0618
R01077A | SILVER TOTAL REPORTED | 3.7 | 11.0618
R01077E | HI-VOL SILVER REPORTED | 3.7 | 11.0618
R01077H | SILVER TOTAL REPORTED | 3.7 | 11.0618
R01077K | SILVER TOTAL | 3.7 | 11.0618
R01079A | SILVER TOTAL RECOVERABLE REPORTED | 3.7 | 11.0618
R01079H | SILVER TOTAL RECOVERABLE REPORTED | 3.7 | 11.0618
R01080A | STRONTIUM DISSOLVED REPORTED | 3.7 | 11.0618
R01082A | STRONTIUM TOTAL REPORTED | 3.7 | 11.0618
R01085A | VANADIUM DISSOLVED REPORTED | 3.7 | 11.0618
R01085H | VANADIUM DISSOLVED REPORTED | 3.7 | 11.0618
R01087A | VANADIUM TOTAL REPORTED | 3.7 | 11.0618
R01087H | VANADIUM TOTAL REPORTED | 3.7 | 11.0618
R01087K | VANADIUM TOTAL | 3.7 | 11.0618
R01090A | ZINC DISSOLVED REPORTED | 3.7 | 11.0618
R01090H | ZINC DISSOLVED REPORTED | 3.7 | 11.0618
R01092A | ZINC TOTAL REPORTED | 3.7 | 11.0618
R01092E | HI-VOL ZINC REPORTED | 3.7 | 11.0618
R01092F | HI-VOL ZINC CONCENTRATED REPORTED | 3.7 | 11.0618
R01092FA | ZINC IN FLY ASH STRIPS | 3.7 | 11.0618
R01092H | ZINC TOTAL REPORTED | 3.7 | 11.0618
R01092K | ZINC TOTAL | 3.7 | 11.0618
R01094A | ZINC TOTAL RECOVERABLE REPORTED | 3.7 | 11.0618
R01094H | ZINC TOTAL RECOVERABLE REPORTED | 3.7 | 11.0618
R01095H | ANTIMONY DISSOLVED REPORTED | 3.7 | 11.0618
R01097E | AIR FILTER ANTIMONY | 3.7 | 11.0618
R01097H | ANTIMONY TOTAL REPORTED | 3.7 | 11.0618
R01097K | ANTIMONY TOTAL | 3.7 | 11.0618
R01100A | TIN DISSOLVED REPORTED | 3.7 | 11.0618
R01102A | TIN TOTAL REPORTED | 3.7 | 11.0618
R01102K | TIN TOTAL | 3.7 | 11.0618
R01104A | ALUMINUM TOTAL RECOVERABLE REPORTED | 3.7 | 11.0618
R01105A | ALUMINUM TOTAL REPORTED | 3.7 | 11.0618
R01105E | HI-VOL ALUMINUM TOTAL REPORTED | 3.7 | 11.0618
R01105H | ALUMINUM TOTAL REPORTED | 3.7 | 11.0618
R01105K | ALUMINUM TOTAL | 3.7 | 11.0618
R01105Z | ALUMINUM REPORTED | 1.1 | 3.2886
R01106A | ALUMINUM DISSOLVED REPORTED | 3.7 | 11.0618
R01106D | ALUMINUM DISSOLVED REPORTED (.1 MICRON FILTER) | 4.8 | 14.3504
R01106H | ALUMINUM DISSOLVED REPORTED | 3.7 | 11.0618
R01113H | CADMIUM TOTAL RECOVERABLE REPORTED | 3.7 | 11.0618
R01114H | LEAD TOTAL RECOVERABLE REPORTED | 3.7 | 11.0618
R01118H | CHROMIUM TOTAL RECOVERABLE REPORTED | 3.7 | 11.0618
R01119A | COPPER TOTAL RECOVERABLE REPORTED | 3.7 | 11.0618
R01119H | COPPER TOTAL RECOVERABLE REPORTED | 3.7 | 11.0618
R01122H | GALLIUM, TOTAL | 3.7 | 11.0618
R01123A | MANGANESE TOTAL RECOVERABLE REPORTED | 3.7 | 11.0618
R01127H | GERMANIUM, TOTAL | 3.7 | 11.0618
R01129A | MOLYBDENUM TOTAL RECOVERABLE REPORTED | 3.7 | 11.0618
R01130A | LITHIUM DISSOLVED REPORTED | 3.7 | 11.0618
R01132A | LITHIUM TOTAL REPORTED | 3.7 | 11.0618
R01145H | SELENIUM DISSOLVED REPORTED | 3.7 | 11.0618
R01147E | HI-VOL SELENIUM REPORTED | 3.7 | 11.0618
R01147H | SELENIUM TOTAL REPORTED | 3.7 | 11.0618
R01147K | SELENIUM TOTAL | 3.7 | 11.0618
R01152A | TITANIUM TOTAL REPORTED | 3.7 | 11.0618
R01154A | TUNGSTEN TOTAL REPORTED | 3.7 | 11.0618
R01220A | DISSOLVED HEXAVALENT CHROMIUM | 10.7 | 31.9894
R07084 | RHODAMINE DYE | 26.4 | 78.9272
R10916K | DISSOLV. CALCIUM IN WATER-FILT | 6.8 | 20.3297
R10927K | DISS. MAGNESIUM IN WATER-FILT | 6.8 | 20.3297
R10929K | DISSOLVED SODIUM IN WATER-FILT | 6.8 | 20.3297
R10937K | DISS. POTASSIUM IN WATER-FILT | 6.8 | 20.3297
R11002K | DISSOLV. ARSENIC IN WATER-FILT | 13.6 | 40.6595
R11007K | DISSOLVED BARIUM IN WATER-FILT | 6.8 | 20.3297
R11012K | DISS. BERYLLIUM IN WATER-FILT | 6.8 | 20.3297
R11027K | DISSOLV. CADMIUM IN WATER-FILT | 6.8 | 20.3297
R11034K | DISSOLV.CHROMIUM IN WATER-FILT | 6.8 | 20.3297
R11037K | DISSOLVED COBALT IN WATER-FILT | 6.8 | 20.3297
R11042K | DISSOLVED COPPER IN WATER-FILT | 6.8 | 20.3297
R11045K | DISSOLVED IRON IN WATER-FILT | 6.8 | 20.3297
R11051K | DISSOLVED LEAD IN WATER-FILT | 6.8 | 20.3297
R11055K | DISS. MANGANESE IN WATER-FILT | 6.8 | 20.3297
R11059K | DISSOLV.THALLIUM IN WATER-FILT | 13.6 | 40.6595
R11067K | DISSOLVED NICKEL IN WATER-FILT | 6.8 | 20.3297
R11077K | DISSOLVED SILVER IN WATER-FILT | 6.8 | 20.3297
R11087K | DISS. VANADIUM IN WATER-FILT | 6.8 | 20.3297
R11092K | DISSOLVED ZINC IN WATER-FILT | 6.8 | 20.3297
R11097K | DISSOLV.ANTIMONY IN WATER-FILT | 13.6 | 40.6595
R11102K | DISSOLVED TIN IN WATER-FILT | 13.6 | 40.6595
R11105K | DISSOLV.ALUMINUM IN WATER-FILT | 6.8 | 20.3297
R11147K | DISSOLV.SELENIUM IN WATER-FILT | 13.6 | 40.6595
R11900K | DISSOLV. MERCURY IN WATER-FILT | 13.6 | 40.6595
R12022 | BORON 1312 MG/L | 3.7 | 11.0618
R12249 | POTASSIUM 1312 MG/L | 3.7 | 11.0618
R12251 | MAGNESIUM SPLP EXTRACT | 3.7 | 11.0618
R12252 | SODIUM 1312 MG/L | 3.7 | 11.0618
R12254 | IRON 1312 MG/L | 3.7 | 11.0618
R12255 | MANGANESE 1312 MG/L | 3.7 | 11.0618
R12256 | CALCIUM SPLP EXTRACT | 3.7 | 11.0618
R12257 | COPPER 1312 MG/L | 3.7 | 11.0618
R12258 | LEAD 1312 MG/L | 3.7 | 11.0618
R12259 | MERCURY 1312 MG/L | 3.7 | 11.0618
R12307 | NICKEL 1312 MG/L | 3.7 | 11.0618
R12308 | CHROMIUM 1312 MG/L | 3.7 | 11.0618
R12309 | CADMIUM 1312 MG/L | 3.7 | 11.0618
R12900 | ALUMINUM 1312 MG/L | 3.7 | 11.0618
R12901 | BARIUM 1312 MG/L | 3.7 | 11.0618
R12902 | SILVER 1312 MG/L | 3.7 | 11.0618
R12903 | ARSENIC 1312 MG/L | 3.7 | 11.0618
R12904 | SELENIUM 1312 MG/L | 3.7 | 11.0618
R12905 | ZINC 1312 MG/L | 3.7 | 11.0618
R12908 | COBALT 1312 MG/L | 3.7 | 11.0618
R12909 | ANTIMONY 1312 MG/L | 3.7 | 11.0618
R12910 | BERYLLIUM SPLP EXTRACT | 3.7 | 11.0618
R12911 | THALLIUM SPLP EXTRACT | 3.7 | 11.0618
R12913 | VANADIUM SPLP EXTRACT | 3.7 | 11.0618
R12914 | MOLYBDENUM 1312 MG/L | 3.7 | 11.0618
R1623 | EPA Method 1623 | 600 | 1793.8
R1623C | Crypto Oocysts Method 1623 | 210 | 627.83
R1623G | Giardia Cysts Method 1623 | 210 | 627.83
R22706E2 | Uranium 235 | 3.7 | 11.0618
R22706E3 | Uranium 238 | 3.7 | 11.0618
R22706F | Uranium, Total, ug/filter | 3.7 | 11.0618
R22706K | Uranium, Total, mg/Kg in Soil/Waste | 3.7 | 11.0618
R31501 | TOTAL COLIFORM - FILTER | 14.5 | 43.3502
R31505 | TOTAL COLIFORM - MPN | 14.5 | 43.3502
R31615 | FECAL COLIFORM - MPN | 14.5 | 43.3502
R31616 | FECAL COLIFORM - FILTER | 14.5 | 43.3502
R31639 | ENTEROCCOCUS - FILTER | 14.5 | 43.3502
R31645 | FECAL COLIFORM - FILTER, #G | 14.5 | 43.3502
R31673 | FECAL STREPTOCOCCUS - FILTER | 14.5 | 43.3502
R31679 | FECAL STREPTOCOCCI-MF M-ENTEROCCOCUS AGAR | 14.5 | 43.3502
R31751 | HETEROTROPHIC PLATE COUNT | 14.5 | 43.3502
R32230 | CHLOROPHYLL A | 31.1 | 92.9786
R32730A | PHENOLS | 14.5 | 43.3502
R32730D | PHENOLS - DISTILLED | 14.5 | 43.3502
R38260 | METHYLENE BLUE ACT SUB | 11.9 | 35.577
R38260C | METHYLENE BLUE ACTIVE SUBSTANCES -COLOR COMPARISON | 6 | 17.938
R40005 | PERCENT MOISTURE IN SOIL | 15 | 44.845
R40005K | PERCENT MOISTURE IN SOIL | 7.5 | 22.4225
R40007 | SOIL PH 1:1 DI H2O:SAMPLE | 15 | 44.845
R40008 | PH CORROSIVITY | 15 | 44.845
R40310 | 5 DAY BOD ASTM-A DI H2O LEACH | 9.8 | 29.2987
R40314 | Inhibited Biochem Oxcygen Demand 5 day Leach | 9.8 | 29.2987
R40340 | CH OXYGEN DEMAND ASTM LCH MG/L | 13.4 | 40.0615
R40403 | PH ASTM-A DI H2O LEACH | 2.4 | 7.1752
R40410 | ALKALINITY ASTM-A DI H2O LEACH | 2.4 | 7.1752
R40500 | TOTAL SOLIDS FROM ASTM D3987-85 LEACH | 2 | 5.9793
R40500K | Total Solids, MG/L by SM2540G | 3 | 8.969
R40505 | % VOLATILE SOLIDS | 4.8 | 14.3504
R40505M | % mineral content | 4.8 | 14.3504
R40508 | PHB HOT ACIDITY ASTMA H2O LEACH | 4.9 | 14.6494
R40515 | TOTAL FILTRABLE 105 DEGREES C | 3 | 8.969
R40556 | OIL&GREASE ASTMA H2O LEACH | 20.7 | 61.8861
R40556E | OIL&GREASE (METHOD 1664) IN ASTMA LEACHATE | 20.7 | 61.8861
R40610 | AMMONIA AS N ASTM-A H2O LEACH | 3.1 | 9.268
R40615 | NITRITE AS N ASTM-A H2O LEACH | 3.1 | 9.268
R40620 | NITRATE AS N ASTMA H2O LEACH | 3.1 | 9.268
R40625 | Kjeldahl Nitrogen Leach | 16 | 47.8347
R40665 | PHOSPHORUS TOT ASTMA H2O LEACH | 6.2 | 18.5359
R40666 | PHOSPHORUS MEHLICH-3 | 12 | 35.876
R40667 | PHOSPHORUS BRAY-1 (P205) | 12 | 35.876
R40680 | TOT ORG CARBON ASTM LEACH MG/L | 10.2 | 30.4946
R40720 | CYANIDE MG/L WATER LEACH MG/L | 24.7 | 73.8448
R40720L | CYANIDE, WATER LEACH, MG/KG dry wt. | 24.7 | 73.8448
R40722 | FREE CN MG/L WATER LEACH | 24.7 | 73.8448
R40722L | Free Cyanide WATER Leach dry weight | 24.7 | 73.8448
R40929 | SODIUM, ASTM LEACH, MG/L | 6.8 | 20.3297
R40937 | POTASSIUM, ASTM LEACH, MG/L | 6.8 | 20.3297
R40940 | CHLORIDE ASTM-A H2O LEACH | 3.1 | 9.268
R40945 | SULFATE, ASTM LEACH, MG/L | 4.1 | 12.2576
R40951 | FLUORIDE, H2O ASTM-A LEACH | 5 | 14.9483
R41002 | ARSENIC, ASTM LEACH, MG/L | 6.8 | 20.3297
R41007 | BARIUM, ASTM LEACH, MG/L | 6.8 | 20.3297
R41022 | BORON, ASTM LEACH, MG/L | 6.8 | 20.3297
R41027 | CADMIUM, STM LEACH, MG/L | 6.8 | 20.3297
R41032A | HEXCHROME ASTM LEACH | 3 | 8.969
R41032L | Hexchrome ASTM Leach dry weight | 3 | 8.969
R41034 | CHROMIUM, ASTM LEACH, MG/L | 6.8 | 20.3297
R41037 | COBALT, ASTM LEACH, MG/L | 6.8 | 20.3297
R41042 | COPPER, ASTM LEACH, MG/L | 6.8 | 20.3297
R41045 | IRON, ASTM LEACH, MG/L | 6.8 | 20.3297
R41047 | FERROUS IRON, ASTM LEACH, UG/L | 4.1 | 12.2576
R41051 | LEAD, ASTM LEACH, MG/L | 6.8 | 20.3297
R41055 | MANGANESE, ASTM LEACH, MG/L | 6.8 | 20.3297
R41062 | MOLYBDENUM, ASTM LEACH, MG/L | 6.8 | 20.3297
R41067 | NICKEL, ASTM LEACH, MG/L | 6.8 | 20.3297
R41077 | SILVER, ASTM LEACH, MG/L | 6.8 | 20.3297
R41092 | ZINC, ASTM LEACH, MG/L | 6.8 | 20.3297
R41097 | ANTIMONY, ASTM LEACH, MG/L | 6.8 | 20.3297
R41105 | ALUMINUM, ASTM LEACH, MG/L | 6.8 | 20.3297
R41132K | Lithium, Total, mg/Kg in Soil/Waste | 3.7 | 11.0618
R41147 | SELENIUM, ASTM LEACH, MG/L | 6.8 | 20.3297
R41900 | MERCURY, ASTM LEACH, UG/L | 13.6 | 40.6595
R42730 | PHENOLICS, ASTM LEACH, U/L | 20.2 | 60.3913
R44720 | CYANIDE, ASTM LEACH, MG/L | 20.2 | 60.3913
R45501 | TOTAL PETROLEUM HYDROCARBON REPORTED | 30 | 89.69
R45501E | TPH (METHOD 1664) IN ASTMA LEACHATE | 25 | 74.7417
R45501H | NON POLAR MATERIALS METHOD 1664 (HEXANE) | 25 | 74.7417
R45501S | TOTAL PETROLEUM HYDROCARBON REPORTED - DRY | 90 | 269.07
R45501X | TOTAL PETROLEUM HYDROCARBON REPORTED - DRY | 40 | 119.5867
R46022 | BORON TOT DIG MG/KG DRY WT | 8.1 | 24.2163
R46022K | BORON, MG/KG DRY WT. BASIS | 3.7 | 11.0618
R46105 | URANINE DYE FLUORESCENCE | 26.4 | 78.9272
R46249 | POTASSIUM TOT DIG MG/KG DRY WT | 8.1 | 24.2163
R46249K | POTASSIUM TOTAL MG/KG DRY WT. BASIS | 3.7 | 11.0618
R46251 | MAGNESIUM TOT DIG MG/KG DRY WT | 8.1 | 24.2163
R46251K | MAGNESIUM TOTAL MG/KG DRY WT. BASIS | 3.7 | 11.0618
R46252 | SODIUM TOT DIG MG/KG DRY WT | 8.1 | 24.2163
R46252K | SODIUM TOTAL MG/KG DRY WT. BASIS | 3.7 | 11.0618
R46254 | IRON TOT DIG MG/KG DRY WT | 8.1 | 24.2163
R46254K | IRON TOTAL MG/KG DRY WT. BASIS | 3.7 | 11.0618
R46255 | MANGANESE TOT DIG MG/KG DRY WT | 8.1 | 24.2163
R46255K | MANGANESE TOTAL MG/KG DRY WT. BASIS | 3.7 | 11.0618
R46256 | CALCIUM TOT DIG MG/KG DRY WT | 8.1 | 24.2163
R46256K | CALCIUM TOTAL MG/KG DRY WT. BASIS | 3.7 | 11.0618
R46257 | COPPER TOT DIG MG/KG DRY WT | 8.1 | 24.2163
R46257K | COPPER TOTAL MG/KG DRY WT. BASIS | 3.7 | 11.0618
R46258 | LEAD TOT DIG MG/KG DRY WT | 8.1 | 24.2163
R46258K | LEAD TOTAL MG/KG DRY WT. BASIS | 3.7 | 11.0618
R46259 | MERCURY TOT DIG MG/KG DRY WT | 17.1 | 51.1233
R46259K | MERCURY TOTAL MG/KG DRY WT. BASIS | 3.7 | 11.0618
R46307 | NICKEL TOT DIG MG/KG DRY WT | 8.1 | 24.2163
R46307K | NICKLE TOTAL MG/KG DRY WT. BASIS | 3.7 | 11.0618
R46308 | CHROMIUM TOT DIG MG/KG DRY WT | 8.1 | 24.2163
R46308K | CHROMIUM TOTAL MG/KG DRY WT. BASIS | 3.7 | 11.0618
R46309 | CADMIUM TOT DIG MG/KG DRY WT | 8.1 | 24.2163
R46309K | CADMIUM TOTAL MG/KG DRY WT. BASIS | 3.7 | 11.0618
R46605D | % ORGANIC NITROGEN DRY WEIGHT | 1 | 2.9897
R46610D | % AMMONIUM NITROGEN DRY WEIGHT | 4.1 | 12.2576
R46620D | % NITRATE NITROGEN DRY WEIGHT | 3.1 | 9.268
R46625D | % KJELDAHL NITROGEN DRY WEIGHT | 16 | 47.8347
R46665D | % TOTAL PHOSPHORUS DRY WEIGHT | 6.2 | 18.5359
R46720 | REACTIVE CYANIDE - REPORTED | 14.5 | 43.3502
R46721K | CN MANUAL DISTILLATION-SOIL | 0 | 0
R46745 | REACTIVE SULFIDE - REPORTED | 13.9 | 41.5564
R46900 | AL TOT DIG MG/KG DRY WT | 8.1 | 24.2163
R46900K | ALUMINUM TOTAL MG/KG DRY WT. BASIS | 3.7 | 11.0618
R46901 | BARIUM TOT DIG MG/KG DRY WT | 8.1 | 24.2163
R46901K | BARIUM TOTAL MG/KG DRY WT. BASIS | 3.7 | 11.0618
R46902 | SILVER TOT DIG MG/KG DRY WT | 8.1 | 24.2163
R46902K | SILVER TOTAL MG/KG DRY WT. BASIS | 3.7 | 11.0618
R46903 | ARSENIC TOT DIG MG/KG DRY WT | 8.1 | 24.2163
R46903K | ARSENIC TOTAL MG/KG DRY WT. BASIS | 3.7 | 11.0618
R46904 | SELENIUM TOT DIG MG/KG DRY WT | 8.1 | 24.2163
R46904K | SELENIUM TOTAL MG/KG DRY WT. BASIS | 3.7 | 11.0618
R46905 | ZINC TOT DIG MG/KG DRY WT | 8.1 | 24.2163
R46905K | ZINC TOTAL MG/KG DRY WT. BASIS | 3.7 | 11.0618
R46906 | STRONTIUM TOT DIG MG/KG DRY WT | 8.1 | 24.2163
R46907 | TITANIUM TOT DIG MG/KG DRY WT | 8.1 | 24.2163
R46907K | TITANIUM TOTAL IN SOIL | 3.7 | 11.0618
R46908 | COBALT TOT DIG MG/KG DRY WT | 8.1 | 24.2163
R46908K | COBALT TOTAL MG/KG DRY WT. BASIS | 3.7 | 11.0618
R46909 | ANTIMONY TOT DIG MG/KG DRY WT | 8.1 | 24.2163
R46909K | ANTIMONY TOTAL MG/KG DRY WT. BASIS | 3.7 | 11.0618
R46910 | BERYLIUM TOT DIG MG/KG DRY WT | 8.1 | 24.2163
R46910K | BERYLLIUM TOTAL MG/KG DRY WT. BASIS | 3.7 | 11.0618
R46911 | THALLIUM TOT DIG MG/KG DRY WT | 8.1 | 24.2163
R46911K | THALLIUM TOTAL MG/KG DRY WT. BASIS | 3.7 | 11.0618
R46912 | TIN TOT DIG MG/KG DRY WT | 8.1 | 24.2163
R46912K | TIN TOTAL MG/KG DRY WT. BASIS | 3.7 | 11.0618
R46913 | VANADIUM TOT DIG MG/KG DRY WT | 8.1 | 24.2163
R46913K | VANADIUM TOTAL MG/KG DRY WT. BASIS | 3.7 | 11.0618
R46914 | MOLYBDENUM TOT DIG MG/KG DRY WT | 8.1 | 24.2163
R46914K | MOLYBDENUM, MG/KG DRY WT. BASIS | 3.7 | 11.0618
R46956K | SiO2 in dustfall particulate | 3.7 | 11.0618
R47353 | TOT ORG HALIDE ASTM LEACH UG/L | 81 | 242.163
R47353S | TOTAL EXTRACTABLE ORGANIC HALIDES IN SOLIDS (TEOX) | 81 | 242.163
R47556H | OIL & GREASE METHOD 1664 (HEXANE) ASTM LEACH | 20.7 | 61.8861
R49037 | TCLP Be | 3.7 | 11.0618
R49040 | TCLP Cu | 3.7 | 11.0618
R49045 | TCLP Ni | 3.7 | 11.0618
R49053 | TCLP Zn | 3.7 | 11.0618
R49063 | COPPER,TOTAL, WATER,AS MG/L TCLP | 8.1 | 24.2163
R49066 | NICKEL,TOTAL, WATER, AS MG/L TCLP | 8.1 | 24.2163
R49074 | ZINC,TOTAL, WATER, AS MG/L TCLP | 8.1 | 24.2163
R49218 | HEXAVALENT CHROMIUM | 10.7 | 31.9894
R50074 | CHLORITE, ION CHROMATOGRAPH | 10 | 29.8967
R61209 | Perchlorate in Water | 3.1 | 9.268
R61578 | NO3-N TOTAL NITRATE NITROGEN DRY WEIGHT | 3.1 | 9.268
R70300 | RESIDUE,TOT FILTRABLE @ 180 C REPORTED | 4.3 | 12.8556
R70353 | ORGANIC HALIDE TOTAL | 45 | 134.535
R70353E | TOTAL HALIDE FURNACE/MICROCOUL | 45 | 134.535
R70507 | Total Ortho Phosphorus ASTMA H2O Leach | 6.2 | 18.5359
R70507A | PHOSPHORUS ORTHO TOTAL | 6.2 | 18.5359
R70508 | HOT ACIDITY REPORTED | 4.9 | 14.6494
R70508OG | HOT ACIDITY REPORTED | 4.9 | 14.6494
R71814 | LANGELIER INDEX OF CORROSIVITY | 16.7 | 49.9274
R71865 | IODIDE, ION CHROMATOGRAPH | 20 | 59.7933
R71870 | BROMIDE, ION CHROMATOGRAPH | 13.9 | 41.5564
R71870L | BROMIDE ASTM H2O Leach | 13.9 | 41.5564
R71870S | BROMIDE REPORTED IN SILICA GEL | 5 | 14.9483
R71890I | MERCURY DISSOLVED REPORTED | 3.7 | 11.0618
R71890X | MERCURY DISSOLVED REPORTED | 3.7 | 11.0618
R71900A | HIVOL MERCURY CONCENTRATED REPORTED | 3.7 | 11.0618
R71900FA | MERCURY IN FLY ASH STRIPS | 3.7 | 11.0618
R71900I | MERCURY TOTAL REPORTED | 3.7 | 11.0618
R71900K | MERCURY TOTAL | 3.7 | 11.0618
R71900X | MERCURY TOTAL REPORTED | 3.7 | 11.0618
R71901I | MERCURY TOTAL RECOVERABLE REPORTED | 3.7 | 11.0618
R71901X | MERCURY TOTAL RECOVERABLE REPORTED | 3.7 | 11.0618
R71910H | GOLD, TOTAL | 3.7 | 11.0618
R71930 | HG IN FISH, WET WEIGHT | 3.7 | 11.0618
R71936 | PB IN FISH, WET WEIGHT | 3.7 | 11.0618
R71937 | CU IN FISH, WET WEIGHT | 3.7 | 11.0618
R71939 | CR IN FISH, WET WEIGHT | 3.7 | 11.0618
R71940 | CD IN FISH, WET WEIGHT | 3.7 | 11.0618
R71945 | SE IN FISH, WET WEIGHT | 3.7 | 11.0618
R78470 | TOTAL NITROGEN DRY WEIGHT | 10 | 29.8967
R78478 | TOTAL PHOSPHORUS DRY WEIGHT | 6.2 | 18.5359
R79729 | MERCURY AS UG/L/HG EPTOXICITY | 13.6 | 40.6595
R79729A | MERCURY AS HG MG/L EPTOX | 3.7 | 11.0618
R79729E | MERCURY AS AS MG/L TCLP | 3.7 | 11.0618
R79733 | BARIUM AS UG/L BA EPTOXICITY | 8.1 | 24.2163
R79733A | BARIUM AS BA MG/L EPOX | 3.7 | 11.0618
R79733E | BARIUM AS AS MG/L TCLP | 3.7 | 11.0618
R79734 | CADMIUM AS UG/L CD EPTOXICITY | 8.1 | 24.2163
R79734A | CADMIUM AS CD MG/L EPTOX | 3.7 | 11.0618
R79734E | CADMIUM AS AS MG/L TCLP | 3.7 | 11.0618
R79735 | CHROMIUM AS UG/L CR EPTOXICITY | 8.1 | 24.2163
R79735A | CHROMIUM AS CR MG/L EPTOX | 3.7 | 11.0618
R79735E | CHROMIUM AS AS MG/L TCLP | 3.7 | 11.0618
R79736 | LEAD AS UG/L PB EPTOXICITY | 8.1 | 24.2163
R79736A | LEAD AS PB MG/L EPTOX | 3.7 | 11.0618
R79736E | LEAD AS MG/L TCLP | 3.7 | 11.0618
R79737 | SELENIUM AS SE UG/L EPTOXICITY | 13.6 | 40.6595
R79737A | SELENIUM AS SE MG/L EPTOX | 3.7 | 11.0618
R79737E | SELENIUM AS MG/L TCLP | 3.7 | 11.0618
R79738 | SILVER AS UG/L AG EPTOXICITY | 8.1 | 24.2163
R79738A | SILVER AS AG MG/L EPTOX | 3.7 | 11.0618
R79738E | SILVER AS MG/L TCLP | 3.7 | 11.0618
R79741 | ARSENIC AS UG/L AS EPTOXICITY | 13.6 | 40.6595
R79741A | ARSENIC AS AS MG/L EPTOX | 3.7 | 11.0618
R79741E | ARSENIC AS MG/L TCLP | 3.7 | 11.0618
R80000 | PENSKY-MARTEN CLOSED CUP FLASH POINT | 45 | 134.535
R80001 | SW846 MTH3050,ACID DIC SOIL/SL | 27.5 | 82.2158
R80001Y | SW846 MTH3050,ACID DIG SOIL/SL | 27.5 | 82.2158
R80002 | SPEC COND IN SATURATED PASTE | 8.1 | 24.2163
R80002CR | Cr+6 DIGESTION ANALYSIS | 120 | 358.76
R80002K | ACID DIGESTION/ICP ANALYSIS | 27.5 | 82.2158
R80002P | ACID DIGESTION/TP ANALYSIS | 27.5 | 82.2158
R80002R | Prep for Cr+6 DIGESTION | 60 | 179.38
R80003K | ACID DIGESTION / GFAA ANALYSIS | 27.5 | 82.2158
R80012 | MAGNESIUM SATURATED PASTE EXTR | 8.6 | 25.7111
R80022 | CALCIUM, SATURATED PASTE EXTR | 8.6 | 25.7111
R80032 | SODIUM SATURATED PASTE EXTRACT | 8.6 | 25.7111
R81003K | ACID DIGESTION, GFAA, WATER | 10 | 29.8967
R81102K | DISSOLVED PREP | 2 | 5.9793
R82079 | TURBIDITY NEPHELMETRIC REPORTED | 3 | 8.969
R82079A | TURBIDITY NEPHELMETRIC REPORTED | 3 | 8.969
R82294 | NH3-N TOTAL AMMONIA NITROGEN DRY WEIGHT | 3.1 | 9.268
R82298 | BROMIDE DISSOLVED ION CHROMATOGRAPH | 13.9 | 41.5564
R82550 | OSMOTIC PRESSURE MOSM/KG REPORTED | 10.9 | 32.5874
R90002E | ASTM-A H2O LEACH | 38 | 113.6073
R90002S | ASTM-A H2O LEACH | 38 | 113.6073
R90003 | TCLP SW846 METHOD 1311 | 60 | 179.38
R90003S | EPTOXICITY SW846 METHOD 1310 | 110 | 328.8633
R90004E | ASBESTOS, MICRO | 24 | 71.752
R90005 | ZHE EXTRACT SW846 METHOD 1311 | 80 | 239.1733
R90006 | TCLP SEMIVOL EXTRACT 846/1311 | 70 | 209.2767
R90007 | METHOD 1312 EXTRACTION | 45 | 134.535
R90007SV | TCLP EXTRACTION FOR SEMI VOL | 45 | 134.535
R90007V | TCLP EXTRACTION FOR ZHE | 45 | 134.535
R90008R | Prep for Reactive Cyanide/ Sulfide | 30 | 89.69
R90008SV | SPLP Extraction for Semi Vol | 45 | 134.535
R90008V | SPLP Zero Head Space Extraction | 45 | 134.535
R90018E | ASBESTOS WIPE | 45 | 134.535
R90019E | ASBESTOS, POINT COUNT | 30 | 89.69
R90022E | EDXRF ANALYSIS | 17.5 | 52.3192
R90023 | CALCULATED CETANE INDEX BY FOUR VARIABLE EQUATION | 5 | 14.9483
R90024 | MID-BOILING POINT TEMPERATURE BY DISTILLATION | 5 | 14.9483
R90025 | % AROMATIC CONTENT OF DIESEL FUELS | 5 | 14.9483
R90026 | 10% RECOVERY TEMPERATURE FROM DISTILLATION ASTMD86 | 5 | 14.9483
R90027 | 90% RECOVERY TEMPERATURE FROM DISTILLATION ASTMD86 | 5 | 14.9483
R90029E | STACK TEST FILTER NET WEIGHT | 10 | 29.8967
R90030E | HGSTACK TEST | 82.6 | 246.9465
R90602 | NITROGEN, % DRY WEIGHT | 30 | 89.69
R90602A | PARTICULATE NITROGEN | 30 | 89.69
R92000 | PAINT FILTER - LIQUIDS TEST | 10 | 29.8967
R99005W | H2O KARL FISCHER TITRATION COULOMATIC (OIL) | 85 | 254.1217
R99007S | SOILS QUALITATIVE REPORT | 5 | 14.9483
R99007W | PARTICLE SIZE | 240 | 717.52
R99010F | DENSITY OF LIQUID FUELS BY DIGITAL DENSITY METER | 10 | 29.8967
R99010S | NEUTR'N POT.TONS CO3/THOUS TON | 60 | 179.38
R99014 | FISH PREP. NO GRINDING | 35 | 104.6383
R99014G | FISH PREPARATION and GRINDING | 95 | 284.0183
R99015R | TOTAL CARBON | 40 | 119.5867
R99016R | ORGANIC CARBON | 80 | 239.1733
R99017R | INORGANIC CARBON | 40 | 119.5867
R99018 | SIEVE ANALYSIS OF COAL DESIGNATING COAL SIZE | 35 | 104.6383
R99019 | PERCENT SOLIDS BY VOLUME IN PAINTS & COATINGS | 40 | 119.5867
R99020 | BROMIDE, ION CHROMATOGRAPH | 13.9 | 41.5564
R99021 | BROMATE, ION CHROMATOGRAPH | 10 | 29.8967
R99022 | CHROMIUM, EXTRACTED IN 15 ML. WATER | 3.7 | 11.0618
R99023 | CHROMIUM, WATER LEACH, 15 ML. (AIR FILTER) | 3.7 | 11.0618
RACETAT | ACETATE ANION | 6 | 17.938
RAL OIL | ALUMINUM IN OIL (MICROWAVE DIG.& ICP) REPORTED | 3.7 | 11.0618
RAPI60 | API GRAVITY BY CALC DIGITAL DENSITY METER DEG API | 10 | 29.8967
RAS OIL | ARSENIC OIL (MICROWAVE DIGEST. AND ICPMS) REPORTED | 3.7 | 11.0618
RASH LIQUID | ASH FROM LIQUID PETROLEUM PRODUCTS | 115 | 343.8117
RASH SOLID | ASH OF COAL AND COKE AS RECEIVED | 12 | 35.876
RBE OIL | BERYLLIUM OIL (MICROWAVE DIGESTION) REPORTED | 3.7 | 11.0618
RBOD5SS | BIOCHEMICAL OXYGEN DEMAND 5-DAY DRY WEIGHT | 9.8 | 29.2987
RBTU | BTU BY ISOPERIBOL CALORIMETER (ASTM 1989-92A) | 80 | 239.1733
RCD OIL | CADMIUM OIL (MICROWAVE DIGEST. AND ICP) REPORTED | 3.7 | 11.0618
RCR OIL | CHROMIUM OIL (MICROWAVE DIGEST. AND ICP) REPORTED | 3.7 | 11.0618
RDENSITY | DENSITY OF PAINT, VARNISH & RELATED COATINGS | 30 | 89.69
RDNA1 | DNA Sample Preparation | 60 | 179.38
RDUST | TONS/SQ MI | 42 | 125.566
RECMFS | E.COLI-Membrane Filtration, Sludge | 14.5 | 43.3502
RECMUG | E.Coli; EC+MUG; Quantative | 5 | 14.9483
RECMUGPA | E.Coli; EC+MUG; Presence/Absence | 5 | 14.9483
RENTMF | ENTEROCOCCI-MF,ME,EIA | 14.5 | 43.3502
RFCMFS | FECAL COLIFORM - MF, SLUDGE SAMPLE | 14.5 | 43.3502
RFCMPNS | FECAL COLIFORM - MPN | 14.5 | 43.3502
RFIBER# | FIBER COUNT | 70 | 209.2767
RFIZZ | FIZZ RATING | 1 | 2.9897
RFPPE1 | Filter Plant Performance Evaluation 1 | 300 | 896.9
RFPPE2 | Filter Plant Performance Evaluation 2 | 420 | 1255.66
RFPPE3 | Filter Plant Performance Evaluation 3 | 540 | 1614.42
RHG OIL | MERCURY OIL (MICROWAVE DIGESTION) REPORTED | 3.7 | 11.0618
RIGNITE | IGNITABILITY | 30 | 89.69
RINPSS | INORGANIC PHOSPHORUS DRY WEIGHT | 12 | 35.876
RIOBMPN | Iron - Oxidizing Bacteria | 20 | 59.7933
RISBAC | IRON + SULFUR BACTERIA | 14.5 | 43.3502
RMCYSTINE | Microcystin-ELISA Method | 30 | 89.69
RMCYSTINS | Microcystin-Strip Method | 15 | 44.845
RMEDIA1 | Media Analysis 1 | 600 | 1793.8
RMEDIA2 | Media Analysis 2 | 720 | 2152.56
RMEIMF | ENTERCOCCI, MF, MEI | 14.5 | 43.3502
RMICRO1 | MICRO BRIEF | 20 | 59.7933
RMICRO2 | MICRO INTERMEDIATE | 45 | 134.535
RMICRO3 | MICRO EXTENDED | 70 | 209.2767
RMMO-T | TOTAL COLIFORM - CHROMOGENIC/FLUOROGENIC | 14.5 | 43.3502
RMMOECT | E. COLI - CHROMOGENIC/FLUOROGENIC | 5 | 14.9483
RMMOEPA | E. COLI - CHROMOGENIC/FLUOROGENIC | 5 | 14.9483
RMMOPA | TOTAL COLIFORM - CHROMOGENIC/FLUOROGENIC | 14.5 | 43.3502
RMMTECMF | E. COLI, MF, MODIFIED MTEC | 14.5 | 43.3502
RMOIST RESIDUAL | MOISTURE RESIDUAL IN COAL AND COKE | 12 | 35.876
RMOISTURE AIR | MOISTURE, % AIR DRY LOSS IN COAL AND COKE | 39 | 116.597
RMPA1 | Microscopic Particulate Analysis 1 | 180 | 538.14
RMPA2 | Microscopic Particulate Analysis 2 | 240 | 717.52
RMPA3 | Microscopic Particulate Analysis 3 | 300 | 896.9
RNETP25 | PM2.5 NET WEIGHT - TOTAL MICROGRAMS | 15 | 44.845
RNI OIL | NICKEL OIL (MICROWAVE DIGESTION) REPORTED | 3.7 | 11.0618
RNO2SS | NO2-N TOTAL NITRITE NITROGEN DRY WEIGHT | 3.1 | 9.268
RNP | NEUTRALIZATION POTENTIAL | 180 | 538.14
RNP W/O | NEUTRALIZATION POTENTIAL WITHOUT PEROXIDE | 30 | 89.69
RNP12 | NEUTRALIZATION POTENTIAL ENDPT 12 | 60 | 179.38
RORGPSS | ORGANIC PHOSPHORUS DRY WEIGHT | 6.2 | 18.5359
RPAFC | FECAL COLIFORM - PRESENCE-ABSENCE | 14.5 | 43.3502
RPATC | TOTAL COLIFORM - PRESENCE-ABSENCE | 14.5 | 43.3502
RPB OIL | LEAD OIL (MICROWAVE DIGEST. AND ICP) REPORTED | 3.7 | 11.0618
RPCR1 | Standard PCR - 1 Target Gene | 180 | 538.14
RPCR2 | Standard PCR - >1 Target Gene | 240 | 717.52
RPOLLEN | POLLEN COUNT | 15 | 44.845
RQPCR | Real Time PCR | 120 | 358.76
RQUAL1 | SAMPLE COMMENTS | 10 | 29.8967
RQUAL2 | INORGANIC ID | 90 | 269.07
RQUAL3 | SAMPLE INFORMATION FOR CONCENTRATED HI VOL RETESTS | 60 | 179.38
RS BOMB | SULFUR BY BOMB CALORIMETER/ION CHROMATOGRAPH | 16 | 47.8347
RS LECO | SULFUR BY HIGH TEMP COMBUSTION | 30 | 89.69
RS PRECIP | %SULFUR COAL BOMB PRECIPITATE | 60 | 179.38
RS XRAY | SULFUR BY NONDISPERSIVE X-RAY FLUORESCENCE SPECT. | 11 | 32.8863
RSTACKH2O | H2O STACK TEST | 65 | 194.3283
RSTACKHCL | HCL STACK TEST | 120 | 358.76
RSTACKHF | HF STACK TEST | 120 | 358.76
RSTACKMETALS | METALS STACK TEST | 350 | 1046.3833
RSTACKNH3 | AMMONIA STACK TEST | 120 | 358.76
RSTACKNOX | NOX STACK TEST | 300 | 896.9
RSTACKPART | PARTICULATE STACK TEST 1995 | 115 | 343.8117
RSTACKSO2 | SO2 STACK TEST W/H2O2 & ION CHROMATOGRAPHY | 300 | 896.9
RSTACKTRS | TOTAL REDUCED SULFUR STACK TEST | 100 | 298.9667
RSV100A | Sieve Analysis - #100 - A | 10 | 29.8967
RSV100B | Sieve Analysis - #100 - B | 10 | 29.8967
RSV16A | Sieve Analysis - #16 - A | 10 | 29.8967
RSV16B | Sieve Analysis - #16 - B | 10 | 29.8967
RSV200A | Sieve Analysis - #200 - A | 10 | 29.8967
RSV200B | Sieve Analysis - #200 - B | 10 | 29.8967
RSV30A | Sieve Analysis - #30 - A | 10 | 29.8967
RSV30B | Sieve Analysis - #30 - B | 10 | 29.8967
RSV38A | Sieve Analysis - 3/8" - A | 10 | 29.8967
RSV38B | Sieve Analysis - 3/8" - B | 10 | 29.8967
RSV4A | Sieve Analysis - #4 - A | 10 | 29.8967
RSV4B | Sieve Analysis - #4- B | 10 | 29.8967
RSV50A | Sieve Analysis - #50 - A | 10 | 29.8967
RSV50B | Sieve Analysis - #50 - B | 10 | 29.8967
RSV8A | Sieve Analysis - #8 - A | 10 | 29.8967
RSV8B | Sieve Analysis - #8 - B | 10 | 29.8967
RSVARIO | Sulfur by Catalytic Tube Combustion, Gas Separation & TCD Detection | 45 | 134.535
RSWIP1 | Surface Water Identification Procedure 1 | 240 | 717.52
RSWIP2 | Surface Water Identification Procedure 2 | 360 | 1076.28
RSWIP3 | Surface Water Identification Procedure 3 | 480 | 1435.04
RTC-PA | TOTAL COLIFORM - PRESENCE-ABSENCE | 14.5 | 43.3502
RTCMPNS | TOTAL COLIFORM PER GRAM - MPN (SLUDGE SAMPLE) | 14.5 | 43.3502
RTRACEW | H2O KARL FISCHER TITRATION COULOMATIC (PAINT) | 85 | 254.1217
RTX | TOTAL HALIDES AS CL FUEL % | 45 | 134.535
RVOLATILES | VOLATILE COMPOUNDS BY VOLATILE CONTENT OF COATINGS | 30 | 89.69
RWASHA | Wash - Amount of material finer than #200 Sieve in Aggregate - A | 60 | 179.38
RWASHB | Wash - Amount of material finer than #200 Sieve in Aggregate - B | 60 | 179.38
RWATER | H2O KARL FISCHER REAGENT METHOD H2O BASED COATINGS | 30 | 89.69
RWEIGHT | FILTER WEIGHT-TOTAL MICROGRAMS REPORTED | 12 | 35.876
SRS | Strontium Total | 3.7 | 11.0618
WIPE AL | RAW HI-VOL ALUMINUM TOTAL, WIPE | 3.7 | 11.0618
WIPE AS | RAW HI-VOL ARSENIC TOTAL, WIPE | 3.7 | 11.0618
WIPE BE | RAW HI-VOL BERYLLIUM TOTAL, WIPE | 3.7 | 11.0618
WIPE CD | RAW HI-VOL CADMIUM CONCENTRATED, WIPE | 3.7 | 11.0618
WIPE CR | RAW HI-VOL CHROMIUM CONCENTRATED, WIPE | 3.7 | 11.0618
WIPE CU | RAW HI-VOL COPPER TOTAL, WIPE | 3.7 | 11.0618
WIPE FE | RAW HI-VOL IRON, WIPE | 3.7 | 11.0618
WIPE HG | RAW HI-VOL Mercury TOTAL, WIPE | 3.7 | 11.0618
WIPE MN | RAW HI-VOL MANGANESE, WIPE | 3.7 | 11.0618
WIPE NI | RAW HI-VOL NICKEL CONCENTRATED, WIPE | 3.7 | 11.0618
WIPE PB | RAW HI-VOL LEAD CONCENTRATED, WIPE | 3.7 | 11.0618
WIPE SB | RAW HI-VOL Antimony TOTAL, WIPE | 3.7 | 11.0618
WIPE ZN | RAW HI-VOL ZINC CONCENTRATED, WIPE | 3.7 | 11.0618