Draft
 PA Residential and Commercial Subcommittee Work Plans, June 29, 2009

Residential and Commercial Subcommittee

Summary of Work Plans Recommended for Quantification
	Work Plan
No.
	Work Plan Name
	Annual Results (2020)
	Cumulative Results (2009-2020)

	
	
	GHG Reduc-tions
(MMtCO2e)
	Costs

(Million $)
	Cost-Effectiveness

($/tCO2e)
	GHG Reductions
(MMtCO2e)
	Costs

(NPV, Million $)
	Cost-Effectiveness

($/tCO2e)

	
	High-Performance Buildings
	
	
	
	
	
	

	RC-1
	High-Performance State and Local Government Buildings
	2.7
	 
	 
	11.3
	 
	 

	RC-2
	High-Performance School Buildings
	1.9
	 
	 
	7.8
	 
	 

	RC-3
	High-Performance Commercial (Private) Buildings
	9.0
	 
	 
	37.4
	 
	 

	RC-4
	High-Performance Homes (Residential)
	18.3
	 
	 
	83.1
	 
	 

	
	Subtotal High Performance Buildings
	31.9
	-$256.3
	-$8.0
	139.7
	-$1,653
	-$11.8

	RC-5
	Commissioning and Retrocommissioning PA Buildings
	1.5
	-$0.6
	-$0.4
	9.6
	-$3
	-$0.4

	RC-6
	Re-Light Pennsylvania
	12.9
	-$823
	-$64
	103.2
	-$4,020
	-$39

	
	Residential
	3.5
	-$328
	-$95
	30.0
	-$1,887
	-$63

	
	Commercial—lighting power density
	5.3
	-$367
	-$69
	30.7
	-$806
	-$26

	
	Commercial—fixture performance
	4.0
	-$136
	-$34
	33.9
	-$1,039
	-$31

	
	Commercial—daylighting 
	0.8
	-$64
	-$82
	5.0
	-$204
	-$41

	
	Commercial—controls
	2.1
	$108
	$52
	14.3
	$511
	$36

	
	Commercial—parking lot lighting 
	1.1
	-$117
	-$103
	10.5
	-$613
	-$58

	
	Commercial—exit signs
	0.0
	-$1
	-$64
	0.1
	-$6
	-$44

	RC-7
	Re-Roof Pennsylvania
	1.4
	$472
	$327
	4.3
	$1,064
	$247

	
	Light-colored, insulated roofs
	0.2
	-$4
	-$18
	0.8
	$13
	$17

	
	Green roofs
	0.1
	$77
	$614
	0.3
	$147
	$462

	
	PV roof
	1.1
	$399
	$359
	3.2
	$903
	$282

	RC-8
	PA buys EE appliances
	1.9
	-$68
	-$36
	12.4
	-$291
	-$24

	RC-9
	Geothermal Heating and Cooling

	1.4
	$224
	$158
	8.0
	$879
	$109

	RC-10
	DSM - Natural Gas
	7.3
	-$42
	-$6
	40.5
	-$293
	-$7

	RC-11
	Conservation and Fuel switching for Heating Oil
	5.7
	-$21
	-$4
	35.8
	$136
	$4

	RC-12
	DSM - Electricity 
	11.2
	$35
	$3
	72.6
	$149
	$2

	RC-13
	DSM - Water
	0.1
	-$255
	-$1,944
	0.8
	-$1,011
	-$1,285

	RC-14
	Renew PA buildings PA Values Embodied Energy in Building Materials, Including Historic Structures, adaptive reuse
	Not quantified

	RC-15
	Sustainability Education Programs
	Not quantified

	RC-16
	Adaptive Building Reuse
	Not quantified

	Sector Total After Adjusting for Overlaps
	32.0
	-$511
	-$16
	207
	-$2,664
	-$13

	Reductions From Recent Actions
	0.0
	$0.0
	$0.0
	0.0
	$0.0
	$0.0

	Sector Total Plus Recent Actions
	32.0
	-$511
	-$16
	207
	-$2,664
	-$13


GHG = greenhouse gas; MMtCO2e = million metric tons of carbon dioxide equivalent; $/tCO2e = dollars per metric ton of carbon dioxide equivalent; NPV = net present value.

Negative values in the Cost and the Cost-Effectiveness columns represent net cost savings. 

The numbering used to denote the above draft work plans is for reference purposes only; it does not reflect prioritization among these important draft work plans.

RC-1 – RC-4. High-Performance Buildings
The High-Performance Buildings work plan is a consolidation of many work plans. The main goals for this work plan generally come from the Architecture 2030 Challenge building goals, with some revisions from subcommittee. These goals are summarized in the following tables. The greenhouse gas (GHG) emission reductions for Pennsylvania through 2020 were estimated assuming that these goals are met. The key assumptions and results of that analysis are shown below. 

The quantification analysis helps provide an overall indication of potential GHG emission reductions. However, to better understand the changes to Pennsylvania’s building sector equipment and practices, analysis on individual work plans is also needed. The other work plans for quantification will help indicate the ability for the state to meet the goals listed here, and will also provide estimates of the costs for meeting these goals.

Goals:

New Buildings Goals and standards

	
	
	2015
	2020
	2030

	New Commercial (private)
	Overall goal (relative to 2005 building)
	50% fossil fuel and electricity reduction
	70% fossil fuel and electricity reduction
	80% fossil fuel and electricity reduction

	
	Performance standard
	LEED Silver

ENERGY STAR 75
	LEED Silver

ENERGY STAR 85
	Not specified

	
	Fraction of buildings that meet standard
	100% of new buildings
	100% of new buildings
	100% of new buildings

	
	Deployment of renewable energy
	Not specified
	Not specified
	Not specified

	New Commercial (Commonwealth owned or operated)
	Overall goal (relative to 2005 building)
	60% fossil fuel and electricity reduction
	80% fossil fuel and electricity reduction
	100% fossil fuel and electricity reduction

	
	Performance standard
	LEED Silver

ENERGY STAR 85
	LEED Silver

ENERGY STAR 85
	Not specified

	
	Fraction of buildings that meet standard
	100% of new buildings
	100% of new buildings
	100% of new buildings

	
	Deployment of renewable energy
	Not specified
	Not specified
	Not specified

	New Commercial (Schools)
	Overall goal (relative to 2005 building)
	50% fossil fuel and electricity reduction
	70% fossil fuel and electricity reduction
	80% fossil fuel and electricity reduction

	
	Performance standard
	LEED Silver

ENERGY STAR 85
	LEED Silver

ENERGY STAR 85
	Not specified

	
	Fraction of buildings that meet standard
	100% of new buildings
	100% of new buildings
	100% of new buildings

	
	Deployment of renewable energy
	Not specified
	Not specified
	Not specified

	New Residential 
	Overall goal (relative to 2005 building)
	50% fossil fuel and electricity reduction
	70% fossil fuel and electricity reduction
	80% fossil fuel and electricity reduction

	
	Performance standard
	HERS 50
	HERS 40


	HERS 30

	
	Fraction of buildings that meet standard
	100% of new buildings
	100% of new buildings
	100% of new buildings

	
	Deployment of renewable energy
	Not specified
	Not specified
	Not specified


Notes: The fraction of buildings that meet standard is currently set to 100% to reflect a mandate policy (rather than incentives that would likely reach a smaller fraction of buildings).
Existing Buildings Goals and standards

	
	
	2015
	2020
	2030

	Existing Commercial (private)
	Overall goal (relative to 2005 building)
	30% fossil fuel and electricity reduction
	40% fossil fuel and electricity reduction
	50% fossil fuel and electricity reduction

	
	Performance standard
	ENERGY STAR 75
	LEED EB Silver

ENERGY STAR 80
	LEED EB Silver

ENERGY STAR 85

	
	Fraction of buildings that meet standard
	20% of existing buildings
	50% of existing buildings
	100% of existing buildings

	
	Deployment of renewable energy
	Not specified
	Not specified
	Not specified

	Existing Commercial (Commonwealth owned or operated)
	Overall goal (relative to 2005 building)
	40% fossil fuel and electricity reduction
	50% fossil fuel and electricity reduction
	70% fossil fuel and electricity reduction

	
	Performance standard
	ENERGY STAR 75
	LEED EB Silver

ENERGY STAR 80
	LEED EB Silver

ENERGY STAR 85

	
	Fraction of buildings that meet standard
	20% of existing buildings
	50% of existing buildings
	100% of existing buildings

	
	Deployment of renewable energy
	Not specified
	Not specified
	Not specified

	Existing Commercial (Schools)
	Overall goal (relative to 2005 building)
	30% fossil fuel and electricity reduction
	50% fossil fuel and electricity reduction
	70% fossil fuel and electricity reduction

	
	Performance standard
	ENERGY STAR 75
	LEED EB Silver

ENERGY STAR 80
	LEED EB Silver

ENERGY STAR 85

	
	Fraction of buildings that meet standard
	20% of existing buildings
	50% of existing buildings
	100% of existing buildings

	
	Deployment of renewable energy
	Not specified
	Not specified
	Not specified

	Existing Residential 
	Overall goal (relative to 2005 building)
	60% fossil fuel and electricity reduction
	80% fossil fuel and electricity reduction
	100% fossil fuel and electricity reduction

	
	Performance standard
	HERS 50
	HERS 40


	HERS 40

	
	Fraction of buildings that meet standard
	20% of existing buildings
	50% of existing buildings
	100% of existing buildings

	
	Deployment of renewable energy
	Not specified
	Not specified
	Not specified


Notes: Energy reductions refer to on-site energy consumption.

Possible Vehicles to Support Work Plan Goals 

RC-1.
High-Performance State and Local Government Buildings

· See work plans RC-5 through RC-13, technology- and action-based work plans that will contribute to meeting the High-Performance Buildings goals.

· “High-Performance PA Buildings”—All Commonwealth of Pennsylvania-owned or -funded construction projects must meet a performance level equivalent to a minimum of Leadership in Energy and Environmental Design (LEED) Silver plus an Energy Star rating of 85. (See House Bill [HB] 45, Senate Bill [SB] 672.)

· “Green Strings”—All Commonwealth funding programs, whether grants, loans, tax credits, tax incentives, etc., will have at least a minimal expectation of energy/resource conservation results attached.

· Commonwealth agencies will include in their decision-making processes appropriate and careful consideration of GHG emission effects from proposed actions, and their alternatives. This will be done to understand, minimize, and/or avoid potential adverse effects from GHG emissions from the proposed actions, as much as possible. Commonwealth agencies will integrate the GHG emission impacts as early in their planning processes as possible.

· Commonwealth agencies will require analysis of GHG impacts in all award and approval (permits, grants, procurements, etc) decisions. Entities submitting applications for consideration will be required to include a comprehensive analysis of the GHG impacts of the proposed project. The Commonwealth agencies are only requiring an analysis be performed. 
· The intent of this initiative is to educate involved parties, inform the Commonwealth, and potentially reduce the GHG impacts of building projects. If projects with similar costs and benefits are proposed, the project with the lowest GHG impact will be given preference.

· Require U.S. Environmental Protection Agency (EPA) Energy Star Portfolio Manager benchmarking for all Commonwealth-owned and -leased facilities by 2009. Establish a goal of minimum Energy Star rating of 75 for all Commonwealth buildings by 2020.

· Implement the equivalent of LEED for Existing Buildings (LEED-EB), Green Globes, or other certification for ongoing operation and maintenance (O&M) and Energy Star ratings for all Commonwealth buildings. Meet at least the equivalent of LEED-EB Silver certification and an Energy Star score of 75 for all existing buildings by 2020.

RC-2.
High-Performance School Buildings

· See work plans RC-5 through RC-13, technology- and action-based work plans that will contribute to meeting the High-Performance Buildings goals.

· Require EPA Energy Star Portfolio Manager benchmarking for all Commonwealth-owned and -leased educational facilities by 2010. Establish a goal of minimum Energy Star rating of 75 for all public school buildings by 2020

·  Illuminating Education—Current Governor's Green Government Council/Office of Energy and Technology Development (GGGC/OETD) program to distribute compact fluorescent lamps (CFLs) to middle school students in PA as part of an overall energy curriculum program.
· Pennsylvania State System of Higher Education (PASSHE) Energy Consumption Reduction—Continue emphasis on existing efforts to reduce energy consumption at universities through full implementation and seek new energy saving initiatives to meet or exceed the 1.5% annual energy use intensity (EUI) reduction goal. The following are some of the tools available to achieve this goal:

· Guaranteed Energy Saving Program 

· Energy manager staffing

· Aggressive building operating system control

· Behavioral changes

· LEED and Energy Star efforts

Projected GHG Reduction from PASSCHE EUI goal (as estimated by the Department of Environmental Protection [DEP]) 

· Guaranteed Energy Saving Program—0.04 million metric tons of carbon dioxide equivalent (MMtCO2e)

· Energy manager initiatives—0.005 MMtCO2e

· Aggressive building operating system control—0.005 MMtCO2e

· Behavioral changes—0.02 MMtCO2e

· LEED and Energy Star efforts—0.01 MMtCO2e
· Total Reduction: 0.08 MMtCO2e
· The “green campus initiative” is a program for all PA colleges, universities, private schools, and secondary schools to minimize environmental impacts and create “learning labs” for sustainability.
· Develop and support an effective process to promote energy and sustainability concepts.

· Provide leadership and resources to schools for a comprehensive approach to lower energy use and energy costs, reduce GHG emissions from buildings and transportation, improve water and wastewater management, increase recycling, reduce disposal of hazardous waste, and promote procurement of environmentally friendly products.

· Use a team-based approach that engages administrative staff, students, faculty and technical experts

· PASSHE has participated in the Commonwealth’s effort to purchase green energy attributes. In addition, universities have attempted to implement small-scale green energy production on their campuses for educational purposes.

· This initiative establishes and supports the PA Community and Local Government Climate Change Collaborative Clearinghouse to overcome barriers to progress on climate change actions. The project would do the following:

· Assist communities to develop comprehensive plans that include buildings, transportation, agriculture, land-use planning, and commercial and industrial operations. 
· Provide grants and incentives for communities to conduct inventories and develop plans to monitor their progress. 
· Compile data and offer awards to communities that exceed their goals or demonstrate other significant progress.

RC-3. 
High-Performance Commercial Buildings (Private) Buildings

· See work plans RC-5 through RC-13, technology- and action-based work plans that will contribute to meeting the High-Performance Buildings goals.

· High-Performance Tax Credits—Tax credits for private-sector construction projects that meet a performance level equivalent to a minimum of LEED Silver plus an Energy Star rating of 85. (See HB 46, SB 673.)

· Require energy information to be included in a “seller’s disclosure” for commercial real estate transfers. Alternatively, require an Energy Star portfolio manager energy use index. The “seller’s disclosure” consists of a property disclosure statement; the seller is currently not obligated by the statute to make any specific investigation. A third-party-verified energy audit should be an additional document and not part of “seller’s disclosure.”

· Incorporate green building requirements in the statewide building code (Uniform Construction Code [UCC]). 
· This could be a phased-in approach that begins in the first years with Energy Star standards, and expands to cover high-performance standards for energy, water, stormwater, materials, etc. The ultimate goal will be zero-carbon buildings
 throughout the Commonwealth.

· UCC improvements will need to include a much higher level of administration and enforcement than what currently exists. Statewide emphasis on training must occur.

· New construction will not be permitted if plans/subsequent buildings do not meet High-Performance Buildings requirements. 

· Airport Efficiency Initiative—Under this initiative, the Governor of PA would issue an Executive Order requesting all Federal Aviation Regulation (FAR) Part 139 airports to improve their energy efficiency by 10%, depending on their current efficiency initiatives. The individual airports (which includes all facilities leased or owned by the airport) will be given flexibility to achieve the efficiency goal. This will allow each facility to find the most cost-effective options to meet the target. Under the Executive Order, applicable airports would be encouraged to coordinate with Pennsylvania Department of Transportation's (PennDOT’s) Air Services Committee to develop plans to achieve the energy efficiency goal. 
· An example of a similar initiative includes Washington State Governor Gary Locke’s 10% energy efficiency goal for airports. The Seattle Tacoma International Airport (SEA-TAC) achieved this goal by installing 60 motor controllers on escalators, replacing inefficient lighting with energy-efficient fixtures, and retrofitting older heating and cooling systems with more efficient equipment.

· Limited data regarding current energy use at Pennsylvania FAR Part 139 airports were available. GHG reduction estimates were extrapolated from a similar energy efficiency initiative at SEA-TAC airport. The first round of energy efficiency measures at the airport resulted in a savings of 25,000,000 kilowatt-hours (kWh) of electricity per year, which is about 14,500 tCO2e (a 20% reduction in energy use). PA has 15 FAR Part 139 airports. If each airport achieved a savings of 12,500,000 kWh/year (approximately a 10% reduction in electricity use), total GHG reductions would equal roughly 0.1 MMtCO2e. This is an extremely simplified calculation of potential reductions, and should be considered as a place-marker estimate. SEA-TAC also experienced energy savings in the form of reduced natural gas use. The GHG reductions associated with reduced natural gas use have not been quantified.

· Total reductions = 0.1 MMtCO2e (calculated by DEP).

RC-4. 
High-Performance Homes (Residential)

· See work plans RC-5 through RC-13, technology- and action-based work plans that will contribute to meeting the High Performance Buildings goals.

·  Energy Audits at Real Estate Transfer—Energy audit required as part of “seller’s disclosure” information in a residential sales transaction. 
· Keystone Home Performance—Retooling of the Keystone HELP program to offer a greater degree of assistance (much lower loan rates) to homeowners implementing energy-saving measures based on a whole-house energy audit. (See also the Pennsylvania Housing Finance Agency's (PHFA’s) Keystone Renovate and Repair program and Maine Home Performance Program)

·  LEED for Homes—Require that all new homes have an Energy Star rating (15% more energy efficient than code-compliant construction). Increase the efficiency requirement every 5 years until all new homes are carbon-neutral.

· Incorporate green building requirements in the statewide building code (UCC). 
· This could be a phased-in approach that begins in the first years with Energy Star standards, and expands to cover high-performance standards for energy, water, stormwater, materials, etc. The ultimate goal will be zero-carbon buildings
 throughout the Commonwealth.

· UCC improvements will need to include a much higher level of administration and enforcement than what currently exists. Statewide emphasis on training must occur.

· New construction will not be permitted if plans/subsequent buildings do not meet High Performance Buildings requirements. 

· Provide tax credits for private-sector construction projects that meet a performance level equivalent to a minimum of LEED Silver plus an Energy Star rating of 85. Several current legislative proposals based on this objective are being considered (See HB 46, SB 673.)

· Require energy information to be included in a “seller’s disclosure” for residential real estate transfers.

· Require all new construction in Pennsylvania to achieve a minimum of LEED certification by incorporating green building requirements in the statewide building code (UCC). 
· Require building performance labels that reflect actual utility use.

· Develop energy improvement mortgages or energy-efficient mortgages and promote these products in PA.

· The Pennsylvania Home Climate Champion Collaborative provides vision, clarity, and access to human and physical resources so that 100,000 homes will achieve substantial (greater than 60%) energy reductions, while maintaining or improving indoor air quality, resilience to storms and power outages, adaptability, comfort, and affordability between now and 2025. Five percent of these demonstration projects should achieve the German PassivHaus energy independence goals of 90% energy reduction, with 10% met by renewable energy.

· Offer the Commonwealth residential sector an incentive for implementing whole-house performance, provide consumer and contractor education, create jobs, spur marketplace development, and significantly improve PA’s existing housing stock while reducing energy consumption and associated GHG emissions. Propose blending all existing programs and efforts, applying for federal loan guarantees and special project funding, and seeking partnerships with utilities and others (manufacturers, contractors, nonprofit organizations, etc.).

· “Blending” could occur by working with the federal government and other PA agencies (and possibly utilities), with the intention of voluntarily partnering with DEP to integrate these existing grant programs.

Implementation Steps:

· Support the integrity of UCC as it gets negotiated in the General Assembly.

· Propose modifications to the UCC to increase energy standards for all new construction.

· Provide/oversee training and education on how new standards will be achieved.

· Support legislative proposals (with possible amendments to achieve greater savings), and determine the high-performance rating system to be used (LEED, Green Globes, other).

· Develop an accreditation system for energy auditors.

· Companies with the appropriate expertise should conduct energy audits. While the requirements for determining expertise exist as guidelines for reputable companies, third-party-verified requirements are ill defined and span a broad spectrum of energy efficiency. Chapter 75 of the Pennsylvania Home Inspection Law states that an inspection company must be a not-for profit-franchise, have membership in more than 10 states, must require inspectors not to become fully accredited unless they have performed or participated in more than 100 home inspections, and must pass a recognized accredited examination. It also requires members to comply with a code of conduct and attend continuing professional education classes.

· The Residential Real Estate Transfer Law must be amended to require energy audits for real estate transfers. This would require legislative action.

· Additionally, the mortgage industry must recognize a standardized home rating system and adjust the current mortgage profile to include value realized as a result of increased energy efficiency.

· Energy audits coupled with energy mortgages could increase the number of families qualified for mortgages. Energy mortgages credit a home’s efficiency rating into the loan by proportionately increasing the value of the home. To have a Pennsylvania policy of requiring lenders to provide energy mortgages, it is necessary to adopt a standardized home rating system, like the one adopted by the Residential Energy Services Network (RESNET). Home energy ratings provide a standard measurement of a home’s energy efficiency. Ratings can be used for both new and existing homes. An effective rating system will include all information necessary for a lender to judge the worthiness of a home to meet the criteria for an energy mortgage. The program is already established through the mortgage industry and the National Association of State Energy Officials; however, it is not that widespread, with only 19 accredited providers in Pennsylvania. 
· Basing a mortgage on the home efficiency rating allows the buyer to borrow more on the basis that the monthly utility bills will be proportionally less. In cases where the home is in need of energy-efficient upgrades, an Energy Improvement Mortgage could help finance the upgrades in an existing home by allowing the owner to use a portion of the mortgage payment to pay for the cost of the upgrades.

· Propose adding “green strings” to existing PA programs, adding U.S. Department of Energy (DOE) Title XVII loan guarantees and thereby reducing interest rates by ~0.5%.

· Negotiate a new contract with AFC First Financial, PA Treasury, PHFA, and the Department of Community and Economic Development (DCED), based on a “home performance” funding model. 

· Possibly engage utility companies and others on ways to plug into the program, such as providing energy conservation packets to homeowners, or providing grants to train home performance contractors and/or to purchase home diagnostic equipment. 

· Additional implementation steps would need to be further defined and established.

· Need to provide:

· Customer assistance to identify which measures to deploy in order to optimize energy savings, 

· Certified building science professionals trained to properly identify and install the most cost-effective energy-saving measures, 

· Quality assurance and control, 

· Funding for taking a whole-house approach, and 

· Finance rates that truly provide incentives to consumers.

· The Department of General Services (DGS) is building a benchmarking database and will be utilizing existing contract capacity with the Penn State Facilities Engineering Institute to begin the auditing/benchmarking process. Other implementation steps could include:

· Develop an Energy Star strategy work group with DGS, OETD, and GGGC.

· Revise facility manager job descriptions and train staff to incorporate benchmarking into their standard operating procedures.

· Revise Guaranteed Energy Savings Act (GESA)/energy service company (ESCO) language to incorporate Energy Star performance-based requirements.

· Mandate all FY 2009–2010 and future GESA/ SCO projects adopt the Energy Star performance-based requirements.

· Continue working with EPA to streamline the work process and minimize the costs associated with implementing Energy Star performance requirements into building operational procedures.

· Ask the (PUC) to develop and mandate that all PA utilities conform to a uniform billing structure and format to allow automated billing data entry into the Energy Star Portfolio Manager database.

· Hire and train in-house staff to run program, or educate existing qualified ESCOs on new requirements.

· Continue the LEED strategy work group, consisting of DGS, and GGGC.

· Revise GESA/ESCO language to incorporate the equivalent of LEED-EB and Energy Star performance-based requirements.

· Complete the two pilot projects (Governor’s Residence and Rachel Carson State Office Building) and mandate implementation of the policies developed in these pilot projects for all Commonwealth facilities.

· Require all FY 2009–2010 and future GESA/ESCO projects to adopt the equivalent of LEED-EB and Energy Star performance-based requirements.

· Continue working with the U.S. Green Building Council (USGBC) and EPA to streamline work processes and minimize the costs associated with implementing LEED and Energy Star principles and performance requirements into building operational procedures.

· Hire and train an in-house staff to run the program, or educate existing qualified ESCOs on new requirements.

· Support legislative proposals, with possible amendments to achieve greater savings (e.g., special session HB 4 of 2008).

· Determine the high-performance rating system to be used (LEED, Green Globes, other).

· Modify the DGS Architect/Engineer Request for Proposal (RFP)/contract to require a higher standard of competency for design professionals performing state-funded design work.

· Secure an agreement with a developer of rating systems (e.g., USGBC) for acceptance of portfolio standards for the state, reducing costs to register, certify, and commission the projects.

· The GGGC will continue to work with the PA School Boards Association officials and their newly formed Green Committee to develop this initiative. Other implementation steps could include:

· Develop a Energy Star strategy work group with the Pennsylvania Department of Education (PDE), DGS, OETD, PUC, and GGGC.

· Develop language for facility manager job descriptions, and train staff to incorporate benchmarking into their standard operating procedures.

· Revise GESA/ESCO language to incorporate Energy Star performance-based requirements.

· Require all FY 2009 and future GESA/ESCO projects to adopt the Energy Star performance-based requirements.

· Continue working with EPA to streamline work processes and minimize the costs associated with implementing Energy Star performance requirements into building operational procedures.

· Ask the PUC to develop and mandate that all PA utilities conform to a uniform billing structure and format to allow automated billing data entry into the Energy Star Portfolio Manager database (based upon California Assembly Bill 1103).

· Advocate and increase participation in the Build Green Schools initiative and the Green Schools Pledge.

· Continue implementation of GESA projects. 
· Currently, one university has completed a GESA project, three universities have projects in construction, and the remaining ten universities and the Dixon University Center are in the process of conducting investment grade audits. 
· The GESA projects are expected to reduce energy consumption by about 20% for PASSHE. This equates to about $10 million in annual energy savings through implementing energy compensation measures, including upgrades to lighting systems, heating and air conditioning (HVAC) systems, utility distribution systems, and building system controls.

· Increase utilization of campus energy managers.

· About half of the PASSHE universities have established positions for energy managers. These positions are typically funded out of energy consumption and unit cost savings achieved through the work of the energy manager.

· Energy managers utilize the building control systems to aggressively manage the heating, ventilation, and air conditioning systems (and sometimes lighting) to minimize energy consumption while maintaining an environment conducive to the university’s mission.

· Energy managers are also instrumental in managing and successfully implementing university GESA projects. 

· Establish aggressive building operating system controls. Up to half of an energy manager's time can be spent in analyzing and manipulating building operating system controls to minimize energy use. 
· Emphasize the need for behavioral changes. Effectively modifying the behavior of the building occupants requires analyzing building-level energy consumption, surveying occupants to identify behaviors and motivators, and developing a plan to modify behaviors and educate where the occupants are motivated to participate. This process must be repeated and adjusted continuously to ensure momentum is not lost through the significant turnover of students.

· LEED and Energy Star efforts.

· Continue to evaluate projects on a case-by-case basis for application of LEED and/or Energy Star standards. 
· Attempt to increase funding available for capital projects to avoid the initial cost limitations of projects over the preferred project life-cycle cost.

Existing Measures:

· No LEED or high-performance requirements exist in PA. Energy Policy Act (EPAct) 2005 tax credits for certain Energy Star measures do exist.

· The Keystone HELP Program offers reduced-interest unsecured loans for Pennsylvania residents to purchase energy-efficient equipment, such as HVAC, windows, hot water heaters, etc.

· PHFA—Keystone Renovate & Repair Loan Program can be used to pay for repairs and improvements that increase the basic livability of the home, including additions and construction, that makes the home safer, more energy efficient, or more accessible to people with disabilities or people who are elderly. 

· EPA and DOE—The model Home Performance with Energy Star program uses a comprehensive, whole-house approach to improving energy efficiency and comfort at home, while helping to protect the environment.

· PUC—As part of the AEPS, PA utilities are required to explore energy efficiency measures prior to applying for capacity increases.

· DCED—The Department currently runs PA’s Weatherization Assistance Program (WAP), and has contractors, auditors, and program administration in place.

· PA Home Energy—A nonprofit organization-sponsored residential energy audit and performance evaluation program serving WPP utility customers.

· ECA (unnamed program)—This start-up program is similar to PA Home Energy, serving the Philadelphia and Pittsburgh metro areas.

· Alternative Energy Investment Act— This Act provides $92.5 million for residential and commercial energy efficiency activities and other initiatives. A portion of this money will be integrated into the Keystone HELP Program and the PHFA.

Key Assumptions: 

RC-1
High Performance State and Local Buildings

[image: image1.wmf]Other Data, Assumptions, Calculations

2012

2020/all

Units

Total Commercial Floorspace in Pennsylvania (million square feet)

          857 

          928 

Annual demolition of commercial floorspace

0.58%

Est. area of new commercial space per year in PA (million square feet)

         13.7 

         14.4 

Implied Average Electricity Consumption per Square Foot Commercial Space

in Pennsylvania as of 2005

       10.60 

kWh/yr

Implied Average Natural Gas Consumption per Square Foot Commercial Space

in Pennsylvania as of 2005

       34.57 

kBtu/yr

Implied Average Petroleum Consumption per Square Foot Commercial Space

in Pennsylvania as of 2005

        11.03 

kBtu/yr

CALCULATION OF SAVINGS

2012

2020/all

Units

New construction floorspace covered by program, annual

              7 

            14 

million sq ft

Existing building floorspace covered by program, annual

            27 

            44 

million sq ft

Energy consumption, Reference case

Energy consumption in new commercial buildings

   Electricity

611

664

billion BTU

   Natural gas

320

328

billion BTU

Total

931

991

billion BTU

Energy consumption in new commercial buildings, per sq foot

   Electricity

45

46

thousand BTU/sq ft

   Natural gas

23

23

thousand BTU/sq ft

Total

68

69

thousand BTU/sq ft

Estimated (see "PA_BLDG_Activities" worksheet in this workbook) based on USDOE EIA CBECS 

(comercial survey) data for the Mid-Atlantic region, extrapolated using DEP approach.

Taken from analysis by DEP, see PA_Bldg_activities sheet in this workbook.  Based on analysis by AIA 

research corporation for Architecture 2030, national values.

Calculated based on annual floorspace estimates above. Note high growth in 2006 and 2007 based on 

article from American Institute of Architects (see PA_Bldg_Activities page).

Estimate based on Reference case forecast, using average intensity of all commercial buildings in 

PA - REVIEW OF ASSUMPTION NEEDED

Estimate based on Reference case forecast, using average intensity of all commercial buildings in 

PA - REVIEW OF ASSUMPTION NEEDED

Estimate based on Reference case forecast

Estimate based on Reference case forecast, using average intensity of all commercial buildings in 

PA - REVIEW OF ASSUMPTION NEEDED


RC-2
High Performance Schools

[image: image2.wmf]Other Data, Assumptions, Calculations

2012

2020/all

Units


[image: image3.wmf]Total School Building Floorspace in Pennsylvania (million square feet)

              720 

              780 

Annual demolition of commercial floorspace

0.58%

Est. area of new school building space per year in PA (million square feet)

             11.5 

             12.1 

Implied Average Electricity Consumption per Square Foot school building Space

in Pennsylvania as of 2005 

           10.60 

kWh/yr

Implied Average Natural Gas Consumption per Square Foot school building Space

in Pennsylvania as of 2005 

           34.57 

kBtu/yr

Implied Average Petroleum Consumption per Square Foot Commercial Space

in Pennsylvania as of 2005

            11.03 

kBtu/yr

CALCULATION OF SAVINGS

2012

2020/all

Units

New construction floorspace covered by program, annual

                  6 

                12 

million sq ft

Existing building floorspace covered by program, annual

                23 

                37 

million sq ft

Energy consumption, Reference case

Energy consumption in new school building buildings

   Electricity

514

558

billion BTU

   Natural gas

269

275

billion BTU

Total

783

834

billion BTU

Energy consumption in new school building buildings, per sq foot

   Electricity

45

46

thousand BTU/sq ft

   Natural gas

23

23

thousand BTU/sq ft

Total

68

69

thousand BTU/sq ft

Estimated (see "PA_BLDG_Activities" worksheet in this workbook) based on USDOE EIA CBECS (comercial 

survey) data for the Mid-Atlantic region, extrapolated using DEP approach.

Taken from analysis by DEP, see PA_Bldg_activities sheet in this workbook.  Based on analysis by AIA 

research corporation for Architecture 2030, national values.

Calculated based on annual floorspace estimates above. Note high growth in 2006 and 2007 based on 

article from American Institute of Architects (see PA_Bldg_Activities page).

Estimate based on Reference case forecast, using average intensity of all commercial buildings in PA - 

REVIEW OF ASSUMPTION NEEDED

Estimate based on Reference case forecast, using average intensity of all commercial buildings in PA - 

REVIEW OF ASSUMPTION NEEDED

Estimate based on Reference case forecast

Estimate based on Reference case forecast, using average intensity of all commercial buildings in PA - 

REVIEW OF ASSUMPTION NEEDED


RC-3 
High Performance Commercial Buildings (private)

[image: image4.wmf]Other Data, Assumptions, Calculations

2012

2020/all

Units


[image: image5.wmf]Total Commercial (Private) Floorspace in Pennsylvania (million square feet)

          3,597 

               3,895 

Annual demolition of commercial floorspace

0.58%

Est. area of new commercial (private) space per year in PA (million square feet)

            57.5 

                 60.3 

Total Residential Housing Units in Pennsylvania

   5,513,044 

        5,570,337 

Implied persons per housing units in Pennsylvania (for reference only)

            2.26 

                 2.26 

Annual demolition of residential floorspace

1.43%

Estimated number of new residential units per year

        85,901 

             85,701 

Implied Average Electricity Consumption per Square Foot Commercial Space

in Pennsylvania as of 2005 (see Note 2)

               10.60 

kWh/yr

Implied Average Natural Gas Consumption per Square Foot Commercial Space

in Pennsylvania as of 2005 (see Note 2)

               34.57 

kBtu/yr

Implied Average Petroleum Consumption per Square Foot Commercial Space

in Pennsylvania as of 2005

               11.03 

kBtu/yr

Estimated (see "PA_BLDG_Activities" worksheet in this workbook) based on USDOE EIA CBECS (comercial survey) data for the Mid-

Atlantic region, extrapolated using DEP approach.

Taken from analysis by DEP, see PA_Bldg_activities sheet in this workbook.  Based on analysis by AIA research corporation for 

Architecture 2030, national values.

Calculated based on annual floorspace estimates above. Note high growth in 2006 and 2007 based on article from American Institute 

of Architects (see PA_Bldg_Activities page).

Assumes 2007 number of homes to increase following population through 2020.  Based on 2007 PA housing units as provided in U.S 

Census Bureau annual data, http://www.census.gov/popest/housing/HU-EST2005.html.

Based on average lifespan of home of 70 years, placeholder estimate

Calculated based on estimates above.


[image: image6.wmf]New construction floorspace covered by program, annual

              29 

                    60 

million sq ft

Existing building floorspace covered by program, annual

             113 

                  185 

million sq ft

Energy consumption, Reference case

Energy consumption in new commercial buildings

   Electricity

3,690

4,008

billion BTU

   Natural gas

1,932

1,979

billion BTU

Total

5,622

5,987

billion BTU

Energy consumption in new commercial buildings, per sq foot

   Electricity

45

46

thousand BTU/sq ft

   Natural gas

23

23

thousand BTU/sq ft

Total

68

69

thousand BTU/sq ft

Energy consumption in existing commercial buildings, per sq foot

2005

   Electricity

36.17

thousand BTU/sq ft

   Natural gas

34.57

thousand BTU/sq ft

   Petroleum

11.03

thousand BTU/sq ft

Total

82

Estimate based on Reference case forecast

Estimate based on Reference case forecast

Estimate based on Reference case forecast


RC-4. 
High-Performance Homes

[image: image7.wmf]Other Data, Assumptions, Calculations

2012

2020/all

Units

Total Residential Housing Units in Pennsylvania

  5,513,044 

    5,570,337 

Implied persons per housing units in Pennsylvania (for reference only)

           2.26 

             2.26 

Annual demolition of residential floorspace

1.43%

Estimated number of new residential units per year

       85,901 

         85,701 

Implied Average Electricity Consumption per Housing Unit

             9.90 

MWh/yr

in Pennsylvania as of 2005 (see Note 2)

Implied Average Natural Gas Consumption per Housing Unit

           46.56 

MMBtu/yr

in Pennsylvania as of 2005 (see Note 2)

Implied Average Petroleum Consumption per Housing Unit

           27.88 

MMBtu/yr

in Pennsylvania as of 2005 (see Note 2)

CALCULATION OF SAVINGS

2012

2020/all

Units

New construction housig units covered by program, annual

       42,951 

         85,701 

housing units

Existing building housing units covered by program, annual

     169,954 

       242,325 

housing units

Energy consumption, Reference case

Energy consumption in new residential buildings

   Electricity

5,060

4,783

billion BTU

   Natural gas

2,776

2,677

billion BTU

Total

7,836

7,460

billion BTU

Energy consumption in new residential buildings, per housing unit

   Electricity

58.9

55.8

MMBTU/housing unit

   Natural gas

32.3

31.2

MMBTU/housing unit

Total

91.2

87.0

MMBTU/housing unit

Energy consumption in existing residential buildings, per housing unit

2005

   Electricity

33.77

MMBTU/housing unit

   Natural gas

46.56

MMBTU/housing unit

   Petroleum

27.88

MMBTU/housing unit

Total

108

Assumes 2007 number of homes to increase following population through 2020.  Based on 2007 PA housing 

units as provided in U.S Census Bureau annual data, http://www.census.gov/popest/housing/HU-

EST2005.html.

Based on average lifespan of home of 70 years, placeholder estimate

Calculated based on estimates above.

Estimate based on Reference case forecast

Estimate based on Reference case forecast

Estimate based on Reference case forecast


GHG Reductions: 
Table 4-1. Estimated GHG Reductions and Cost-effectiveness

	Work Plan
No.
	Work Plan Name
	Annual Results (2020)
	Cumulative Results (2009-2020)

	
	
	GHG Reduc-tions
(MMtCO2e)
	Costs

(Million $)
	Cost-Effectiveness

($/tCO2e)
	GHG Reductions
(MMtCO2e)
	Costs

(NPV, Million $)
	Cost-Effectiveness

($/tCO2e)

	
	High-Performance Buildings
	
	
	
	
	
	

	RC-1
	High-Performance State and Local Government Buildings
	2.7
	 
	 
	11.3
	 
	 

	RC-2
	High-Performance School Buildings
	1.9
	 
	 
	7.8
	 
	 

	RC-3
	High-Performance Commercial (Private) Buildings
	9.0
	 
	 
	37.4
	 
	 

	RC-4
	High Performance Homes (Residential)
	18.3
	 
	 
	83.1
	 
	 

	
	Sub-total High Performance Buildings
	31.9
	-$275.7
	-$8.7
	139.7
	-$1,170
	-$8.4


Economic Costs: 
See Table 4.1, above.

Potential Overlap:

Overlaps with RC-5 through RC-13.

Other Involved Agencies: 
· DGS

· Labor & Industry

· DCED

· Department of State’s State Real Estate Commission

· Public Utility Commission

· PA Housing and Finance Authority 

· Fannie Mae

· PA Treasury

· EPA and DOE

· PDE

· All Commonwealth Agencies

RC-5. Commissioning and Retro-commissioning
Summary: Promote the common practice of performing commissioning and retro-commissioning processes on newly constructed, renovated, and existing buildings for the purpose of ensuring optimal performance of building systems.

Goals: Commission or retro-commission all non-commonwealth buildings greater than 25,000sq.ft. within 10 years and, Commission or retro-commission all commonwealth buildings greater than 25,000 sq.ft. within 5 years.
Possible Vehicles: Promote the common practice of performing commissioning processes on newly constructed and/or renovated buildings for the purpose of ensuring optimal performance of building systems.

Building project teams are currently familiar with American Society of Heating, Refrigerating and Air-Conditioning Engineers (ASHRAE) standards, which cite building commissioning as good practice (Guideline 0-2005).

Expand existing training for building operators to include energy management training. Building operators, such as maintenance technicians, lead custodians, and plant engineers, currently have little formal training in building efficiency.

Implementation Steps: This program may be implemented through stricter municipal/state building codes. Certain tax incentives and/or credits may also be assigned to assist in full implementation. Several mainstream certification standards also promote the practice of performing building commissioning, making the activity seem more attractive.
An example of such a program is the California Governor’s Green Building Executive Order and AB 32, which calls for all California state buildings greater than 50,000 square Feet (sq.ft.) be retro-commissioned (RCx) by June 30, 2013, and re-commissioned every 5 years. Nearly 25 RCx buildings are at or near completion. The energy efficiency measures implemented through this program to date have a verified electricity savings of approximately 10%. 
Key Assumptions: 
[image: image8.wmf]
[image: image9.wmf]
[image: image10.wmf]
Potential GHG Reduction: 
Table 5-1. Estimated GHG Reductions and Cost-effectiveness 

	Work Plan
No.
	Work Plan Name
	Annual Results (2020)
	Cumulative Results (2009-2020)

	
	
	GHG Reduc-tions
(MMtCO2e)
	Costs

(Million $)
	Cost-Effectiveness

($/tCO2e)
	GHG Reductions
(MMtCO2e)
	Costs

(NPV, Million $)
	Cost-Effectiveness

($/tCO2e)

	RC-5
	Commissioning and Retro-commissioning
	1.5
	-$0.6
	-$0.4
	9.6
	-$3
	-$0.4


Economic Cost: See Table 5-1, above.

Potential Overlap: 
Overlaps with RC-1 through RC-4

Other Involved Agencies: ASHRAE; LEED Certification, Building Owners and Manufacturers Association, International Facility Management Association, EPA.

RC-6. Re-Light Pennsylvania

Summary: This initiative is a critical building technology that accelerates replacement of less efficient outdoor and indoor lighting systems, including maximizing use of daylighting in indoor settings. It applies to residential and commercial buildings, as well as parks, streetlights, and parking facilities.

Actively invest in PA manufacturing, sales, green collar jobs, and green building infrastructure by relamping, re-fixturing, and upgrading lighting systems, windows, and control systems. This would also measurably improve the pastoral and remarkable qualities of the state, the quality of light delivered, and the health and safety of residents. 

Goals: The following requirements would be set:

Lighting Performance goals

· Lighting power density (LPD) 0.9 watt/sq.ft. connected load as maximum for all workplaces.

· New construction effective immediately; existing construction by 2020, with a linear percentage increase in performance each year. 

Fixture Performance

· LOR (lighting output ratio, an index of fixture effectiveness) 70% minimum for all new construction, all building types, and all fixture replacements. 

Lamp Performance (for all new lamp purchases, for all points of sale by 2015) 

· 90 mean lumens/watt lamps. 

· Mercury not to exceed 80 picograms per lumen-hour, 5 milligrams of mercury per lamp.

· CRI (color rendering index) of 85 minimum.

· 92% luminance maintenance (lamp depreciation) over rated life.

Controls and System Performance (new and existing construction by 2015)

· Individual lighting controls for 90% of occupants.

· Occupancy sensors in single-occupancy rooms or short time-of-use rooms.

· Commissioning of installed lighting system, including controls.


Daylight (all non-residential buildings)

· 25 foot candle (fc) of daylight to 90% of occupied spaces (new construction and historic buildings).

· Seated daylight access for 90% of occupants (new construction and historic buildings).

· Glazing with visible transmission over 50%, solar heat gain coefficient (SHGC) under 50% or 1.5 ratio of visible light divided by SHGC in summer (whenever replacements are made).

· Window blinds/shades to ensure daylighting and view without glare and overheating (all buildings 2015).

· Daylight-responsive controls for all fixtures within 15 feet of window (all buildings 2012).

Exit Lighting (all new construction, 2012 existing)

· Maximum 5 watts per fixture or "face."

Site Lighting (all new construction, 2012 existing)

· LPD 0.15 watt/sq.ft. max 

· No night sky pollution (0% above 90° cutoff)

· Zone-occupancy controls in large parking lots. 

· Light-emitting diode (LED) traffic lights.

· No LED billboard faces. 

No- or Low-Cost Education Campaign

· Wash reflectors, lenses to maximize light output.

· Install occupancy and daylight sensors. 

· Promote the Turn It Off campaign.

· Delamp where light levels are not needed.

· Raise or tilt the blinds and use daylight.

Key Assumptions: 

[image: image11.wmf]Assumptions and Calculations

2012

2020

Units

Residential

Number of housing units

5,513,044

5,570,337

Single-family

4,222,992

4,266,878

http://pasdc.hbg.psu.edu/pasdc/whats_new/2008factsfortheweb.pdf

Multi-family

1,290,052

1,303,459

Fraction of Residential Electricity Consumption as Lighting

8.8%

Residential electricity consumption as lighting

5,075

5,762

GWh

Power demand of existing lamps

60.0

W

Power demand of new lamps

15.0

W

Difference between old lamp and new lamp

45.0

W

Daily hours of operation

6.0

h

Rate of uptake of high-efficiency lamps

60%

100%

Assumed

Lifetime

5.0

yr

National average based on Residential Energy Consumption Survey data from 2001 survey 

(http://www.eia.doe.gov/emeu/recs/recs2001/enduse2001/enduse2001.html).  


[image: image12.wmf]
[image: image13.wmf]Commercial

Lighting Performance Goals

Existing lighting power density

2.0

W / sq.ft.

Based on conversation with Vivian Loftness

Proposed lighting power density

0.9

W / sq.ft.

Proposed From workplan goals

Rate of update in existing buildings

20%

100%

Cost premium

$0.36

$/sq ft

US DOE Energy efficiency and renewable energy website, The Business Case for Sustainable Design in Federal 

Facilities  http://www1.eere.energy.gov/femp/sustainable/sustainable_federalfacilities.html 

www1.eere.energy.gov/femp/pdfs/buscase_appendixb.pdf


[image: image14.wmf]Fixture Performance Goals

Existing power intensity of lighting

60.0

lm/W

Assume incadescent bulbs http://www.ccri.edu/physics/keefe/light.htm

0.017

W/lm

New power intensity of lighting

90.0

lm/W

From workplan goals

0.011

W/lm

Rate of uptake of high-efficiency lamps in existing buildings

60%

100%

Assumed

Cost premium (4-ft. 32 W T8)

one-time

$2.99

$ / lamp

From www.homedepot.com

$0.69

$ / lamp / year

Lifetime

5.0

yr

Difference between old lamp and new lamp

19

W

Daily hours of operation

10

h / d

Number of days in use annually

261

d / yr

Existing power per lamp

Assumed

44

W / lamp

Existing lighting power density

Assumed

1.1

W / sq.ft.

Estimate of lamps in PA

125,363,629

125,363,629

lamps

Number of lamps replaced annually

25,072,726

25,072,726

lamps


[image: image15.wmf]Daylighting

Reduction in lighting energy consumption

44%

Attachment in email from Vivian Loftness - e-BIDS Guidelines for High Performance Buidlings 2005

Percentage of existing buildings that are historic

0.5%

by floorspace

Placeholder, pending input from PA Bureau for Historic Preservation

Applicable floorspace (new construction and historic)

77.0

76.4

million sq.ft. / 

yr

Cost premium - levelized

$0.22

$ / sq.ft.

Attachment in email from Vivian Loftness - e-BIDS Guidelines for High Performance Buidlings 2005


[image: image16.wmf]Controls and System Performance

Reduction in lighting energy consumption

19%

Attachment in email from Vivian Loftness - Architects of the Capital Interior Lighting

Rate of uptake in existing buildings

20%

100%

Cost premium for new construction

$0.25

$ / sq.ft.

e-BIDS Guidelines for High Performance Buildings 2005

Estimate in document includes ballasts, lamps, etc. Assume 25% of cost is for controls.

Life of measure (life of building)

50

yrs

Levelized incremental cost

$0.01

$ / sq.ft. / yr.

Cost of retrofit

$0.90

$ / sq.ft.

e-BIDS Guidelines for High Performance Buildings 2005

Estimate in document includes ballasts, lamps, etc. Assume 25% of cost is for controls.

Life of measure (remaining life of building)

25

yrs

Levelized cost of retrofit

$0.06

$ / sq.ft. / yr.


[image: image17.wmf]Site Lighting

Number of vehicles in Pennsylvania

9,598,142

9,697,888

vehicles

Bureau of Transportation Statistics http://www.bts.gov/publications/state_transportation_statistics/pennsylvania/html/table_05_01.html

Ratio of parking spaces to vehicles

9

spaces / vehicle

Subcommittee input

Area of parking lots

150

sq.ft. / space

Existing lighting intensity in parking lots

See Note 3

0.29

W / sq.ft.

Proposed lighting intensity in parking lots

0.15

W / sq.ft.

Annual hours in operation

Assumed

2,920

h / yr

Rate of participation

100%

100%

Area of parking lot with efficient lighting

12,957

13,092

million sq.ft.

Area of parking lot with efficient lighting (new)

11,016

14

million sq.ft.

Energy savings

5,220

5,275

GWh / yr

Cost premium - levelized

$0.05

$ / sq.ft.

Email from Vivian Loftness

Gross cost

$550.82

$0.72

$ million


[image: image18.wmf]Exit sign - 5 W / face

Annual savings per sign

114

kWh / sign / yr

http://www.cmhc-schl.gc.ca/en/inpr/bude/himu/waensati/waensati_039.cfm

Density of signs

0.00013

signs / sq.ft.

Rate of uptake in existing buildings

100%

100%

Number of signs

155,072

155,121

signs

Cost of unit retrofit

Annualized

$4

$ / sign / yr

http://www.cmhc-schl.gc.ca/en/inpr/bude/himu/waensati/waensati_039.cfm

Total cost of retrofit

$0.61

$0.61

$ million

Attachment in email from Vivian Loftness - Architect of the Capital - Emergency Lighting

and http://www.aoc.gov/cc/cobs/rhob.cfm


GHG Reductions: 
Table 6-1. Estimated GHG Reductions and Cost-effectiveness

	Work Plan
No.
	Work Plan Name
	Annual Results (2020)
	Cumulative Results (2009-2020)

	
	
	GHG Reduc-tions
(MMtCO2e)
	Costs

(Million $)
	Cost-Effectiveness

($/tCO2e)
	GHG Reductions
(MMtCO2e)
	Costs

(NPV, Million $)
	Cost-Effectiveness

($/tCO2e)

	RC-6
	Re-Light Pennsylvania
	12.9
	-$823
	-$64
	103.2
	-$4,020
	-$39


Economic Cost: See Table 6.1, above.

Potential Overlap: Overlaps with RC-1 through RC-4.
RC-7. Re-Roof Pennsylvania
Summary: This initiative mandates standards of thermal resistance for all new roofing projects. 
Goals: Replace 75% of commercial building roofs with more energy-efficient roofing at the time of regular replacement. (See Table 7.1 for mix of .)

Table 7.1. Portfolio of Roof Replacements

	Types of Roofs
	2012
	2020

	Light colored, super insulated
	90%
	50%

	Green roofs with super insulation
	0%
	20%

	Solar PV roofs with super insulation
	10%
	30%


Possible Vehicles: 

· High reflectivity should be mandatory for all commercial buildings to minimize cooling loads.

· Thermal resistance standards (R/U factors) should be raised to minimize both cooling and heating loads.

· Green roofs should be promoted with incentives for benefits to cooling, carbon sequestration, and stormwater management.

· Skylights for daylighting should be mandatory for roof replacements in buildings lower than four stories, with deep sections that result in windowless spaces for occupants. 
· Shading or insulation from renewable energy systems as secondary goals should be explored.

Assumptions:

· Only commercial buildings. 

· All public and private. 

· 75% are less than 4 stories; roof is 25% of floor space. 

· 20–25-year roof replacement on commercial buildings but many roofs in PA have not been replaced regularly recently to there is pent-up need for replacement; assume 5% roof replacement a year until 2030. 

· Replace with light-colored (75% dark now, 15% cooling energy savings with light colored roofs, no cost delta). 

· Replace with light-colored and super-insulated R40 (10% heating energy savings and 20% cooling energy savings). 

· Introduce green roofs with super insulation. 

· Equip solar photovoltaic (PV) roofs with super insulation (10% heating and cooling energy savings, distributed power generation PA GHG savings)

[image: image19.wmf]Incremental Cost of roof replacement (relative to regular roof replacement)

Upgrade from R-11 to R-30 roof insulation

$0.07

$/sq ft roof

Light coloured, super insulated

$0.96

$/sq ft roof

Green roofs with super insulation 

$10.07

$/sq ft roof

Dirksen (email from Vivian Loftness) and ACEEE (2009)

Solar PV roofs with super insulation

$38

$/sq ft roof

Implied from ACEEE (2009) p. 227

Energy savings from roof replacement

Light coloured, super insulated

Heating

10.00%

Placeholder - no basis

Cooling

11.30%

e-BIDS Guidelines for High Performance Buildings 2005; not PA-specific 

Green roofs with super insulation 

Heating

10.00%

Placeholder - consistent with e-BIDS Guidelines for High Performance Buildings

Cooling

48.00%

e-BIDS Guidelines for High Performance Buildings 2005; not PA-specific 

Solar PV roofs with super insulation

Heating

10.00%

Placeholder - no basis

Cooling

11.30%

Assume same as light coloured

Electricity capacity

12.00

W/sq.ft. roof

Email from solar design firm - reference Vivian Loftness

Capacity factor

25%

Assumed

Electricity generation

26.28

kWh/sq.ft. roof

Email from solar design firm - reference Vivian Loftness

Avoided Electricity Cost

$89

$/MWh

Avoided Natural Gas Cost

$8.4

$/MMBtu

See "NG prices aeo2006" and "Common Factors" worksheets in this workbook.

See "Common Factors" worksheet in this workbook.

ACEEE (2009) Table B-10

e-BIDS Guidelines for High Performance Buildings 2005 cites $0.89/sq.ft. for light-coloured 

membrane; no reference to super insulation


Potential GHG Reduction: 
Table 7-2. Estimated GHG Reductions and Cost-effectiveness 

	Work Plan
No.
	Work Plan Name
	Annual Results (2020)
	Cumulative Results (2009-2020)

	
	
	GHG Reduc-tions
(MMtCO2e)
	Costs

(Million $)
	Cost-Effectiveness

($/tCO2e)
	GHG Reductions
(MMtCO2e)
	Costs

(NPV, Million $)
	Cost-Effectiveness

($/tCO2e)

	RC-7
	Re-Roof Pennsylvania
	1.4
	$633
	$438
	4.3
	$1,412
	$327

	
	Light-colored materials
	0.2
	-$4
	-$18
	0.8
	$13
	$17

	
	Green roofs
	0.1
	$77
	$614
	0.3
	$147
	$462

	
	PV roof 
	1.1
	$399
	$359
	3.2
	$903
	$282


 
Economic Cost: See table above

Potential Overlap: Overlaps with RC-1 to RC-4

 

RC-8. Appliance Standards
Summary: This initiative promotes accelerated adoption of energy-efficient appliances that meet current and proposed federal standards. It also proposes that Pennsylvania adopt its own efficiency standards for products that are not sufficiently covered in the joint DOE and EPA Energy star specifications.
In developing this initiative, PA should consider the following criteria proposed by the American Council of Energy Efficiency Engineers (ACEEE)
:

· The standard would achieve significant energy savings.

· The standard would be cost-effective for the purchaser.

· Products that meet the standard are readily available.

· The state can implement the standard at low cost.

· Federal preemptions do not apply.


Another resource for identifying which appliance standards to adopt is the Appliance Standards Awareness Project, which summarizes what other states have developed: www.standardsasap.org/state/index.htm. Pennsylvania also should consider joining the Multistate Appliance Standards Collaborative: http://appliancestandards.org/.
Goals (Actions)

· Pennsylvania should support all federal efforts to develop and adopt high-efficiency and Energy star standards for appliances and to accelerate the rulemaking for additional products. 
· Pennsylvania should adopt existing Energy star and federal appliance standards for all state-owned buildings, and projects receiving state funding.

· Through incentives and financing, the state should encourage local government and municipalities to adopt similar standards for their own buildings and for public housing in their jurisdiction by 2015 (possibly require this by 2020).

· Pennsylvania should monitor and encourage or require public utilities to include Energy star qualified appliances in their Act 129 implementation, and in all low-income programs they administer. 
· The state should require that all appliances sold in the state meet the existing federal standards by 2015, or adopt federal requirements as they are promulgated, unless market forces achieve earlier adoption of efficient appliances.

Per ACEEE (2009),
 Pennsylvania should set standards for the following appliances:

· furnace fans,

· fluorescent lighting fixtures,

· DVD players,

· compact audio equipment,

· portable electric spas,

· water dispensers,

· hot food holding cabinets,

· TVs, and 

· portable lighting fixtures.

The Multi-State Collaborative has outlined the following products, which have similar state standards, primarily based on the California State Appliance Energy Efficiency Standards, Title 2. Pennsylvania should review and consider adopting its own standards for these products.

· commercial ice makers, 

· compact audio players, 

· distribution transformers, 

· DVD players and recorders, 

· hot food holding cabinets, 

· metal halide lamp fixtures, 

· pool heaters, 

· portable electrics spas,

· refrigerators and freezers, 

· unit heaters and duct furnaces, and 

· water dispensers. 

Summary: This initiative establishes efficiency standards for appliances and devices selected by the ACEEE according to the following criteria
:

· The standard would achieve significant energy savings.

· The standard would be cost-effective for the purchaser.

· Products that meet the standard are readily available.

· The state can implement the standard at low cost.

· Federal preemptions do not apply.

Information Sources:

· ACEEE (2009) is the primary information source for this quantification.

· Also check the data on the Multi-State Appliance Standards Collaborative.

· DOE Appliance Standards :www1.eere.energy.gov/buildings/appliance_standards/

· EPA ENERGY STAR for Appliances: www.energystar.gov/index.cfm?c=appliances.pr_appliances

Key Assumptions: 

[image: image20.wmf]Other Data and Assumptions

2012

2020

Units

Average annual cost for state appliance efficiency standards

$92.54

$ million

ACEEE (2009) Table 18

Number of years before full penetration

10

yr

Percent penetration by year

30%

100%

Percent replacement

100%

10%

Annual gross cost

$39

$129

$ million

Annual cost savings

$55

$184

$ million

Net cost of program

-$17

-$55

$ million

Energy savings 

Electricity

660

2,200

GWh / yr

Average annual electricity savings for state appliance efficiency standards

1,581

GWh / yr

ACEEE (2009) Table 16


GHG Reductions: 

Table 8-1. Estimated GHG Reductions and Cost-effectiveness

	Work Plan
No.
	Work Plan Name
	Annual Results (2020)
	Cumulative Results (2009-2020)

	
	
	GHG Reduc-tions
(MMtCO2e)
	Costs

(Million $)
	Cost-Effectiveness

($/tCO2e)
	GHG Reductions
(MMtCO2e)
	Costs

(NPV, Million $)
	Cost-Effectiveness

($/tCO2e)

	RC-8
	Appliance Standards
	1.9
	-$68
	-$36
	12.4
	-$291
	-$24


Economic Cost: See above.

Possible Overlap: 
RC-1 through RC-4 High Performance Building Standards.
Additional information:

One of the authors of the ACEEE report states the following regarding federal preemption,

“Federal standards now cover about 45 products. Nearly all of these 45 products, including all major home appliances, also have and Energy Star spec. States are preempted from setting standards on these products. A waiver process exists, but the hurdle to gain waivers is very high, and the process is very drawn out. Plus, the Obama administration is working on updating most of the key standards.”
Similarly, the author of the ACEEE report states the following with regards to Energy Star:
“Energy Star specs are not designed to be mandatory: Energy Star is a voluntary program meant to help consumers distinguish efficient choices; it is not designed to be mandatory. Every time a given Energy Star spec is considered for a mandatory standard, we need to think through whether it is appropriate. For example, we need to be careful not to ban products that meet a specific need, but can't or don't meet the spec. We carefully consider Energy star specs when updating our model standards, but it would be a mistake to adopt it across the board for all products as a mandatory level.”

RC-9. Geothermal Heating and Cooling
Summary: This strategy capitalizes on the energy-effectiveness of geothermal or ground source heat pumps (GSHPs) in Pennsylvania’s climate, and the accompanying reductions in carbon emissions and in demand for peak generation and transmission. Pennsylvania is already ranked as one of the top-tier states for experienced and competitive installation of GSHPs in its urban centers. This strategy would build on that strength, expanding the network of trained drillers and installers throughout the state. This strategy advocates GSHP installations for individual buildings and in district systems. Warren, PA, hosts one of the few district GSHP systems in the United States, and this strategy supports further development of such systems for their energy and environmental benefits and for economic revitalization. 
Additional benefits of GSHPs include:

· Levels seasonal electrical demand and 42%-48% reduced demand for new capacity.
 (DOE/ORNL, 12/08).

· Widely applicable.

· Elimination of bulky and noisy exterior equipment, such as cooling towers or condensing units and heating plants.

· Atmosphere not used as a heat sink.

· Economical operating costs due to high coefficient of performance (metered Department of Defence installations in Pennsylvania achieve mean Coefficient of Performance of 4.0 and energy efficiency ratio of 20.83) 

· Water heating integrated at low cost (can be scavenged whenever compressors are running).

· The fossil fuel used is burned at a large, industrial generating facility where air scrubbers and other anti-pollution equipment can be installed due to the economy of scale.

· Excellent part-load performance.

· Maintenance simpler and less costly than conventional fossil fuel and cooling tower systems.

· Frees peak transmission and generation capacity for other purposes.

· Reduces the use of natural gas as a heating fuel.

· Reduces water consumption by power plants
The calculations here are based on GSHP installations for individual buildings. District systems can offer economies of scale in the exterior infrastructure, but data on this are limited.

Goals: 

Residential

Each year, 20% of new dwellings and 2% of existing dwellings will install GSHPs for heating and cooling, either on a building-by-building basis, or in district systems, serving multiple dwellings. 
[Optional: 10% of new installations and 1% of replacement systems will be metered to support system maintenance and improvement.]

Commercial
By 2020, 40% of existing commercial buildings and 12.5% of new commercial buildings will be heated and cooled with GSHPs serving individual buildings or serving multiple buildings in district systems.

[Optional: 100% of new installations and 50% of replacement systems will be metered to support system maintenance and improvement.]

Possible Vehicles:
1. Require the DGS to do comprehensive life-cycle cost analysis for new buildings and building upgrades and advocate/support use of life-cycle cost analysis for all new and retrofit projects in the public and private sectors. 

2. Educate designers/contractors/consumers about geothermal heat pump efficiency ratings (COP/EER), different from conventional gas furnace and air conditioner ratings, and highlight currently achievable efficiencies in PA climate, which are significantly higher than the Energy Star standard.

3. Encourage the use of ESCOs to address first-cost hurdles. 
4. To address the potential environmental impacts of ground loop, establish a mechanism for verifying the competence of drillers and external loop/well installers, and require that only state-approved drillers/installers are used (Oregon has such a policy). 
5. Establish policies that will give utilities an incentive to install the external loop infrastructure and lease them on per-ton basis: 

a. Allow utilities to count the energy savings from GSHPs toward a renewable portfolio standard (RPS) target. 

b. Allow aggregated savings from GSHPs to be proxy for carbon-trading contracts. 

With these strategies, utilities will lose energy sales revenue, but will recoup some of it on loop leases and rate-based infrastructure. They’ll also lose money on demand charges, but can get RPS credit and look good for doing so. Consumers get some efficiency benefits. Reduction in peak demand reduces the need for new power plants and carbon emissions are reduced.

Other Involved Agencies:

DCED.

Implementation Steps: see Vehicles above
Potential Overlap:

DCED Renewable Energy Program: Geothermal and Wind Projects (January 2009).

Potential Complementarity: Potential integration with DOE/Oak Ridge National Laboratory’s (ORNL's) interest in extending/funding infrastructure for geothermal heating and cooling. December 2008 report available at www1.eere.energy.gov/geothermal/pdfs/ornl_ghp_study.pdf
Key Assumptions:

[image: image21.wmf]Incremental Cost of Geothermal system

Resdiential, household without central cooling 

$3,000

$/housing unit

Residential, household with heating and central cooling

$0

$/housing unit

Cost of Geothermal system

Commercial, existing buildings

$14.4

$/sq ft

Commercial, new buildings

$12.5

$/sq ft

Cost of NG+AC VAV system (base case system)

Commercial, existing buildings

$14.4

$/sq ft

Commercial, new buildings

$12.5

$/sq ft

Avoided Electricity Cost

$89

$/MWh

Avoided Natural Gas Cost

$8.4

$ / million Btu

Avoided Fuel Oil Cost

$15.8

$13.6

$ / million Btu

Emissions from additional Electricity Use

0

tCO

2

/MWh

Green Electricity Premium

12

$/MWh

 G. Mattern, P.E., Adjunct Professor & geothermal specialist, Carnegie Mellon Univ., estimates $19.60/sf for retrofit 

installation, but because the ground infrastructure is warrantied for 50 years, assumption here is that the cost of 

 G. Mattern, P.E., Adjunct Professor & geothermal specialist, Carnegie Mellon Univ., estimates $17.00/sf for new installation, but because the 

ground infrastructure is warrantied for 50 years, assumption here is that the cost of installing ground source heat pumps is no greater than 

cost of conventional equipment.  May be less.

Input from G, Mattern, P.E., Adjunct Professor, Carnegie Mellon Univ.

Input from V. Loftness & N.Baird.  Because the ground infrastructure is warrantied for 50 

years, assumption here is that the cost of installing ground source heat pumps is no 

greater than cost of conventional equipment.  Cost here reflects 2-ton exterior heat 

exchange per unit.

See "Common Factors" worksheet in this workbook.

See "NG prices aeo2006" and "Common Factors" worksheets in this workbook.

See "Common Factors" worksheets in this workbook.

Assume that all new electricity for geothermal heatpump use is supplied by green electricity 

Based on BeGreen cost of $288 for 24 MWh of renewable energy, http://www.begreennow.com/ accessed on June 22, 

2009


[image: image22.wmf]Energy savings due to 

ground source heatpumps

Residential

45%

Commercial

30%

P Hughes, ORNL, 12/ 2008,  p. 26


Residential 
· 50% of existing homes have HVAC systems that will need to be replaced before 2020.

· 30% of existing homes will decide to add air conditioning when this replacement is necessary. 

· For the 20% replacement without air conditioning, the first cost differential of geothermal over conventional will be $3,000. Without cooling, the use of geothermal may not be as strategic as high-performance boilers and furnaces, especially integrated with domestic hot water (DHW) which would be a technology identified in the RC-8 Appliance Standards and RC-10 demand-side management (DSM)-Gas workplans.
· For the 30% with both heating replacement and air conditioning addition, the differential cost for geothermal over conventional will be $0. Energy savings will be substantial with two-season use. 

· 45% savings relative to new heating and cooling equipment (Hughes, 2008).

Potential GHG Reductions: 
Table 9-1. Estimated GHG Reductions and Cost-effectiveness

	Work Plan
No.
	Work Plan Name
	Annual Results (2020)
	Cumulative Results (2009-2020)

	
	
	GHG Reduc-tions
(MMtCO2e)
	Costs

(Million $)
	Cost-Effective-ness

($/tCO2e)
	GHG Reductions
(MMtCO2e)
	Costs

(NPV, Million $)
	Cost-Effectiveness

($/tCO2e)

	RC-9
	Geothermal Heating and Cooling 
	1.4
	$224
	$158
	8.0
	$879
	$109


Economic Cost: See Table 9-1 above.
Potential Overlap:

DCED Renewable Energy Program: Geothermal and Wind Projects (January 2009).

RC-1 through RC-4.

Potential Complementarily: Potential integration with DOE/ORNL's interest in extending/funding infrastructure for geothermal heating and cooling. 
Other Involved Agencies:

DCED.
RC-10. Demand Side Management (DSM)—Natural Gas

Summary: This initiative replaces or upgrades inefficient household appliances that utilize natural gas with more energy-efficient models.

Goals: 
Residential sector: Achieve 36% reductions from reference case natural gas demand in 2025.

Commercial sector: Achieve 28% reductions from reference case natural gas demand in 2025.

Value from Pennsylvania: Potential for Energy Efficiency, Demand Response, and Onsite Solar Energy in Pennsylvania (ACEEE, 2009). See page 19 for residential and page 26 for commercial. This represents the cost-effective potential. Note that these savings are greater than the amount identified by ACEEE analysis as achievable by the set of policies analyzed. The policy analysis led to savings of 15% natural gas in 2025, for residential and commercial combined (see page 46). This work plan's assumptions imply stronger policies than those identified by ACEEE (mostly standards and utility programs)

Possible Vehicles: 

1. Air Sealing and Insulation (10%–40% annual energy savings) 

· Pennsylvanians using natural gas for heating use about 600 therms per household. 

· By air sealing & insulation, consumers could probably easily save 25% of this. 

2. Increased furnace and boiler efficiency to >95 AFUE . 

· Nationwide and in PA, about 50% of homes use natural gas for heating. 

· The minimum allowed annual fuel utilization efficiency (AFUE) rating for a non-condensing, fossil-fueled, warm-air furnace is 78%; the minimum rating for a fossil-fueled boiler is 80%; and the minimum rating for a gas-fueled steam boiler is 75%.

· Although older furnace and boiler systems had efficiencies in the range of 56%–70%, modern conventional heating systems can achieve efficiencies as high as 97%, converting nearly all the fuel to useful heat for the home. Energy efficiency upgrades and a new high-efficiency heating system can often cut fuel bills and a furnace’s pollution output in half. Upgrading a furnace or boiler from 56% to 90% efficiency in an average cold-climate house will save 1.5 tCO2 emissions each year if heated with gas, or 2.5 tCO2 if heated with oil (DOE, Energy Savers).

· Therefore consumers could expect to see a 15%–50% range in energy savings from “heating season” improvements (depending on age and efficiency of equipment being replaced). 
3. Solar domestic hot water heaters

· Heating water accounts for 14%–25% of total household energy consumption. Solar water heaters can provide 85% of DHW needs. 

4. Instantaneous hot water heaters with an energy factor >0.80

· For homes that use 41 gallons or less of hot water daily, demand water heaters can be 24%–34% more energy efficient than conventional storage tank water heaters. 
· They can be 8%–14% more energy efficient for homes that use a lot of hot water—around 86 gallons per day. You can achieve even greater energy savings of 27%—50% if you install a demand water heater at each hot water outlet. 
5. Energy Star front-loading washing machines. 

· Most Energy Star-qualified clothes washers extract more water from clothes during the spin cycle. This reduces the drying time and saves energy and wear and tear on your clothes.

· Energy Star-qualified clothes washers clean clothes using 50% less energy than standard washers (including energy used in the washing process, including machine energy, water heating energy, and dryer energy).

6. Pilot lights.

· Standing pilot lights may use over 7 therms (700,000 British thermal units) of gas per appliance, if left on year round. 
· Replacing old appliances that have pilot lights on full time with appliances that have electronic (intermittent) ignitions could create savings. 

· Some people feel that standing pilot lights on appliances are gradually becoming the exception, instead of the rule, with new appliances on the market using electronic ignitions. However, even though electronic ignition pilot lights are becoming increasingly common, without legislation, standing pilots may not disappear by 2025 because they are cheaper to manufacturer, and the appliance is sometimes viewed as solution to emergency heat when the electricity fails, because they do not need electric power to start. 

· This initiative would institute public benefit funds for investment in residential, commercial, and industrial energy efficiency and renewable energy programs through third-party administrators.

Implementation Steps: 

· Market driven.

· Encourage natural gas utilities to engage in consumer education initiatives regarding these efficient technologies.

· Potential opportunity for appliance efficiency legislation.

Key Assumptions:
[image: image23.wmf]
[image: image24.wmf]
Cost of Saved Energy:

Residential Sector:

$5.29

Commercial Sector:

$3.28

Source: ACEEE 2009 report, see above

Table 10-1. Residential Natural Gas Efficiency Potential and Costs by End-Use (2025)
[image: image25.png]Table 6. Residential Natural Gas Efficiency Potential and Costs by End-Use (2025)

Levelized

Cost of

Savings relative Saved

toReference | % of Total Efficiency | Energy

End-Use Savings (MMBtu) | Case (%) Potential (SMMBtu)

Single Family Gas 74,070 35% 100% $5.01
‘Space Heating 47,540 2% 64% $370
Water Heating 16,840 8% 2% $7.90
Cooking 920 04% 1% $9.34
Existing 65,300 30% 88% $4.86
New Homes 8,770 2% 12% $4.82
Multifamily Gas 9,620 6% 100% $7.47
‘Space Heating 4350 20% 45% $6.86
Water Heating 3,360 16% 3% $3.04
Cooking 100 05% 1% $1171
Existing 7810 3% 81% $528
New Homes 1,810 9% 19% $9.40
‘Al Residential Gas 83,690 36% 100% $529
‘Space Heating 51,890 2% 62% $3.96
Water Heating 20200 9% 2% $7.09
Cooking 1,010 04% 1% $957
Existing 73,10 31% 87% $491
New Homes 1059 % 13% $561





Table 10-2. Commercial Natural Gas Efficiency Potential and Costs by End-Use (2025)
[image: image26.png]Table 10. Commercial Natural Gas Efficiency Potential and Costs by End-Use

Weighted
Levelized

Savings Cost of

over % of Saved

Savings | Reference | Efficiency | Energy
End-Use (MMBtu) | Case(%) | Potential | (SMMBtu)

HVAC equipment &

controls 26,200,000 15% 54%|s 239
Building shell 2,000,000 1% %S 030
Water Heating 5,400,000 3% 1% $ 627
‘Cooking 4,000,000 2% 8% 5 111
Other 7,200,000 % 15% |5 843
Existing Buildings | 44,700,000 26% 93%| s 319
New Buildings 3,500,000 2% T%| s 245
Total Gas 48,200,000 28% 100%]$ 328





Source: ACEEE 2009

Avoided Cost of Natural Gas:

All sectors:


$8.40

GHG Reductions and Economic Costs:

Table 10-3. Estimated GHG Reductions and Cost-effectiveness
	Work Plan
No.
	Work Plan Name
	Annual Results (2020)
	Cumulative Results (2009-2020)

	
	
	GHG Reduc-tions
(MMtCO2e)
	Costs

(Million $)
	Cost-Effectiveness

($/tCO2e)
	GHG Reductions
(MMtCO2e)
	Costs

(NPV, Million $)
	Cost-Effectiveness

($/tCO2e)

	10
	DSM - Natural Gas
	7.3
	-$42
	-$6
	40.5
	-$293
	-$7


Economic Cost: See table 10-3 above.

Potential Overlap:

· Reduced Load Growth Work Plan

· HB 2200 Work Plan

· Appliance Standards Work Plan

· Alternative Energy Investment Act Work Plan

· RC-1 through RC-4

Other Involved Agencies: PUC.

 

RC-11. Oil Conservation and Fuel Switching for Heating Oil
Summary: 
Oil conservation

This initiative replaces or upgrades inefficient household appliances that utilize fuel oil with more energy-efficient models.

Biofuel

This initiative aims to blend all heating oil sold in PA with a 5% blend of biodiesel. Bioheat is the industry term for heating oil that is blended with biodiesel. Heating oil is essentially the same as diesel, with some difference in sulfur content and a colorant added to deter tax evasion through its potential use as a transportation fuel. The use of bioheat has been proven to reduce maintenance concerns and burns cleaner than conventional heating oil. Significant, positive experience utilizing bioheat exists. Numerous customers throughout south central and southeastern PA have been using bioheat in their furnaces and boilers for the past few years. The DGS also has bioheat on contract for state agencies.

Goal: 
Oil conservation

Residential sector: Achieve 37% reductions from reference case oil consumption in 2025.

Commercial sector: Achieve 26% reductions from reference case oil consumption in 2025.

Biofuel

Replace 5% of heating oil with biodiesel.

Implementation Steps: Representatives from the Northeast Regional Biomass Program, including PA, have been working in association with oil heat industry representatives to promote greater awareness and acceptance of bioheat among both customers and distributors. Further discussions should occur between the Departments of Public Welfare, the Office of Consumer Advocate, and the DEP so that all are aware of potential economic considerations in implementing such an initiative. Implementation would require legislative action. Adequate injection-blending facilities would need to be in place around the state to support this measure.

Assumptions: Values from Pennsylvania: Potential for Energy Efficiency, Demand Response, and Onsite Solar Energy (ACEEE 2009). See page 21 for residential and page 27 for commercial. This represents the cost-effective potential. Note that these savings are greater than the amount identified by ACEEE analysis as achievable by the set of policies analyzed. The policy analysis led to savings of 11% fuel oil in 2025, for residential and commercial combined (see page 46). The assumptions in this work plan imply stronger policies than those identified by ACEEE (mostly standards and utility programs)

[image: image27.wmf]
[image: image28.wmf]
Potential GHG Reduction: 
Table 11-1. Estimated GHG Reductions and Cost-effectiveness

	Work Plan
No.
	Work Plan Name
	Annual Results (2020)
	Cumulative Results (2009-2020)

	
	
	GHG Reduc-tions
(MMtCO2e)
	Costs

(Million $)
	Cost-Effectiveness

($/tCO2e)
	GHG Reductions
(MMtCO2e)
	Costs

(NPV, Million $)
	Cost-Effectiveness

($/tCO2e)

	RC-11
	Oil conservation and Fuel Switching for Fuel Oil
	5.7
	-$21
	-$4
	35.8
	$136
	$4


Economic Cost: See Table 11-1 above.

Potential Overlap:

· Biofuels Investment and In-State Production Act

· RC-1 through RC-4

Other Involved Agencies: Department of Welfare.

Information sources:

Table 11.2. Projected Heating Oil Consumption and Associated B5 Bioheat Requirements
	Projected Heating Oil Consumption and Associated B5 Bioheat Requirements

	Year
	2007
	2008
	2009
	2010
	2011
	2012
	 

	#2 Heating Oil
	929,363,000
	909,673,787
	890,401,704
	871,537,914
	853,073,766
	835,000,795
	 

	Biodiesel for B5 Bioheat
	46,468,150
	45,483,689
	44,520,085
	43,576,896
	42,653,688
	41,750,040
	 

	 
	
	
	
	
	
	
	 

	Year
	2013
	2014
	2015
	2016
	2017
	2018
	 

	#2 Heating Oil
	817,310,712
	799,995,406
	783,046,937
	766,457,534
	750,219,588
	734,325,655
	 

	Biodiesel for B5 Bioheat
	40,865,536
	39,999,770
	39,152,347
	38,322,877
	37,510,979
	36,716,283
	 

	 
	
	
	
	
	
	
	 

	Year
	2019
	2020
	2021
	2022
	2023
	2024
	2025

	#2 Heating Oil
	718,768,446
	703,540,828
	688,635,818
	674,046,581
	659,766,427
	645,788,808
	632,107,315

	Biodiesel for B5 Bioheat
	35,938,422
	35,177,041
	34,431,791
	33,702,329
	32,988,321
	32,289,440
	31,605,366


Baseline consumption data for PA is from EIA's Petroleum Navigator (http://tonto.eia.doe.gov/dnav/pet/pet_cons_prim_dcu_SPA_a.htm).
Table 11.3. Diesel Production GHG Lifecycle Assessment
	Diesel* Production GHG Lifecycle Assessment (LCA)                                                                                        (Includes Production-Related GHGs & Finished Fuel Carbon Content, Expressed as CO2e/Gallon)

	
	CO2
	CH4
	N2O
	Total CO2e
	Carbon Content (Lbs CO2/Gal.)
	Total LCA (Lbs. CO2e/Gal.)

	G/MMBTU
	20,142
	109.1
	0.343
	 
	 
	 

	MMBTU per Gallon
	0.1284
	0.1284
	0.1284
	 
	 
	 

	GWP
	1
	23
	296
	 
	 
	 

	CO2e
	2586.23
	322.19
	13.04
	6.44
	22.38
	28.82


"Biomass-based diesel" means renewable fuel that is biodiesel as defined in section 312(f) of the Energy Policy Act of 1992 (42 U.S.C. 13220(f)) and that has life-cycle greenhouse gas emissions, as determined by the Administrator, after notice and opportunity for comment, that are at least 50% less than the baseline life-cycle emissions. Notwithstanding the preceding sentence, renewable fuel derived from co-processing biomass with a petroleum feedstock shall be advanced biofuel if it meets the requirements of subparagraph (B), but is not biomass-based diesel.

RC-12. Demand-Side Management (DSM)—Electricity
Summary: Electric energy conservation in buildings is the most affordable strategy for achieving major GHG reductions as well as providing substantial energy cost savings for consumers. This work plan is focused on delivering a diverse portfolio of cost-effective energy-conserving retrofits to existing residential and commercial buildings through the creation of utility ESCOs (UESCOs) or independently led ESCOs that ensure expertise, installed performance and warranty, as well as finance. It is anticipated the funds needed for these efforts will be secured through a systems benefit charge.

Other Involved Agencies: PUC, state legislature.

Work Plan: This strategy builds upon the energy efficiency and conservation program of Act 129, HB 2200, which mandates the introduction of utility demand-side management (DSM) programs. While an Energy Subcommittee work plan addresses both performance incentives as well as rate decoupling, this work plan is focused on the need for education, adding expertise with trained labor, and financing opportunities to the building sector. 
Education

The first level of electric energy savings can be achieved through consumer education. Consumers determine both peak and annual energy use through product selection and use, such that a dedicated education program in concert with state commitments to the energy quality of products for purchase can reduce energy use in PA. All appliances, light fixtures, desktop technology, and entertainment technology have measurable energy differences in operation and in standby modes. In addition to product selection and standby power demands, a "Turn it off PA" program is described at the end of this work plan. 

Trained Workforce

The second level of electric energy savings must be achieved through a trained "green collar" workforce ensuring the installed performance of more significant building components: replacement furnaces, boilers and air conditioners, roof and window replacements, building insulation, shade trees, and green roofs (for cooling load reductions). In other states, these retrofits—with sustained energy savings—have been delivered by ESCOs and UESCOs. A critical factor for the building owner will be one-stop-shopping with finance, trained labor, and performance guarantees. 
Finance

The third element in this work plan is funding. While ESCOs have a track record of shared economic benefits supporting ongoing investments, the lack of widespread action for either commercial or residential buildings in PA suggests that other funding must be secured. One alternative to financing electricity DSM is to mandate utility electricity load reductions of 5% by 2015 and 10% by 2010, and allow utilities to negotiate costs and savings with the customer base. A second alternative is to establish system benefit charges ranging from $.001 to $.004 per kWh linked to statewide energy savings. As demonstrated in California—the leading state for electricity DSM—system benefit charges alongside mandated electricity savings by utilities will ensure measurable GHG savings and measurable citizen benefits.

Possible Vehicles:

Turn it Off PA! Campaign

Consumer Education and Feedback

Summary:. A campaign to eliminate unnecessary equipment operating hours and appliance loads can reduce residential and commercial energy consumption by 25% (without any loss in quality of life). The limitations are awareness and easy hardware for controlling equipment and appliances, which can be overcome with a concerted state work plan.
Other Involved Agencies: DEP, PA Department of Commerce, PUC.

Possible New Measure(s): 

The Turn it off PA! campaign 1 will address unnecessary heating, cooling, and lighting conditioning energy use during periods when no one is in the building, or when natural conditioning would be equally effective. 
User-friendly setback thermostats to replace manual thermostats in homes and commercial buildings without building automation systems would reduce heating and cooling during unoccupied periods by an average of 20% (for homes daytime for dual working parents for example). To further address heating loads in homes and small commercial buildings, education and policy would emphasize the value of increasing south-facing windows and living spaces, maintaining high solar transmission glass on the south, so passive solar heat can meet an additional 20% of the heating load. To further address cooling loads, the promotion of internal and external shading devices for windows in all building types, alongside a shade tree program will reduce air conditioning by at least 20%. 

Education and policy would promote the use of natural ventilation as a cooling and ventilation system for a majority of the year whenever outside conditions are not too hot, humid, or polluted. A statewide policy to mandate operable windows for all long-term occupancy spaces would ensure that natural ventilation (and daylighting) remain viable if not central solutions to reducing conditioning energy loads. 

Finally, policy and education would guarantee the maximum use of daylighting for both task and ambient lighting in commercial buildings. Policies would include: mandates for high-visible transmission glass (independent of shading or heat gain coefficients) in all new and retrofit projects, the design and/or specification of light-redirection devices (light shelves and horizontal blinds) that maintain views while improving daylight distribution, the renovation of historic academic and municipal buildings to re-activate their effective daylighting systems, and the introduction of daylight or time-of-day responsive controls.

The Turn it off PA! campaign 2 will address unnecessary appliance loads caused by equipment left on in unoccupied spaces and by parasitic or vampire loads caused by transformers and stand-by modes of equipment that is turned off. 

A simple household energy software introduced in elementary schools can help families recognize the unnecessary energy being used by everyday appliances in on, standby, sleep, and off positions. Education should be supported by mandated or subsidized meters that give residents feedback for turning equipment off in daily, monthly, and annual benefits. All legislation that limits low-energy living would be modified, from clothes line ordinances to mandated air conditioning.

In a mini campaign focused on PA kills vampire loads!, standards would be set for all Pennsylvania transformers and set-top boxes; subsidies could be considered for switchable power strips that enable residents to turn off banks of equipment when leaving, with timers or occupancy sensors; and electricity counters could be integrated into power strips. The Prius effect, by which drivers continuously learn which actions improve the mile-per-gallon performance of their car, would be brought to residential and commercial appliances.
Assumptions: 

[image: image29.wmf]Cost of measure

3%

premium

Geller (2002) Utility Energy Efficiency Programs and Systems Benefit Charges in the Southwest p.4

http://www.swenergy.org/pubs/system_benefit_charges.pdf

2017

2027

Electricity savings

6.7%

10.2%

Geller (2002) Utility Energy Efficiency Programs and Systems Benefit Charges in the Southwest Table 2 per subcommittee. 

http://www.swenergy.org/pubs/system_benefit_charges.pdf

2012

2020

BAU electricity sales

151,500

167,780

GWh

Electricity savings

3,806

13,003

GWh

The Geller analysis assumed policy start in 2003 with savings of 6.7% in 2010 and 

10.2% in 2020, relative to base. Since the PA policy would start in 2010, the reduction 

savings have been moved by 7 years.


Potential GHG Reduction: 

Table 12-1. Estimated GHG Reductions and Cost-effectiveness
	Work Plan
No.
	Work Plan Name
	Annual Results (2020)
	Cumulative Results (2009-2020)

	
	
	GHG Reduc-tions
(MMtCO2e)
	Costs

(Million $)
	Cost-Effectiveness

($/tCO2e)
	GHG Reductions
(MMtCO2e)
	Costs

(NPV, Million $)
	Cost-Effectiveness

($/tCO2e)

	RC-12
	DSM—Electricity
	11.2
	$35
	$3
	72.6
	$149
	$2


Economic Cost: See Table 12.1, above

Potential Overlap:

· None (utilities required to prove no overlap)

Other Involved Agencies: PUC, state legislature
RC-13. Demand-Side Management (DSM) – Water
Summary: This initiative supports water conservation and yields energy savings. To achieve 25% potable water conservation, enact new utility incentives, conservation credits, smart metering, and education programs. The energy impact of water use is estimated at 4% of all electricity consumption nationwide.
Most homeowners in PA have water bills that exceed electric bills, with little awareness of where those costs are generated.  Landscaping, toilet flushing, showers and sinks and washing machines are the most significant contributors to building water loads.  These water costs have measurable GHG implications (4% of all energy use) because of the processing energy costs and the pumping energy costs.   Faucets and washing machines also have hot water loads, gas or electric, with GHG implications.  

As a result, water conserving alternatives benefit building owners both in water cost savings and in DHW heating cost savings. 

Conservation can be achieved through State efforts to promote rain capture for landscaping, dual flush toilets, low flow faucets and shower heads, and water efficient/ front loading washing machines.  This can be achieved by: point of sale education and Watersense product performance standards; elimination of code barriers; and utility managed programs that combine certified installers with equitable utility rate financing. 

Goals: 
· Reduce per-capita water use by 20% statewide by 2015.

· Achieve a 10% overall water savings by 2025.

· Install WaterSense fixtures for all new construction.
Possible Vehicles: 

· Low-water landscaping:

· Irrigation (low-water landscaping, rain capture).

· Low-water plumbing:

· Toilets (WaterSense uses 1.28–1.6 gallons per flush).

· Faucets.

· Washing machines.

Assumptions: 

[image: image30.wmf]Other Data, Assumptions, Calculations

2012

2020

Units

Population

12,439,741

12,569,017

persons

Population (2005)

12,328,348

persons

Baseline (2005) per capita water use

30,081

gal/person/yr

Assumes no change in per capita use from 1995 to 2005

Baseline (2005) total water use

370,847

million gal / yr

Assumes no change in per capita use from 1995 to 2005

Energy Intensity (excluding heating)

4

MWh / million gal

Griffiths-Satenspiel and Wilson (2009.04) The Carbon Footprint of Water, 

provided by Mary Ann Dickinson, Alliance for Water Efficiency

Savings from water heating included under RC-8 Appliances

Goals

Water use avoided (per capita)

10.0%

20.0%

37,420

75,617

million gal

Water use avoided (absolute)

1.9%

6.9%

6,953

25,496

million gal

Water use avoided (greater of per capita and absolute)

37,420

75,617

million gal

Costs

Levelized cost of measure - landscaping

$4.84

$ / thousand gal

See Note 2 on this sheet

Levelized cost of measure - fixtures

$0.34

$ / thousand gal

See Note 2 on this sheet

Levelized cost of measure - washing machine

$0.01

$ / thousand gal

See Note 2 on this sheet

Levelized cost of measure - toilet

$1.74

$ / thousand gal

See Note 2 on this sheet


[image: image31.wmf]Avoided cost of water

Residential

$7.50

$ / thousand gal

Pittsburgh water and sewer authority http://www.pgh2o.com/fees.htm

Commercial

$7.19

$ / thousand gal

Weighted average

$7.42

$ / thousand gal

Buildings undergoing irrigation retrofits annually

10,000

buildings

Washing machines replaced annually

50,000

machines

Homes retrofitting fixtures annually

250,000

housing units

Toilets replaced annually

250,000

toilets


[image: image32.wmf]Additional Results

2012

2020

Units

Overall

Avoided water use

10,679

39,156

million gal


Note: the measures assumed are not sufficient to meet the overall goals of the workplan
Potential GHG Reduction: 
Table 13-1. Estimated GHG Reductions and Cost-effectiveness

	Work Plan
No.
	Work Plan Name
	Annual Results (2020)
	Cumulative Results (2009-2020)

	
	
	GHG Reduc-tions
(MMtCO2e)
	Costs

(Million $)
	Cost-Effectiveness

($/tCO2e)
	GHG Reductions
(MMtCO2e)
	Costs

(NPV, Million $)
	Cost-Effectiveness

($/tCO2e)

	13
	Demand Side Management (DSM) – Water
	0.1
	-$255
	-$1,944
	0.8
	-$1,011
	-$1,285

	
	Irrigation at commercial buildings
	0.0
	-$4
	-$804
	0.0
	-$18
	-$558

	
	Replace fixtures 
	0.0
	-$89
	-$2,242
	0.2
	-$372
	-$1,556

	
	Replace clothes washing machines
	0.0
	-$22
	-$2,340
	0.1
	-$91
	-$1,624

	
	Replace toilets
	0.1
	-$140
	-$1,822
	0.5
	-$582
	-$1,264


Economic Cost: See Table 13-1, above.

 

Potential Overlap: 
Other Involved Agencies:
WORKPLANS THAT ARE NOT QUANTIFIED IN THIS ANALYSIS

RC-14.
PA Values Embodied Energy in Building Materials, Including Historic Structures
Summary: This work plan promotes the use of regionally sourced and manufactured building products, as well as historic/existing structures.

Other Involved Agencies: DCED, U.S. Small Business Administration, local/regional economic development companies, Pennsylvania Technical Assistance Program, Industrial Resource Centers, DGS COSTAR, PA Historic and Museum Commission, county historic societies, PA Historic Landmark Foundation, Young Preservationists of Pittsburgh/PA.

Possible Vehicles: Promotion of the use of regionally sourced and manufactured building products as well as historic/existing structures.

The notion of supporting regional communities and economies is becoming widespread in “buy-local” campaigns. Included in that notion is the procurement of building product materials within one’s own region. This practice supports local businesses and manufacturers by strengthening demand for local industries instead of relying on shipping from other regions. The buy-local ideology can also reduce the amount of embodied energy in building materials by reducing the distance of travel for those materials. Locally sourced building materials are also a major component of the LEED Rating System.
Included with the concept of embodied energy is the practice of reusing existing structures, such as historic buildings. By repurposing buildings, builders are reducing GHGs and embodied energy by reducing new infrastructure, landfill waste, and the use of many new materials typically consumed in the new building construction.

Many state and municipal governments are already promoting the practice of utilizing regional materials within public buildings through legislation.
Potential GHG Reduction: Unknown at this time. Can be determined from shipping emission reductions and the reduced amount of daily commuters due to urban density.

Economic Cost: The economic cost of such a program would be easily obtainable through past and present purchasing orders/shipping orders related to the building industry. The great economic impact would be more obvious in the amount of revenue earned through regional sales by Pennsylvania manufacturers. A cost may also be associated with a PA preferred product label/database to be administered by staff.

Implementation Steps: Implementation of this program includes state and municipal legislation, such as that outlined above. Certain tax credits may also be structured and applied to building projects that strive to utilize regionally sourced materials and historic/existing structures.
Potential Overlap: 
· Building Performance Labels That Reflect Actual Utility Usage

· High-Performance Pennsylvania Building Standards

· High-Performance Building Standards for Existing Commonwealth of PA Buildings

C-15. Sustainability Education Programs
Summary: This initiative supports sustainable education programs in primary and secondary schools and post-secondary, college, and university programs.
· Introduce or augment environmental/energy curricula in schools.

· Introduce energy efficiency at community colleges and trade schools.

· Provide training and certification for builders and contractors and building code officials working in energy code enforcement.

· Provide continuing education for design professionals, including architects, engineers, developers, contractors, urban planners and realtors.

· Educate consumers with information programs on efficiency and conservation targeted to reduction and wise use of energy. 

· Ensure municipalities coordinate and share resources.

Possible Vehicles: 

The establishment of the Turn it off PA! campaign eliminates unnecessary equipment operating hours and appliance loads. This can reduce residential and commercial energy consumption by 25% without loss in quality of life. The limitations are education and needed hardware for equipment. Heating, cooling, lighting, and appliance energy conservation and plug loads would be the focus of a multistage statewide campaign.

RC-16. Adaptive Building Reuse
Summary: This initiative encourages adaptive building reuse and sourcing of regionally available building materials.

Possible New Measure(s): 

By promoting the reuse of historic and existing buildings, the following reductions occur: GHG, landfill waste, new building materials, and new infrastructure. The sourcing of regionally available building materials results in similar reductions.

 

 Implementation Steps:

Other Involved Agencies: 

� A zero-carbon house is a building where net carbon dioxide emissions resulting from all energy used in the dwelling are zero or better. This includes the energy consumed in the operation of the space heating/cooling and hot-water systems, ventilation, all internal lighting, cooking and all electrical appliances.


� A zero-carbon house is a building where net carbon dioxide emissions resulting from all energy used in the dwelling are zero or better. This includes the energy consumed in the operation of the space heating/cooling and hot-water systems, ventilation, all internal lighting, cooking and all electrical appliances.


� ACEEE (2006) Leading the Way: Continued Opportunities for New State Appliance and Equipment Efficiency Standards www.aceee.org/pubs/a062.htm


� ACEEE (2009.04) Potential for Energy Efficient, Demand Response, and Onsite Solar Energy in Pennsylvania http://www.aceee.org/pubs/e093.htm


� ACEEE (2006) Leading the Way: Continued Opportunities for New State Appliance and Equipment Efficiency Standards www.aceee.org/pubs/a062.htm


� Hughes, Patrick (2008). Geothermal (Ground-Source) Heat Pumps: Market Status, Barriers to Adoption, and Actions to Overcome Barriers. Oak Ridge National Laboratory. www1.eere.energy.gov/geothermal/pdfs/ornl_ghp_study.pdf





1

