# Pennsylvania Act 2 Land Recycling Program

# Separate Phase Liquid Screening Checklists

| # Immediate Dangers |  |  |  |
| --- | --- | --- | --- |
| Questions | yes? | no? | Comments |
| 1. Was separate phase liquid released or spilled? |  |  |  |
| 2. Was separate phase liquid released to surface (e.g., ground surface or water body)? |  |  |  |
| 3. Or was the separate phase liquid released to subsurface (i.e., underground)? |  |  |  |
| 4. Is separate phase liquid discharging to surface water (e.g., river, lake, pond, stream, etc.)? |  |  |  |
| Or is the separate phase liquid release near a surface water body (i.e., within _____ feet)? |  |  |  |
| 5. Is the separate phase liquid release contained? If no, contact emergency services. |  |  |  |
| 6. Are the source(s) of the separate phase liquids known? If yes, specify source and date of the release. |  |  |  |
| 7. Are potential receptors protected? |  |  |  |
| 8. Are there buildings nearby the location of the release? |  |  |  |
| If yes, do these buildings have basements? |  |  |  |
| If yes, monitor for leaching of separate phase liquid and vapor intrusion? |  |  |  |
| 9. Have separate phase liquids been observed in soil samples or ground water monitoring wells? |  |  |  |
| 10. Separate phase liquid plume growing or moving? |  |  |  |
| 11. Is separate phase liquid plume stabilized? |  |  |  |

| # Immediate Dangers (continued) |  |  |  |
| --- | --- | --- | --- |
| Questions | yes? | no? | Comments |
| 12. If separate phase liquid plume is growing or moving, are control measures implemented? And where: |  |  |  |
| At leading edge of plume? |  |  |  |
| Within plume core? |  |  |  |
| At site boundary? |  |  |  |
| Other controls? And list type. |  |  |  |
| 13. Is the subsurface release of separate phase liquid near underground utilities (i.e., within ______ feet)? |  |  |  |
| 14. Is there potential of direct contact with the separate phase liquid due to excavation? |  |  |  |
| 15. Potential for future separate phase liquid releases mitigated? |  |  |  |
| 16. Are basements, under ground crawl spaces, subsurface utilities or any other potential subsurface exposure points present on the property or the adjoining properties? |  |  |  |
| 17. Is the separate phase liquid present in wells at the point of compliance? |  |  |  |
| 18. What are the land uses for the adjoining property(ies) |  |  |  |
| Residential? |  |  |  |
| Commercial? |  |  |  |
| Industrial? |  |  |  |
| Open Areas? |  |  |  |

| # Conceptual Model |  |  |  |
| --- | --- | --- | --- |
| Questions | yes? | no? | Comments |
| 1. Is separate phase liquid plume delineated? |  |  |  |
| 2. SPL plume size is: |  |  |  |
| Shrinking? |  |  |  |
| Stable? |  |  |  |
| Growing? If yes, see immediate dangers |  |  |  |
| 3. SPL daughter plumes (i.e., compounds of concern) defined and delineated within ground water? |  |  |  |
| 4. SPL daughter plumes are: |  |  |  |
| Shrinking? |  |  |  |
| Stable? |  |  |  |
| Growing? |  |  |  |
| 5. Separate phase liquid type is: |  |  |  |
| Gasoline? |  |  |  |
| Diesel fuel? |  |  |  |
| Heating oil? |  |  |  |
| Metal working fluid? |  |  |  |
| Lubrication oil? |  |  |  |
| Mineral Oil |  |  |  |
| Other? |  |  |  |
| 6. Potential receptors defined? |  |  |  |
| 7. Potential pathways of SPL defined? |  |  |  |
| 8. Site specific SPL characteristics collected? |  |  |  |
| Specific gravity/density |  |  |  |
| Viscosity |  |  |  |
| Interfacial/Surface Tension |  |  |  |
| Others: |  |  |  |
| 9. SPL defined horizontally? |  |  |  |
| 10. SPL defined vertically? |  |  |  |
| 11. Vapor plume from SPL defined? |  |  |  |
| 12. Aquifer parameters defined? |  |  |  |
| Ground water gradient? |  |  |  |
| Ground water hydraulic conductivity? |  |  |  |
| SPL gradient? |  |  |  |
| SPL hydraulic conductivity? |  |  |  |
| 13. Ground water use defined (e.g., used or non-use aquifer)? |  |  |  |

| # Conceptual Model (continued) |  |  |  |
| --- | --- | --- | --- |
| Questions | yes? | no? | Comments |
| 14. Surface cover is impermeable (e.g., asphalt, concrete, etc.)? |  |  |  |
| 15. Soil characteristics understood? |  |  |  |
| Heterogeneity? |  |  |  |
| Grain Size? |  |  |  |
| Permeability? |  |  |  |
| Others: |  |  |  |
| 16. SPL located within overburden soil? |  |  |  |
| Or, within bedrock? |  |  |  |
| 17. Land use for the property defined? |  |  |  |
| 18. Land use for the neighboring properties known? |  |  |  |