| Bioretention / Rain Garden Inspection Checklist |  |  |  |  |
| --- | --- | --- | --- | --- |
| Inlet (inflow type could be open channel, sheet flow, closed pipe, riprap apron, etc.) |  | YES | NO | N/A |
| 1. | Is inlet erosion present? |  |  |  |
| 2. | Is inlet clogged or clogging? |  |  |  |
| 3. | Does inlet appear to have structural problems? |  |  |  |
| Outlet (positive overflow outlet type could be riser, weir, emergency spillway, underdrain, etc.) |  | YES | NO | N/A |
| 1. | Is outlet erosion present? |  |  |  |
| 2. | Is outlet clogged or clogging? |  |  |  |
| 3. | Does outlet show structural problems or signs of leakage? |  |  |  |
| Pretreatment Area (forebay, vegetated or riprap channel, etc.) |  | YES | NO | N/A |
| 1. | Is sediment buildup present? |  |  |  |
| 2. | Is Pretreatment being bypassed? |  |  |  |
| 3. | Is there sediment flow from pretreatment to SCM? |  |  |  |
| Media |  | YES | NO | N/A |
| 1. | Is there uniform coverage of mulch or other ground cover? |  |  |  |
| 2. | Is sediment deposition evident? |  |  |  |
| Vegetation (such as trees, shrubs, grasses, etc.) |  | YES | NO | N/A |
| 1. | Is there plant cover >70%? |  |  |  |
| 2. | Does the plant cover appear healthy? |  |  |  |
| Structure |  | YES | NO | N/A |
| 1. | Is bank erosion occurring? |  |  |  |
| 2. | Are side slopes stable? |  |  |  |
| Trash |  | YES | NO | N/A |
| 1. | Is trash blocking/clogging either the inlet or outlet structure? |  |  |  |
| Water Quality |  | YES | NO | N/A |
| 1. | Is there standing water more than 72 hours after a rain event? |  |  |  |
| 2. | Is there algae, evidence of pollution (sheen, etc.), or evidence of mosquito larvae present? |  |  |  |

| Dry Detention Basin Inspection Checklist |  |  |  |  |
| --- | --- | --- | --- | --- |
| Inlet (inflow type could be open channel, sheet flow, closed pipe, riprap apron, etc. Inflow should not be submerged at normal pool depth) |  | YES | NO | N/A |
| 1. | Is inlet erosion present? |  |  |  |
| 2. | Is inlet clogged or clogging? |  |  |  |
| 3. | Does inlet appear to have structural problems? |  |  |  |
| Outlet (multistage outlet structure should be present - low flow outlet, primary outlet, and emergency overflow) |  | YES | NO | N/A |
| 1. | Are energy dissipators present at end of primary outlet? |  |  |  |
| 2. | Is there erosion at the outlet? |  |  |  |
| 3. | Is outlet clogged or clogging? |  |  |  |
| 4. | Does outlet show structural problems or signs of leakage? |  |  |  |
| Basin: Pretreatment area (forebay, vegetated or riprap channel, etc.) |  | YES | NO | N/A |
| 1. | Is sediment buildup present? |  |  |  |
| 2. | Is there sediment flow from pretreatment to SCM? |  |  |  |
| Basin: Vegetation (trees, shrubs, grasses, etc.) |  | YES | NO | N/A |
| 1. | Is there plant cover >70%? |  |  |  |
| 2. | Does the plant cover appear healthy? |  |  |  |
| Basin: Structure |  | YES | NO | N/A |
| 1. | Is bank erosion occurring? |  |  |  |
| 2. | Are side slopes stable? |  |  |  |
| Basin: Trash |  | YES | NO | N/A |
| 1. | Is trash blocking/clogging either the inlet or outlet structure? |  |  |  |
| Basin: Water Quality |  | YES | NO | N/A |
| 1. | Is there standing water more than 72 hours after a rain event? |  |  |  |
| 2. | Is there algae, evidence of pollution (sheen, etc.), or evidence of mosquito larvae present? |  |  |  |
| Outfall Conditions (Outside SCM) |  | YES | NO | N/A |
| 1. | Is there erosion, sedimentation, or trash accumulation at the outfall discharge outside of the SCM? |  |  |  |
| 2. | Is Pretreatment being bypassed? |  |  |  |

| Wet Pond Inspection Checklist |  |  |  |  |
| --- | --- | --- | --- | --- |
| Inlet (inflow type could be open channel, sheet flow, closed pipe, rip rap apron, etc.) |  | YES | NO | N/A |
| 1. | Is inlet erosion present? |  |  |  |
| 2. | Is inlet clogged or clogging? |  |  |  |
| 3. | Does inlet appear to have structural problems? |  |  |  |
| Outlet (positive overflow outlet type could be riser, weir, emergency spillway, underdrain, etc.) |  | YES | NO | N/A |
| 1. | Is outlet erosion present? |  |  |  |
| 2. | Is outlet clogged or clogging? |  |  |  |
| 3. | Does outlet show structural problems or signs of leakage? |  |  |  |
| Pretreatment Area (forebay, vegetated or riprap channel, etc.) |  | YES | NO | N/A |
| 1. | Is sediment buildup present? |  |  |  |
| 2. | Is Pretreatment being bypassed? |  |  |  |
| 3. | Is there sediment flow from pretreatment to SCM? |  |  |  |
| Basin: Vegetation (trees, shrubs, grasses, etc.) |  | YES | NO | N/A |
| 1. | Is there plant cover >70%? |  |  |  |
| 2. | Does the plant cover appear healthy? |  |  |  |
| Basin: Structure |  | YES | NO | N/A |
| 1. | Is bank erosion occurring? |  |  |  |
| 2. | Is there damage to the bank structure such as slumping or evidence of bank failure? |  |  |  |
| Basin: Trash |  | YES | NO | N/A |
| 1. | Is trash blocking/clogging either the inlet or outlet structure? |  |  |  |
| 2. | Is there algae, evidence of pollution (sheen, etc.), or evidence of mosquito larvae present? |  |  |  |
| Outfall Conditions (Outside SCM) |  | YES | NO | N/A |
| 1. | Is there erosion, sedimentation, or trash accumulation at the outfall discharge outside of the SCM? |  |  |  |

| Infiltration Basin Inspection Checklist |  |  |  |  |
| --- | --- | --- | --- | --- |
| Inlet (inflow type could be roof leader, sheet flow, closed pipe, cut curb, etc.) |  | YES | NO | N/A |
| 1. | Is inlet erosion present? |  |  |  |
| 2. | Is inlet clogged or clogging? |  |  |  |
| 3. | Does inlet appear to have structural problems? |  |  |  |
| Outlet (positive overflow outlet type could be riser, weir, emergency spillway, underdrain, etc.) |  | YES | NO | N/A |
| 1. | Is outlet erosion present? |  |  |  |
| 2. | Is outlet clogged or clogging? |  |  |  |
| 3. | Does outlet show structural problems or signs of leakage? |  |  |  |
| Pretreatment Area (forebay, vegetated or riprap channel, etc.) |  | YES | NO | N/A |
| 1. | Is sediment buildup present? |  |  |  |
| 2. | Is Pretreatment being bypassed? |  |  |  |
| 3. | Is there sediment flow from pretreatment to SCM? |  |  |  |
| Basin: Media |  | YES | NO | N/A |
| 1. | Is there uniform coverage of mulch or other ground cover? |  |  |  |
| 2. | Is sediment deposition evident? |  |  |  |
| Basin: Vegetation (trees, shrubs, grasses, etc.) |  | YES | NO | N/A |
| 1. | Is there plant cover >70%? |  |  |  |
| 2. | Does the plant cover appear healthy? |  |  |  |
| Basin: Structure |  | YES | NO | N/A |
| 1. | Is bank erosion occurring? |  |  |  |
| 2. | Are side slopes stable? |  |  |  |
| Basin: Trash |  | YES | NO | N/A |
| 1. | Is trash blocking/clogging either the inlet or outlet structure? |  |  |  |
| Basin: Water Quality |  | YES | NO | N/A |
| 1. | Is there standing water more than 72 hours after a rain event? |  |  |  |
| 2. | Is there algae, evidence of pollution (sheen, etc.), or evidence of mosquito larvae present? |  |  |  |
| Outfall Conditions (Outside SCM) |  | YES | NO | N/A |
| 1. | Is there erosion, sedimentation, or trash accumulation at the outfall discharge outside of the SCM? |  |  |  |

| Infiltration Bed / Trench Inspection Checklist |  |  |  |  |
| --- | --- | --- | --- | --- |
| Inlet (inflow type could be roof leader, sheet flow, closed pipe, cut curb, etc.) |  | YES | NO | N/A |
| 1. | Is inlet erosion present? |  |  |  |
| 2. | Is inlet clogged or clogging? |  |  |  |
| 3. | Does inlet appear to have structural problems? |  |  |  |
| Infiltration Bed |  | YES | NO | N/A |
| 1. | Is an overflow outlet present? |  |  |  |
| 2. | Is an observation port, pit, or sump present? |  |  |  |
| 3. | Is there proper surface grading of less than 5% slope? |  |  |  |
| 4 | Are adjacent earthen vegetated areas adequately stabilized? |  |  |  |
| 5. | Is standing water present? |  |  |  |
| 6. | Is there surface sediment? |  |  |  |
| 7. | Does there appear to be surface contamination? |  |  |  |
| Infiltration Bed Vegetation (trees, shrubs, grasses, etc.) |  | YES | NO | N/A |
| 1. | Is there plant cover >70%? |  |  |  |
| 2. | Does the plant cover appear healthy? |  |  |  |
| Permeable Pavement (types could be permeable asphalt, concrete, or pavers) |  | YES | NO | N/A |
| 1. | Are structural problems evident? |  |  |  |
| 2. | Is backup drainage present (such as an unpaved aggregate edge or an inlet with WQ device)? |  |  |  |

| Vegetated Swale Inspection Checklist |  |  |  |  |
| --- | --- | --- | --- | --- |
| Swale Vegetation (trees, shrubs, grasses, etc.) |  | YES | NO | N/A |
| 1. | Is there plant cover >70%? |  |  |  |
| 2. | Does the plant cover appear healthy? |  |  |  |
| Swale Structure |  | YES | NO | N/A |
| 1. | Is erosion occurring? |  |  |  |
| 2. | Is there damage to the bank structure such as slumping or evidence of bank failure? |  |  |  |
| Swale Flow |  | YES | NO | N/A |
| 1. | Is trash blocking/clogging either the inlet or outlet structure? |  |  |  |
| 2. | Is sediment deposition occurring? |  |  |  |
| Basin Water Quality |  | YES | NO | N/A |
| 1. | Is there standing water more than 72 hours after a rain event? |  |  |  |
| 2. | Is algae, evidence of pollution (sheen, etc.), or evidence of mosquito larvae present? |  |  |  |
| Turf Reinforcement Matting (TRM) |  | YES | NO | N/A |
| 1. | Has TRM or another liner been installed? |  |  |  |
| 2. | Is the TRM or liner anchored? |  |  |  |
| 3. | Is the TRM or liner making good contact with soil surface? |  |  |  |
| 4. | Are there signs of tenting? |  |  |  |
| 5. | Are there signs of erosion under the matting? |  |  |  |

| Vegetated Filter Strip Inspection Checklist |  |  |  |  |
| --- | --- | --- | --- | --- |
| Filter Strip Inflow |  | YES | NO | N/A |
| 1. | Is the intended runoff able to enter the filter strip? |  |  |  |
| 2. | Is erosion occurring at the inlet? |  |  |  |
| Filter Strip Vegetation: such as trees, shrubs, grasses, etc. |  | YES | NO | N/A |
| 1. | Is there plant cover >70%? |  |  |  |
| Filter Strip Structure |  | YES | NO | N/A |
| 1. | Is erosion occurring? |  |  |  |
| Filter Strip Flow |  | YES | NO | N/A |
| 1. | Is there trash in swale or blocking either the inlet or outlet of filter strip? |  |  |  |
| 2. | Is sediment deposition occurring? |  |  |  |
| 3. | Is there sheet flow both to and from filter strip? |  |  |  |

| Runoff Capture & Use Inspection Checklist |  |  |  |  |
| --- | --- | --- | --- | --- |
| Runoff Capture & Use |  | YES | NO | N/A |
| 1. | Is flow from the catchment area to the storage device unimpeded (sediment/debris)? |  |  |  |
| 2. | Is the storage unit structurally sound? |  |  |  |
| 3. | Is sediment or debris found in the storage area? |  |  |  |
| 4. | Is storage unit clearly marked “Caution: Reclaimed Water. Do not drink” or similar? |  |  |  |
| 5. | Are spray irrigation sprinkler heads and/or irrigation tubing operable? |  |  |  |

| Constructed Wetland Inspection Checklist |  |  |  |  |
| --- | --- | --- | --- | --- |
| Inlet (inflow type could be sheet flow, closed pipe, rip rap apron, curb cut, etc.) |  | YES | NO | N/A |
| 1. | Is inlet erosion present? |  |  |  |
| 2. | Is inlet clogged or clogging? |  |  |  |
| 3. | Does inlet appear to have structural problems? |  |  |  |
| Inlet Pretreatment Area (forebay, vegetated or riprap channel, etc.) |  | YES | NO | N/A |
| 1. | Is sediment buildup present? |  |  |  |
| 2. | Is pretreatment being bypassed? |  |  |  |
| 3. | Is there sediment flow from pretreatment to SCM? |  |  |  |
| Outlet (outflow type could be riser, weir, emergency spillway, underdrain, etc.) |  | YES | NO | N/A |
| 1. | Is sediment buildup present? |  |  |  |
| 2. | Is outlet clogged or clogging? |  |  |  |
| 3. | Does outlet show structural problems or signs of leakage? |  |  |  |
| Wetland Area Vegetation (trees, shrubs, grasses, etc.) |  | YES | NO | N/A |
| 1. | Is there plant cover >70%? |  |  |  |
| 2. | Does the plant cover appear healthy? |  |  |  |
| Wetland Area: Structure |  | YES | NO | N/A |
| 1. | Is bank erosion occurring? |  |  |  |
| 2. | Are side slopes stable? |  |  |  |
| Wetland Area: Water Quality |  | YES | NO | N/A |
| 1. | Is algae, evidence of pollution (sheen, etc.), or evidence of mosquito larvae present? |  |  |  |
| Wetland Area: Trash |  | YES | NO | N/A |
| 1. | Is trash blocking/clogging either the inlet or outlet structure? |  |  |  |
| Outfall Conditions (Outside SCM) |  | YES | NO | N/A |
| 1. | Is there erosion, sedimentation, or trash accumulation at the outfall discharge outside of the SCM? |  |  |  |

| Vegetative Roof Inspection Checklist |  |  |  |  |
| --- | --- | --- | --- | --- |
| Vegetated Roof Inflow |  | YES | NO | N/A |
| 1. | Is inlet erosion present? |  |  |  |
| 2. | Is inlet clogged or clogging? |  |  |  |
| 3. | Does inlet appear to have structural problems? |  |  |  |
| Vegetated Roof Vegetation (trees, shrubs, grasses, etc.) |  | YES | NO | N/A |
| 1. | Is there plant cover >70%? |  |  |  |
| 2. | Does the plant cover appear healthy? |  |  |  |
| Vegetated Roof Structure |  | YES | NO | N/A |
| 1. | Is substrate erosion occurring? |  |  |  |
| Vegetated Roof Outlet (outlet type could be riser, edge drain, scupper, gutter, etc.) |  | YES | NO | N/A |
| 1. | Is outlet erosion present? |  |  |  |
| Vegetated Roof: Outfall Conditions (Outside SCM) |  | YES | NO | N/A |
| 1. | Is there erosion, sedimentation, or trash accumulation at the outfall discharge outside of the SCM? |  |  |  |