## Outfall 1 Limits
Select Parameters and Stages (Monitoring Locations) and Enter Limits Contained in Your Permit
(Note - Flow is assumed. If it does not apply, please ignore).
Outfall No. | [21 empty] | Reference Data
PARAMETER / STAGE |  | QUANTITY OR LOADING |  |  | QUALITY OR CONCENTRATION |  |  |  | Ch 16 DL | < Ch 16 DL Flag | Decimal Places |  |  |  |  | E = Limit is Report or is Empty | [5 empty] | Parameter | Parametershort | Ch16DLmg/l | Stage Description | Stagecode | Load 1 | Load 2 | Conc 1 | Conc 2 | Conc 3 | Units | Symbol | Convert text limits to values to compare with Ch 16 DLs
|  | LOAD 1 | LOAD 2 | UNITS | CONC 1 | CONC 2 | CONC 3 | UNITS |  |  | Load 1 | Load 2 | Conc 1 | Conc 2 | Conc 3 | Load 1 | Load 2 | Conc 1 | Conc 2 | Conc 3 | Units | Fecal Coliform (74055) | Fecal Coliform |  | Final Effluent (1) | 1 | Average | Average | Average | Average | Daily Maximum | lbs | C1
Flow (50050) | LIMIT |  |  | MGD |  |  |  | ***** |  |  | 0 | 0 | 0 | 0 | 0 | E | E | E | E | E | L | E. Coli (51040) | E. Coli |  | Effluent Net (2) | 2 | Average Monthly | Daily Average | Average Monthly | Average Monthly | Instantaneous Maximum | lbs/day | C1
[22 empty] | pH (400) | pH |  | Raw Sewage Influent (RI) | RI | Daily Average | Daily Maximum | Daily Minimum | Daily Average | Maximum | lbs/mo | C1
Final Effluent (1) | STATISTICAL CODE |  |  |  | ***** | ***** | ***** | [14 empty] | Total Residual Chlorine (TRC) (50060) | TRC |  | Ambient (=) | = | Daily Minimum | Weekly Average | Daily Minimum Average | Daily Maximum | Weekly Average | lbs/acre/day
[22 empty] | Dissolved Oxygen (300) | Dissolved Oxygen |  | Intake (0) | 0 | Minimum Monthly % Removal | ***** | Instantaneous Minimum | Daily Minimum Average | ***** | lbs/acre
| LIMIT | [9 empty] | 0 | 0 | 0 | 0 | 0 | E | E | E | E | E |  | CBOD5 (80082) | CBOD5 |  | Intake - Day 1 thru 15 (0B) | 0B | Total Monthly |  | Minimum Monthly % Removal | Geometric Mean |  | tons/day
[22 empty] | BOD5 (310) | BOD5 |  | Intake - Day 16 thru End of Month (0E) | 0E | ***** |  | Minimum | Weekly Average |  | MGD | L
| STATISTICAL CODE | [20 empty] | Total Suspended Solids (530) | TSS |  | Downstream Monitoring (6) | 6 |  |  | ***** | ***** |  | GPM | L
[22 empty] | Ammonia-Nitrogen (610) | NH3-N |  | Prior to Disinfection (B ) | B | [5 empty] | GPD | L
| LIMIT | [9 empty] | 0 | 0 | 0 | 0 | 0 | E | E | E | E | E |  | Total Nitrogen (600) | Total Nitrogen |  | Final Effluent - Day 1 thru 15 (BM) | BM | [5 empty] | gal | L
[22 empty] | Total Phosphorus (665) | Total Phosphorus |  | Final Effluent - Day 16 thru End of Month (EM) | EM | [5 empty] | gal/acre | L
| STATISTICAL CODE | [20 empty] | Nitrite as N (615) | NO2-N |  | Influent (G ) | G | [5 empty] | in | L
[22 empty] | Nitrate as N (620) | NO3-N |  | Groundwater (G2) | G2 | [5 empty] | in/week | L
| LIMIT | [9 empty] | 0 | 0 | 0 | 0 | 0 | E | E | E | E | E |  | Total Kjeldahl Nitrogen (625) | TKN |  | Industrial Influent (II) | II | [5 empty] | MBTUs/hr | L
[22 empty] | Nitrate-Nitrite as N (630) | NO2-N + NO3-N |  | Instream Monitoring (IM) | IM | [5 empty] | MBTUs/day | L
| STATISTICAL CODE | [20 empty] | 1,1,1,2-Tetrachloroethane (77562) | 1,1,1,2-Tetrachloroethane |  | Percent Removal (K ) | K | [5 empty] | minutes | L
[22 empty] | 1,1,1-Trichloroethane (34506) | 1,1,1-Trichloroethane | 3e-05 | Prior to Irrigation (PI) | PI | [5 empty] | % | L
| LIMIT | [9 empty] | 0 | 0 | 0 | 0 | 0 | E | E | E | E | E |  | 1,1,2,2-Tetrachloroethane (34516) | 1,1,2,2-Tetrachloroethane | 3e-05 | Prior to Reuse (PR) | PR | [5 empty] | *****
[22 empty] | 1,1,2-Trichloro-1,2,2-Trifloroethane (77652) | 1,1,2-Trichloro-1,2,2-Trifloroethane |  | Internal Monitoring Point (R ) | RI | [5 empty] | mg/L | C1
| STATISTICAL CODE | [20 empty] | 1,1,2-Trichloroethane (34511) | 1,1,2-Trichloroethane | 2e-05 | Other Stormwater (SW) | SW | [5 empty] | S.U. | C2
[22 empty] | 1,1-Dichloro-1,2,2,2-Tetrafluoroethane (CFC-114a) (38675) | CFC-114a | [8 empty] | ºF | C3
| LIMIT | [9 empty] | 0 | 0 | 0 | 0 | 0 | E | E | E | E | E |  | 1,1-Dichloro-2,2,2-Trifluoroethane (HCFC-123) (38671) | HCFC-123 | [8 empty] | °F/hr | C3
[22 empty] | 1,1-Dichloro-2,2-Diethoxyethane (49888) | 1,1-Dichloro-2,2-Diethoxyethane | [8 empty] | ºC | C3
| STATISTICAL CODE | [20 empty] | 1,1-Dichloroethane (34496) | 1,1-Dichloroethane | 7e-05 | [7 empty] | CFU/100 ml | C4
[22 empty] | 1,1-Dichloroethylene (34501) | 1,1-Dichloroethylene | 0.00013 | [7 empty] | µmhos/cm | C3
| LIMIT | [9 empty] | 0 | 0 | 0 | 0 | 0 | E | E | E | E | E |  | 1,2,3-Trichloropropane (77443) | 1,2,3-Trichloropropane | [8 empty] | mOs/kg | C3
[22 empty] | 1,2,3,4-Tetrachlorobenzene (77736) | 1,2,3,4-Tetrachlorobenzene | [8 empty] | µW/cm² | C3
| STATISTICAL CODE | [20 empty] | 1,2,4-Trichlorobenzene (34551) | 1,2,4-Trichlorobenzene | 5e-05 | [7 empty] | µWsec/cm² | C3
[22 empty] | 1,2,4-Trimethylbenzene (77222) | 1,2,4-Trimethylbenzene | [8 empty] | mW/cm² | C3
| LIMIT | [9 empty] | 0 | 0 | 0 | 0 | 0 | E | E | E | E | E |  | 1,2,4,5-Tetrachlorobenzene (77734) | 1,2,4,5-Tetrachlorobenzene | [8 empty] | mWsec/cm² | C3
[22 empty] | 1,2-Dibromoethane (77651) | 1,2-Dibromoethane | [8 empty] | mjoule/cm² | C3
| STATISTICAL CODE | [20 empty] | 1,2-Dichlorobenzene (34536) | 1,2-Dichlorobenzene | 0.00015 | [7 empty] | pCi/L | C3
[22 empty] | 1,2-Dichloroethane (32103) | 1,2-Dichloroethane | 3e-05 | [7 empty] | Pt-Co Units | C3
| LIMIT | [9 empty] | 0 | 0 | 0 | 0 | 0 | E | E | E | E | E |  | 1,2-Dichloropropane (34541) | 1,2-Dichloropropane | 4e-05 | [7 empty] | hours | C3
[22 empty] | 1,2-Diphenylhydrazine (34346) | 1,2-Diphenylhydrazine | 0.01 | [7 empty] | minutes | C3
| STATISTICAL CODE | [20 empty] | 1,3,5-Trimethylbenzene (77226) | 1,3,5-Trimethylbenzene | [8 empty] | TUa | C3
[22 empty] | 1,3-Dichlorobenzene (34566) | 1,3-Dichlorobenzene | 0.00032 | [7 empty] | TUc | C3
| LIMIT | [9 empty] | 0 | 0 | 0 | 0 | 0 | E | E | E | E | E |  | 1,3-Dichloropropylene (77163) | 1,3-Dichloropropylene | 0.0002 | [7 empty] | No. | C3
[22 empty] | 1,4-Dichlorobenzene (34571) | 1,4-Dichlorobenzene | 0.00024 | [7 empty] | SVI | C3
| STATISTICAL CODE | [20 empty] | 1,4-Dioxane (82388) | 1,4-Dioxane | [8 empty] | NTU | C3
[22 empty] | 1-Propanol (77018) | 1-Propanol | [8 empty] | cfs | C3
| LIMIT | [9 empty] | 0 | 0 | 0 | 0 | 0 | E | E | E | E | E |  | 2,2-Dimethoxypropane (51070) | 2,2-Dimethoxypropane | [8 empty] | % | C3
[22 empty] | 2,3,4,6-Tetrachlorophenol (77770) | 2,3,4,6-Tetrachlorophenol | [8 empty] | *****
| STATISTICAL CODE | [20 empty] | 2,3,7,8-TCDD (34675) | 2,3,7,8-TCDD | 2e-06
[22 empty] | 2,3,7,8-TCDF (38691) | 2,3,7,8-TCDF
| LIMIT | [9 empty] | 0 | 0 | 0 | 0 | 0 | E | E | E | E | E |  | 2,4,5-Trichlorophenol (77687) | 2,4,5-Trichlorophenol
[22 empty] | 2,4,6-Trichlorophenol (34621) | 2,4,6-Trichlorophenol | 0.00058
| STATISTICAL CODE | [20 empty] | 2,4-Dichlorophenol (34601) | 2,4-Dichlorophenol | 0.00039
[22 empty] | 2,4-Dichlorophenoxyacetic Acid (39730) | 2,4-Dichlorophenoxyacetic Acid
| LIMIT | [9 empty] | 0 | 0 | 0 | 0 | 0 | E | E | E | E | E |  | 2,4-Dimethylphenol (34606) | 2,4-Dimethylphenol | 0.00032
[22 empty] | 2,4-Dinitrophenol (34616) | 2,4-Dinitrophenol | 0.013
| STATISTICAL CODE | [20 empty] | 2,4-Dinitrotoluene (34611) | 2,4-Dinitrotoluene | 2e-05
[22 empty] | 2,6-Dinitrotoluene (34626) | 2,6-Dinitrotoluene | 1e-05
| LIMIT | [9 empty] | 0 | 0 | 0 | 0 | 0 | E | E | E | E | E |  | 2-Butanone (78356) | 2-Butanone
[22 empty] | 2-Chloroaniline (77287) | 2-Chloroaniline
| STATISTICAL CODE | [20 empty] | 2-Chloroethyl Vinyl Ether (34576) | 2-Chloroethyl Vinyl Ether | 0.00013
[22 empty] | 2-Chloronaphthalene (34581) | 2-Chloronaphthalene | 0.00094
| LIMIT | [9 empty] | 0 | 0 | 0 | 0 | 0 | E | E | E | E | E |  | 2-Chlorophenol (34586) | 2-Chlorophenol | 0.00031
[22 empty] | 2-Ethylbenzenamine (49889) | 2-Ethylbenzenamine
| STATISTICAL CODE | [20 empty] | 2-Ethylhexanol (51175) | 2-Ethylhexanol
[22 empty] | 2-Hexanone (77103) | 2-Hexanone
| LIMIT | [9 empty] | 0 | 0 | 0 | 0 | 0 | E | E | E | E | E |  | 2-Methylnapthalene (77416) | 2-Methylnapthalene
[22 empty] | 2-Methylphenol (78395) | 2-Methylphenol
| STATISTICAL CODE | [20 empty] | 2-Nitrophenol (34591) | 2-Nitrophenol | 0.00045
[22 empty] | 3,3-Dichlorobenzidine (34631) | 3,3-Dichlorobenzidine | 0.00013
| LIMIT | [9 empty] | 0 | 0 | 0 | 0 | 0 | E | E | E | E | E |  | 3,4,5-Trichlorocatechol (73037) | 3,4,5-Trichlorocatechol
[22 empty] | 3,4,5-Trichloroguaiacol (61024) | 3,4,5-Trichloroguaiacol
| STATISTICAL CODE | [20 empty] | 3,4,6-Trichlorocatechol (51024) | 3,4,6-Trichlorocatechol
[22 empty] | 3,4,6-Trichloroguaiacol (51022) | 3,4,6-Trichloroguaiacol
| LIMIT | [9 empty] | 0 | 0 | 0 | 0 | 0 | E | E | E | E | E |  | 3,4-Benzofluoranthene (79531) | 3,4-Benzofluoranthene | 1.8e-05
[22 empty] | 3-Trifluoromethyl-4-Nitrophenol (TFM) (82563) | 3-Trifluoromethyl-4-Nitrophenol (TFM)
| STATISTICAL CODE | [20 empty] | 4,4-DDD (39310) | 4,4-DDD | 1.1e-05
[22 empty] | 4,4-DDE (39320) | 4,4-DDE | 4e-06
| LIMIT | [9 empty] | 0 | 0 | 0 | 0 | 0 | E | E | E | E | E |  | 4,4-DDT (39300) | 4,4-DDT | 1.2e-05
[22 empty] | 4,5,6-Trichloroguaiacol (73088) | 4,5,6-Trichloroguaiacol
| STATISTICAL CODE | [20 empty] | 4,6-Dinitrophenol-o-Cresol (34657) | 4,6-Dinitrophenol-o-Cresol | 0.016
[22 empty] | 4-Bromophenylphenylether (34636) | 4-Bromophenylphenylether | 0.0019
| LIMIT | [9 empty] | 0 | 0 | 0 | 0 | 0 | E | E | E | E | E |  | 4-Chlorobenzotrifluoride (78143) | 4-Chlorobenzotrifluoride
[22 empty] | 4-Chlorophenyl Phenyl Ether (34641) | 4-Chlorophenyl Phenyl Ether | 0.0039
| STATISTICAL CODE | [20 empty] | 4-Methyl-2,6-Di-Tert-Butylphenol (51036) | 4-Methyl-2,6-Di-Tert-Butylphenol
[22 empty] | 4-Methyl-2-pentanone (78133) | 4-Methyl-2-pentanone
| LIMIT | [9 empty] | 0 | 0 | 0 | 0 | 0 | E | E | E | E | E |  | 4-Nitrophenol (34646) | 4-Nitrophenol | 0.0007
[22 empty] | 4-t-Amyl-2-Chlorophenol (51038) | 4-t-Amyl-2-Chlorophenol
| STATISTICAL CODE | [20 empty] | 5-Methyl-2-Hexanone (77179) | 5-Methyl-2-Hexanone
[22 empty] | Acenaphthene (34205) | Acenaphthene | 0.0018
| LIMIT | [9 empty] | 0 | 0 | 0 | 0 | 0 | E | E | E | E | E |  | Acenaphthylene (34200) | Acenaphthylene | 0.0023
[22 empty] | Acetaldehyde (77001) | Acetaldehyde
| STATISTICAL CODE | [20 empty] | Acetic Acid (697) | Acetic Acid
[22 empty] | Acetone (81552) | Acetone
| LIMIT | [9 empty] | 0 | 0 | 0 | 0 | 0 | E | E | E | E | E |  | Acetonitrile (73207) | Acetonitrile
[22 empty] | Acetophenone (81553) | Acetophenone
| STATISTICAL CODE | [20 empty] | Acid Compounds (32020) | Acid Compounds
[22 empty] | Acrolein (34210) | Acrolein | 0.0007
| LIMIT | [9 empty] | 0 | 0 | 0 | 0 | 0 | E | E | E | E | E |  | Acrylamide (50796) | Acrylamide
[22 empty] | Acrylonitrile (34215) | Acrylonitrile | 0.0005
| STATISTICAL CODE | [20 empty] | Acute toxicity (Ceriodaphnia) (61425) | Acute toxicity (Ceriodaphnia)
[22 empty] | Acute toxicity (Pimephales) (61427) | Acute toxicity (Pimephales)
| LIMIT | [9 empty] | 0 | 0 | 0 | 0 | 0 | E | E | E | E | E |  | Adsorbable Organic Halides (AOX) (79855) | AOX
[22 empty] | Aldrin (39330) | Aldrin | 4e-06
| STATISTICAL CODE | [20 empty] | alpha-BHC (39336) | alpha-BHC | 3e-06
[22 empty] | alpha-Endosulfan (34361) | alpha-Endosulfan | 1.4e-05
| LIMIT | [9 empty] | 0 | 0 | 0 | 0 | 0 | E | E | E | E | E |  | Amyl Alcohol (51003) | Amyl Alcohol
[22 empty] | Aniline (77089) | Aniline
| STATISTICAL CODE | [20 empty] | Anthracene (34220) | Anthracene | 0.00066
[22 empty] | a-Terpineol (77493) | a-Terpineol
| LIMIT | [9 empty] | 0 | 0 | 0 | 0 | 0 | E | E | E | E | E |  | Backwash Cycles (Total Number) (82629) | Backwash Cycles
[22 empty] | Base Neutrals & Acids (76028) | Base Neutrals & Acids
| STATISTICAL CODE | [20 empty] | Benzene (34030) | Benzene | 0.0002
[22 empty] | Benzenesulphonic Acid (77517) | Benzenesulphonic Acid
| LIMIT | [9 empty] | 0 | 0 | 0 | 0 | 0 | E | E | E | E | E |  | Benzidine (39120) | Benzidine | 0.044
[22 empty] | Benzo(a)Anthracene (34526) | Benzo(a)Anthracene | 1.3e-05
| STATISTICAL CODE | [20 empty] | Benzo(a)Pyrene (34247) | Benzo(a)Pyrene | 2.3e-05
[22 empty] | Benzo(ghi)Perylene (34521) | Benzo(ghi)Perylene | 7.6e-05
| LIMIT | [9 empty] | 0 | 0 | 0 | 0 | 0 | E | E | E | E | E |  | Benzo(k)Fluoranthene (34242) | Benzo(k)Fluoranthene | 1.7e-05
[22 empty] | Benzoic Acid (77247) | Benzoic Acid
| STATISTICAL CODE | [20 empty] | Benzyl Alcohol (77147) | Benzyl Alcohol
[22 empty] | beta-BHC (39338) | beta-BHC | 6e-06
| LIMIT | [9 empty] | 0 | 0 | 0 | 0 | 0 | E | E | E | E | E |  | beta-Endosulfan (79618) | beta-Endosulfan | 4e-06
[22 empty] | Bicarbonate (440) | Bicarbonate
| STATISTICAL CODE | [20 empty] | Bis(2-Chloroethoxy)Methane (34278) | Bis(2-Chloroethoxy)Methane | 0.0005
[22 empty] | Bis(2-Chloroethyl)Ether (34273) | Bis(2-Chloroethyl)Ether | 0.0003
[22 empty] | Bis(2-Chloroisopropyl)Ether (34283) | Bis(2-Chloroisopropyl)Ether | 0.0008
[22 empty] | Bis(2-Ethylhexyl)Phthalate (39100) | Bis(2-Ethylhexyl)Phthalate | 0.002
[22 empty] | BOD5 % Removal (81010) | BOD5 % Removal
[22 empty] | Bromide (71870) | Bromide
[22 empty] | Bromine (71871) | Bromine
[22 empty] | Bromine Chloride (71872) | Bromine Chloride
[22 empty] | Bromobenzene (81555) | Bromobenzene
[22 empty] | Bromoform (32104) | Bromoform | 0.0002
[22 empty] | Butyl Benzyl Phthalate (34292) | Butyl Benzyl Phthalate | 0.00034
[22 empty] | Camphor (81324) | Camphor
[22 empty] | Carbazole (77571) | Carbazole
[22 empty] | Carbon Disulfide (77041) | Carbon Disulfide
[22 empty] | Carbon Tetrachloride (32102) | Carbon Tetrachloride | 0.00012
[22 empty] | CBOD20 (80087) | CBOD20
[22 empty] | CBOD5 % Removal (80091) | CBOD5 % Removal
[22 empty] | Chemical Oxygen Demand (340) | COD
[22 empty] | Chlordane (51032) | Chlordane | 1.4e-05
[22 empty] | Chloride (940) | Chloride
[22 empty] | Chlorination Duration (78739) | Chlorination Duration
[22 empty] | Chlorobenzene (34301) | Chlorobenzene | 0.0002
[22 empty] | Chlorodibromomethane (34306) | Chlorodibromomethane | 9e-05
[22 empty] | Chlorodifluoromethane (45028) | Chlorodifluoromethane
[22 empty] | Chloroethane (85811) | Chloroethane | 0.00052
[22 empty] | Chloroform (32106) | Chloroform | 5e-05
[22 empty] | Chlorpyrifos (77969) | Chlorpyrifos
[22 empty] | Chronic toxicity (Ceriodaphnia) (61426) | Chronic toxicity (Ceriodaphnia)
[22 empty] | Chronic toxicity (Pimephales) (61428) | Chronic toxicity (Pimephales)
[22 empty] | Chrysene (34320) | Chrysene | 0.00015
[22 empty] | cis-1,2-Dichloroethylene (77093) | cis-1,2-Dichloroethylene
[22 empty] | cis-1,3-Dichloropropene (34704) | cis-1,3-Dichloropropene
[22 empty] | Clamtrol CT-1 (4251) | Clamtrol CT-1
[22 empty] | Clamtrol CT-2 (49886) | Clamtrol CT-2
[22 empty] | Clamtrol CT-4 (49887) | Clamtrol CT-4
[22 empty] | Color (Pt-Co Units) (80) | Color
[22 empty] | Conductivity (94) | Conductivity
[22 empty] | Cumene (77223) | Cumene
[22 empty] | Cyclohexane (81570) | Cyclohexane
[22 empty] | delta-BHC (34198) | delta-BHC | 9e-06
[22 empty] | Di(2-Ethylhexyl)Adipate (51174) | Di(2-Ethylhexyl)Adipate
[22 empty] | Diazinon (39570) | Diazinon
[22 empty] | Dibenzo(a,h)Anthrancene (34556) | Dibenzo(a,h)Anthrancene | 3e-05
[22 empty] | Dibromoacetic Acid (82721) | Dibromoacetic Acid
[22 empty] | Dibromochloromethane (77779) | Dibromochloromethane
[22 empty] | Dibromomethane (38679) | Dibromomethane
[22 empty] | Dichloro-4-(1,1-Dimethylpropyl) Phenol (51039) | Dichloro-4-(1,1-Dimethylpropyl) Phenol
[22 empty] | Dichloroacetic Acid (51605) | Dichloroacetic Acid | 0.0001
[22 empty] | Dichlorobenzene (81524) | Dichlorobenzene
[22 empty] | Dichlorobromomethane (32101) | Dichlorobromomethane
[22 empty] | Dichlorodifluoromethane (34668) | Dichlorodifluoromethane
[22 empty] | Dichloroethane (81680) | Dichloroethane | 2e-06
[22 empty] | Dichlorofluoromethane (70010) | Dichlorofluoromethane
[22 empty] | Dieldrin (39380) | Dieldrin
[22 empty] | Diesel Range Organics (49922) | Diesel Range Organics | 0.00049
[22 empty] | Diethyl Ether (81576) | Diethyl Ether
[22 empty] | Diethyl Phthalate (34336) | Diethyl Phthalate
[22 empty] | Diethylamine (77030) | Diethylamine
[22 empty] | Diethylene Glycol (51555) | Diethylene Glycol | 0.00029
[22 empty] | Dimethyl Disulfide (81580) | Dimethyl Disulfide
[22 empty] | Dimethyl Phthalate (34341) | Dimethyl Phthalate
[22 empty] | Dimethyl Sulfoxide (77042) | Dimethyl Sulfoxide
[22 empty] | Dimethylformamide (77110) | Dimethylformamide | 0.00036
[22 empty] | Dimethylpropylphenol (51037) | Dimethylpropylphenol
[22 empty] | Di-n-Butyl Phthalate (39110) | Di-n-Butyl Phthalate | 0.0025
[22 empty] | Dinitrotoluene (81533) | Dinitrotoluene
[22 empty] | Di-n-Octyl Phthalate (34596) | Di-n-Octyl Phthalate
[22 empty] | Dinonylphthalate (45670) | Dinonylphthalate | 0.0005
[22 empty] | Dioxin (3610) | Dioxin | 0.001
[22 empty] | Dissolved Copper (1040) | Dissolved Copper | 0.0005
[22 empty] | Dissolved Iron (1046) | Dissolved Iron | 0.0003
[22 empty] | Dissolved Magnesium (925) | Dissolved Magnesium
[22 empty] | Dissolved Molybdenum (1060) | Dissolved Molybdenum | 0.0006
[22 empty] | Dissolved Phosphorus (666) | Dissolved Phosphorus
[22 empty] | Dissolved Selenium (1145) | Dissolved Selenium | 0.0003
[22 empty] | Dissolved Sulfide (746) | Dissolved Sulfide
[22 empty] | Dissolved Thallium (1057) | Dissolved Thallium
[22 empty] | Duration of Discharge (81381) | Duration of Discharge | 6.6e-05
[22 empty] | Endosulfan (39388) | Endosulfan | 6e-06
[22 empty] | Endosulfan Sulfate (34351) | Endosulfan Sulfate | 2.3e-05
[22 empty] | Endrin (39390) | Endrin
[22 empty] | Endrin Aldehyde (34366) | Endrin Aldehyde
[22 empty] | Ethanol (77004) | Ethanol | 0.0002
[22 empty] | Ethyl Acetate (81585) | Ethyl Acetate
[22 empty] | Ethylbenzene (34371) | Ethylbenzene
[22 empty] | Ethylene Glycol (81688) | Ethylene Glycol
[22 empty] | Filter Backwash Discharges/Day (51170) | Filter Backwash Discharges/Day | 0.00021
[22 empty] | Flow (mgd) (50050) | Flow | 0.00021
[22 empty] | Fluoranthene (34376) | Fluoranthene
[22 empty] | Fluorene (34381) | Fluorene
[22 empty] | Fluoride (951) | Fluoride
[22 empty] | Fluoroborates (952) | Fluoroborates
[22 empty] | Formaldehyde (71880) | Formaldehyde | 0.001
[22 empty] | Free Available Chlorine (50064) | Free Available Chlorine | 4e-06
[22 empty] | Free Available Cyanide (51173) | Free Available Cyanide
[22 empty] | gamma-BHC (39344) | gamma-BHC
[22 empty] | Gasoline Range Organics (4584) | Gasoline Range Organics
[22 empty] | Gross Alpha Radioactivity (80029) | Gross Alpha Radioactivity
[22 empty] | Haloacetic Acids (51535) | Haloacetic Acids
[22 empty] | Hardness, Total (as CaCO3) (900) | Total Hardness (as CaCO3)
[22 empty] | Heat Rejection Rate (MBTUs/day) (17) | Heat Rejection Rate (MBTUs/day) | 3e-06
[22 empty] | Heat Rejection Rate (MBTUs/hr) (15) | Heat Rejection Rate (MBTUs/hr) | 8.3e-05
[22 empty] | Hemitite Production (51169) | Hemitite Production
[22 empty] | Heptachlor (39410) | Heptachlor | 5e-05
[22 empty] | Heptachlor Epoxide (39420) | Heptachlor Epoxide | 0.00034
[22 empty] | Heptane (78198) | Heptane | 0.0004
[22 empty] | Hexachlorobenzene (39700) | Hexachlorobenzene | 3e-05
[22 empty] | Hexachlorobutadiene (39702) | Hexachlorobutadiene
[22 empty] | Hexachlorocyclopentadiene (34386) | Hexachlorocyclopentadiene | 0.007
[22 empty] | Hexachloroethane (34396) | Hexachloroethane
[22 empty] | Hexane (81590) | Hexane
[22 empty] | Hexavalent Chromium (1032) | Hexavalent Chromium
[22 empty] | HFPO-DA (52612) | HFPO-DA
[22 empty] | Hourly Temperature Change (74029) | Hourly Temperature Change
[22 empty] | Hydrazine (81313) | Hydrazine | 4.3e-05
[22 empty] | Hydrogen Peroxide (139) | Hydrogen Peroxide
[22 empty] | Hydrogen Sulfide (71875) | Hydrogen Sulfide
[22 empty] | Indeno(1,2,3-cd)Pyrene (34403) | Indeno(1,2,3-cd)Pyrene | 0.0022
[22 empty] | Isobutyraldehyde (51001) | Isobutyraldehyde
[22 empty] | Isooctane (45019) | Isooctane
[22 empty] | Isophorone (34408) | Isophorone
[22 empty] | Isopropanol (77015) | Isopropanol
[22 empty] | Isopropyl Acetate (45013) | Isopropyl Acetate
[22 empty] | Isopropyl Ether (77117) | Isopropyl Ether
[22 empty] | Kappa Number (51019) | Kappa Number | 0.00118
[22 empty] | MBAS (47021) | MBAS
[22 empty] | m-Benzenedisulfonic Acid (51360) | m-Benzenedisulfonic Acid | 8e-05
[22 empty] | Methyl Bromide (38677) | Methyl Bromide
[22 empty] | Methyl Cellosolve (4147) | Methyl Cellosolve
[22 empty] | Methyl Chloride (34418) | Methyl Chloride
[22 empty] | Methyl Cyclopentane (51074) | Methyl Cyclopentane
[22 empty] | Methyl Ethyl Ketone (81595) | Methyl Ethyl Ketone | 0.00025
[22 empty] | Methyl Formate (51000) | Methyl Formate
[22 empty] | Methyl Isobutyl Ketone (81596) | Methyl Isobutyl Ketone
[22 empty] | Methylene Chloride (34423) | Methylene Chloride
[22 empty] | Metolachlor (39356) | Metolachlor
[22 empty] | Minimum Stream Flow (91) | Minimum Stream Flow
[22 empty] | Mirex (39755) | Mirex
[22 empty] | Monobromoacetic Acid (51606) | Monobromoacetic Acid
[22 empty] | Monochloroacetic Acid (78213) | Monochloroacetic Acid
[22 empty] | MTBE (22417) | MTBE
[22 empty] | N-(Methylpropylidenepropamine) (51034) | N-(Methylpropylidenepropamine)
[22 empty] | N,N-Dimethyl-1-Butanamine (51033) | N,N-Dimethyl-1-Butanamine | 0.0016
[22 empty] | N,N-Dimethylacetamide (81332) | N,N-Dimethylacetamide
[22 empty] | N,N-Dimethylaniline (49543) | N,N-Dimethylaniline
[22 empty] | Nalco H150M (51698) | Nalco H150M
[22 empty] | Nalco Macrotrol 9210 (51029) | Nalco Macrotrol 9210
[22 empty] | n-Amyl Acetate (51002) | n-Amyl Acetate
[22 empty] | Naphthalene (34696) | Naphthalene
[22 empty] | n-Butyl Acetate (77189) | n-Butyl Acetate | 0.0019
[22 empty] | n-Butylbenzene (77342) | n-Butylbenzene
[22 empty] | n-Decane (77427) | n-Decane | 0.00015
[22 empty] | Net Alkalinity (51922) | Net Alkalinity
[22 empty] | N-Ethylaniline (51077) | N-Ethylaniline | 0.00046
[22 empty] | N-Ethylbenzenamine (77234) | N-Ethylbenzenamine | 0.00081
[22 empty] | Nitrobenzene (34447) | Nitrobenzene
[22 empty] | N-Methylbenzenamine (49924) | N-Methylbenzenamine
[22 empty] | N-Nitrosodimethylamine (34438) | N-Nitrosodimethylamine
[22 empty] | N-Nitrosodi-N-Propylamine (34428) | N-Nitrosodi-N-Propylamine
[22 empty] | N-Nitrosodiphenylamine (34433) | N-Nitrosodiphenylamine
[22 empty] | n-Octadecane (77804) | n-Octadecane
[22 empty] | n-Octane (77183) | n-Octane
[22 empty] | n-Propyl Bromide (51572) | n-Propyl Bromide
[22 empty] | n-Propylbenzene (77224) | n-Propylbenzene
[22 empty] | o-Cresol (51046) | o-Cresol
[22 empty] | Octachlorocyclopentene (77889) | Octachlorocyclopentene
[22 empty] | Oil and Grease (556) | Oil and Grease
[22 empty] | Orthophosphate (4175) | Orthophosphate
[22 empty] | Osmotic Pressure (82550) | Osmotic Pressure | 0.03
[22 empty] | Oxalic Acid (77081) | Oxalic Acid
[22 empty] | Ozone, Residual (387) | Ozone, Residual | 6.5e-05
[22 empty] | Particulate Organic Carbon (51599) | Particulate Organic Carbon
[22 empty] | PCB-1016 (34671) | PCB-1016 | 0.036
[22 empty] | PCB-1221 (39488) | PCB-1221
[22 empty] | PCB-1232 (39492) | PCB-1232
[22 empty] | PCB-1242 (39496) | PCB-1242
[22 empty] | PCB-1248 (39500) | PCB-1248
[22 empty] | PCB-1254 (39504) | PCB-1254 | 0.00036
[22 empty] | PCB-1260 (39508) | PCB-1260
[22 empty] | PCBs (Dry Weather) (51557) | PCBs (Dry Weather)
[22 empty] | PCBs (Wet Weather) (51556) | PCBs (Wet Weather) | 0.00059
[22 empty] | P-Chloroaniline (73529) | P-Chloroaniline | 0.00064
[22 empty] | p-Chloro-m-Cresol (34452) | p-Chloro-m-Cresol | 0.00014
[22 empty] | p-Cresol (77146) | p-Cresol
[22 empty] | Pentachlorobenzene (77793) | Pentachlorobenzene
[22 empty] | Pentachlorophenol (39032) | Pentachlorophenol
[22 empty] | PFBS (52602) | PFBS
[22 empty] | PFOA (51521) | PFOA
[22 empty] | PFOS (51526) | PFOS
[22 empty] | Phenanthrene (34461) | Phenanthrene
[22 empty] | Phenol (34694) | Phenol
[22 empty] | Phthalic Anhydride (77453) | Phthalic Anhydride
[22 empty] | Polybrominated Biphenyls (39521) | Polybrominated Biphenyls
[22 empty] | Polynuclear Aromatic Hydrocarbons (22456) | PAHs
[22 empty] | Potassium Permanganate (51068) | Potassium Permanganate
[22 empty] | p-Phenolsulfonic acid (51340) | p-Phenolsulfonic acid
[22 empty] | Propionic Acid (77031) | Propionic Acid | 0.00027
[22 empty] | Propylene Glycol (61163) | Propylene Glycol
[22 empty] | Purgeable Aromatics (Method 602) (3771) | Purgeable Aromatics (Method 602)
[22 empty] | Purgeable Halocarbons (39084) | Purgeable Halocarbons
[22 empty] | p-Xylene (34728) | p-Xylene
[22 empty] | Pyrene (34469) | Pyrene
[22 empty] | Pyridine (77045) | Pyridine
[22 empty] | Radium-226 and Radium-228, Total (11503) | Radium-226 and Radium-228
[22 empty] | Rainfall (in) (46529) | Rainfall (in)
[22 empty] | Resorcinol (77164) | Resorcinol
[22 empty] | sec-Butylbenzene (77350) | sec-Butylbenzene
[22 empty] | Specific Conductance (95) | Specific Conductance
[22 empty] | Spectrus CT 1300 (51030) | Spectrus CT 1300
[22 empty] | Spectrus OX 1200 (51497) | Spectrus OX 1200
[22 empty] | Spinosad (DE-105) (51006) | Spinosad (DE-105)
[22 empty] | Stream Flow, End of Discharge (51579) | Stream Flow, End of Discharge
[22 empty] | Stream Flow, Start of Discharge (51578) | Stream Flow, Start of Discharge
[22 empty] | Styrene (81708) | Styrene
[22 empty] | Sulfate (945) | Sulfate
[22 empty] | Sulfite (740) | Sulfite
[22 empty] | Surfynol 104E (51176) | Surfynol 104E
[22 empty] | Syltherm (51075) | Syltherm
[22 empty] | t-Amyl Methyl Ether (22421) | t-Amyl Methyl Ether | 3e-05
[22 empty] | t-Butyl Alcohol (51071) | t-Butyl Alcohol
[22 empty] | Temperature (°F) (11) | Temperature
[22 empty] | Temperature Delta (Discharge - Intake) (°F) (18) | Temperature Delta (Discharge - Intake)
[22 empty] | tert-Butylbenzene (77353) | tert-Butylbenzene
[22 empty] | Tetrachlorocatechol (73050) | Tetrachlorocatechol | 0.0002
[22 empty] | Tetrachloroethylene (34475) | Tetrachloroethylene
[22 empty] | Tetrachloroguaiacol (73047) | Tetrachloroguaiacol
[22 empty] | Tetrahydrofuran (81607) | Tetrahydrofuran | 0.001
[22 empty] | Tetramethylurea (49890) | Tetramethylurea | 0.0004
[22 empty] | Toluene (34010) | Toluene | 0.0005
[22 empty] | Total Acidity (as CaCO3) (435) | Total Acidity (as CaCO3) | 0.001
[22 empty] | Total Alkalinity (as CaCO3) (410) | Total Alkalinity (as CaCO3) | 2e-05
[22 empty] | Total Aluminum (1105) | Total Aluminum
[22 empty] | Total Antimony (1097) | Total Antimony | 0.0002
[22 empty] | Total Arsenic (1002) | Total Arsenic
[22 empty] | Total Barium (1007) | Total Barium | 5e-05
[22 empty] | Total Beryllium (1012) | Total Beryllium
[22 empty] | Total Beta (3501) | Total Beta
[22 empty] | Total Boron (1022) | Total Boron | 0.0001
[22 empty] | Total BTEX (30383) | Total BTEX
[22 empty] | Total Cadmium (1027) | Total Cadmium | 9e-05
[22 empty] | Total Calcium (916) | Total Calcium
[22 empty] | Total Chlorides and sulfates (82209) | Total Chlorides and sulfates | 0.0005
[22 empty] | Total Chromium (1034) | Total Chromium | 0.005
[22 empty] | Total Chromium (III) (1033) | Total Chromium (III)
[22 empty] | Total Cobalt (1037) | Total Cobalt
[22 empty] | Total Coliform (74056) | Total Coliform
[22 empty] | Total Copper (1042) | Total Copper
[22 empty] | Total Cyanide (720) | Total Cyanide | 0.001
[22 empty] | Total DDT (39370) | Total DDT | 0.0006
[22 empty] | Total Dissolved Solids (70295) | TDS
[22 empty] | Total Glycol (49489) | Total Glycol | 0.0005
[22 empty] | Total Gold (71910) | Total Gold | 0.0001
[22 empty] | Total Inorganic Nitrogen (00640) | Total Inorganic Nitrogen
[22 empty] | Total Iron (1045) | Total Iron | 2e-07
[22 empty] | Total Lead (1051) | Total Lead
[22 empty] | Total Lithium (1132) | Total Lithium | 0.0003
[22 empty] | Total Magnesium (927) | Total Magnesium | 0.0005
[22 empty] | Total Manganese (1055) | Total Manganese
[22 empty] | Total Mercury (71900) | Total Mercury
[22 empty] | Total Methanol (77885) | Total Methanol
[22 empty] | Total Molybdenum (1062) | Total Molybdenum | 0.002
[22 empty] | Total Nickel (1067) | Total Nickel
[22 empty] | Total Organic Carbon (680) | Total Organic Carbon
[22 empty] | Total Organic Halogens (52120) | Total Organic Halogens
[22 empty] | Total Palladium (1210) | Total Palladium
[22 empty] | Total PCBs (39516) | Total PCBs
[22 empty] | Total PFOA and PFOS (51526) | Total PFOA and PFOS
[22 empty] | Total Phenolics (32730) | Total Phenolics
[22 empty] | Total Phospate (650) | Total Phospate
[22 empty] | Total Platinum (1171) | Total Platinum
[22 empty] | Total Potassium (937) | Total Potassium | 0.0006
[22 empty] | Total Priority Pollutants (50008) | Total Priority Pollutants | 0.0001
[22 empty] | Total Purgeable Organics (76029) | Total Purgeable Organics
[22 empty] | Total Residual Halogens (61194) | Total Residual Halogens
[22 empty] | Total Residual Oxidants (34044) | Total Residual Oxidants
[22 empty] | Total Selenium (1147) | Total Selenium
[22 empty] | Total Silver (1077) | Total Silver
[22 empty] | Total Sodium (929) | Total Sodium
[22 empty] | Total Solids (500) | Total Solids | 0.0003
[22 empty] | Total Strontium (1082) | Total Strontium | 0.0017
[22 empty] | Total Sulfide (745) | Total Sulfide | 0.01
[22 empty] | Total Tantalum (82318) | Total Tantalum
[22 empty] | Total Tellurium (1064) | Total Tellurium
[22 empty] | Total Thallium (1059) | Total Thallium
[22 empty] | Total Tin (1102) | Total Tin
[22 empty] | Total Titanium (1152) | Total Titanium
[22 empty] | Total Toxic Organics (78141) | Total Toxic Organics
[22 empty] | Total Tritium (82126) | Total Tritium | 5e-05
[22 empty] | Total Tungsten (1154) | Total Tungsten | 0.00024
[22 empty] | Total Vanadium (1087) | Total Vanadium | 0.0001
[22 empty] | Total Volume (52370) | Total Volume
[22 empty] | Total Xylenes (81551) | Total Xylenes
[22 empty] | Total Zinc (1092) | Total Zinc | 0.00012
[22 empty] | Toxaphene (39400) | Toxaphene
[22 empty] | trans-1,2-Dichloroethylene (34546) | trans-1,2-Dichloroethylene
[22 empty] | trans-1,3-Dichloropropene (34699) | trans-1,3-Dichloropropene
[22 empty] | Tributylamine (78734) | Tributylamine
[22 empty] | Trichloroacetic Acid (82723) | Trichloroacetic Acid
[22 empty] | Trichloroethylene (39180) | Trichloroethylene
[22 empty] | Trichlorofluoromethane (34488) | Trichlorofluoromethane
[22 empty] | Trichlorosyringol (73054) | Trichlorosyringol
[22 empty] | Triethylamine (77111) | Triethylamine
[22 empty] | Trihalomethanes (82080) | Trihalomethanes
[22 empty] | Trimethyl Benzene (78136) | Trimethyl Benzene
[22 empty] | Trimethylorthoacetate (50022) | Trimethylorthoacetate
[22 empty] | Trimethylorthoformate (51076) | Trimethylorthoformate
[22 empty] | Tripropylorthoformate (50021) | Tripropylorthoformate
[22 empty] | Tris(2,3-Dibromopropyl)Phosphate (22410) | Tris(2,3-Dibromopropyl)Phosphate
[22 empty] | TRPH (45501) | TRPH
[22 empty] | TSS % Removal (81011) | TSS % Removal
[22 empty] | Turbidity (NTU) (70) | Turbidity
[22 empty] | Ultimate Oxygen Demand (181) | Ultimate Oxygen Demand
[22 empty] | Urea (71800) | Urea
[22 empty] | UV Dosage (61938) | UV Dosage
[22 empty] | UV Intensity (49607) | UV Intensity
[22 empty] | UV Transmittance (%) (51043) | UV Transmittance
[22 empty] | UV Functional | UV Functional
[22 empty] | Vinyl Chloride (39175) | Vinyl Chloride | 0.00018
Note on B16: Select parameter
Note on B18: Select stage

## Outfall 1 Daily
[64 empty] | Months | Years | County | Q | Units
3800-FM-BCW0435 3/2012 | [63 empty] | 1 | 2021 | Adams | < | mg/L
SUPPLEMENTAL REPORT | [63 empty] | 2 | 2022 | Allegheny | > | µg/L
DAILY EFFLUENT MONITORING | [63 empty] | 3 | 2023 | Armstrong |  | ng/L
[64 empty] | 4 | 2024 | Beaver |  | pg/L
Facility Name: | [12 empty] | Month: | 1 | (select number) | 31 | Year: | 2024 | [45 empty] | 5 | 2025 | Bedford |  | S.U.
Municipality: | [8 empty] | County: |  |  |  | Permit No.: |  |  |  | Outfall: | [46 empty] | 6 | 2026 | Berks |  | ºF
Watershed: | [12 empty] | Renewal application due 180 days prior to expiration. | [50 empty] | 7 | 2027 | Blair |  | °F/hr
Laboratories: | [12 empty] | This permit will expire on: | [50 empty] | 8 | 2028 | Bradford |  | ºC
48 | 45325 | 18 | 45291 | [60 empty] | 9 | 2029 | Bucks |  | MBTUs/day
Parameter |  |  |  |  | Flow | [58 empty] | 10 | 2030 | Butler |  | MBTUs/hr |  | Step 1 - Evaluate non-detects in data set (to determine whether to use < symbol in statistics) - use when limit >= most sensitive DL | [29 empty] | Step 2 - determine final values for concentration average statistics; full RL or 0 for non-detects | [29 empty] | Step 3 - determine max avg wkly conc statistics | [29 empty] | Step 5 - Determine raw loading data | [29 empty] | Step 6 - Determine final loading statistics for Avg and Total Monthly | [29 empty] | Step 7 - transform data for bacteria ">" results |  | Step 8 - determine max and min concentrations | [29 empty] | Step 9 - determine max and min loads
Stage |  |  |  |  | 1 | [58 empty] | 11 | 2031 | Cambria |  | % |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 |  | 1 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 |  | Step 10 - Evaluate non-detects in data set (to determine whether to use < symbol in statistics) - use when limit < most sensitive DL
Week | Day |  | Date |  | MGD | Q |  | Q |  | Q |  | Q |  | Q |  | Q |  | Q |  | Q |  | Q |  | Q |  | Q |  | Q |  | Q |  | Q |  | Q |  | Q |  | Q |  | Q |  | Q |  | Q |  | Q |  | Q |  | Q |  | Q |  | Q |  | Q |  | Q |  | Q |  | Q |  | 12 | 2032 | Cameron |  | TUa | [60 empty] | Week 1 Avg | [152 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29
[65 empty] | 2033 | Carbon |  | TUc | [60 empty] | Week 2 Avg
[65 empty] | 2034 | Centre |  | CFU/100 mL | [60 empty] | Week 3 Avg
[65 empty] | 2035 | Chester |  | No. | [60 empty] | Week 4 Avg
1 | 2023-12-31 |  | 2023-12-31 | [61 empty] | 2036 | Clarion |  | Pt-Co Units | [60 empty] | Week 5 Avg
| 2024-01-01 |  | 2024-01-01 | [61 empty] | 2037 | Clearfield |  | µW/cm² | [60 empty] | Max
| 2024-01-02 |  | 2024-01-02 | [61 empty] | 2038 | Clinton |  | mjoules/cm2
| 2024-01-03 |  | 2024-01-03 | [61 empty] | 2039 | Columbia |  | mOs/kg | [60 empty] | Week 1 Adj
| 2024-01-04 |  | 2024-01-04 | [61 empty] | 2040 | Crawford |  | NTU | [60 empty] | Week 2 Adj
| 2024-01-05 |  | 2024-01-05 | [61 empty] | 2041 | Cumberland |  | µmhos/cm | [60 empty] | Week 3 Adj
| 2024-01-06 |  | 2024-01-06 | [61 empty] | 2042 | Dauphin |  | cfs | [60 empty] | Week 4 Adj
2 | 2024-01-07 |  | 2024-01-07 | [61 empty] | 2043 | Delaware |  | gal | [60 empty] | Week 5 Adj
| 2024-01-08 |  | 2024-01-08 | [61 empty] | 2044 | Elk |  | pCi/L | [60 empty] | Max | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2024-01-09 |  | 2024-01-09 | [61 empty] | 2045 | Erie |  | mg/kg
| 2024-01-10 |  | 2024-01-10 | [61 empty] | 2046 | Fayette |  | µg/kg | [60 empty] | Use <?
| 2024-01-11 |  | 2024-01-11 | [61 empty] | 2047 | Forest |  | tons/day
| 2024-01-12 |  | 2024-01-12 | [61 empty] | 2048 | Franklin |  | hours | [61 empty] | Step 4 - determine max avg wkly load statistics
| 2024-01-13 |  | 2024-01-13 | [61 empty] | 2049 | Fulton |  | SVI | [61 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29
3 | 2024-01-14 |  | 2024-01-14 | [61 empty] | 2050 | Greene |  | in | [60 empty] | Week 1 Avg
| 2024-01-15 |  | 2024-01-15 | [61 empty] | 2051 | Huntingdon |  | SU | [60 empty] | Week 2 Avg
| 2024-01-16 |  | 2024-01-16 | [61 empty] | 2052 | Indiana |  | MGD | [60 empty] | Week 3 Avg
| 2024-01-17 |  | 2024-01-17 | [61 empty] | 2053 | Jefferson |  | lbs/day | [60 empty] | Week 4 Avg
| 2024-01-18 |  | 2024-01-18 | [61 empty] | 2054 | Juniata |  | lbs | [60 empty] | Week 5 Avg
| 2024-01-19 |  | 2024-01-19 | [61 empty] | 2055 | Lackawanna |  | MBTUs/day | [60 empty] | Max
| 2024-01-20 |  | 2024-01-20 | [61 empty] | 2056 | Lancaster |  | MBTUs/hr
4 | 2024-01-21 |  | 2024-01-21 | [61 empty] | 2057 | Lawrence |  | No. | [60 empty] | Week 1 Adj
| 2024-01-22 |  | 2024-01-22 | [61 empty] | 2058 | Lebanon |  | cfs | [60 empty] | Week 2 Adj
| 2024-01-23 |  | 2024-01-23 | [61 empty] | 2059 | Lehigh |  | gal | [60 empty] | Week 3 Adj
| 2024-01-24 |  | 2024-01-24 | [61 empty] | 2060 | Luzerne |  | tons/day | [60 empty] | Week 4 Adj
| 2024-01-25 |  | 2024-01-25 | [61 empty] | 2061 | Lycoming |  | hours | [60 empty] | Week 5 Adj
| 2024-01-26 |  | 2024-01-26 | [61 empty] | 2062 | McKean |  | in | [60 empty] | Max
| 2024-01-27 |  | 2024-01-27 | [61 empty] | 2063 | Mercer | [62 empty] | Final Wkly Avg
5 | 2024-01-28 |  | 2024-01-28 | [61 empty] | 2064 | Mifflin | [62 empty] | Use <?
| 2024-01-29 |  | 2024-01-29 | [61 empty] | 2065 | Monroe
| 2024-01-30 |  | 2024-01-30 | [61 empty] | 2066 | Montgomery
| 2024-01-31 |  | 2024-01-31 | [61 empty] | 2067 | Montour
| 2024-02-01 |  | 2024-02-01 | [61 empty] | 2068 | Northampton
| 2024-02-02 |  | 2024-02-02 | [61 empty] | 2069 | Northumberland
| 2024-02-03 |  | 2024-02-03 | [61 empty] | 2070 | Perry
Statistics for DMR | [64 empty] | 2071 | Philadelphia
Daily Minimum (Conc.): | [64 empty] | 2072 | Pike |  |  | Sum (Month) | [149 empty] | Max (raw data): |  | Max (raw data): | [29 empty] | Max (raw data): | [29 empty] | Limit < DL?
Daily Maximum (Conc): | [64 empty] | 2073 | Potter |  |  | All Results < (Month) | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Avg Mo Conc: | [59 empty] | Avg Mo Load | [29 empty] | Avg Mo Load | [29 empty] | Max (transformed): |  | Max (transformed): | [29 empty] | Max (transformed): | [29 empty] | DL
Max Avg Weekly (Conc.): | [64 empty] | 2074 | Schuylkill |  |  | No. Results (Month) | [29 empty] | Max (raw data): | [59 empty] | Total Mo Load | [29 empty] | Final Avg Mo Load: | [29 empty] | Use > for Max? | N | Use < for Max? | [29 empty] | Final Max: | [29 empty] | No. "A" (Limit < DL, Value "<" and <= DL) - Month | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avg Monthly (Conc.): | [64 empty] | 2075 | Snyder |  |  | At Least 1 < (Month) | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Max (transformed): | [89 empty] | Total Mo Load | [29 empty] | Min (raw data): |  | Min (raw data): | [29 empty] | Use < for Max? | [29 empty] | No. "B" (Limit < DL, Value "<" and > DL) - Month | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Geometric Mean (Conc.): | [64 empty] | 2076 | Somerset |  |  | Sum (Week 1) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Use < for Max? | [89 empty] | Final Total Mo Load: | [29 empty] | Min (transformed): |  | Min (transformed): | [29 empty] | Min (raw data): | [29 empty] | No. "C" (Limit < DL, Value not "<") - Month | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Max Avg Weekly (Load): | [64 empty] | 2077 | Sullivan |  |  | At Least 1 < (Week 1) | [29 empty] | Min (raw data): | [119 empty] | Use > for Min? | N | Use < for Min? | [29 empty] | Min (transformed): | [29 empty] | Sum | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avg Monthly (Load): | [64 empty] | 2078 | Susquehanna |  |  | Sum (Week 2) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Min (transformed): | [151 empty] | Final Min: | [29 empty] | Include < (Step 10 only)? | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
Total Monthly (Load): | [64 empty] | 2079 | Tioga |  |  | At Least 1 < (Week 2) | [29 empty] | Use < for Min? | [151 empty] | Use < for Min? | [29 empty] | Include < for Avg Mo (Final)? | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Daily Minimum (Load): | [64 empty] | 2080 | Union |  |  | Sum (Week 3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Geomean: | [181 empty] | Max Conc Week No. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Daily Maximum (Load): | [64 empty] | 2081 | Venango |  |  | At Least 1 < (Week 3) | [211 empty] | No. "A" (Limit < DL, Value "<" and <= DL) - Max Week | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[65 empty] | 2082 | Warren |  |  | Sum (Week 4) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [182 empty] | No. "B" (Limit < DL, Value "<" and > DL) - Max Week | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
I certify under penalty of law that this document was prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel gather and evaluate the information submitted. Based on my inquiry of the person or persons who manage the system or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations. See 18 Pa. C.S. § 4904 (relating to unsworn falsification). | [64 empty] | 2083 | Washington |  |  | At Least 1 < (Week 4) | [211 empty] | No. "C" (Limit < DL, Value not "<") - Max Week | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[65 empty] | 2084 | Wayne |  |  | Sum (Week 5) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [182 empty] | Sum | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[65 empty] | 2085 | Westmoreland |  |  | At Least 1 < (Week 5) | [211 empty] | Include < (Step 10 only)? | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
[65 empty] | 2086 | Wyoming |  |  | No. Results (Week 1) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [120 empty] | Flow | [61 empty] | Include < for Avg Wkly (Conc) (Final)? | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  |  | Prepared By: | [8 empty] | License No.: | [51 empty] | 2087 | York |  |  | All Results < (Week 1) | [211 empty] | Max Load Week No. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  |  | Title: | [8 empty] | Date: | [51 empty] | 2088 |  |  |  | No. Results (Week 2) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [182 empty] | No. "A" (Limit < DL, Value "<" and <= DL) - Max Week | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[65 empty] | 2089 |  |  |  | All Results < (Week 2) | [211 empty] | No. "B" (Limit < DL, Value "<" and > DL) - Max Week | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[65 empty] | 2090 |  |  |  | No. Results (Week 3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [182 empty] | No. "C" (Limit < DL, Value not "<") - Max Week | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average Weekly Statistics | [64 empty] | 2091 |  |  |  | All Results < (Week 3) | [211 empty] | Sum | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Week 1 (Conc): | [64 empty] | 2092 |  |  |  | No. Results (Week 4) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [182 empty] | Include < (Step 10 only)? | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
Week 2 (Conc): | [64 empty] | 2093 |  |  |  | All Results < (Week 4) | [211 empty] | Include < for Avg Wkly (Load) (Final)? | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Week 3 (Conc): | [64 empty] | 2094 |  |  |  | No. Results (Week 5) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [182 empty] | For Average Weekly Statistics:
Week 4 (Conc): | [64 empty] | 2095 |  |  |  | All Results < (Week 5) | [211 empty] | No. "A" (Limit < DL, Value "<" and <= DL) - Week 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Week 5 (Conc): | [64 empty] | 2096 | [215 empty] | No. "B" (Limit < DL, Value "<" and > DL) - Week 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Week 1 (Load): | [64 empty] | 2097 | [215 empty] | No. "C" (Limit < DL, Value not "<") - Week 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Week 2 (Load): | [64 empty] | 2098 | [215 empty] | Sum | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Week 3 (Load): | [64 empty] | 2099 | [215 empty] | Include < (Step 10 only)?
Week 4 (Load): | [280 empty] | Include < for Avg Wkly 1 (Conc) (Final)? | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N
Week 5 (Load): | [280 empty] | No. "A" (Limit < DL, Value "<" and <= DL) - Week 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[281 empty] | No. "B" (Limit < DL, Value "<" and > DL) - Week 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[281 empty] | No. "C" (Limit < DL, Value not "<") - Week 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | Decimal places, as reported | [275 empty] | Sum | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Include < (Step 10 only)?
[5 empty] | Flow | [275 empty] | Include < for Avg Wkly 2 (Conc) (Final)? | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | [217 empty] | No. "A" (Limit < DL, Value "<" and <= DL) - Week 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | [217 empty] | No. "B" (Limit < DL, Value "<" and > DL) - Week 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | [217 empty] | No. "C" (Limit < DL, Value not "<") - Week 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | [217 empty] | Sum | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | [217 empty] | Include < (Step 10 only)?
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | [217 empty] | Include < for Avg Wkly 3 (Conc) (Final)? | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | [217 empty] | No. "A" (Limit < DL, Value "<" and <= DL) - Week 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | [217 empty] | No. "B" (Limit < DL, Value "<" and > DL) - Week 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | [217 empty] | No. "C" (Limit < DL, Value not "<") - Week 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | [217 empty] | Sum | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | [217 empty] | Include < (Step 10 only)?
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | [217 empty] | Include < for Avg Wkly 4 (Conc) (Final)? | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | [217 empty] | No. "A" (Limit < DL, Value "<" and <= DL) - Week 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | [217 empty] | No. "B" (Limit < DL, Value "<" and > DL) - Week 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | [217 empty] | No. "C" (Limit < DL, Value not "<") - Week 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | [217 empty] | Sum | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | [217 empty] | Include < (Step 10 only)?
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | [217 empty] | Include < for Avg Wkly 5 (Conc) (Final)? | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N | N
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  |  | Max: |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
> for Bacteria only (2nd column)
[5 empty] | Sum |  | 0
|  | Use > symbol for Geo Mean |  |  |  |  | N
Note on H13: Q = Qualifier - select less than (<) or greater than (>) from the list if applicable.
Note on B72: The maximum weekly average statistic is used for compliance (for the DMR) when there is an average weekly permit limit. However, all weekly average results are to be examined when determining the number of exceedances ("NO EX") for entry into the eDMR system.

## Instructions
3800-FM-BCW0435 3/2012, Instructions
INSTRUCTIONS FOR COMPLETING
DAILY EFFLUENT MONITORING SUPPLEMENTAL REPORT
This spreadsheet is used for recording daily sample results for effluent (although other stages can be selected), and includes DEP-approved calculations and handling of rounding and significant figures for reporting*. The calculations are provided for convenience and do not automatically populate into online eDMR reports.
The recommended sequence of data entry is as follows: 1) Enter parameter names, units of measurement, and permit limits into the Limits worksheet, and 2) Enter daily monitoring results into the Daily worksheet (for each outfall). The statistics for DMR reporting are presented at the bottom of the Daily table. You may then manually enter the statistics results into the eDMR report.
Limits Worksheet
| 1. | Enter the Outfall Number from your permit or eDMR report.
| 2. | In the column named "Parameter / Stage", select each parameter and its associated stage (monitoring location) from your permit or eDMR report that corresponds to the selected Outfall. Parameter names include the Parameter Code in parentheses. Common parameters are listed first, and then are listed alphabetically. Up to 30 parameters, including Flow, can be selected per Outfall. Stage names include the Stage Code in parentheses. Codes are shown to help you match your selections with the eDMR data entry screen. In the event a parameter or stage on your eDMR report is not available, please contact DEP at (717) 787-6744. It is assumed that Flow - Final Effluent is in your permit. This assumption is necessary for loading calculations, where applicable. If you are not required to measure flow in your permit for the outfall, please ignore it. If you are required to monitor a bacterial parameter (e.g., Fecal Coliform), it is recommended that you select this parameter immediately below "Flow" as explained below (No. 3, Daily Effluent Monitoring Worksheet).
| 3. | Paper and electronic DMRs contain five columns or fields for data entry. In the Limits worksheet, the columns are named "Load 1", "Load 2", "Conc 1", "Conc 2", and "Conc 3". Enter permit limit values in the row for "LIMIT" and the appropriate column. If there is a "Monitor & Report" requirement only, type "Report". If there is no limit or monitoring required for the column, leave it blank. You can also select Statistical Codes from the lists below each limit field, though this is not required.
| 4. | If you have entered a limit value for either Load 1 or Load 2 for a parameter, you must select a value for Units in the "Quantity or Loading" column. If you have entered a limit value for either Conc 1, Conc 2 or Conc 3 for a parameter, you must select a value for Units in the "Quality or Concentration" column. If a parameter does not, for example, have a limit value (including "Report") for Load 1 or Load 2, the Units value may remain blank.
Daily Worksheet
| 1. | Enter Facility Name, Municipality, County (select from list), Watershed No., Month (select number from list), Year (select from list), Permit No., and Permit Expiration Date (leave blank if not applicable). Also, report all laboratories where samples were analyzed during the month, including on-site analysis.
The first week of each month begins on a Sunday and the last week of each month ends on a Saturday. The Week column identifies the start of each weekly period for the purpose of computing weekly statistics. The full calendar month is used for calculating monthly statistics. Days and dates are automatically populated following your entry of the numeric Month and Year in Step 1. If the permit does not contain a weekly statistical reporting requirement for a parameter, do not enter data outside of the calendar month. For example, if you must report minimum and maximum pH measurements (but not weekly average), enter data beginning on the first day of the month and ending on the last day of the month. If, for example, you have a weekly average limit for CBOD5, and if samples were collected on any date shown on the form that is outside the calendar month, enter the results.
2.
| 3. | Parameters (abbreviated), stages (stage code), and units will be displayed in the order selected on the Limits worksheet. The Qualifier ("Q") columns allow you to select the "<" symbol. In addition, the first "Q" column to the right of Flow allows you to select the "<" symbol as well as the ">" symbol. By policy, DEP accepts the use of the ">" symbol only for bacterial results. Therefore, if you have a bacterial parameter in your permit, it is recommended that you select it after Flow in the Limits worksheet.
| 4. | On each day in which a sample is collected for analysis, enter the result in the column corresponding to the parameter analyzed. Enter the result exactly as reported by the laboratory or determined by on-site equipment. If the result is reported as a "non-detect" result, enter the laboratory's reporting limit for the result and select the "less than" (<) symbol from the lists in the "Q" columns. For bacteria, if the result is "0", enter "1".
| 5. | Statistics are computed at the bottom of the form. If a limit value exists for the statistic, the decimal places of the statistic will match that of the limit. If a limit value does not exist, the statistic will present the maximum number of decimal places from the reported results. Note - for maximum weekly average results, week 5 is not included in the results unless week 5 is a full week (7 days).
| 6. | Type the name of the person who prepared the form, the person's job title, DEP License No. (if applicable), and date the form was completed after reading the certification statement.
Notes:
| 1. | In the Daily worksheet, the pane has been "frozen" so that pertinent information can be viewed at all times. You can "unfreeze" the panes at any time by clicking on Window - Unfreeze Panes (Excel 2003) or select the "View" tab from the "Windows" group, choose "Freeze Panes", and select "Unfreeze Panes" from the pop-up (Excel 2007). Read more: How to Unfreeze Panes ¦ eHow.com http://www.ehow.com/how_5132899_unfreeze-panes.html#ixzz1BgWpS3sJ
| 2. | If your permit contains limits in terms of micrograms, nanograms or picograms per liter (μg/l, ng/l or pg/l), please convert this to mg/l for entry into the Limits worksheet.
| 3. | Chesapeake Bay nutrient parameters for Total Monthly Loading statistics (e.g., Total Nitrogen, parameter code 51445) cannot be selected on the Limits worksheet. However, you can select the concentration-based parameter that is equivalent (e.g., Total Nitrogen, parameter code 600), enter flows and concentration values, and Total Monthly Loading statistics will be calculated.
* All attempts have been made in developing this spreadsheet to follow procedures contained in "Discharge Monitoring Reports Overview and Summary" (3800-BK-DEP3047). Please check the Supplemental Forms website for updates to this spreadsheet periodically and contact DEP at 717-787-6744 with questions and enhancement or customization requests. If your permit requires that you follow different procedures, you must follow your permit.