# COMMONWEALTH OF PENNSYLVANIA

DEPARTMENT OF ENVIRONMENTAL PROTECTION

BUREAU OF WATER STANDARDS AND FACILITY REGULATION

##### ANNUAL INSPECTION FORM

##### FOR NPDES PERMITS FOR DISCHARGES OF

STORMWATER ASSOCIATED WITH INDUSTRIAL ACTIVITIES

| 1. Date of Inspection 3. NPDES Permit # |  |  | 2. Facility Owner/Operator Name and Address: Tel: Fax: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 4. Facility Address and Location |  |  |  |  |  |  |
| Street |  |  |  |  |  |  |
| Municipality |  |  | County |  |  |  |
| VISUAL INSPECTION |  |  |  |  |  |  |
| Provide the following information for the storm event |  |  |  |  |  |  |
| 5. Duration |  |  |  |  |  |  |
| 6. Estimation of rainfall (in inches) † † The annual inspection should be conducted after a storm event that is greater than 0.1 inches in magnitude and that occurred at least 72 hours from the previous 0.1 inch storm event. |  |  |  |  |  |  |
| 7. Estimate the time between the previous rain event |  |  |  |  |  |  |
| 8. Estimate the total volume (in gallons) for each outfall and report it in item 9. Volume = C x I A, where C is the runoff coefficient (i.e, 0.9 for paved and 0.5 for unpaved) I is the rainfall amount (in ft), and A is the area (square feet) drained to the outfall inspected (convert from cubic feet to gallons by multiplying by 7.481). |  |  |  |  |  |  |
| 9. Estimate the size of the drainage area (in square feet) for each outfall. |  |  |  |  |  |  |
| Outfall # |  | Drainage Area | % Paved |  | % Unpaved | Volume in gallons |

| Complete the following information for each outfall inspected (items 10 through 15) |  |
| --- | --- |
| VISUAL INSPECTION OF OUTFALL NUMBER |  |
| 10. Description of area(s) that drains to outfall. |  |
| 11. Description of stormwater management practices, erosion and sedimentation control practices, and other structural control measures that are in place to control pollutants from running off-site. |  |
| 12. Is there visible flow from the pipe? Yes No (Go to number 14) Pipe Dia. (inches) |  |
| a. ODOR: Chemical Musty Sewage Rotten Eggs Other b. COLOR: Clear Red Yellow Brown Other c. CLARITY: Clear Cloudy Opaque Suspended Solids Other d. FLOATABLES: Suds Oily Film Garbage Sewage Other e. DEPOSITS/STAINS: None Oily Sediment Other f. VEGETATION: None Normal Excessive Inhibited Other |  |
| 13. Is there standing water present? Yes No (Go to number 16) |  |
| a. ODOR: Chemical Musty Sewage Rotten Eggs Other b. COLOR: Clear Red Yellow Brown Other c. CLARITY: Clear Cloudy Opaque Suspended Solids Other d. FLOATABLES: Suds Oily Film Garbage Sewage Other e. DEPOSITS/STAINS: None Oily Sediment Other f. VEGETATION: None Normal Excessive Inhibited Other |  |
| 14. Is there any evidence of or potential for any pollutant being discharged at this outfall? Yes No Describe: |  |
| If yes, identify substances present in the sediment (if possible). |  |
| 15. Description of corrective measures taken or planned to remove sediments or debris if found during inspection. Please provide a schedule if actions are planned. |  |
| COMPREHENSIVE SITE COMPLIANCE EVALUATION |  |
| 16. Do drainage maps reflect current conditions? Yes No |  |
| If no, provide your comments. |  |
| Comments: |  |
| 17. Based on review of PPC Plan (including Housekeeping Measures), are any changes, corrections or updates necessary? Yes No |  |
| If yes, provide your comments. |  |
| Comments: |  |
| 18. Have you inspected all structural stormwater controls used to implement the PPC Plan to determine if they are adequate? Yes No |  |
| If no, provide your comments. |  |
| Comments: |  |
| 19. Have you inspected the entire site to determine if erosion and sedimentation control measures are adequate? Yes No |  |
| If no, provide your comments. |  |
| Comments: |  |
| 20. Summarize corrective actions/measures completed or planned to correct any deficiencies found as a result of the inspection. Please provide a schedule if actions are planned. |  |
| 21. Signature of Inspector Name of Inspector: Date Report Prepared: Signature of Inspector: |  |
| 24. Signature of Owner/Operator of Facility Name/Title Principal Executive Officer Signature I CERTIFY UNDER PENALTY OF LAW THAT I HAVE PERSONALLY EXAMINED AND AM FAMILIAR WITH THE INFORMATION SUBMITTED HEREIN AND BASED ON MY INQUIRY OF THOSE INDIVIDUALS IMMEDIATELY RESPONSIBLE FOR OBTAINING THE INFORMATION. I BELIEVE THE SUBMITTED INFORMATION IS TRUE, ACCURATE AND COMPLETE. I AM AWARE THAT THERE ARE SIGNIFICANT PENALTIES FOR SUBMITTING FALSE INFORMATION INCLUDING THE POSSIBILITY OF FINE AND IMPRISONMENT SEE 18 Pa. C.S. §4904 (relating to unsworn falsification). | Date |