LCR Sample Site Location Plan

INSTRUCTIONS:

The LCR sample site location plan includes four elements:

- Materials evaluation of the distribution.   Systems should survey all records documenting the materials used in construction and repair of their distribution system, and buildings connected to their distribution system in order to identify a sufficient number of lead and copper tap sampling sites.  Record materials evaluation data on the Materials Survey Investigation Results (worksheet #1).  Use the Tier Assignment Key to determine the tier status of each structure.

- For Community Water Systems, lead and copper tap water samples must be collected from sampling locations that meet one of the following criteria:

- Tier 1.  Single family structures that contain lead pipes, or copper pipes with lead solder installed after 1982, and/or are served by lead service lines.

- Tier 2.  Buildings and multiple-family residences that contain lead pipes, or copper pipes with lead solder installed after 1982, and/or are served by lead service lines.

- Tier 3.  Single family structures, constructed as a single family residence and currently used as either a residence or business, that contain copper pipes with lead solder installed before 1983.

Sampling pools should consist of Tier 1 sites. If the water system contains fewer buildings than the required number of sampling sites, samples may be collected from different taps within a representative number of buildings.  The taps should be those most commonly used for drinking and the samples should be taken on different days.  If the system has an insufficient number of these taps to take each sample from a different tap, the system may sample from the same tap on different days.

For Nontransient Noncommunity Water Systems, lead and copper tap water samples must be collected from sampling locations that meet the following criteria:

- Tier 1.  Buildings that contain copper pipes with lead solder installed after 1982, lead pipes, and/or are served by lead service lines.

- A system that has an insufficient number of Tier 1 sampling sites shall complete its sampling pool with sampling sites that contain copper pipes with lead solder installed before 1983.  If additional sites are needed, the system shall use representative sites consisting of plumbing materials that would be commonly found at other sites served by the system.

Sampling pools should consist of Tier 1 sites. If the water system contains fewer buildings than the required number of sampling sites, samples may be collected from different taps within a representative number of buildings.  The taps should be those most commonly used for drinking and the samples should be taken on different days.  If the system has an insufficient number of these taps to take each sample from a different tap, the system may sample from the same tap on different days.

- Lead & Copper Tap sample site location listing.  List sites on pages 1 & 2 of the SSLP.

Include 3 digit location id # you have assigned the location (001,002,003 …), the Address/ Room #, and for Community Water Supplies, indicate whether it is a Tier 1, 2, or 3 site.

- Water Quality Parameter sample site location listing.

All large water supplies and those small & medium sized systems that have exceeded the lead and copper action level will be required to monitor for pH, alkalinity, orthophosphate (when an inhibitor containing phosphate is used), silica (when an inhibitor containing a silicate is used), calcium, conductivity, and water temperature.  These parameters are used to identify optimal treatment and, after lead and copper corrosion control treatment is installed, to determine whether a system remains in compliance with the rule.  Sampling is conducted at the entry point to the distribution, and at representative sites throughout the distribution.  List sites on page 3 of the SSLP when applicable.

- Certification that proper sampling procedures are used.  A copy of a certification form, outlining proper sampling procedures is included in the plan (page 4 of SSLP) to demonstrate that your system is satisfying this particular requirement.

- WORKSHEET #1

- MATERIALS SURVEY INVESTIGATION RESULTS

- PWS ID NUMBER

- POPULATION SERVED BY PWS

| - Type of - Structure | - Location | - Name | - Phone | - LSL | - Interior - Plumbing - Material | - Accessible | - Tier | - 3 Digit Location ID# |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

- Key:	Type of Structure	Distribution System	Interior Plumbing Material

- BLDG – Building	LSL – Lead Service Lines	LP – Lead Pipe

- MFR – Multi-family residence						CLSa82 – Copper Pipe with Lead Solder after 1982

- SFR – Single family residence						CLSb83 – Copper Pipe with Lead Solder before 1983

- P - Plastic

PLUMBING MATERIALS TYPE

Tier Assignment Key

Tier Assignment for CWS

|  | Type of Plumbing Material |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Distribution System Piping | Interior Plumbing |  |  |  |
| Type of Structure | LSLs | Lead Pipe | Copper with Lead Solder installed after 1982 ** | Copper with Lead Solder installed before 1983 | Non-lead Piping |
| SFR | Tier 1 | Tier 1 | Tier 1 | Tier 3 | N/A |
| MFR | Tier 2 | Tier 2 | Tier 2 | Non-Tier | N/A |
| BLDG | Tier 2 | Tier 2 | Tier 2 | N/A * | N/A |

**  Not applicable (N/A) unless an SFR was converted to a BLDG, then Tier 3

**  Excludes structures with solder installed after 1-6-91 (must use lead-free solder per PA Plumbing System Lead Ban and Notification Act); these sites would be N/A.

Tier Assignment for NTNCWS

|  | Type of Plumbing Material |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Distribution System Piping | Interior Plumbing |  |  |  |
| Type of Structure | LSLs | Lead Pipe | Copper with Lead Solder installed after 1982 ** | Copper with Lead Solder installed before 1983 | Non-lead Piping |
| BLDG | Tier 1 | Tier 1 | Tier 1 | Non-Tier | N/A |

**  Excludes structures with solder installed after 1-6-91 (must use lead-free solder per PA Plumbing System Lead Ban and Notification Act); these sites would be N/A.

- Key:	 Type of Structure	Distribution System

- BLDG – Building	LSL – Lead Service Lines

- MFR – Muti-family residence

- SFR – Single family residence

- SFR – Single family residence

LCR Sample Site Location Plan Page 1 of 4

GENERAL SYSTEM INFORMATION

| Water System Name: |  |  |  |  |  | PWSID: |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Mailing Address: |  |  |  |  |  |  |  |
| Contact Person: |  |  | Phone: |  | E-mail: |  |  |
| System Type: |  |  | Population Served: |  |  |  |  |

| Lead and Copper SAMPLING SITE LISTING |  |  |
| --- | --- | --- |
| 3 Digit Location ID# | Sample Site Address / Room # | Tier 1, 2 or 3 Site and/or served by an LSL? |

Lead and Copper SAMPLING SITE LISTING   (con’t)

Page 2 of 4

| 3 Digit Location ID# | Sample Site Address / Room # | Tier 1, 2 or 3 Site and/or served by an LSL? |
| --- | --- | --- |
| Alternates: |  |  |

WATER QUALITY PARAMETER SAMPLING SITE LISTING.  These parameters are used to identify optimal treatment and, once lead and copper corrosion control treatment is installed, to determine whether a system remains in compliance with the rule.

Page 3 of 4

Sampling is conducted at the entry point to the distribution and at representative sites throughout the distribution.

- (Refer to the WQP Initial Monitoring Table in the LCR Working Guide to determine the number of sites.)

| 3 Digit Location ID# | Sample Site Address / Room # |
| --- | --- |
| Entry Point (E-Samples): |  |
| Distribution System (D-Samples): |  |

Page 4 of 4

SUGGESTED DIRECTIONS

TAP SAMPLE COLLECTION PROCEDURES

These samples are being collected to determine the lead and copper levels in your tap water.  This sampling effort is required by the U.S. Environmental Protection Agency and the Pennsylvania Department of Environmental Protection, and is being accomplished through the cooperation of homeowners and residents.

A sample is to be collected after water has been sitting in the pipes for an extended period of time (i.e., no water use during this period).  The collection procedure is described in more detail below:

- Prior arrangements will be made with the customer to coordinate the sample collection event.  Dates will be set for sample kit delivery and pick-up by water department staff.

- A minimum six (6) hour period during which there is no water use throughout the house must be achieved prior to sampling.  The water department recommends that either early mornings or evenings upon returning home are the best sampling times to ensure that the necessary stagnant water conditions exist.

- A kitchen or bathroom cold-water faucet is to be used for sampling.  Do not remove the aerator prior to sampling. Place the sample bottle (open) below the faucet and gently open the cold water tap.  Fill the sample bottle to the line marked “1,000- m/L” and turn off the water.

- Tightly cap the sample bottle and place it in the sample kit provided.  Please review the sample kit label at this time to ensure that all information contained on the label is correct.

- If any plumbing repairs or replacements have been done in the home since the previous sampling event, note this information on the label as provided.  Also if your sample was collected from a tap with a water softener, note this as well.

- Place the sample kit outside of the residence in the location of the kit’s delivery so that department staff may pick up the sample kit.

- Results from this monitoring effort will be provided to participating customers when reports are generated for the State unless excessive lead and/or copper levels are found.  In those cases, immediate notification will be provided (usually within ten (10) working days from the time of sample collection).

Call  ____________________ at  _______________ if you have any questions regarding these instructions.

I certify that each sample collector has been instructed in the proper methods for collecting lead and copper tap samples.

Water Supplier Signature:   ______________________________________   Date: ____________________________